{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Redispatch"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":14,"rows_kept":106}
[null,"Datum","29.01.2026","29.01.2026","29.01.2026","29.01.2026","29.01.2026","29.01.2026","29.01.2026","29.01.2026","29.01.2026","29.01.2026","29.01.2026","29.01.2026"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Boxberg (Standort)","50H Berlin Marzahn","50H Berlin Mitte","Jänschwalde (Standort)","50H Berlin Lichterfelde","Schkopau","50H Berlin Marzahn","Rostock Kohlekraftwerk","Boxberg (Standort)","50H Hamburg Wedel1","50H InfraLeuna IKW","Schkopau"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":583,"d":"583.00"},1465.75,{"v":1133,"d":"1133.00"},51.25,281.75,{"v":1509,"d":"1509.00"},{"v":390,"d":"390.00"},{"v":251.5,"d":"251.50"},{"v":326,"d":"326.00"},{"v":715,"d":"715.00"},{"v":70,"d":"70.00"},{"v":374,"d":"374.00"}]
["00:00","00:15",0,0,0,0,0,326,0,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,326,0,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,326,0,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,326,0,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,176,0,0,0,0,0,0]
["01:15","01:30",0,0,0,0,0,176,0,0,0,0,0,0]
["01:30","01:45",0,0,0,0,0,176,0,0,0,0,0,0]
["01:45","02:00",0,0,0,0,0,176,0,0,0,0,0,0]
["02:00","02:15",0,0,0,0,0,98,0,0,0,0,0,0]
["02:15","02:30",0,0,0,0,0,98,0,0,0,0,0,0]
["02:30","02:45",0,0,0,0,0,98,0,0,0,0,0,0]
["02:45","03:00",0,0,0,0,0,98,0,0,0,0,0,0]
["03:00","03:15",0,0,0,0,0,131,0,0,0,0,0,0]
["03:15","03:30",0,0,0,0,0,131,0,0,0,0,0,0]
["03:30","03:45",0,0,0,0,0,131,0,0,0,0,0,0]
["03:45","04:00",0,0,0,0,0,131,0,0,0,0,0,0]
["04:00","04:15",0,0,0,0,0,141,0,54,0,0,0,127]
["04:15","04:30",0,0,0,0,0,141,0,54,0,0,0,127]
["04:30","04:45",0,0,0,0,0,141,0,54,0,0,0,127]
["04:45","05:00",0,0,0,0,0,141,0,54,0,0,0,127]
["05:00","05:15",0,0,0,0,0,290,0,0,0,45,35,128]
["05:15","05:30",0,0,0,0,0,290,0,0,0,45,35,128]
["05:30","05:45",0,0,0,0,0,290,0,0,0,45,35,128]
["05:45","06:00",0,0,0,0,0,290,0,0,0,45,35,128]
["06:00","06:15",0,0,0,0,0,0,0,0,0,45,35,0]
["06:15","06:30",89,0,0,0,0,0,0,0,0,45,35,0]
["06:30","06:45",224,0,0,0,0,0,0,0,0,45,35,0]
["06:45","07:00",200,0,0,154,0,0,0,0,0,45,35,0]
["07:00","07:15",0,0,0,0,0,0,50,0,0,35,0,0]
["07:15","07:30",0,0,40,0,0,0,50,0,0,35,0,0]
["07:30","07:45",0,0,60,0,0,0,50,0,0,35,0,0]
["07:45","08:00",4,0,86,0,0,0,50,0,0,35,0,0]
["08:00","08:15",0,0,86,0,0,0,50,0,0,35,0,0]
["08:15","08:30",0,0,96,0,0,0,50,0,0,35,0,0]
["08:30","08:45",0,0,96,0,0,0,50,0,0,35,0,0]
["08:45","09:00",0,25,96,45,0,0,50,0,0,35,0,0]
["09:00","09:15",0,61,99,6,0,0,50,0,0,35,0,0]
["09:15","09:30",121,61,99,0,0,0,50,0,0,35,0,0]
["09:30","09:45",121,61,99,0,0,0,50,0,0,35,0,0]
["09:45","10:00",122,61,99,0,0,0,50,0,0,35,0,0]
["10:00","10:15",64,74,99,0,0,0,70,0,0,35,0,0]
["10:15","10:30",64,74,99,0,0,0,70,0,0,35,0,0]
["10:30","10:45",71,74,99,0,0,0,70,0,0,35,0,0]
["10:45","11:00",151,74,99,0,0,0,70,0,0,35,0,0]
["11:00","11:15",63,74,99,0,0,0,70,0,80,35,0,0]
["11:15","11:30",63,74,99,0,0,0,70,0,80,35,0,0]
["11:30","11:45",63,74,99,0,0,0,70,0,80,35,0,0]
["11:45","12:00",63,74,99,0,0,0,70,0,80,35,0,0]
["12:00","12:15",43,94,99,0,0,0,50,0,110,35,0,0]
["12:15","12:30",43,94,99,0,0,0,50,0,110,35,0,0]
["12:30","12:45",43,94,99,0,0,0,50,0,110,35,0,0]
["12:45","13:00",43,94,99,0,0,0,50,0,110,35,0,0]
["13:00","13:15",43,94,99,0,0,0,50,0,136,35,0,0]
["13:15","13:30",43,94,99,0,0,0,50,0,136,35,0,0]
["13:30","13:45",43,94,99,0,0,0,50,0,136,35,0,0]
["13:45","14:00",43,94,99,0,0,0,50,0,136,35,0,0]
["14:00","14:15",0,137,99,0,0,0,0,0,0,35,0,0]
["14:15","14:30",0,137,99,0,0,0,0,0,0,35,0,0]
["14:30","14:45",0,137,99,0,0,0,0,0,0,35,0,0]
["14:45","15:00",0,137,99,0,0,0,0,0,0,35,0,0]
["15:00","15:15",0,137,99,0,0,0,0,0,0,35,0,0]
["15:15","15:30",0,137,99,0,0,0,0,0,0,35,0,0]
["15:30","15:45",0,137,99,0,0,0,0,0,0,35,0,0]
["15:45","16:00",0,137,99,0,0,0,0,0,0,35,0,0]
["16:00","16:15",80,137,50,0,49,0,0,0,0,35,0,0]
["16:15","16:30",0,137,50,0,49,0,0,0,0,35,0,0]
["16:30","16:45",0,137,50,0,49,0,0,0,0,35,0,0]
["16:45","17:00",0,137,50,0,49,0,0,0,0,35,0,0]
["17:00","17:15",0,137,50,0,49,0,0,0,0,45,0,0]
["17:15","17:30",0,137,50,0,49,0,0,0,0,45,0,0]
["17:30","17:45",0,137,50,0,49,0,0,0,0,45,0,0]
["17:45","18:00",0,137,50,0,49,0,0,0,0,45,0,0]
["18:00","18:15",0,137,50,0,49,0,0,0,0,45,0,0]
["18:15","18:30",0,137,50,0,49,0,0,0,0,45,0,0]
["18:30","18:45",0,137,50,0,49,0,0,0,0,45,0,0]
["18:45","19:00",0,137,50,0,49,0,0,0,0,45,0,0]
["19:00","19:15",65,137,50,0,49,0,0,0,0,45,0,0]
["19:15","19:30",65,137,50,0,49,0,0,0,0,45,0,0]
["19:30","19:45",65,137,50,0,49,0,0,0,0,45,0,0]
["19:45","20:00",0,137,50,0,49,0,0,0,0,45,0,0]
["20:00","20:15",95,137,50,0,49,0,0,0,0,45,0,0]
["20:15","20:30",45,137,50,0,49,0,0,0,0,45,0,0]
["20:30","20:45",0,137,50,0,49,0,0,0,0,45,0,0]
["20:45","21:00",90,137,50,0,49,0,0,0,0,45,0,0]
["21:00","21:15",0,137,50,0,49,1,0,0,0,10,0,0]
["21:15","21:30",0,137,50,0,49,1,0,0,0,10,0,0]
["21:30","21:45",0,70,50,0,49,1,0,0,0,10,0,0]
["21:45","22:00",0,70,50,0,0,1,0,0,0,10,0,0]
["22:00","22:15",0,0,0,0,0,95,0,30,0,40,0,0]
["22:15","22:30",0,0,0,0,0,95,0,60,0,40,0,0]
["22:30","22:45",0,0,0,0,0,95,0,60,0,40,0,0]
["22:45","23:00",0,0,0,0,0,95,0,60,0,40,0,0]
["23:00","23:15",0,0,0,0,0,251,0,145,0,45,0,119]
["23:15","23:30",0,0,0,0,0,251,0,145,0,45,0,119]
["23:30","23:45",0,0,0,0,0,251,0,145,0,45,0,119]
["23:45","24:00",0,0,0,0,0,251,0,145,0,45,0,119]