{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":16,"rows_kept":106}
[null,"Datum","24.10.2025","24.10.2025","24.10.2025","24.10.2025","24.10.2025","24.10.2025","24.10.2025","24.10.2025","24.10.2025","24.10.2025","24.10.2025","24.10.2025","24.10.2025","24.10.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Markersbach (Standort)","50H OWP Wikinger","50H OWP Baltic Eagle","50H UW Putlitz","50H OWP Arkona","50H UW Wessin","50H UW Schönewalde","50H UW Bertikow","Schwarze Pumpe (Standort)","50H Neubrandenburg GuD","50H Rostock Marienehe","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","50H Hamburg Wedel1"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":300,"d":"300.00"},840.25,{"v":2212.5,"d":"2212.50"},{"v":537,"d":"537.00"},{"v":1047,"d":"1047.00"},{"v":556.5,"d":"556.50"},232.75,{"v":117,"d":"117.00"},{"v":528,"d":"528.00"},112.75,{"v":204,"d":"204.00"},{"v":64,"d":"64.00"},{"v":344,"d":"344.00"},{"v":357,"d":"357.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,0,0,5]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,0,0,5]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,0,0,5]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,0,0,5]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0,0,0,27]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0,0,0,27]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0,0,0,27]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0,0,0,27]
["06:00","06:15",0,0,0,0,0,0,0,0,0,2,0,0,0,35]
["06:15","06:30",0,0,0,0,0,0,0,0,0,2,0,0,0,35]
["06:30","06:45",0,0,0,0,0,0,0,0,0,2,0,0,0,35]
["06:45","07:00",0,50,50,0,50,0,0,0,0,2,0,0,0,35]
["07:00","07:15",0,127,188,135,229,58,150,100,0,8,24,0,0,19]
["07:15","07:30",0,160,191,132,229,58,150,100,0,16,24,0,0,19]
["07:30","07:45",0,160,194,129,229,58,150,100,0,24,24,0,0,19]
["07:45","08:00",0,204,193,130,288,58,150,100,0,24,24,0,0,19]
["08:00","08:15",0,100,100,0,150,55,0,50,171,24,36,64,265,23]
["08:15","08:30",0,0,64,0,0,55,0,0,171,24,36,64,265,23]
["08:30","08:45",0,0,64,0,0,55,0,0,171,24,36,64,265,23]
["08:45","09:00",0,0,64,0,0,55,0,0,171,24,36,64,265,23]
["09:00","09:15",0,0,12,0,0,55,0,0,357,24,24,0,79,13]
["09:15","09:30",0,0,12,0,0,55,0,0,357,20,24,0,79,13]
["09:30","09:45",0,0,12,0,0,55,0,0,357,12,24,0,79,13]
["09:45","10:00",0,0,12,0,0,55,0,0,357,6,24,0,79,13]
["10:00","10:15",0,0,0,117,0,60,0,0,0,0,0,0,0,8]
["10:15","10:30",0,0,0,121,0,60,0,0,0,0,0,0,0,8]
["10:30","10:45",0,0,0,124,0,60,0,0,0,0,0,0,0,8]
["10:45","11:00",0,0,0,126,0,60,0,0,0,0,0,0,0,8]
["11:00","11:15",0,0,0,0,0,0,0,0,0,0,0,0,0,9]
["11:15","11:30",0,0,0,0,0,0,0,0,0,0,0,0,0,9]
["11:30","11:45",0,0,0,0,0,0,0,0,0,0,0,0,0,9]
["11:45","12:00",0,0,0,0,0,0,0,0,0,0,0,0,0,9]
["12:00","12:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:15","12:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:30","12:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:45","13:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:00","13:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:15","13:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:30","13:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:45","14:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:00","14:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:15","14:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:30","14:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:45","15:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["15:00","15:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["15:15","15:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["15:30","15:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["15:45","16:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["16:00","16:15",0,0,0,0,0,0,0,0,0,0,0,0,0,40]
["16:15","16:30",0,0,0,0,0,0,0,0,0,0,0,0,0,40]
["16:30","16:45",0,0,0,0,0,0,0,0,0,0,0,0,0,40]
["16:45","17:00",0,0,0,0,0,0,0,0,0,0,0,0,0,40]
["17:00","17:15",0,0,0,0,0,0,0,0,0,8,24,0,0,42]
["17:15","17:30",0,0,0,0,0,0,0,0,0,15,24,0,0,42]
["17:30","17:45",0,0,0,0,0,0,0,0,0,15,24,0,0,42]
["17:45","18:00",0,0,234,131,0,0,0,0,0,15,24,0,0,42]
["18:00","18:15",200,5,266,131,352,67,0,0,0,24,36,0,0,42]
["18:15","18:30",200,5,343,130,352,66,0,0,0,24,36,0,0,42]
["18:30","18:45",200,107,349,128,352,64,0,0,0,24,36,0,0,42]
["18:45","19:00",200,200,349,126,352,63,0,0,0,24,36,0,0,42]
["19:00","19:15",0,206,239,124,352,61,0,0,0,24,36,0,0,35]
["19:15","19:30",0,205,242,122,353,60,0,0,0,20,36,0,0,35]
["19:30","19:45",0,205,243,121,353,60,0,0,0,12,36,0,0,35]
["19:45","20:00",0,204,243,121,354,60,0,0,0,8,36,0,0,35]
["20:00","20:15",200,100,237,0,193,59,0,0,0,0,24,0,0,31]
["20:15","20:30",200,0,231,0,0,58,0,0,0,0,24,0,0,31]
["20:30","20:45",0,0,337,0,0,56,172,18,0,0,24,0,0,31]
["20:45","21:00",0,0,337,0,0,55,159,0,0,0,24,0,0,31]
["21:00","21:15",0,100,337,0,0,53,0,0,0,0,0,0,0,19]
["21:15","21:30",0,94,337,0,0,53,0,0,0,0,0,0,0,19]
["21:30","21:45",0,95,337,0,0,52,0,0,0,0,0,0,0,19]
["21:45","22:00",0,96,337,0,0,51,0,0,0,0,0,0,0,19]
["22:00","22:15",0,97,337,0,0,50,0,0,0,0,0,0,0,9]
["22:15","22:30",0,98,337,0,0,49,0,0,0,0,0,0,0,9]
["22:30","22:45",0,98,337,0,0,49,0,0,0,0,0,0,0,9]
["22:45","23:00",0,99,337,0,0,48,0,0,0,0,0,0,0,9]
["23:00","23:15",0,238,337,0,0,46,0,0,0,0,0,0,0,0]
["23:15","23:30",0,109,337,0,0,45,0,0,0,0,0,0,0,0]
["23:30","23:45",0,99,337,0,0,45,0,0,0,0,0,0,0,0]
["23:45","24:00",0,100,337,0,0,44,0,0,0,0,0,0,0,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":6,"rows_kept":106}
[null,"Datum","24.10.2025","24.10.2025","24.10.2025","24.10.2025"]
[null,"GM-Art","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz","50Hertz"]
[null,"Ursache","I","I","I","I"]
[null,"überlastetes Netzelement","50H / 220kV / Parchim/Süd / 203 & 50H / 380kV / Lauchstädt / 413 & 50H / 380kV / Pasewalk / Tr. 412","50H / 220kV / Parchim/Süd / 203 & 50H / 380kV / Lauchstädt / 413 & 50H / 380kV / Pasewalk / Tr. 412","50H / 220kV / Parchim/Süd / 203 & 50H / 380kV / Lauchstädt / 413 & 50H / 380kV / Pasewalk / Tr. 412","50H / 220kV / Parchim/Süd / 203 & 50H / 380kV / Lauchstädt / 413 & 50H / 380kV / Pasewalk / Tr. 412"]
[null,"auslösendes Netzelement","50H / 380kV / Lauchstädt / 411 & 50H / 380kV / Pasewalk / Tr. 413 & Grundfall","50H / 380kV / Lauchstädt / 411 & 50H / 380kV / Pasewalk / Tr. 413 & Grundfall","50H / 380kV / Lauchstädt / 411 & 50H / 380kV / Pasewalk / Tr. 413 & Grundfall","50H / 380kV / Lauchstädt / 411 & 50H / 380kV / Pasewalk / Tr. 413 & Grundfall"]
[null,"AO Klarname","50H_EDIS_CR_PAS","50H_MNS_CR_LAU_Nord","50H_WEMA_CR_PMS","CROC Cluster Parchim Süd"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":2850,"d":"2850.00"},{"v":587.5,"d":"587.50"},{"v":60,"d":"60.00"},{"v":96.3685,"d":"96.37"}]
["00:00","00:15",250,0,0,0]
["00:15","00:30",250,0,0,0]
["00:30","00:45",250,50,0,0]
["00:45","01:00",250,50,0,0]
["01:00","01:15",250,50,0,0]
["01:15","01:30",200,50,0,0]
["01:30","01:45",200,50,0,0]
["01:45","02:00",200,50,0,0]
["02:00","02:15",200,100,0,0]
["02:15","02:30",200,100,0,0]
["02:30","02:45",200,100,0,0]
["02:45","03:00",200,100,0,0]
["03:00","03:15",150,100,0,0]
["03:15","03:30",100,100,0,0]
["03:30","03:45",100,50,0,0]
["03:45","04:00",50,50,0,0]
["04:00","04:15",0,50,0,0]
["04:15","04:30",0,50,0,0]
["04:30","04:45",0,50,0,0]
["04:45","05:00",0,50,0,0]
["05:00","05:15",0,0,0,0]
["05:15","05:30",0,0,0,0]
["05:30","05:45",0,0,0,0]
["05:45","06:00",0,0,0,0]
["06:00","06:15",50,0,0,0]
["06:15","06:30",50,50,0,0]
["06:30","06:45",50,50,0,0]
["06:45","07:00",50,50,0,0]
["07:00","07:15",50,50,0,0]
["07:15","07:30",0,0,0,0]
["07:30","07:45",0,0,0,0]
["07:45","08:00",0,0,0,0]
["08:00","08:15",0,0,0,0]
["08:15","08:30",0,0,0,0]
["08:30","08:45",0,0,0,0]
["08:45","09:00",0,0,0,0]
["09:00","09:15",0,0,0,0]
["09:15","09:30",0,0,0,0]
["09:30","09:45",0,0,0,0]
["09:45","10:00",0,0,0,0]
["10:00","10:15",0,50,0,6.62]
["10:15","10:30",0,50,0,7.716]
["10:30","10:45",0,50,0,8.744]
["10:45","11:00",50,50,0,13.944]
["11:00","11:15",100,50,0,14.958]
["11:15","11:30",100,50,0,16.284]
["11:30","11:45",100,50,0,17.614]
["11:45","12:00",150,50,0,18.674]
["12:00","12:15",150,50,0,19.196]
["12:15","12:30",150,50,0,19.607]
["12:30","12:45",150,50,0,24.506]
["12:45","13:00",150,50,0,24.978]
["13:00","13:15",150,50,0,21.74]
["13:15","13:30",150,50,0,22.565]
["13:30","13:45",150,50,0,23.029]
["13:45","14:00",150,50,0,23.255]
["14:00","14:15",150,50,0,23.274]
["14:15","14:30",150,50,0,22.928]
["14:30","14:45",100,50,0,21.857]
["14:45","15:00",100,0,0,8.749]
["15:00","15:15",100,0,0,0]
["15:15","15:30",100,0,0,0]
["15:30","15:45",150,0,0,0]
["15:45","16:00",150,0,20,7.137]
["16:00","16:15",150,0,20,5.968]
["16:15","16:30",150,0,20,4.987]
["16:30","16:45",150,0,20,4.038]
["16:45","17:00",150,0,20,3.106]
["17:00","17:15",200,0,20,0]
["17:15","17:30",200,0,20,0]
["17:30","17:45",200,0,20,0]
["17:45","18:00",200,0,20,0]
["18:00","18:15",200,0,20,0]
["18:15","18:30",200,0,20,0]
["18:30","18:45",200,0,20,0]
["18:45","19:00",200,0,0,0]
["19:00","19:15",200,0,0,0]
["19:15","19:30",200,0,0,0]
["19:30","19:45",200,0,0,0]
["19:45","20:00",200,0,0,0]
["20:00","20:15",150,0,0,0]
["20:15","20:30",150,0,0,0]
["20:30","20:45",150,0,0,0]
["20:45","21:00",150,0,0,0]
["21:00","21:15",150,0,0,0]
["21:15","21:30",150,0,0,0]
["21:30","21:45",150,0,0,0]
["21:45","22:00",150,0,0,0]
["22:00","22:15",150,0,0,0]
["22:15","22:30",150,0,0,0]
["22:30","22:45",150,0,0,0]
["22:45","23:00",150,0,0,0]
["23:00","23:15",150,0,0,0]
["23:15","23:30",150,0,0,0]
["23:30","23:45",150,0,0,0]
["23:45","24:00",150,0,0,0]