{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":33,"rows_kept":106}
[null,"Datum","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025","14.12.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD1","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","TenneT DE","TenneT DE","TenneT DE","TenneT DE","TenneT DE","TenneT DE","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Schwarze Pumpe (Standort)","Lippendorf VE","50H UW Schönewalde","50H OWP Baltic Eagle","50H OWP Wikinger","50H OWP Arkona","50H Berlin Mitte","50H Berlin Marzahn","Lippendorf VE","Schkopau","50H Berlin Marzahn","Lippendorf VE","Jänschwalde (Standort)","Lippendorf VE","Rostock Kohlekraftwerk","Schkopau","Boxberg (Standort)","Jänschwalde (Standort)","50H InfraLeuna IKW","50H Berlin Lichterfelde","50H Berlin Marzahn","50H Hamburg Wedel1","Rostock Kohlekraftwerk","50H InfraLeuna IKW","50H Berlin Lichterfelde","Lippendorf VE","50H Berlin Marzahn","Rostock Kohlekraftwerk","50H Hamburg Tiefstack 2 HKW SK","Boxberg (Standort)","Jänschwalde (Standort)"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":800,"d":"800.00"},{"v":925,"d":"925.00"},{"v":30,"d":"30.00"},{"v":145,"d":"145.00"},{"v":50,"d":"50.00"},{"v":50,"d":"50.00"},{"v":291,"d":"291.00"},{"v":453,"d":"453.00"},{"v":550,"d":"550.00"},343.25,{"v":23,"d":"23.00"},{"v":675,"d":"675.00"},{"v":364,"d":"364.00"},{"v":5357,"d":"5357.00"},{"v":5755,"d":"5755.00"},{"v":682,"d":"682.00"},{"v":50,"d":"50.00"},{"v":2074,"d":"2074.00"},{"v":11,"d":"11.00"},{"v":423,"d":"423.00"},{"v":453,"d":"453.00"},{"v":1397,"d":"1397.00"},{"v":35,"d":"35.00"},{"v":285,"d":"285.00"},{"v":20,"d":"20.00"},{"v":1731,"d":"1731.00"},{"v":31,"d":"31.00"},{"v":5047,"d":"5047.00"},{"v":1253,"d":"1253.00"},{"v":1206,"d":"1206.00"},{"v":2433,"d":"2433.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,0,0,0,86,0,0,0,0,5,49,100,0,0,0,0,0,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,0,0,0,86,0,0,0,0,5,49,100,0,0,0,0,0,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,0,0,0,86,0,0,0,0,5,49,100,0,0,0,0,0,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,0,0,86,0,0,0,0,5,49,100,0,0,0,0,0,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0,0,0,377,0,0,0,155,6,0,50,0,0,0,0,0,0,56,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0,0,0,377,0,0,0,155,6,0,50,0,0,0,0,0,0,56,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0,0,0,377,0,0,0,155,6,0,50,0,0,0,0,0,0,56,0,0,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0,0,0,377,0,0,0,155,6,0,50,0,0,0,0,0,0,56,0,0,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0,0,0,309,0,0,0,242,0,0,0,0,0,0,0,110,0,136,91,0,30]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,0,0,309,0,0,0,242,0,0,0,0,0,0,0,110,0,136,91,0,30]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,0,0,309,0,0,0,242,0,0,0,0,0,0,0,110,0,136,91,0,30]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,0,0,309,0,0,0,242,0,0,0,0,0,0,0,110,0,136,91,0,30]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,0,0,370,260,34,0,270,0,0,0,19,0,0,4,199,0,216,92,0,58]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,0,0,370,260,34,0,270,0,0,0,19,0,0,4,199,0,216,92,0,58]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,0,0,370,260,34,0,270,0,0,0,19,0,0,4,199,0,216,92,0,58]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,0,0,370,260,34,0,270,0,0,0,19,0,0,4,199,0,216,92,0,58]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,0,0,370,260,165,0,270,0,0,0,43,0,0,4,201,0,254,90,288,58]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,0,0,370,260,165,0,270,0,0,0,43,0,0,4,201,0,254,90,288,58]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,0,0,370,260,165,0,270,0,0,0,43,0,0,4,201,0,254,90,288,58]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,0,0,370,260,165,0,270,0,0,0,43,0,0,4,201,0,254,90,288,58]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0,0,0,370,330,165,0,270,0,0,0,70,0,0,4,201,0,184,88,288,58]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0,0,0,370,330,165,0,270,0,0,0,70,0,0,4,201,0,184,88,288,58]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0,0,0,370,330,165,0,270,0,0,0,70,0,0,4,201,0,184,88,288,58]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0,0,0,370,330,165,0,270,0,0,0,70,0,0,4,201,0,184,88,288,58]
["06:00","06:15",0,0,0,0,0,0,0,0,0,0,0,0,0,370,410,119,0,270,0,0,0,75,0,0,4,201,31,104,76,290,58]
["06:15","06:30",0,0,0,0,0,0,0,0,0,0,0,0,0,370,410,119,0,270,0,0,0,75,0,0,4,201,31,104,76,290,58]
["06:30","06:45",0,0,0,0,0,0,0,0,0,0,0,0,0,370,410,119,0,270,0,0,0,75,0,0,4,201,31,104,76,290,58]
["06:45","07:00",0,0,0,0,0,0,0,0,0,0,0,0,0,370,410,119,0,270,0,0,0,75,0,0,4,201,31,104,76,290,58]
["07:00","07:15",0,0,0,0,0,0,0,0,0,0,11,123,0,370,330,79,0,234,0,0,0,75,0,0,0,78,0,184,49,290,94]
["07:15","07:30",0,0,0,0,0,0,0,0,0,0,11,123,0,370,330,79,0,234,0,0,0,75,0,0,0,78,0,184,49,290,94]
["07:30","07:45",0,0,0,0,0,0,0,0,0,0,11,123,0,370,330,79,0,234,0,0,0,75,0,0,0,78,0,184,49,290,94]
["07:45","08:00",0,0,0,0,0,0,0,0,0,0,11,123,0,370,330,79,0,234,0,0,0,75,0,0,0,78,0,184,49,290,94]
["08:00","08:15",0,0,0,0,0,0,0,0,0,0,0,201,165,370,260,0,0,0,0,50,0,75,0,0,0,0,0,248,42,0,234]
["08:15","08:30",0,0,0,0,0,0,0,0,0,0,0,201,165,370,260,0,0,0,0,50,0,75,0,0,0,0,0,248,42,0,234]
["08:30","08:45",0,0,0,0,0,0,0,0,0,0,0,201,165,370,260,0,0,0,0,50,0,75,0,0,0,0,0,248,42,0,234]
["08:45","09:00",0,0,0,0,0,0,0,0,0,0,0,201,165,370,260,0,0,0,0,50,0,75,0,0,0,0,0,248,42,0,234]
["09:00","09:15",0,0,0,0,0,0,0,0,0,0,0,201,0,370,260,0,0,120,0,10,0,75,0,2,0,0,0,248,37,0,205]
["09:15","09:30",0,0,0,0,0,0,0,0,0,0,0,201,0,370,260,0,0,120,0,10,0,75,0,2,0,0,0,248,37,0,205]
["09:30","09:45",0,0,0,0,0,0,0,0,0,0,0,201,0,370,260,0,0,120,0,10,0,75,0,2,0,0,0,248,37,0,205]
["09:45","10:00",0,0,0,0,0,0,0,0,0,0,0,201,0,370,260,0,0,120,0,10,0,75,0,2,0,0,0,248,37,0,205]
["10:00","10:15",0,0,0,0,0,0,0,0,0,0,0,150,124,370,265,0,0,0,0,60,0,82,0,0,0,51,0,243,39,0,268]
["10:15","10:30",0,0,0,0,0,0,0,0,0,0,0,150,124,370,265,0,0,0,0,60,0,82,0,0,0,51,0,243,39,0,268]
["10:30","10:45",0,0,0,0,0,0,0,0,0,0,0,150,124,370,265,0,0,0,0,60,0,82,0,0,0,51,0,243,39,0,268]
["10:45","11:00",0,0,0,0,0,0,0,0,0,0,0,150,124,370,265,0,0,0,0,60,0,82,0,0,0,51,0,243,39,0,268]
["11:00","11:15",0,0,0,0,0,0,0,0,0,0,12,0,75,250,260,0,0,0,0,110,50,91,0,32,0,201,0,248,44,0,257]
["11:15","11:30",0,0,0,0,0,0,0,0,0,0,12,0,75,250,260,0,0,0,0,110,50,91,0,32,0,201,0,248,44,0,257]
["11:30","11:45",0,0,0,0,0,0,0,0,0,0,12,0,75,250,260,0,0,0,0,110,50,67,24,32,0,201,0,248,44,0,257]
["11:45","12:00",0,0,0,0,0,0,0,0,0,0,12,0,75,250,260,0,0,0,0,110,50,67,24,32,0,201,0,248,44,0,257]
["12:00","12:15",0,0,0,0,0,0,0,0,0,0,0,0,0,215,260,0,0,0,0,60,0,67,23,32,0,171,0,248,45,0,217]
["12:15","12:30",0,0,0,0,0,0,0,0,0,0,0,0,0,215,260,0,0,0,0,60,0,67,23,32,0,171,0,248,45,0,217]
["12:30","12:45",0,0,0,0,0,0,0,0,0,0,0,0,0,215,260,0,0,0,0,60,0,67,23,32,0,171,0,248,45,0,217]
["12:45","13:00",0,0,0,0,0,0,0,0,0,0,0,0,0,215,260,0,0,0,0,60,0,67,23,32,0,171,0,248,45,0,217]
["13:00","13:15",50,200,30,220,0,0,0,0,0,0,0,0,0,215,260,0,0,50,0,28,23,67,0,32,0,171,0,248,45,0,200]
["13:15","13:30",100,200,30,170,0,0,0,0,0,0,0,0,0,215,260,0,0,50,0,28,23,67,0,32,0,171,0,248,45,0,200]
["13:30","13:45",150,200,30,120,0,0,0,0,0,0,0,0,0,215,260,0,0,50,0,28,23,67,0,32,0,171,0,248,45,0,200]
["13:45","14:00",200,200,30,70,0,0,0,0,0,0,0,0,0,215,260,0,0,50,0,28,23,67,0,32,0,171,0,248,45,0,200]
["14:00","14:15",250,250,0,0,0,0,0,0,0,0,0,0,0,215,260,0,0,0,0,0,23,67,0,32,4,147,0,248,44,0,156]
["14:15","14:30",250,250,0,0,0,0,0,0,0,0,0,0,0,215,260,0,0,0,0,0,23,67,0,32,4,147,0,248,44,0,156]
["14:30","14:45",250,250,0,0,0,0,0,0,0,0,0,0,0,215,260,0,0,0,0,0,23,67,0,32,4,147,0,248,44,0,156]
["14:45","15:00",250,250,0,0,0,0,0,0,0,0,0,0,0,215,260,0,0,0,0,0,23,67,0,32,4,147,0,248,44,0,156]
["15:00","15:15",250,250,0,0,0,0,0,0,0,0,0,0,0,0,260,0,0,0,0,0,23,67,0,32,0,0,0,248,41,0,0]
["15:15","15:30",250,250,0,0,0,0,0,0,0,0,0,0,0,0,260,0,0,0,0,0,23,67,0,32,0,0,0,248,41,0,0]
["15:30","15:45",250,250,0,0,0,0,0,0,0,0,0,0,0,0,260,0,0,0,0,0,23,67,0,32,0,0,0,248,41,0,0]
["15:45","16:00",250,250,0,0,0,0,0,0,0,0,0,0,0,0,260,0,0,0,0,0,23,67,0,32,0,0,0,248,41,0,0]
["16:00","16:15",250,250,0,0,0,0,0,0,0,0,0,0,0,0,260,0,0,0,0,0,23,67,0,32,0,0,0,248,29,0,0]
["16:15","16:30",250,250,0,0,0,0,0,0,0,0,0,0,0,0,260,0,0,0,0,0,23,67,0,32,0,0,0,248,29,0,0]
["16:30","16:45",150,250,0,0,50,50,0,0,0,0,0,0,0,0,260,0,0,0,0,0,23,67,0,32,0,0,0,248,29,0,0]
["16:45","17:00",50,150,0,0,150,150,0,0,0,0,0,0,0,0,260,0,0,0,0,0,23,67,0,32,0,0,0,248,29,0,0]
["17:00","17:15",0,0,0,0,0,0,47,50,0,0,0,0,0,0,260,0,0,0,0,0,23,67,0,27,0,0,0,248,28,0,0]
["17:15","17:30",0,0,0,0,0,0,47,50,0,0,0,0,0,0,260,0,0,0,0,0,23,67,0,27,0,0,0,248,28,0,0]
["17:30","17:45",0,0,0,0,0,0,47,50,0,0,0,0,0,0,260,0,0,0,0,0,23,67,0,27,0,0,0,248,28,0,0]
["17:45","18:00",0,0,0,0,0,0,47,50,0,0,0,0,0,0,260,0,0,0,0,0,23,67,0,27,0,0,0,248,28,0,0]
["18:00","18:15",0,0,0,0,0,0,16,50,200,75,0,0,0,0,260,0,0,0,0,18,23,67,0,32,0,0,0,248,36,0,0]
["18:15","18:30",0,0,0,0,0,0,16,50,200,131,0,0,0,0,260,0,0,0,0,18,23,67,0,32,0,0,0,248,36,0,0]
["18:30","18:45",0,0,0,0,0,0,16,50,200,131,0,0,0,0,260,0,0,0,0,18,23,67,0,32,0,0,0,248,36,0,0]
["18:45","19:00",0,0,0,0,0,0,16,50,200,131,0,0,0,0,260,0,0,0,0,18,23,67,0,32,0,0,0,248,36,0,0]
["19:00","19:15",0,0,0,0,0,0,0,50,350,131,0,0,0,0,260,0,0,0,0,24,23,67,0,32,0,0,0,254,44,0,0]
["19:15","19:30",0,0,0,0,0,0,0,50,350,131,0,0,0,0,260,0,0,0,0,24,23,67,0,32,0,0,0,254,44,0,0]
["19:30","19:45",0,0,0,0,0,0,0,50,350,131,0,0,0,0,260,0,0,0,0,24,23,67,0,32,0,0,0,254,44,0,0]
["19:45","20:00",0,0,0,0,0,0,0,50,350,131,0,0,0,0,260,0,0,0,0,24,23,67,0,32,0,0,0,254,44,0,0]
["20:00","20:15",0,0,0,0,0,0,6,94,0,102,0,0,0,0,260,0,0,0,0,0,23,67,0,0,0,0,0,174,51,0,0]
["20:15","20:30",0,0,0,0,0,0,6,94,0,102,0,0,0,0,260,0,0,0,0,0,23,67,0,0,0,0,0,174,51,0,0]
["20:30","20:45",0,0,0,0,0,0,6,94,0,102,0,0,0,0,260,0,0,0,0,0,23,67,0,0,0,0,0,174,51,0,0]
["20:45","21:00",0,0,0,0,0,0,6,94,0,75,0,0,0,0,260,0,0,0,0,0,23,67,0,0,0,0,0,174,51,0,0]
["21:00","21:15",0,0,0,0,0,0,46,104,0,0,0,0,0,150,260,0,0,193,0,0,23,67,0,0,0,0,0,254,67,0,0]
["21:15","21:30",0,0,0,0,0,0,46,104,0,0,0,0,0,150,260,0,0,193,0,0,23,67,0,0,0,0,0,254,67,0,0]
["21:30","21:45",0,0,0,0,0,0,46,104,0,0,0,0,0,150,260,0,0,193,0,0,23,67,0,0,0,0,0,254,67,0,0]
["21:45","22:00",0,0,0,0,0,0,46,104,0,0,0,0,0,150,260,0,0,193,0,0,23,67,0,0,0,0,0,254,67,0,0]
["22:00","22:15",0,0,0,0,0,0,83,51,0,0,0,0,0,300,260,0,0,0,0,14,23,67,0,0,0,0,0,254,88,0,270]
["22:15","22:30",0,0,0,0,0,0,83,51,0,0,0,0,0,300,260,0,0,0,0,14,23,67,0,0,0,0,0,254,88,0,270]
["22:30","22:45",0,0,0,0,0,0,83,51,0,0,0,0,0,300,260,0,0,0,0,14,23,67,0,0,0,0,0,254,88,0,270]
["22:45","23:00",0,0,0,0,0,0,83,51,0,0,0,0,0,300,260,0,0,0,0,14,23,67,0,0,0,0,0,254,88,0,270]
["23:00","23:15",0,0,0,0,0,0,93,54,0,0,0,0,0,280,260,120,50,0,0,0,23,67,0,0,0,0,0,254,87,50,270]
["23:15","23:30",0,0,0,0,0,0,93,54,0,0,0,0,0,280,260,120,50,0,0,0,23,67,0,0,0,0,0,254,87,50,270]
["23:30","23:45",0,0,0,0,0,0,93,54,0,0,0,0,0,280,260,120,50,0,0,0,23,67,0,0,0,0,0,254,87,50,270]
["23:45","24:00",0,0,0,0,0,0,93,54,0,0,0,0,0,280,260,120,50,0,0,0,23,67,0,0,0,0,0,254,87,50,270]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":3,"rows_kept":106}
[null,"Datum","14.12.2025"]
[null,"GM-Art","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday"]
[null,"Anforderer","50Hertz"]
[null,"Ursache","I"]
[null,"überlastetes Netzelement","50H / 380kV / Pasewalk / Tr. 412"]
[null,"auslösendes Netzelement","50H / 380kV / Pasewalk / Tr. 413"]
[null,"AO Klarname","50H_EDIS_CR_PAS"]
[null,"Richtung","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":927.5,"d":"927.50"}]
["00:00","00:15",0]
["00:15","00:30",0]
["00:30","00:45",0]
["00:45","01:00",0]
["01:00","01:15",0]
["01:15","01:30",0]
["01:30","01:45",0]
["01:45","02:00",0]
["02:00","02:15",0]
["02:15","02:30",0]
["02:30","02:45",0]
["02:45","03:00",0]
["03:00","03:15",0]
["03:15","03:30",0]
["03:30","03:45",0]
["03:45","04:00",0]
["04:00","04:15",0]
["04:15","04:30",0]
["04:30","04:45",0]
["04:45","05:00",0]
["05:00","05:15",0]
["05:15","05:30",0]
["05:30","05:45",0]
["05:45","06:00",0]
["06:00","06:15",0]
["06:15","06:30",0]
["06:30","06:45",0]
["06:45","07:00",0]
["07:00","07:15",0]
["07:15","07:30",0]
["07:30","07:45",0]
["07:45","08:00",0]
["08:00","08:15",0]
["08:15","08:30",0]
["08:30","08:45",0]
["08:45","09:00",0]
["09:00","09:15",0]
["09:15","09:30",0]
["09:30","09:45",0]
["09:45","10:00",0]
["10:00","10:15",0]
["10:15","10:30",0]
["10:30","10:45",0]
["10:45","11:00",70]
["11:00","11:15",70]
["11:15","11:30",70]
["11:30","11:45",70]
["11:45","12:00",70]
["12:00","12:15",70]
["12:15","12:30",70]
["12:30","12:45",70]
["12:45","13:00",70]
["13:00","13:15",70]
["13:15","13:30",70]
["13:30","13:45",70]
["13:45","14:00",70]
["14:00","14:15",70]
["14:15","14:30",70]
["14:30","14:45",70]
["14:45","15:00",70]
["15:00","15:15",70]
["15:15","15:30",70]
["15:30","15:45",70]
["15:45","16:00",70]
["16:00","16:15",70]
["16:15","16:30",70]
["16:30","16:45",70]
["16:45","17:00",70]
["17:00","17:15",70]
["17:15","17:30",70]
["17:30","17:45",70]
["17:45","18:00",70]
["18:00","18:15",70]
["18:15","18:30",70]
["18:30","18:45",70]
["18:45","19:00",70]
["19:00","19:15",70]
["19:15","19:30",70]
["19:30","19:45",70]
["19:45","20:00",70]
["20:00","20:15",70]
["20:15","20:30",70]
["20:30","20:45",70]
["20:45","21:00",70]
["21:00","21:15",70]
["21:15","21:30",70]
["21:30","21:45",70]
["21:45","22:00",70]
["22:00","22:15",70]
["22:15","22:30",70]
["22:30","22:45",70]
["22:45","23:00",70]
["23:00","23:15",70]
["23:15","23:30",70]
["23:30","23:45",70]
["23:45","24:00",70]