{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":24,"rows_kept":106}
[null,"Datum","12.11.2025","12.11.2025","12.11.2025","12.11.2025","12.11.2025","12.11.2025","12.11.2025","12.11.2025","12.11.2025","12.11.2025","12.11.2025","12.11.2025","12.11.2025","12.11.2025","12.11.2025","12.11.2025","12.11.2025","12.11.2025","12.11.2025","12.11.2025","12.11.2025","12.11.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz","50Hertz","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","U","U","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Röhrsdorf / Tr. 442","50H / 380kV / Röhrsdorf / Tr. 442","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","50H-CEPS / 380kV / Röhrsdorf - Hradec / 445","50H-CEPS / 380kV / Röhrsdorf - Hradec / 445","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Schwarze Pumpe (Standort)","Jänschwalde (Standort)","50H OWP Baltic Eagle","Börse","Lippendorf VE","Schwarze Pumpe (Standort)","50H OWP Baltic Eagle","50H OWP Wikinger","Jänschwalde (Standort)","Schkopau","Lippendorf VE","Schwarze Pumpe (Standort)","50H Dresden-Nossen","50H Berlin Marzahn","50H Berlin Mitte","50H Rostock Marienehe","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","50H Hamburg Wedel1","Börse","50H UW Bertikow"]
[null,"Richtung","SENKE","SENKE","SENKE","QUELLE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":400,"d":"400.00"},{"v":200,"d":"200.00"},{"v":150,"d":"150.00"},{"v":150,"d":"150.00"},{"v":1407,"d":"1407.00"},{"v":384,"d":"384.00"},{"v":3150,"d":"3150.00"},{"v":1017.5,"d":"1017.50"},{"v":252,"d":"252.00"},{"v":193,"d":"193.00"},{"v":142,"d":"142.00"},{"v":3955,"d":"3955.00"},{"v":495.7,"d":"495.70"},{"v":3387,"d":"3387.00"},{"v":2687,"d":"2687.00"},{"v":120,"d":"120.00"},{"v":168,"d":"168.00"},{"v":713,"d":"713.00"},{"v":1640,"d":"1640.00"},{"v":407.5,"d":"407.50"},{"v":21.5,"d":"21.50"},37.75]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,0,353,0,127,99,0,0,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,0,353,0,127,99,0,0,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,0,353,0,127,99,0,0,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,353,0,127,99,0,0,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0,430,0,127,53,0,0,0,142,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0,430,0,127,53,0,0,0,142,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0,430,0,127,53,0,0,0,142,0,0,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0,430,0,127,53,0,0,0,142,0,0,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0,456,0,127,104,0,0,0,137,2,0,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,456,0,127,104,0,0,0,137,2,0,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,456,0,127,104,0,0,0,137,2,0,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,456,0,127,104,0,0,0,137,2,0,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,664,45,127,104,0,0,0,94,14,0,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,664,45,127,104,0,0,0,94,14,0,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,664,45,127,104,0,0,0,94,14,0,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,664,45,127,104,0,0,0,94,14,0,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,879,36,147,103,0,0,0,626,39,0,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,879,36,147,103,0,0,0,626,39,0,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,879,36,147,103,0,0,0,626,39,0,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,879,36,147,103,0,0,0,626,39,0,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0,882,0,181,54,0,0,0,229,39,0,0]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0,882,0,181,54,0,0,0,229,28,0,11]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0,882,0,181,54,0,0,0,229,28,0,11]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0,882,0,181,54,0,0,0,229,28,0,11]
["06:00","06:15",0,0,0,0,0,0,0,0,0,0,0,291,0,131,54,0,0,0,0,28,0,11]
["06:15","06:30",0,0,0,0,0,0,0,0,0,0,0,291,0,131,54,0,0,0,0,28,0,11]
["06:30","06:45",0,0,0,0,0,0,0,0,0,0,0,291,0,131,54,0,0,0,0,28,0,11]
["06:45","07:00",0,0,0,0,0,0,0,0,0,0,0,291,0,131,54,0,0,0,0,28,0,11]
["07:00","07:15",0,0,0,0,0,0,0,0,0,0,0,0,36,181,125,0,0,51,0,28,0,11]
["07:15","07:30",0,0,0,0,0,0,0,0,0,0,0,0,36,181,125,0,0,51,0,28,0,11]
["07:30","07:45",0,0,0,0,0,0,0,0,0,0,0,0,36,181,125,0,0,51,0,39,0,0]
["07:45","08:00",0,0,0,0,0,0,0,0,0,0,0,0,36,181,125,0,0,51,0,39,0,0]
["08:00","08:15",0,0,0,0,0,0,0,0,0,0,0,0,0,181,140,0,0,0,0,0,0,0]
["08:15","08:30",0,0,0,0,0,0,0,0,0,0,0,0,0,181,140,0,0,0,0,0,0,0]
["08:30","08:45",0,0,0,0,0,0,0,0,0,0,0,0,0,181,140,0,0,0,0,0,0,0]
["08:45","09:00",0,0,0,0,0,0,0,0,0,0,0,0,0,181,140,0,0,0,0,0,0,0]
["09:00","09:15",0,0,0,0,0,0,0,0,200,134,0,0,36,181,137,0,51,0,0,0,0,0]
["09:15","09:30",0,0,0,0,0,0,0,0,200,134,0,0,36,181,137,0,51,0,0,0,0,0]
["09:30","09:45",0,0,0,0,0,0,0,0,200,134,0,0,36,181,137,0,51,0,0,0,0,0]
["09:45","10:00",0,0,0,0,0,0,0,0,200,134,0,0,36,181,137,0,51,0,0,0,0,0]
["10:00","10:15",0,0,150,150,0,0,0,0,52,59,140,0,1,182,135,0,0,0,0,0,0,0]
["10:15","10:30",0,0,150,150,0,0,0,0,52,59,142,0,1,182,135,0,0,0,0,0,0,0]
["10:30","10:45",0,0,150,150,0,0,0,0,52,59,143,0,1,182,135,0,0,0,0,0,0,0]
["10:45","11:00",0,0,150,150,0,0,0,0,52,59,143,0,1,182,135,0,0,0,0,0,0,0]
["11:00","11:15",0,0,0,0,0,0,200,0,0,0,0,0,70.7,0,0,0,0,0,0,0,0,0]
["11:15","11:30",0,0,0,0,0,0,200,0,0,0,0,0,70.7,0,0,0,0,0,0,0,0,0]
["11:30","11:45",0,0,0,0,0,0,200,0,0,0,0,0,70.7,0,0,0,0,0,0,0,0,0]
["11:45","12:00",0,0,0,0,0,0,200,0,0,0,0,0,70.7,0,0,0,0,0,0,0,0,0]
["12:00","12:15",0,0,0,0,0,0,200,0,0,0,0,0,47,0,0,0,0,0,0,0,0,0]
["12:15","12:30",0,0,0,0,0,0,200,0,0,0,0,0,47,0,0,0,0,0,0,0,0,0]
["12:30","12:45",0,0,0,0,0,0,200,0,0,0,0,0,47,0,0,0,0,0,0,0,0,0]
["12:45","13:00",0,0,0,0,0,0,200,0,0,0,0,0,47,0,0,0,0,0,0,0,0,0]
["13:00","13:15",0,0,0,0,137,0,250,0,0,0,0,0,0,147,44,0,0,0,0,0,0,0]
["13:15","13:30",0,0,0,0,137,0,250,0,0,0,0,0,0,147,44,0,0,0,0,0,0,0]
["13:30","13:45",0,0,0,0,137,0,250,0,0,0,0,0,0,147,44,0,0,0,0,0,0,0]
["13:45","14:00",0,0,0,0,137,0,250,0,0,0,0,0,0,147,44,0,0,0,0,0,0,0]
["14:00","14:15",0,0,0,0,0,0,250,0,0,0,0,0,0,147,89,0,0,1,0,25,0,0]
["14:15","14:30",0,0,0,0,0,0,250,0,0,0,0,0,0,147,89,0,0,1,0,25,0,0]
["14:30","14:45",0,0,0,0,0,0,250,0,0,0,0,0,0,147,89,0,0,1,0,25,0,0]
["14:45","15:00",0,0,0,0,0,0,250,0,0,0,0,0,0,147,89,0,0,1,0,25,0,0]
["15:00","15:15",0,0,0,0,0,0,250,0,0,0,0,0,36,182,163,40,0,195,35,32,0,0]
["15:15","15:30",0,0,0,0,0,0,250,10,0,0,0,0,36,182,163,40,0,195,35,32,0,0]
["15:30","15:45",0,0,0,0,0,0,250,20,0,0,0,0,36,182,163,40,0,195,35,32,0,0]
["15:45","16:00",0,0,0,0,0,0,250,20,0,0,0,0,36,182,163,40,0,195,35,32,0,0]
["16:00","16:15",0,0,0,0,57,0,250,30,0,0,0,0,0,182,232,40,0,52,103,65,0,1]
["16:15","16:30",0,0,0,0,57,0,250,40,0,0,0,0,0,182,232,40,0,52,103,60,0,1]
["16:30","16:45",0,0,0,0,57,0,250,50,0,0,0,0,0,182,232,40,0,52,103,60,5,1]
["16:45","17:00",0,0,0,0,57,0,250,50,0,0,0,0,0,182,232,40,0,52,103,60,5,1]
["17:00","17:15",0,0,0,0,78,0,250,40,0,0,0,0,0,182,285,40,0,106,165,88,4,12]
["17:15","17:30",0,0,0,0,78,0,250,40,0,0,0,0,0,182,285,40,0,106,165,88,4,12]
["17:30","17:45",0,0,0,0,78,0,250,70,0,0,0,0,0,182,285,40,0,106,165,88,4,12]
["17:45","18:00",0,0,0,0,78,0,250,90,0,0,0,0,0,182,285,40,0,106,165,88,4,12]
["18:00","18:15",200,100,0,0,228,0,250,140,0,0,0,0,0,182,144,0,0,103,55,54,0,0]
["18:15","18:30",200,100,0,0,228,0,250,160,0,0,0,0,0,182,144,0,0,103,55,54,0,0]
["18:30","18:45",200,100,0,0,228,0,250,170,0,0,0,0,0,182,144,0,0,103,55,54,0,0]
["18:45","19:00",200,100,0,0,228,0,250,180,0,0,0,0,0,182,144,0,0,103,55,54,0,0]
["19:00","19:15",200,100,0,0,386,0,250,190,0,0,0,0,0,182,128,0,0,116,9,0,0,0]
["19:15","19:30",200,100,0,0,386,0,250,200,0,0,0,0,0,182,128,0,0,116,9,0,0,0]
["19:30","19:45",200,100,0,0,386,0,250,200,0,0,0,0,0,182,128,0,0,116,9,0,0,0]
["19:45","20:00",200,100,0,0,386,0,250,200,0,0,0,0,0,182,128,0,0,116,9,0,0,0]
["20:00","20:15",0,0,0,0,291,199,250,190,0,0,0,0,36,182,178,0,0,89,0,0,0,0]
["20:15","20:30",0,0,0,0,291,199,250,190,0,0,0,0,36,182,178,0,0,89,0,0,0,0]
["20:30","20:45",0,0,0,0,291,199,250,180,0,0,0,0,36,182,178,0,0,89,0,0,0,0]
["20:45","21:00",0,0,0,0,291,199,250,170,0,0,0,0,36,182,178,0,0,89,0,0,0,0]
["21:00","21:15",0,0,0,0,180,185,250,160,0,0,0,0,76,182,194,0,0,0,45,0,9,0]
["21:15","21:30",0,0,0,0,180,185,250,160,0,0,0,0,76,182,194,0,0,0,45,0,9,0]
["21:30","21:45",0,0,0,0,180,185,250,150,0,0,0,0,76,182,194,0,0,0,45,0,9,0]
["21:45","22:00",0,0,0,0,180,185,250,140,0,0,0,0,76,182,194,0,0,0,45,0,9,0]
["22:00","22:15",0,0,0,0,50,0,250,120,0,0,0,0,76,127,122,0,117,0,0,0,5,0]
["22:15","22:30",0,0,0,0,50,0,250,110,0,0,0,0,76,127,122,0,117,0,0,0,5,0]
["22:30","22:45",0,0,0,0,50,0,250,100,0,0,0,0,76,127,122,0,117,0,0,0,5,0]
["22:45","23:00",0,0,0,0,50,0,250,100,0,0,0,0,76,127,122,0,117,0,0,0,5,0]
["23:00","23:15",0,0,0,0,0,0,250,100,0,0,0,0,0,0,0,0,0,0,0,0,1,0]
["23:15","23:30",0,0,0,0,0,0,250,100,0,0,0,0,0,0,0,0,0,0,0,0,1,0]
["23:30","23:45",0,0,0,0,0,0,250,100,0,0,0,0,0,0,0,0,0,0,0,0,1,0]
["23:45","24:00",0,0,0,0,0,0,250,100,0,0,0,0,0,0,0,0,0,0,0,0,1,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":3,"rows_kept":106}
[null,"Datum","12.11.2025"]
[null,"GM-Art","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday"]
[null,"Anforderer","50Hertz"]
[null,"Ursache","I"]
[null,"überlastetes Netzelement","50H / 380kV / Pasewalk / Tr. 412"]
[null,"auslösendes Netzelement","50H / 380kV / Pasewalk / Tr. 413"]
[null,"AO Klarname","50H_EDIS_CR_PAS"]
[null,"Richtung","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":125,"d":"125.00"}]
["00:00","00:15",0]
["00:15","00:30",0]
["00:30","00:45",0]
["00:45","01:00",0]
["01:00","01:15",0]
["01:15","01:30",0]
["01:30","01:45",0]
["01:45","02:00",0]
["02:00","02:15",0]
["02:15","02:30",0]
["02:30","02:45",0]
["02:45","03:00",0]
["03:00","03:15",0]
["03:15","03:30",0]
["03:30","03:45",0]
["03:45","04:00",0]
["04:00","04:15",0]
["04:15","04:30",0]
["04:30","04:45",0]
["04:45","05:00",0]
["05:00","05:15",0]
["05:15","05:30",0]
["05:30","05:45",0]
["05:45","06:00",0]
["06:00","06:15",0]
["06:15","06:30",0]
["06:30","06:45",0]
["06:45","07:00",0]
["07:00","07:15",0]
["07:15","07:30",0]
["07:30","07:45",0]
["07:45","08:00",0]
["08:00","08:15",0]
["08:15","08:30",0]
["08:30","08:45",0]
["08:45","09:00",0]
["09:00","09:15",0]
["09:15","09:30",0]
["09:30","09:45",0]
["09:45","10:00",0]
["10:00","10:15",0]
["10:15","10:30",0]
["10:30","10:45",0]
["10:45","11:00",100]
["11:00","11:15",100]
["11:15","11:30",100]
["11:30","11:45",100]
["11:45","12:00",100]
["12:00","12:15",0]
["12:15","12:30",0]
["12:30","12:45",0]
["12:45","13:00",0]
["13:00","13:15",0]
["13:15","13:30",0]
["13:30","13:45",0]
["13:45","14:00",0]
["14:00","14:15",0]
["14:15","14:30",0]
["14:30","14:45",0]
["14:45","15:00",0]
["15:00","15:15",0]
["15:15","15:30",0]
["15:30","15:45",0]
["15:45","16:00",0]
["16:00","16:15",0]
["16:15","16:30",0]
["16:30","16:45",0]
["16:45","17:00",0]
["17:00","17:15",0]
["17:15","17:30",0]
["17:30","17:45",0]
["17:45","18:00",0]
["18:00","18:15",0]
["18:15","18:30",0]
["18:30","18:45",0]
["18:45","19:00",0]
["19:00","19:15",0]
["19:15","19:30",0]
["19:30","19:45",0]
["19:45","20:00",0]
["20:00","20:15",0]
["20:15","20:30",0]
["20:30","20:45",0]
["20:45","21:00",0]
["21:00","21:15",0]
["21:15","21:30",0]
["21:30","21:45",0]
["21:45","22:00",0]
["22:00","22:15",0]
["22:15","22:30",0]
["22:30","22:45",0]
["22:45","23:00",0]
["23:00","23:15",0]
["23:15","23:30",0]
["23:30","23:45",0]
["23:45","24:00",0]