{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":23,"rows_kept":106}
[null,"Datum","03.02.2026","03.02.2026","03.02.2026","03.02.2026","03.02.2026","03.02.2026","03.02.2026","03.02.2026","03.02.2026","03.02.2026","03.02.2026","03.02.2026","03.02.2026","03.02.2026","03.02.2026","03.02.2026","03.02.2026","03.02.2026","03.02.2026","03.02.2026","03.02.2026"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","50H Berlin Mitte","Jänschwalde (Standort)","50H Berlin Lichterfelde","Schwarze Pumpe (Standort)","50H Berlin Marzahn","Boxberg (Standort)","50H Hamburg Wedel1","Schwarze Pumpe (Standort)","Schkopau","50H Erfurt-Ost HKW GuD","50H Leipzig Nord GuD","50H Berlin Lichterfelde","50H Berlin Marzahn","50H Halle-Trotha HKW","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","50H Hamburg Wedel1","50H Erfurt-Ost HKW GuD","Schkopau","Rostock Kohlekraftwerk"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":99,"d":"99.00"},{"v":1183,"d":"1183.00"},{"v":424,"d":"424.00"},{"v":2342,"d":"2342.00"},{"v":133,"d":"133.00"},{"v":354,"d":"354.00"},{"v":25,"d":"25.00"},{"v":692,"d":"692.00"},{"v":77,"d":"77.00"},{"v":217,"d":"217.00"},{"v":205,"d":"205.00"},{"v":580,"d":"580.00"},{"v":415,"d":"415.00"},{"v":165,"d":"165.00"},1261.25,{"v":1503,"d":"1503.00"},{"v":1125,"d":"1125.00"},{"v":350,"d":"350.00"},{"v":11.5,"d":"11.50"},76.25,{"v":73.5,"d":"73.50"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,0,20,0,0,0,0,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,0,20,0,0,0,0,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,0,20,0,0,0,0,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,20,0,0,0,0,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0,60,29,0,0,0,0,0,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0,60,29,0,0,0,0,0,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0,60,29,0,0,0,0,0,0,0,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0,60,29,0,0,0,0,0,0,0,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,14,25,109,11,24,0,0,0,0,0,0,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,14,25,109,11,24,0,0,0,0,0,0,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,14,25,109,11,24,0,0,0,0,0,0,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,7,25,109,11,24,0,0,0,0,0,0,49]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,25,27,0,24,0,0,0,0,7,0,49]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,25,27,0,24,0,0,0,0,14,0,49]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,25,27,0,24,0,0,0,0,14,0,49]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,25,27,0,24,0,0,0,0,7,0,49]
["04:00","04:15",0,0,0,0,0,0,0,0,0,7,25,89,29,24,0,0,0,0,0,0,49]
["04:15","04:30",0,0,0,0,0,0,0,0,0,14,25,89,29,24,0,0,0,0,0,0,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,14,25,89,29,24,0,0,0,0,0,0,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,14,25,89,29,24,0,0,0,0,0,0,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,14,25,50,22,24,0,0,0,0,0,0,0]
["05:15","05:30",0,0,0,0,0,0,0,0,0,14,25,50,22,24,0,0,0,0,0,0,0]
["05:30","05:45",0,0,0,0,0,0,0,0,0,14,25,50,22,24,0,0,0,0,0,0,0]
["05:45","06:00",0,0,0,0,0,0,0,0,0,14,25,50,22,24,0,0,0,0,0,0,0]
["06:00","06:15",13,0,50,0,18,0,0,0,75,0,0,0,0,0,0,0,0,0,0,0,0]
["06:15","06:30",13,0,50,0,18,0,0,0,79,0,0,0,0,0,0,0,0,0,0,0,0]
["06:30","06:45",13,0,50,0,18,0,0,0,79,0,0,0,0,0,0,0,0,0,0,0,0]
["06:45","07:00",13,0,50,0,18,0,0,0,75,0,0,0,0,0,0,0,0,0,0,0,0]
["07:00","07:15",15,151,58,200,18,0,0,0,0,17,40,47,50,23,200,240,390,0,0,0,0]
["07:15","07:30",15,151,58,200,18,0,0,0,0,34,40,47,50,23,200,240,390,0,0,0,0]
["07:30","07:45",15,151,58,200,18,0,0,0,0,34,40,47,50,23,200,240,390,0,0,0,0]
["07:45","08:00",15,151,58,200,18,0,0,0,0,17,40,47,50,23,200,240,390,0,0,0,0]
["08:00","08:15",14,101,108,342,68,0,0,0,0,0,0,0,0,0,200,240,203,25,0,0,0]
["08:15","08:30",14,101,108,342,68,0,0,0,0,0,0,0,0,0,200,240,203,25,0,0,0]
["08:30","08:45",14,101,108,342,68,0,0,0,0,0,0,0,0,0,200,240,203,25,0,0,0]
["08:45","09:00",14,101,108,342,68,0,0,0,0,0,0,0,0,0,200,240,203,25,0,0,0]
["09:00","09:15",14,101,108,213,19,0,0,0,0,17,25,47,49,23,200,240,203,25,0,0,0]
["09:15","09:30",14,101,108,213,19,0,0,0,0,34,25,47,49,23,200,240,203,25,0,0,0]
["09:30","09:45",14,101,108,213,19,0,0,0,0,34,25,47,49,23,200,240,203,25,0,0,0]
["09:45","10:00",14,101,108,213,19,0,0,0,0,34,25,47,49,23,200,240,203,25,0,0,0]
["10:00","10:15",14,0,0,138,0,0,0,147,0,34,40,22,63,23,275,320,329,25,0,0,0]
["10:15","10:30",14,0,0,138,0,0,0,147,0,34,40,22,63,23,275,320,329,25,0,0,0]
["10:30","10:45",14,0,0,138,0,0,0,147,0,34,40,22,63,23,275,320,329,25,0,0,0]
["10:45","11:00",14,0,0,138,0,0,0,147,0,34,40,22,63,23,275,320,329,25,0,0,0]
["11:00","11:15",15,0,0,322,10,0,0,291,0,34,0,0,14,0,200,320,0,25,0,0,0]
["11:15","11:30",15,0,0,322,10,0,0,291,0,34,0,0,14,0,200,320,0,25,0,0,0]
["11:30","11:45",15,0,0,322,10,0,0,291,0,34,0,0,14,0,200,320,0,25,0,0,0]
["11:45","12:00",15,0,0,322,10,0,0,291,0,34,0,0,14,0,200,320,0,25,0,0,0]
["12:00","12:15",14,198,0,364,0,0,0,250,0,34,0,0,18,0,200,143,0,25,0,0,0]
["12:15","12:30",14,198,0,364,0,0,0,250,0,34,0,0,18,0,200,143,0,25,0,0,0]
["12:30","12:45",14,198,0,364,0,0,0,250,0,34,0,0,18,0,200,143,0,25,0,0,0]
["12:45","13:00",14,198,0,364,0,0,0,250,0,17,0,0,18,0,145,143,0,25,0,0,0]
["13:00","13:15",0,175,50,275,0,100,0,0,0,0,0,0,14,0,0,0,0,25,0,0,0]
["13:15","13:30",0,175,50,175,0,100,0,0,0,0,0,0,14,0,0,0,0,25,0,0,0]
["13:30","13:45",0,175,50,175,0,100,0,0,0,0,0,0,14,0,0,0,0,25,0,0,0]
["13:45","14:00",0,175,50,175,0,100,0,0,0,0,0,0,14,0,0,0,0,25,0,0,0]
["14:00","14:15",0,341,0,392,0,177,0,4,0,17,0,109,63,0,0,0,0,25,0,0,0]
["14:15","14:30",0,341,0,392,0,177,0,4,0,34,0,109,63,0,0,0,0,25,0,0,0]
["14:30","14:45",0,341,0,392,0,177,0,4,0,34,0,109,63,0,0,0,0,25,0,0,0]
["14:45","15:00",0,341,0,392,0,177,0,4,0,17,0,109,63,0,0,0,0,25,0,0,0]
["15:00","15:15",0,116,50,171,0,77,0,0,0,0,0,0,14,0,0,0,0,25,0,0,0]
["15:15","15:30",0,116,50,171,0,77,0,0,0,0,0,0,14,0,0,0,0,25,0,0,0]
["15:30","15:45",0,116,50,171,0,77,0,0,0,0,0,0,14,0,0,0,0,25,0,0,0]
["15:45","16:00",0,116,50,171,0,77,0,0,0,0,0,0,14,0,0,0,0,25,0,0,0]
["16:00","16:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,0,0,0]
["16:15","16:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,0,0,0]
["16:30","16:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,0,0,0]
["16:45","17:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,0,0,0]
["17:00","17:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,0,0,0]
["17:15","17:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,0,0,0]
["17:30","17:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,0,0,0]
["17:45","18:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,0,0,0]
["18:00","18:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,0,0,0]
["18:15","18:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,0,0,0]
["18:30","18:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,0,0,0]
["18:45","19:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,0,0,0]
["19:00","19:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,0,0,0]
["19:15","19:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,0,0,0]
["19:30","19:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,0,0,0]
["19:45","20:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,0,0,0]
["20:00","20:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,1,0,0]
["20:15","20:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,1,0,0]
["20:30","20:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,1,0,0]
["20:45","21:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,1,0,0]
["21:00","21:15",0,0,0,0,0,0,25,0,0,0,0,0,39,0,0,0,0,0,0,0,0]
["21:15","21:30",0,0,0,0,0,0,25,0,0,0,0,0,39,0,0,0,0,0,0,0,0]
["21:30","21:45",0,0,0,0,0,0,25,0,0,0,0,0,39,0,0,0,0,0,0,0,0]
["21:45","22:00",0,0,0,0,0,0,25,0,0,0,0,0,39,0,0,0,0,0,0,0,0]
["22:00","22:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,0,95,0]
["22:15","22:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,0,95,0]
["22:30","22:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,0,95,0]
["22:45","23:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,0,20,0]
["23:00","23:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:15","23:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:30","23:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:45","24:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":6,"rows_kept":106}
[null,"Datum","03.02.2026","03.02.2026","03.02.2026","03.02.2026"]
[null,"GM-Art","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz","50Hertz"]
[null,"Ursache","I","I","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Güstrow / 414","50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Güstrow / 414","50H / 380kV / Güstrow / 414"]
[null,"auslösendes Netzelement","50H / 380kV / Güstrow / 416","50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Güstrow / 416","50H / 380kV / Güstrow / 416"]
[null,"AO Klarname","50H_EDIS_CR_GUE_Nord","50H_EDIS_CR_PAS","50H_WEMA_CR_GUE","CROC Cluster Güstrow"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":912.5,"d":"912.50"},{"v":775,"d":"775.00"},{"v":112.5,"d":"112.50"},{"v":123.99725,"d":"124.00"}]
["00:00","00:15",0,0,0,0]
["00:15","00:30",0,0,0,0]
["00:30","00:45",0,0,0,0]
["00:45","01:00",0,0,0,0]
["01:00","01:15",0,0,0,0]
["01:15","01:30",0,0,0,0]
["01:30","01:45",0,0,0,0]
["01:45","02:00",0,0,0,0]
["02:00","02:15",0,0,0,0]
["02:15","02:30",0,0,0,0]
["02:30","02:45",0,0,0,0]
["02:45","03:00",0,0,0,0]
["03:00","03:15",0,0,0,0]
["03:15","03:30",0,0,0,0]
["03:30","03:45",0,0,0,0]
["03:45","04:00",0,0,0,0]
["04:00","04:15",0,0,0,0]
["04:15","04:30",0,0,0,0]
["04:30","04:45",0,0,0,0]
["04:45","05:00",0,0,0,0]
["05:00","05:15",0,0,0,0]
["05:15","05:30",0,0,0,0]
["05:30","05:45",0,0,0,0]
["05:45","06:00",0,0,0,0]
["06:00","06:15",0,0,0,0]
["06:15","06:30",0,100,0,0]
["06:30","06:45",0,100,0,0]
["06:45","07:00",50,100,50,99.527]
["07:00","07:15",50,100,50,49.869]
["07:15","07:30",50,100,50,50.074]
["07:30","07:45",50,100,50,46.278]
["07:45","08:00",50,100,50,49.345]
["08:00","08:15",50,100,50,49.972]
["08:15","08:30",50,100,50,50.534]
["08:30","08:45",50,100,50,50.444]
["08:45","09:00",50,100,50,49.946]
["09:00","09:15",0,100,0,0]
["09:15","09:30",0,100,0,0]
["09:30","09:45",0,100,0,0]
["09:45","10:00",0,100,0,0]
["10:00","10:15",0,100,0,0]
["10:15","10:30",0,100,0,0]
["10:30","10:45",0,100,0,0]
["10:45","11:00",0,100,0,0]
["11:00","11:15",0,100,0,0]
["11:15","11:30",0,100,0,0]
["11:30","11:45",0,100,0,0]
["11:45","12:00",0,100,0,0]
["12:00","12:15",0,100,0,0]
["12:15","12:30",0,100,0,0]
["12:30","12:45",0,100,0,0]
["12:45","13:00",0,100,0,0]
["13:00","13:15",0,100,0,0]
["13:15","13:30",0,100,0,0]
["13:30","13:45",0,100,0,0]
["13:45","14:00",0,100,0,0]
["14:00","14:15",0,0,0,0]
["14:15","14:30",100,0,0,0]
["14:30","14:45",100,0,0,0]
["14:45","15:00",100,0,0,0]
["15:00","15:15",100,0,0,0]
["15:15","15:30",100,0,0,0]
["15:30","15:45",100,0,0,0]
["15:45","16:00",100,0,0,0]
["16:00","16:15",100,0,0,0]
["16:15","16:30",100,0,0,0]
["16:30","16:45",100,0,0,0]
["16:45","17:00",100,0,0,0]
["17:00","17:15",100,0,0,0]
["17:15","17:30",100,0,0,0]
["17:30","17:45",100,0,0,0]
["17:45","18:00",100,0,0,0]
["18:00","18:15",100,0,0,0]
["18:15","18:30",100,0,0,0]
["18:30","18:45",100,0,0,0]
["18:45","19:00",100,0,0,0]
["19:00","19:15",100,0,0,0]
["19:15","19:30",100,0,0,0]
["19:30","19:45",100,0,0,0]
["19:45","20:00",100,0,0,0]
["20:00","20:15",100,0,0,0]
["20:15","20:30",100,0,0,0]
["20:30","20:45",100,0,0,0]
["20:45","21:00",100,0,0,0]
["21:00","21:15",100,0,0,0]
["21:15","21:30",100,0,0,0]
["21:30","21:45",100,0,0,0]
["21:45","22:00",100,0,0,0]
["22:00","22:15",100,0,0,0]
["22:15","22:30",0,0,0,0]
["22:30","22:45",0,0,0,0]
["22:45","23:00",0,0,0,0]
["23:00","23:15",0,0,0,0]
["23:15","23:30",0,0,0,0]
["23:30","23:45",0,0,0,0]
["23:45","24:00",0,0,0,0]