{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Redispatch"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":27,"rows_kept":106}
[null,"Datum","19.01.2026","19.01.2026","19.01.2026","19.01.2026","19.01.2026","19.01.2026","19.01.2026","19.01.2026","19.01.2026","19.01.2026","19.01.2026","19.01.2026","19.01.2026","19.01.2026","19.01.2026","19.01.2026","19.01.2026","19.01.2026","19.01.2026","19.01.2026","19.01.2026","19.01.2026","19.01.2026","19.01.2026","19.01.2026"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","TenneT DE & TransnetBW","TenneT DE & TransnetBW","TenneT DE & TransnetBW","TenneT DE & TransnetBW","TenneT DE & TransnetBW","TenneT DE & TransnetBW","TenneT DE & TransnetBW","TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Schwarze Pumpe (Standort)","Boxberg (Standort)","50H Berlin Lichterfelde","50H Berlin Mitte","50H UW Bertikow","50H OWP Arcadis Ost 1","50H OWP Wikinger","50H PV Witznitz","Jänschwalde (Standort)","50H Berlin Lichterfelde","50H Berlin Mitte","Schkopau","50H Berlin Marzahn","Schkopau","Lippendorf","50H Leipzig Süd GuD","50H Leipzig Nord GuD","50H Berlin Lichterfelde","50H Berlin Marzahn","Schkopau","50H Halle-Trotha HKW","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","Lippendorf","50H Halle-Dieselstr HKW-BlockB"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":675,"d":"675.00"},{"v":587.5,"d":"587.50"},{"v":185,"d":"185.00"},{"v":50,"d":"50.00"},{"v":294,"d":"294.00"},{"v":218,"d":"218.00"},78.75,59.25,168.75,{"v":398.5,"d":"398.50"},922.75,548.25,{"v":148,"d":"148.00"},{"v":410,"d":"410.00"},{"v":147.5,"d":"147.50"},{"v":60,"d":"60.00"},{"v":42,"d":"42.00"},{"v":442,"d":"442.00"},{"v":1268,"d":"1268.00"},{"v":100,"d":"100.00"},{"v":46,"d":"46.00"},{"v":200,"d":"200.00"},{"v":196,"d":"196.00"},{"v":152.5,"d":"152.50"},{"v":24,"d":"24.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,0,0,0,280,210,0,0,0,84,0,0,0,0,220,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,0,0,0,280,160,0,0,0,84,0,0,0,0,60,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,0,0,0,280,110,0,0,0,84,0,0,0,0,20,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,0,0,280,110,0,0,0,84,0,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0,0,0,130,0,0,0,0,50,0,0,0,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0,0,0,130,0,0,0,0,50,0,0,0,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0,0,0,130,0,0,0,0,50,0,0,0,0,0,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0,0,0,130,0,0,0,0,50,0,0,0,0,0,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,80,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,30,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["06:00","06:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,50,50,50,0,100,130,0,0]
["06:15","06:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,50,50,50,0,100,130,0,0]
["06:30","06:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,50,50,50,0,100,130,0,0]
["06:45","07:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,50,50,50,0,100,130,0,0]
["07:00","07:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,100,100,50,0,100,66,0,4]
["07:15","07:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,100,100,50,0,100,66,0,4]
["07:30","07:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,100,100,50,0,100,66,0,4]
["07:45","08:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,100,100,50,0,100,66,0,4]
["08:00","08:15",0,0,0,0,0,0,0,0,0,53,12,0,0,0,0,0,0,71,148,0,0,0,0,0,0]
["08:15","08:30",0,0,0,0,0,0,0,0,12,53,40,0,0,0,0,0,0,71,148,0,0,0,0,0,0]
["08:30","08:45",0,0,0,0,0,0,0,0,52,53,40,0,0,0,0,0,0,71,148,0,0,0,0,0,0]
["08:45","09:00",0,0,0,0,0,0,0,0,92,53,40,0,0,0,0,0,0,71,148,0,0,0,0,0,0]
["09:00","09:15",0,0,0,0,0,0,0,0,70,53,42,0,0,0,0,0,0,71,148,0,0,0,0,0,0]
["09:15","09:30",0,0,0,0,0,0,0,0,0,53,42,0,0,0,0,0,0,71,148,0,0,0,0,0,0]
["09:30","09:45",0,0,0,0,0,0,0,0,0,53,42,0,0,0,0,0,0,71,148,0,0,0,0,0,0]
["09:45","10:00",0,0,0,0,0,0,0,0,1,87,77,0,0,0,0,0,0,71,148,0,0,0,0,0,0]
["10:00","10:15",100,100,0,0,0,0,0,0,68,58,127,122,0,0,0,30,25,99,148,0,23,0,0,0,10]
["10:15","10:30",200,150,0,0,0,0,0,0,8,58,192,122,0,0,0,30,25,99,148,0,23,0,0,0,10]
["10:30","10:45",200,150,0,0,0,0,0,0,2,58,198,122,0,0,0,30,25,99,148,0,23,0,0,0,10]
["10:45","11:00",200,150,0,0,0,0,0,0,22,58,198,122,0,0,0,30,25,99,148,0,23,0,0,0,10]
["11:00","11:15",200,150,0,0,0,0,0,0,52,92,210,256,0,0,0,30,17,51,148,0,23,0,0,50,10]
["11:15","11:30",200,150,0,0,150,50,0,0,52,92,210,256,0,0,0,30,17,51,148,0,23,0,0,50,10]
["11:30","11:45",200,150,0,0,150,50,0,0,52,92,210,256,0,0,0,30,17,51,148,0,23,0,0,50,10]
["11:45","12:00",200,150,0,0,150,150,100,0,112,92,210,256,0,0,0,30,17,51,148,0,23,0,0,50,10]
["12:00","12:15",150,150,0,0,143,157,50,50,46,92,210,150,0,0,0,0,0,0,148,0,0,0,0,0,0]
["12:15","12:30",150,150,0,0,135,158,50,57,34,92,210,150,0,0,0,0,0,0,148,0,0,0,0,0,0]
["12:30","12:45",150,150,0,0,128,157,50,65,0,92,194,150,0,0,0,0,0,0,148,0,0,0,0,0,0]
["12:45","13:00",150,150,0,0,120,150,65,65,0,92,159,150,0,0,0,0,0,0,148,0,0,0,0,0,0]
["13:00","13:15",150,150,50,0,35,0,0,0,0,42,75,0,10,0,0,0,0,0,122,0,0,0,0,0,0]
["13:15","13:30",150,150,50,0,55,0,0,0,0,42,67,0,10,0,0,0,0,0,122,0,0,0,0,0,0]
["13:30","13:45",150,150,50,0,55,0,0,0,0,42,67,0,10,0,0,0,0,0,122,0,0,0,0,0,0]
["13:45","14:00",150,150,50,0,55,0,0,0,0,42,67,0,10,0,0,0,0,0,122,0,0,0,0,0,0]
["14:00","14:15",0,0,90,50,0,0,0,0,0,0,17,0,10,0,0,0,0,0,122,0,0,0,0,0,0]
["14:15","14:30",0,0,90,50,0,0,0,0,0,0,17,0,10,0,0,0,0,0,122,0,0,0,0,0,0]
["14:30","14:45",0,0,90,50,0,0,0,0,0,0,17,0,10,0,0,0,0,0,122,0,0,0,0,0,0]
["14:45","15:00",0,0,90,50,0,0,0,0,0,0,17,81,10,0,0,0,0,0,122,0,0,0,0,0,0]
["15:00","15:15",0,0,110,0,0,0,0,0,0,0,17,0,60,0,0,0,0,0,0,0,0,0,0,0,0]
["15:15","15:30",0,0,60,0,0,0,0,0,0,0,17,0,60,0,0,0,0,0,0,0,0,0,0,0,0]
["15:30","15:45",0,0,10,0,0,0,0,0,0,0,17,0,60,0,0,0,0,0,0,0,0,0,0,0,0]
["15:45","16:00",0,0,0,0,0,0,0,0,0,0,17,0,60,0,0,0,0,0,0,0,0,0,0,0,0]
["16:00","16:15",0,0,0,0,0,0,0,0,0,0,30,0,46,0,0,0,0,0,0,0,0,0,0,0,0]
["16:15","16:30",0,0,0,0,0,0,0,0,0,0,30,0,46,0,0,0,0,0,0,0,0,0,0,0,0]
["16:30","16:45",0,0,0,0,0,0,0,0,0,0,30,0,46,0,0,0,0,0,0,0,0,0,0,0,0]
["16:45","17:00",0,0,0,0,0,0,0,0,0,0,30,0,46,0,0,0,0,0,0,0,0,0,0,0,0]
["17:00","17:15",0,0,0,0,0,0,0,0,0,0,28,0,22,0,0,0,0,0,0,0,0,0,0,0,0]
["17:15","17:30",0,0,0,0,0,0,0,0,0,0,28,0,22,0,0,0,0,0,0,0,0,0,0,0,0]
["17:30","17:45",0,0,0,0,0,0,0,0,0,0,28,0,22,0,0,0,0,0,0,0,0,0,0,0,0]
["17:45","18:00",0,0,0,0,0,0,0,0,0,0,28,0,22,0,0,0,0,0,0,0,0,0,0,0,0]
["18:00","18:15",0,0,0,0,0,0,0,0,0,0,73,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:15","18:30",0,0,0,0,0,0,0,0,0,0,73,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:30","18:45",0,0,0,0,0,0,0,0,0,0,73,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:45","19:00",0,0,0,0,0,0,0,0,0,0,73,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:00","19:15",0,0,0,0,0,0,0,0,0,0,23,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:15","19:30",0,0,0,0,0,0,0,0,0,0,23,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:30","19:45",0,0,0,0,0,0,0,0,0,0,23,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:45","20:00",0,0,0,0,0,0,0,0,0,0,23,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:00","20:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:15","20:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:30","20:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:45","21:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:00","21:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:15","21:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:30","21:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:45","22:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:00","22:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:15","22:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:30","22:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:45","23:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:00","23:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:15","23:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:30","23:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:45","24:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]