{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":20,"rows_kept":106}
[null,"Datum","20.10.2025","20.10.2025","20.10.2025","20.10.2025","20.10.2025","20.10.2025","20.10.2025","20.10.2025","20.10.2025","20.10.2025","20.10.2025","20.10.2025","20.10.2025","20.10.2025","20.10.2025","20.10.2025","20.10.2025","20.10.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","TenneT DE","TenneT DE","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Goldisthal (Standort)","50H OWP Baltic Eagle","Lippendorf VE","Schkopau","Schwarze Pumpe (Standort)","Boxberg (Standort)","50H Berlin Mitte","Markersbach (Standort)","50H UW Schönewalde","50H OWP Arkona","50H UW Bertikow","50H PV Witznitz","Lippendorf VE","50H Erfurt-Ost HKW GuD","50H Berlin Mitte","50H Rostock Marienehe","Boxberg (Standort)","50H UW Schönewalde"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":900,"d":"900.00"},{"v":25,"d":"25.00"},{"v":1134,"d":"1134.00"},248.25,{"v":222,"d":"222.00"},{"v":990,"d":"990.00"},{"v":76.5,"d":"76.50"},{"v":1102,"d":"1102.00"},292.75,{"v":1815,"d":"1815.00"},{"v":972,"d":"972.00"},{"v":293,"d":"293.00"},{"v":877.5,"d":"877.50"},{"v":100.5,"d":"100.50"},{"v":460,"d":"460.00"},{"v":287,"d":"287.00"},{"v":441.5,"d":"441.50"},{"v":3,"d":"3.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,43,12,0,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,43,12,0,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,43,12,0,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,43,12,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0,0,0,4,23,12,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0,0,0,8,23,12,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0,0,0,13,23,12,0,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0,0,0,13,23,12,0,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0,0,0,13,23,12,0,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,0,0,13,23,12,0,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,0,0,13,23,12,0,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,0,0,13,23,12,0,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,0,0,13,0,12,0,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,0,0,13,0,12,0,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,0,0,13,0,12,0,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,0,0,13,0,12,0,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,0,0,13,24,12,0,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,0,0,13,24,12,0,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,0,0,8,24,12,0,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,0,0,4,24,12,0,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,26,12,75,0]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,26,12,110,0]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,26,12,110,0]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,26,12,110,0]
["06:00","06:15",0,0,200,0,0,0,0,0,133,0,0,0,61,0,42,36,168,0]
["06:15","06:30",0,0,200,0,0,0,0,0,133,0,0,0,61,0,42,36,53,0]
["06:30","06:45",0,0,200,0,0,0,0,0,133,0,0,0,61,0,42,36,153,0]
["06:45","07:00",0,0,200,0,0,0,0,0,131,0,0,0,61,0,42,36,159,0]
["07:00","07:15",300,0,200,75,0,0,0,0,131,0,0,0,98,13,42,36,0,0]
["07:15","07:30",380,100,200,75,0,0,0,0,130,0,0,0,98,26,42,36,0,0]
["07:30","07:45",580,0,200,120,0,0,0,0,130,0,0,0,98,26,42,36,0,0]
["07:45","08:00",640,0,200,170,0,0,0,0,130,0,0,0,98,13,42,36,0,0]
["08:00","08:15",490,0,340,162,0,0,0,0,0,0,0,0,38,0,0,0,0,0]
["08:15","08:30",440,0,340,162,0,0,0,0,0,0,0,0,38,0,0,0,0,0]
["08:30","08:45",390,0,340,152,0,0,0,0,0,0,0,0,38,0,0,0,0,0]
["08:45","09:00",340,0,340,77,0,0,0,0,0,0,0,0,38,0,0,0,0,0]
["09:00","09:15",40,0,0,0,0,0,0,0,0,0,0,0,188,0,42,28,95,0]
["09:15","09:30",0,0,0,0,0,0,0,0,0,0,0,0,188,0,42,28,95,0]
["09:30","09:45",0,0,0,0,0,0,0,0,0,0,0,0,188,0,42,28,95,0]
["09:45","10:00",0,0,0,0,0,0,0,0,0,0,0,0,188,0,42,28,95,0]
["10:00","10:15",0,0,0,0,0,0,0,0,0,221,249,0,338,4,42,18,0,0]
["10:15","10:30",0,0,0,0,0,0,0,0,0,236,235,0,338,8,42,18,0,0]
["10:30","10:45",0,0,0,0,0,0,0,0,0,250,222,0,341,10,42,18,0,0]
["10:45","11:00",0,0,0,0,0,0,0,0,0,262,210,0,341,10,42,18,0,0]
["11:00","11:15",0,0,0,0,0,0,0,0,0,276,197,72,3,10,42,18,0,0]
["11:15","11:30",0,0,0,0,0,0,0,0,0,275,197,72,3,10,42,18,0,0]
["11:30","11:45",0,0,0,0,0,0,0,0,0,276,195,72,3,10,42,18,0,0]
["11:45","12:00",0,0,0,0,0,0,0,0,0,276,194,72,3,10,42,18,0,0]
["12:00","12:15",0,0,0,0,0,0,0,0,30,276,193,135,0,10,0,0,0,3]
["12:15","12:30",0,0,0,0,0,0,0,0,30,273,194,135,0,10,0,0,0,3]
["12:30","12:45",0,0,0,0,0,0,0,0,30,270,195,135,0,10,0,0,0,3]
["12:45","13:00",0,0,0,0,0,0,0,0,30,266,196,135,0,10,0,0,0,3]
["13:00","13:15",0,0,0,0,0,0,0,0,0,273,193,128,0,10,37,0,0,0]
["13:15","13:30",0,0,0,0,0,0,0,0,0,0,188,65,0,10,37,0,0,0]
["13:30","13:45",0,0,0,0,0,0,0,0,0,0,180,73,0,8,35,0,0,0]
["13:45","14:00",0,0,0,0,0,0,0,0,0,0,175,78,0,4,35,0,0,0]
["14:00","14:15",0,0,0,0,0,0,0,0,0,253,170,0,150,0,42,0,112,0]
["14:15","14:30",0,0,0,0,0,0,0,0,0,230,166,0,150,0,42,0,112,0]
["14:30","14:45",0,0,0,0,0,0,0,0,0,236,162,0,150,0,42,0,112,0]
["14:45","15:00",0,0,0,0,0,0,0,0,0,244,157,0,150,0,42,0,112,0]
["15:00","15:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["15:15","15:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["15:30","15:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["15:45","16:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["16:00","16:15",0,0,0,0,0,0,0,0,0,350,0,0,0,0,0,0,0,0]
["16:15","16:30",0,0,0,0,0,0,0,0,0,353,0,0,0,0,0,0,0,0]
["16:30","16:45",0,0,0,0,0,0,0,0,0,355,0,0,0,0,0,0,0,0]
["16:45","17:00",0,0,0,0,0,0,0,0,0,357,0,0,0,0,0,0,0,0]
["17:00","17:15",0,0,0,0,0,0,0,0,0,360,0,0,0,0,0,0,0,0]
["17:15","17:30",0,0,0,0,0,0,0,0,0,362,0,0,0,0,0,0,0,0]
["17:30","17:45",0,0,0,0,0,0,0,0,0,364,0,0,0,0,0,0,0,0]
["17:45","18:00",0,0,0,0,0,0,0,0,0,366,0,0,0,0,0,0,0,0]
["18:00","18:15",0,0,0,0,0,58,0,472,0,0,0,0,0,0,0,0,0,0]
["18:15","18:30",0,0,0,0,0,58,0,472,0,0,0,0,0,0,0,0,0,0]
["18:30","18:45",0,0,0,0,0,58,0,472,0,0,0,0,0,0,0,0,0,0]
["18:45","19:00",0,0,0,0,0,58,0,472,0,0,0,0,0,0,0,0,0,0]
["19:00","19:15",0,0,0,0,200,98,0,472,0,0,1,0,0,0,0,0,0,0]
["19:15","19:30",0,0,0,0,200,98,0,472,0,0,1,0,0,0,0,0,0,0]
["19:30","19:45",0,0,0,0,200,98,0,472,0,0,1,0,0,0,0,0,0,0]
["19:45","20:00",0,0,0,0,200,98,0,472,0,0,1,0,0,0,0,0,0,0]
["20:00","20:15",0,0,0,0,27,310,0,472,0,0,1,0,0,0,0,32,0,0]
["20:15","20:30",0,0,188,0,27,434,0,160,0,0,1,0,0,0,0,32,0,0]
["20:30","20:45",0,0,358,0,17,434,0,0,0,0,1,0,0,0,0,32,0,0]
["20:45","21:00",0,0,358,0,17,434,0,0,0,0,1,0,0,0,0,32,0,0]
["21:00","21:15",0,0,165,0,0,434,0,0,0,0,1,0,0,0,0,0,0,0]
["21:15","21:30",0,0,169,0,0,430,0,0,0,0,1,0,0,0,0,0,0,0]
["21:30","21:45",0,0,169,0,0,430,0,0,0,0,1,0,0,0,0,0,0,0]
["21:45","22:00",0,0,169,0,0,430,0,0,0,0,1,0,0,0,0,0,0,0]
["22:00","22:15",0,0,0,0,0,0,76,0,0,0,1,0,0,0,33,32,0,0]
["22:15","22:30",0,0,0,0,0,0,77,0,0,0,1,0,0,0,33,32,0,0]
["22:30","22:45",0,0,0,0,0,0,77,0,0,0,1,0,0,0,33,32,0,0]
["22:45","23:00",0,0,0,0,0,0,76,0,0,0,1,0,0,0,33,32,0,0]
["23:00","23:15",0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,15,0,0]
["23:15","23:30",0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,15,0,0]
["23:30","23:45",0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,15,0,0]
["23:45","24:00",0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,15,0,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":14,"rows_kept":106}
[null,"Datum","20.10.2025","20.10.2025","20.10.2025","20.10.2025","20.10.2025","20.10.2025","20.10.2025","20.10.2025","20.10.2025","20.10.2025","20.10.2025","20.10.2025"]
[null,"GM-Art","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz & Amprion & TenneT DE & TransnetBW","50H VNB Mitnetz","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Pasewalk / Tr. 412","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","50H / 380kV / Pasewalk / Tr. 413","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"AO Klarname","50H_EDIS_CR_PAS","50H_MNS_CR_JSN","50H_MNS_CR_KLM","50H_MNS_CR_LAU_Nord","50H_MNS_CR_LAU_Sued","50H_MNS_CR_MA_Nord","50H_MNS_CR_MA_Sued","50H_MNS_CR_PUL","50H_TEN_CR_M1_EI","50H_TEN_CR_M2_VIB","50H_TEN_CR_S1_ATF","50H_TEN_CR_S2_WD"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":5762.5,"d":"5762.50"},{"v":117.5,"d":"117.50"},{"v":237.5,"d":"237.50"},{"v":316,"d":"316.00"},129.75,{"v":134.5,"d":"134.50"},{"v":108,"d":"108.00"},{"v":123.5,"d":"123.50"},{"v":57,"d":"57.00"},{"v":324,"d":"324.00"},259.25,330.25]
["00:00","00:15",150,0,0,0,0,0,0,0,0,0,0,0]
["00:15","00:30",150,0,50,0,0,0,0,0,0,0,0,0]
["00:30","00:45",150,0,50,0,0,0,0,0,0,0,0,0]
["00:45","01:00",150,0,50,0,0,0,0,0,0,0,0,0]
["01:00","01:15",150,0,50,0,0,0,0,0,0,0,0,0]
["01:15","01:30",150,0,50,0,0,0,0,0,0,0,0,0]
["01:30","01:45",150,0,50,0,0,0,0,0,0,0,0,0]
["01:45","02:00",150,0,50,0,0,0,0,0,0,0,0,0]
["02:00","02:15",150,0,50,0,0,0,0,0,0,0,0,0]
["02:15","02:30",150,0,50,0,0,0,0,0,0,0,0,0]
["02:30","02:45",150,0,50,0,0,0,0,0,0,0,0,0]
["02:45","03:00",150,0,50,0,0,0,0,0,0,0,0,0]
["03:00","03:15",150,0,50,0,0,0,0,0,0,0,0,0]
["03:15","03:30",150,0,50,0,0,0,0,0,0,0,0,0]
["03:30","03:45",150,0,50,0,0,0,0,0,0,0,0,0]
["03:45","04:00",150,0,50,0,0,0,0,0,0,0,0,0]
["04:00","04:15",150,0,50,0,0,0,0,0,0,0,0,0]
["04:15","04:30",150,0,50,0,0,0,0,0,0,0,0,0]
["04:30","04:45",150,0,50,0,0,0,0,0,0,0,0,0]
["04:45","05:00",150,0,50,0,0,0,0,0,0,0,0,0]
["05:00","05:15",150,0,0,0,0,0,0,0,0,0,0,0]
["05:15","05:30",150,0,0,0,0,0,0,0,0,0,0,0]
["05:30","05:45",150,0,0,0,0,0,0,0,0,0,0,0]
["05:45","06:00",150,0,0,0,0,0,0,0,0,0,0,0]
["06:00","06:15",150,0,0,87,44,0,0,0,14,92,79,107]
["06:15","06:30",150,0,0,93,44,0,0,0,15,96,81,107]
["06:30","06:45",150,0,0,98,44,0,0,0,16,98,81,108]
["06:45","07:00",150,0,0,103,43,0,0,0,17,99,81,108]
["07:00","07:15",150,117,0,108,43,139,108,120,18,103,82,108]
["07:15","07:30",150,117,0,107,42,136,108,122,18,105,83,108]
["07:30","07:45",150,117,0,106,42,133,108,124,19,108,85,108]
["07:45","08:00",150,119,0,107,42,130,108,128,20,110,86,109]
["08:00","08:15",150,0,0,109,42,0,0,0,21,113,87,111]
["08:15","08:30",150,0,0,112,43,0,0,0,22,118,92,113]
["08:30","08:45",150,0,0,115,44,0,0,0,23,124,97,116]
["08:45","09:00",150,0,0,119,46,0,0,0,25,130,103,118]
["09:00","09:15",150,0,0,0,0,0,0,0,0,0,0,0]
["09:15","09:30",150,0,0,0,0,0,0,0,0,0,0,0]
["09:30","09:45",150,0,0,0,0,0,0,0,0,0,0,0]
["09:45","10:00",150,0,0,0,0,0,0,0,0,0,0,0]
["10:00","10:15",150,0,0,0,0,0,0,0,0,0,0,0]
["10:15","10:30",150,0,0,0,0,0,0,0,0,0,0,0]
["10:30","10:45",150,0,0,0,0,0,0,0,0,0,0,0]
["10:45","11:00",150,0,0,0,0,0,0,0,0,0,0,0]
["11:00","11:15",100,0,0,0,0,0,0,0,0,0,0,0]
["11:15","11:30",200,0,0,0,0,0,0,0,0,0,0,0]
["11:30","11:45",200,0,0,0,0,0,0,0,0,0,0,0]
["11:45","12:00",200,0,0,0,0,0,0,0,0,0,0,0]
["12:00","12:15",300,0,0,0,0,0,0,0,0,0,0,0]
["12:15","12:30",300,0,0,0,0,0,0,0,0,0,0,0]
["12:30","12:45",300,0,0,0,0,0,0,0,0,0,0,0]
["12:45","13:00",300,0,0,0,0,0,0,0,0,0,0,0]
["13:00","13:15",300,0,0,0,0,0,0,0,0,0,0,0]
["13:15","13:30",400,0,0,0,0,0,0,0,0,0,0,0]
["13:30","13:45",400,0,0,0,0,0,0,0,0,0,0,0]
["13:45","14:00",400,0,0,0,0,0,0,0,0,0,0,0]
["14:00","14:15",400,0,0,0,0,0,0,0,0,0,0,0]
["14:15","14:30",400,0,0,0,0,0,0,0,0,0,0,0]
["14:30","14:45",400,0,0,0,0,0,0,0,0,0,0,0]
["14:45","15:00",400,0,0,0,0,0,0,0,0,0,0,0]
["15:00","15:15",400,0,0,0,0,0,0,0,0,0,0,0]
["15:15","15:30",350,0,0,0,0,0,0,0,0,0,0,0]
["15:30","15:45",300,0,0,0,0,0,0,0,0,0,0,0]
["15:45","16:00",300,0,0,0,0,0,0,0,0,0,0,0]
["16:00","16:15",300,0,0,0,0,0,0,0,0,0,0,0]
["16:15","16:30",300,0,0,0,0,0,0,0,0,0,0,0]
["16:30","16:45",300,0,0,0,0,0,0,0,0,0,0,0]
["16:45","17:00",250,0,0,0,0,0,0,0,0,0,0,0]
["17:00","17:15",200,0,0,0,0,0,0,0,0,0,0,0]
["17:15","17:30",200,0,0,0,0,0,0,0,0,0,0,0]
["17:30","17:45",200,0,0,0,0,0,0,0,0,0,0,0]
["17:45","18:00",200,0,0,0,0,0,0,0,0,0,0,0]
["18:00","18:15",200,0,0,0,0,0,0,0,0,0,0,0]
["18:15","18:30",250,0,0,0,0,0,0,0,0,0,0,0]
["18:30","18:45",350,0,0,0,0,0,0,0,0,0,0,0]
["18:45","19:00",350,0,0,0,0,0,0,0,0,0,0,0]
["19:00","19:15",350,0,0,0,0,0,0,0,0,0,0,0]
["19:15","19:30",350,0,0,0,0,0,0,0,0,0,0,0]
["19:30","19:45",350,0,0,0,0,0,0,0,0,0,0,0]
["19:45","20:00",350,0,0,0,0,0,0,0,0,0,0,0]
["20:00","20:15",350,0,0,0,0,0,0,0,0,0,0,0]
["20:15","20:30",350,0,0,0,0,0,0,0,0,0,0,0]
["20:30","20:45",350,0,0,0,0,0,0,0,0,0,0,0]
["20:45","21:00",350,0,0,0,0,0,0,0,0,0,0,0]
["21:00","21:15",350,0,0,0,0,0,0,0,0,0,0,0]
["21:15","21:30",350,0,0,0,0,0,0,0,0,0,0,0]
["21:30","21:45",350,0,0,0,0,0,0,0,0,0,0,0]
["21:45","22:00",350,0,0,0,0,0,0,0,0,0,0,0]
["22:00","22:15",350,0,0,0,0,0,0,0,0,0,0,0]
["22:15","22:30",350,0,0,0,0,0,0,0,0,0,0,0]
["22:30","22:45",350,0,0,0,0,0,0,0,0,0,0,0]
["22:45","23:00",350,0,0,0,0,0,0,0,0,0,0,0]
["23:00","23:15",350,0,0,0,0,0,0,0,0,0,0,0]
["23:15","23:30",350,0,0,0,0,0,0,0,0,0,0,0]
["23:30","23:45",350,0,0,0,0,0,0,0,0,0,0,0]
["23:45","24:00",350,0,0,0,0,0,0,0,0,0,0,0]