{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":21,"rows_kept":106}
[null,"Datum","18.01.2026","18.01.2026","18.01.2026","18.01.2026","18.01.2026","18.01.2026","18.01.2026","18.01.2026","18.01.2026","18.01.2026","18.01.2026","18.01.2026","18.01.2026","18.01.2026","18.01.2026","18.01.2026","18.01.2026","18.01.2026","18.01.2026"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & TenneT DE & TransnetBW","50Hertz & TenneT DE & TransnetBW","50Hertz & TenneT DE & TransnetBW","50Hertz & TenneT DE & TransnetBW","50Hertz & TenneT DE & TransnetBW","50Hertz & TenneT DE & TransnetBW","50Hertz & TenneT DE & TransnetBW","TenneT DE","TenneT DE","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","50H-TTG / 380kV /Helmstedt - Wolmirstedt / 491-1 & TNG-TTG / 380kV / Grafenrheinfeld-Stalldorf / rt 416","50H-TTG / 380kV /Helmstedt - Wolmirstedt / 491-1 & TNG-TTG / 380kV / Grafenrheinfeld-Stalldorf / rt 416","50H-TTG / 380kV /Helmstedt - Wolmirstedt / 491-1 & TNG-TTG / 380kV / Grafenrheinfeld-Stalldorf / rt 416","50H-TTG / 380kV /Helmstedt - Wolmirstedt / 491-1 & TNG-TTG / 380kV / Grafenrheinfeld-Stalldorf / rt 416","50H-TTG / 380kV /Helmstedt - Wolmirstedt / 491-1 & TNG-TTG / 380kV / Grafenrheinfeld-Stalldorf / rt 416","50H-TTG / 380kV /Helmstedt - Wolmirstedt / 491-1 & TNG-TTG / 380kV / Grafenrheinfeld-Stalldorf / rt 416","50H-TTG / 380kV /Helmstedt - Wolmirstedt / 491-1 & TNG-TTG / 380kV / Grafenrheinfeld-Stalldorf / rt 416","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","50H-TTG / 380kV /Helmstedt - Wolmirstedt / 492-2 & TNG-TTG / 380kV / Grafenrheinfeld-Hoepfingen / ge 411","50H-TTG / 380kV /Helmstedt - Wolmirstedt / 492-2 & TNG-TTG / 380kV / Grafenrheinfeld-Hoepfingen / ge 411","50H-TTG / 380kV /Helmstedt - Wolmirstedt / 492-2 & TNG-TTG / 380kV / Grafenrheinfeld-Hoepfingen / ge 411","50H-TTG / 380kV /Helmstedt - Wolmirstedt / 492-2 & TNG-TTG / 380kV / Grafenrheinfeld-Hoepfingen / ge 411","50H-TTG / 380kV /Helmstedt - Wolmirstedt / 492-2 & TNG-TTG / 380kV / Grafenrheinfeld-Hoepfingen / ge 411","50H-TTG / 380kV /Helmstedt - Wolmirstedt / 492-2 & TNG-TTG / 380kV / Grafenrheinfeld-Hoepfingen / ge 411","50H-TTG / 380kV /Helmstedt - Wolmirstedt / 492-2 & TNG-TTG / 380kV / Grafenrheinfeld-Hoepfingen / ge 411","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Schkopau","Lippendorf","50H PV Witznitz","50H UW Schönewalde","50H OWP Baltic Eagle","50H OWP Arcadis Ost 1","50H OWP Wikinger","Schkopau","Lippendorf","50H Berlin Lichterfelde","Schkopau","Lippendorf","50H Erfurt-Ost HKW GuD","50H Leipzig Nord GuD","50H Berlin Lichterfelde","50H Berlin Marzahn","Schkopau","Jänschwalde (Standort)","50H Halle-Dieselstr HKW-BlockB"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":600,"d":"600.00"},{"v":1275,"d":"1275.00"},309.75,{"v":158.5,"d":"158.50"},150.25,102.75,{"v":5,"d":"5.00"},661.25,763.75,{"v":239,"d":"239.00"},{"v":146,"d":"146.00"},{"v":1350,"d":"1350.00"},{"v":605,"d":"605.00"},{"v":135,"d":"135.00"},821.25,{"v":1828.5,"d":"1828.50"},1912.75,{"v":92,"d":"92.00"},{"v":127,"d":"127.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["06:00","06:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["06:15","06:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["06:30","06:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["06:45","07:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["07:00","07:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["07:15","07:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["07:30","07:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["07:45","08:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["08:00","08:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["08:15","08:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["08:30","08:45",0,0,0,0,0,0,0,0,0,40,0,0,0,0,0,0,0,0,0]
["08:45","09:00",0,0,0,0,0,0,0,0,0,80,0,0,0,0,0,0,0,0,0]
["09:00","09:15",0,0,0,0,0,0,0,0,0,120,0,0,0,0,0,0,0,0,0]
["09:15","09:30",0,0,0,0,0,0,0,0,0,120,40,0,0,0,0,0,0,0,0]
["09:30","09:45",0,0,0,0,0,0,0,0,0,120,80,0,0,0,0,0,0,0,0]
["09:45","10:00",0,0,0,0,0,0,0,0,0,100,140,0,0,0,0,0,0,0,0]
["10:00","10:15",0,0,0,0,0,0,0,0,0,46,0,0,40,23,54,24,83,0,10]
["10:15","10:30",0,0,0,0,0,0,0,0,0,60,0,0,40,23,54,50,83,0,10]
["10:30","10:45",0,0,0,0,0,0,0,0,0,60,0,0,40,23,54,50,83,0,10]
["10:45","11:00",0,0,0,0,0,0,0,0,0,60,0,0,40,23,54,50,83,0,10]
["11:00","11:15",0,0,104,104,146,130,16,0,0,30,30,0,44,4,102,100,0,0,10]
["11:15","11:30",0,0,113,103,150,130,4,0,0,20,0,0,44,4,102,100,0,0,10]
["11:30","11:45",100,100,117,101,82,0,0,0,0,0,0,0,44,4,102,100,0,0,10]
["11:45","12:00",200,200,118,100,0,0,0,0,0,0,0,0,44,4,102,100,0,0,10]
["12:00","12:15",200,300,121,0,0,0,0,0,0,0,0,0,44,0,57,148,0,0,10]
["12:15","12:30",200,300,119,0,0,0,0,0,0,0,0,0,44,0,57,148,0,0,10]
["12:30","12:45",200,300,118,0,0,0,0,0,0,0,0,0,44,0,57,148,0,0,10]
["12:45","13:00",200,300,115,78,123,99,0,0,0,0,0,0,44,0,57,148,0,0,10]
["13:00","13:15",100,500,111,74,100,26,0,0,0,0,0,0,41,0,34,148,36,0,0]
["13:15","13:30",100,600,105,74,0,26,0,0,0,0,0,0,41,0,34,148,36,0,0]
["13:30","13:45",100,700,98,0,0,0,0,0,0,0,0,0,40,0,34,148,36,0,0]
["13:45","14:00",200,700,0,0,0,0,0,0,0,0,0,0,40,0,34,148,36,0,0]
["14:00","14:15",200,500,0,0,0,0,0,0,0,0,0,0,40,0,24,148,36,0,10]
["14:15","14:30",200,300,0,0,0,0,0,0,0,0,0,0,40,0,24,148,36,0,10]
["14:30","14:45",200,200,0,0,0,0,0,0,0,0,0,0,41,0,24,148,36,0,10]
["14:45","15:00",200,100,0,0,0,0,0,0,0,0,0,0,41,0,24,148,36,0,10]
["15:00","15:15",0,0,0,0,0,0,0,0,0,0,11,0,44,0,21,148,36,0,10]
["15:15","15:30",0,0,0,0,0,0,0,0,0,0,11,0,44,0,21,148,36,0,10]
["15:30","15:45",0,0,0,0,0,0,0,0,0,0,11,0,44,0,21,148,36,0,10]
["15:45","16:00",0,0,0,0,0,0,0,0,0,0,11,0,44,0,21,148,36,0,10]
["16:00","16:15",0,0,0,0,0,0,0,0,0,0,15,0,44,0,0,103,84,0,11]
["16:15","16:30",0,0,0,0,0,0,0,0,0,0,15,0,44,0,0,103,84,0,11]
["16:30","16:45",0,0,0,0,0,0,0,0,0,0,15,0,44,0,0,103,84,0,11]
["16:45","17:00",0,0,0,0,0,0,0,0,0,0,15,0,44,0,0,103,84,0,11]
["17:00","17:15",0,0,0,0,0,0,0,0,0,0,20,0,44,0,50,116,50,0,0]
["17:15","17:30",0,0,0,0,0,0,0,0,0,0,20,0,44,0,50,116,50,0,0]
["17:30","17:45",0,0,0,0,0,0,0,0,0,50,40,60,44,0,50,116,50,0,0]
["17:45","18:00",0,0,0,0,0,0,0,0,0,50,110,90,44,0,50,116,50,0,0]
["18:00","18:15",0,0,0,0,0,0,0,0,0,0,0,91,44,3,100,148,129,0,11]
["18:15","18:30",0,0,0,0,0,0,0,0,0,0,0,131,44,3,100,148,129,0,11]
["18:30","18:45",0,0,0,0,0,0,0,0,0,0,0,171,44,3,100,148,129,0,11]
["18:45","19:00",0,0,0,0,0,0,0,0,0,0,0,171,44,3,100,148,129,0,11]
["19:00","19:15",0,0,0,0,0,0,0,0,0,0,0,191,44,40,114,148,212,50,11]
["19:15","19:30",0,0,0,0,0,0,0,150,150,0,0,191,44,40,114,148,212,50,11]
["19:30","19:45",0,0,0,0,0,0,0,253,47,0,0,191,44,40,114,148,212,50,11]
["19:45","20:00",0,0,0,0,0,0,0,253,47,0,0,191,44,40,114,148,212,50,11]
["20:00","20:15",0,0,0,0,0,0,0,211,89,0,0,191,44,40,121,148,225,0,11]
["20:15","20:30",0,0,0,0,0,0,0,211,89,0,0,191,44,40,121,148,225,0,11]
["20:30","20:45",0,0,0,0,0,0,0,211,89,0,0,191,44,40,121,148,225,0,11]
["20:45","21:00",0,0,0,0,0,0,0,211,89,0,0,166,44,40,121,148,225,0,11]
["21:00","21:15",0,0,0,0,0,0,0,202,98,0,0,201,44,25,115,148,234,42,11]
["21:15","21:30",0,0,0,0,0,0,0,202,98,0,0,201,44,25,115,148,234,42,11]
["21:30","21:45",0,0,0,0,0,0,0,202,98,0,0,201,44,25,115,148,234,42,11]
["21:45","22:00",0,0,0,0,0,0,0,167,133,0,0,201,44,25,80,148,269,42,11]
["22:00","22:15",0,0,0,0,0,0,0,88,212,0,0,201,44,0,38,148,348,0,11]
["22:15","22:30",0,0,0,0,0,0,0,88,212,0,0,201,44,0,38,148,348,0,11]
["22:30","22:45",0,0,0,0,0,0,0,88,212,0,0,201,44,0,38,148,348,0,11]
["22:45","23:00",0,0,0,0,0,0,0,88,212,0,0,276,44,0,38,148,348,0,11]
["23:00","23:15",0,0,0,0,0,0,0,5,295,0,0,375,44,0,0,134,431,0,11]
["23:15","23:30",0,0,0,0,0,0,0,5,295,0,0,375,44,0,0,134,431,0,11]
["23:30","23:45",0,0,0,0,0,0,0,5,295,0,0,375,44,0,0,134,431,0,11]
["23:45","24:00",0,0,0,0,0,0,0,5,295,0,0,375,44,0,0,134,431,0,11]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":4,"rows_kept":106}
[null,"Datum","18.01.2026","18.01.2026"]
[null,"GM-Art","Fremdbilanzierter RD","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday"]
[null,"Anforderer","50Hertz & TenneT DE","50Hertz & TenneT DE"]
[null,"Ursache","I","I"]
[null,"überlastetes Netzelement","50H-TTG / 380kV /Helmstedt - Wolmirstedt / 491-1","50H-TTG / 380kV /Helmstedt - Wolmirstedt / 491-1"]
[null,"auslösendes Netzelement","50H-TTG / 380kV /Helmstedt - Wolmirstedt / 492-2","50H-TTG / 380kV /Helmstedt - Wolmirstedt / 492-2"]
[null,"AO Klarname","50H_AVA_CR_STW","50H_AVA_CR_WOL"]
[null,"Richtung","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":162.5,"d":"162.50"},{"v":487.5,"d":"487.50"}]
["00:00","00:15",0,0]
["00:15","00:30",0,0]
["00:30","00:45",0,0]
["00:45","01:00",0,0]
["01:00","01:15",0,0]
["01:15","01:30",0,0]
["01:30","01:45",0,0]
["01:45","02:00",0,0]
["02:00","02:15",0,0]
["02:15","02:30",0,0]
["02:30","02:45",0,0]
["02:45","03:00",0,0]
["03:00","03:15",0,0]
["03:15","03:30",0,0]
["03:30","03:45",0,0]
["03:45","04:00",0,0]
["04:00","04:15",0,0]
["04:15","04:30",0,0]
["04:30","04:45",0,0]
["04:45","05:00",0,0]
["05:00","05:15",0,0]
["05:15","05:30",0,0]
["05:30","05:45",0,0]
["05:45","06:00",0,0]
["06:00","06:15",0,0]
["06:15","06:30",0,0]
["06:30","06:45",0,0]
["06:45","07:00",0,0]
["07:00","07:15",0,0]
["07:15","07:30",0,0]
["07:30","07:45",0,0]
["07:45","08:00",0,0]
["08:00","08:15",0,0]
["08:15","08:30",0,0]
["08:30","08:45",0,0]
["08:45","09:00",0,0]
["09:00","09:15",0,0]
["09:15","09:30",0,0]
["09:30","09:45",0,0]
["09:45","10:00",0,0]
["10:00","10:15",0,0]
["10:15","10:30",0,0]
["10:30","10:45",0,0]
["10:45","11:00",0,0]
["11:00","11:15",0,0]
["11:15","11:30",0,0]
["11:30","11:45",0,0]
["11:45","12:00",50,150]
["12:00","12:15",50,150]
["12:15","12:30",50,150]
["12:30","12:45",50,150]
["12:45","13:00",50,150]
["13:00","13:15",50,150]
["13:15","13:30",50,150]
["13:30","13:45",50,150]
["13:45","14:00",50,150]
["14:00","14:15",50,150]
["14:15","14:30",50,150]
["14:30","14:45",50,150]
["14:45","15:00",50,150]
["15:00","15:15",0,0]
["15:15","15:30",0,0]
["15:30","15:45",0,0]
["15:45","16:00",0,0]
["16:00","16:15",0,0]
["16:15","16:30",0,0]
["16:30","16:45",0,0]
["16:45","17:00",0,0]
["17:00","17:15",0,0]
["17:15","17:30",0,0]
["17:30","17:45",0,0]
["17:45","18:00",0,0]
["18:00","18:15",0,0]
["18:15","18:30",0,0]
["18:30","18:45",0,0]
["18:45","19:00",0,0]
["19:00","19:15",0,0]
["19:15","19:30",0,0]
["19:30","19:45",0,0]
["19:45","20:00",0,0]
["20:00","20:15",0,0]
["20:15","20:30",0,0]
["20:30","20:45",0,0]
["20:45","21:00",0,0]
["21:00","21:15",0,0]
["21:15","21:30",0,0]
["21:30","21:45",0,0]
["21:45","22:00",0,0]
["22:00","22:15",0,0]
["22:15","22:30",0,0]
["22:30","22:45",0,0]
["22:45","23:00",0,0]
["23:00","23:15",0,0]
["23:15","23:30",0,0]
["23:30","23:45",0,0]
["23:45","24:00",0,0]