{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Redispatch"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":17,"rows_kept":106}
[null,"Datum","29.11.2025","29.11.2025","29.11.2025","29.11.2025","29.11.2025","29.11.2025","29.11.2025","29.11.2025","29.11.2025","29.11.2025","29.11.2025","29.11.2025","29.11.2025","29.11.2025","29.11.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD1","PRD1","PRD1","PRD1","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","50H OWP Wikinger","50H OWP Arkona","Jänschwalde (Standort)","Boxberg (Standort)","Boxberg (Standort)","Jänschwalde (Standort)","50H OWP Arcadis Ost 1","Boxberg (Standort)","Jänschwalde (Standort)","Börse","50H Erfurt-Ost HKW GuD","50H Berlin Marzahn","50H Berlin Mitte","50H Halle-Trotha HKW","50H Hamburg Wedel1"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","QUELLE"]
["Kontrollsumme:","[MWh] ",128.75,20.25,{"v":80,"d":"80.00"},{"v":31,"d":"31.00"},{"v":111,"d":"111.00"},{"v":200,"d":"200.00"},32.25,{"v":583,"d":"583.00"},1413.25,{"v":9,"d":"9.00"},122.75,{"v":999,"d":"999.00"},13.25,{"v":23,"d":"23.00"},{"v":11,"d":"11.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,196,0,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,0,0,196,0,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,0,0,196,0,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,0,0,196,0,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,196,0,0,0,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,196,0,0,0,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,196,0,0,0,0,0,0]
["01:45","02:00",0,0,0,0,0,0,0,0,161,0,0,0,0,0,0]
["02:00","02:15",0,0,0,0,0,0,0,0,51,0,0,0,0,0,0]
["02:15","02:30",0,0,0,0,0,0,0,0,51,0,0,0,0,0,0]
["02:30","02:45",0,0,0,0,0,0,0,0,51,0,0,0,0,0,0]
["02:45","03:00",0,0,0,0,0,0,0,0,51,0,0,0,0,0,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["06:00","06:15",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["06:15","06:30",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["06:30","06:45",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["06:45","07:00",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["07:00","07:15",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["07:15","07:30",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["07:30","07:45",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["07:45","08:00",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["08:00","08:15",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["08:15","08:30",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["08:30","08:45",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["08:45","09:00",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["09:00","09:15",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["09:15","09:30",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["09:30","09:45",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["09:45","10:00",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["10:00","10:15",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["10:15","10:30",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["10:30","10:45",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["10:45","11:00",0,0,0,0,0,0,0,0,0,0,0,75,0,0,0]
["11:00","11:15",0,0,0,0,0,0,0,0,0,0,20,55,0,0,0]
["11:15","11:30",0,0,0,0,0,0,0,0,0,0,40,35,0,0,0]
["11:30","11:45",0,0,0,0,0,0,0,0,0,0,40,35,0,0,0]
["11:45","12:00",0,0,0,0,0,0,0,0,0,0,20,55,0,0,0]
["12:00","12:15",0,0,0,0,0,0,0,0,0,0,0,66,0,0,0]
["12:15","12:30",0,0,0,0,0,0,0,0,0,0,0,66,0,0,0]
["12:30","12:45",0,0,0,0,0,0,0,0,0,0,0,66,0,0,0]
["12:45","13:00",0,0,0,0,0,0,0,0,0,0,0,66,0,0,0]
["13:00","13:15",0,0,0,0,0,0,0,0,0,0,20,46,0,0,0]
["13:15","13:30",0,0,0,0,0,0,0,0,0,0,40,26,0,0,0]
["13:30","13:45",0,0,0,0,0,0,0,0,0,0,40,26,0,0,0]
["13:45","14:00",0,0,0,0,0,0,0,0,0,0,40,46,0,0,0]
["14:00","14:15",0,0,0,0,0,0,0,37,0,0,40,76,0,0,0]
["14:15","14:30",0,0,0,0,0,0,0,37,0,0,40,76,0,0,0]
["14:30","14:45",0,0,0,0,0,0,0,37,0,0,40,76,0,0,0]
["14:45","15:00",0,0,0,0,0,0,0,37,0,0,20,76,0,0,0]
["15:00","15:15",0,0,0,0,0,0,0,0,0,0,0,57,0,0,0]
["15:15","15:30",0,0,0,0,0,0,0,0,0,0,0,57,0,0,0]
["15:30","15:45",0,0,0,0,0,0,0,0,0,0,0,57,0,0,0]
["15:45","16:00",0,0,0,0,0,0,0,0,0,0,0,57,0,0,0]
["16:00","16:15",0,0,0,0,0,0,0,0,0,0,0,29,0,0,0]
["16:15","16:30",0,0,0,0,0,0,0,0,0,0,0,29,0,0,0]
["16:30","16:45",0,0,0,0,0,0,0,0,0,0,0,29,0,0,0]
["16:45","17:00",0,0,0,0,0,0,0,0,0,0,0,29,0,0,0]
["17:00","17:15",0,0,0,0,0,0,0,0,0,0,0,29,0,0,0]
["17:15","17:30",0,0,0,0,0,0,0,0,0,0,0,29,0,0,0]
["17:30","17:45",0,0,0,0,0,0,0,0,0,0,0,29,0,0,0]
["17:45","18:00",75,17,0,0,0,0,0,0,0,0,0,29,0,0,0]
["18:00","18:15",0,0,0,0,0,0,0,0,0,0,0,29,0,0,0]
["18:15","18:30",0,0,0,0,0,0,0,0,0,0,0,29,0,0,0]
["18:30","18:45",0,0,0,0,0,0,0,0,0,0,0,29,0,0,0]
["18:45","19:00",0,0,0,0,0,0,0,0,0,0,0,29,0,0,0]
["19:00","19:15",0,0,0,0,0,0,0,111,0,0,0,0,0,0,11]
["19:15","19:30",0,0,0,0,0,0,0,111,0,0,0,0,0,0,11]
["19:30","19:45",0,0,0,0,0,0,0,111,0,0,0,0,0,0,11]
["19:45","20:00",0,0,0,0,0,0,0,111,0,0,0,0,0,0,11]
["20:00","20:15",0,0,120,124,0,0,0,111,196,0,0,0,0,0,0]
["20:15","20:30",0,0,96,0,0,0,0,111,196,0,0,0,0,0,0]
["20:30","20:45",11,0,8,0,0,0,0,111,196,0,0,0,0,0,0]
["20:45","21:00",111,0,0,0,0,0,0,111,196,0,0,0,0,0,0]
["21:00","21:15",0,0,85,0,0,0,0,111,196,0,0,42,0,0,0]
["21:15","21:30",50,0,11,0,0,0,0,111,196,0,0,42,0,0,0]
["21:30","21:45",102,0,0,0,0,0,0,111,196,0,0,42,0,0,0]
["21:45","22:00",138,64,0,0,0,0,0,111,196,0,0,42,0,0,0]
["22:00","22:15",0,0,0,0,0,0,0,111,196,0,0,60,0,0,0]
["22:15","22:30",0,0,0,0,0,0,0,111,196,0,0,60,0,0,0]
["22:30","22:45",0,0,0,0,0,0,0,111,196,0,0,60,0,0,0]
["22:45","23:00",0,0,0,0,0,0,0,75,196,36,0,60,0,0,0]
["23:00","23:15",14,0,0,0,111,200,1,111,391,0,15,80,14,23,0]
["23:15","23:30",2,0,0,0,111,200,36,111,391,0,28,80,13,23,0]
["23:30","23:45",2,0,0,0,111,200,36,111,391,0,28,80,13,23,0]
["23:45","24:00",10,0,0,0,111,200,56,111,391,0,20,80,13,23,0]