{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":27,"rows_kept":106}
[null,"Datum","03.11.2025","03.11.2025","03.11.2025","03.11.2025","03.11.2025","03.11.2025","03.11.2025","03.11.2025","03.11.2025","03.11.2025","03.11.2025","03.11.2025","03.11.2025","03.11.2025","03.11.2025","03.11.2025","03.11.2025","03.11.2025","03.11.2025","03.11.2025","03.11.2025","03.11.2025","03.11.2025","03.11.2025","03.11.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD1","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Schwarze Pumpe (Standort)","Lippendorf VE","50H Berlin Mitte","Jänschwalde (Standort)","50H Berlin Marzahn","Lippendorf VE","Schkopau","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","Lippendorf VE","Schkopau","50H Dresden-Nossen","50H Berlin Marzahn","50H Berlin Mitte","50H Rostock Marienehe","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","Lippendorf VE","Schkopau","50H Berlin Marzahn","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":360,"d":"360.00"},{"v":620,"d":"620.00"},{"v":246,"d":"246.00"},{"v":350,"d":"350.00"},{"v":841,"d":"841.00"},{"v":1586,"d":"1586.00"},{"v":2028,"d":"2028.00"},{"v":358,"d":"358.00"},{"v":864,"d":"864.00"},{"v":1091,"d":"1091.00"},{"v":423,"d":"423.00"},{"v":100.5,"d":"100.50"},{"v":460.4,"d":"460.40"},{"v":1225,"d":"1225.00"},{"v":269,"d":"269.00"},{"v":308,"d":"308.00"},{"v":863.5,"d":"863.50"},{"v":260,"d":"260.00"},{"v":1418,"d":"1418.00"},{"v":463,"d":"463.00"},{"v":1108,"d":"1108.00"},{"v":27,"d":"27.00"},{"v":2416,"d":"2416.00"},1027.75,{"v":1836,"d":"1836.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,150,0,77,75,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,150,0,77,120,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,150,0,77,120,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,150,0,77,120,0]
["01:00","01:15",0,0,0,0,0,0,0,0,54,0,0,0,0,0,0,0,0,0,0,0,189,0,180,242,0]
["01:15","01:30",0,0,0,0,0,0,0,0,54,0,0,0,0,0,0,0,0,0,0,0,189,0,180,242,0]
["01:30","01:45",0,0,0,0,0,0,0,0,54,0,0,0,0,0,0,0,0,0,0,0,189,0,180,242,0]
["01:45","02:00",0,0,0,0,0,0,0,0,54,0,0,0,0,0,0,0,0,0,0,0,189,0,180,242,0]
["02:00","02:15",0,0,0,0,0,0,75,0,109,50,0,0,0,0,0,0,0,0,0,0,39,0,180,187,352]
["02:15","02:30",0,0,0,0,0,0,150,0,109,50,0,0,0,0,0,0,0,0,0,0,39,0,180,187,352]
["02:30","02:45",0,0,0,0,0,0,150,0,109,50,0,0,0,0,0,0,0,0,0,0,39,0,180,187,352]
["02:45","03:00",0,0,0,0,0,0,150,0,109,50,0,0,0,0,0,0,0,0,0,0,39,0,180,187,352]
["03:00","03:15",0,0,0,0,0,0,166,0,130,0,0,0,0,0,0,0,0,0,0,0,23,0,177,166,782]
["03:15","03:30",0,0,0,0,0,0,166,0,130,0,0,0,0,0,0,0,0,0,0,0,23,0,177,166,782]
["03:30","03:45",0,0,0,0,0,0,166,0,130,0,0,0,0,0,0,0,0,0,0,0,23,0,177,166,782]
["03:45","04:00",0,0,0,0,0,0,166,0,130,0,0,0,0,0,0,0,0,0,0,0,23,0,177,166,782]
["04:00","04:15",0,0,0,0,0,0,177,0,111,148,0,0,0,0,0,0,0,0,0,0,12,0,180,192,628]
["04:15","04:30",0,0,0,0,0,0,177,0,111,148,0,0,0,0,0,0,0,0,0,0,12,0,180,192,628]
["04:30","04:45",0,0,0,0,0,0,177,0,111,148,0,0,0,0,0,0,0,0,0,0,12,0,180,192,628]
["04:45","05:00",0,0,0,0,0,0,177,0,111,148,0,0,0,0,0,0,0,0,0,0,12,0,180,192,628]
["05:00","05:15",0,0,0,0,0,0,189,0,171,348,0,0,0,0,0,0,0,0,0,0,0,0,111,132,74]
["05:15","05:30",0,0,0,0,0,0,189,0,171,348,0,0,0,0,0,0,0,0,0,0,0,0,111,132,74]
["05:30","05:45",0,0,0,0,0,0,189,0,171,348,0,0,0,0,0,0,0,0,0,0,0,0,111,132,74]
["05:45","06:00",0,0,0,0,0,0,189,0,171,348,0,0,0,0,0,0,0,0,0,0,0,0,111,132,74]
["06:00","06:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["06:15","06:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["06:30","06:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["06:45","07:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["07:00","07:15",0,0,0,0,0,0,0,0,0,0,0,0,87.8,140,10,40,167,70,0,0,0,0,0,0,0]
["07:15","07:30",0,0,0,0,0,0,0,0,0,0,0,0,87.8,140,10,40,167,70,0,0,0,0,0,0,0]
["07:30","07:45",0,0,0,0,0,0,0,0,0,0,0,0,87.8,140,10,40,167,70,0,0,0,0,0,0,0]
["07:45","08:00",0,0,0,0,0,0,0,0,0,0,0,0,87.8,140,10,40,167,70,0,0,0,0,0,0,0]
["08:00","08:15",0,0,0,0,0,0,0,0,0,0,57,0,87,157,46,40,115,0,312,0,0,0,0,0,0]
["08:15","08:30",0,0,0,0,0,0,0,0,0,0,57,0,87,157,46,40,115,0,312,0,0,0,0,0,0]
["08:30","08:45",0,0,0,0,0,0,0,0,0,0,57,0,87,157,46,40,115,0,312,0,0,0,0,0,0]
["08:45","09:00",0,0,0,0,0,0,0,0,0,0,57,0,87,157,46,40,115,0,312,0,0,0,0,0,0]
["09:00","09:15",0,0,0,0,0,0,189,0,138,0,105,0,87,157,46,40,265,108,712,0,0,0,0,0,0]
["09:15","09:30",0,0,0,0,0,0,189,0,138,0,105,0,87,157,46,40,315,108,712,0,0,0,0,0,0]
["09:30","09:45",0,0,0,0,0,0,189,0,138,0,105,0,87,157,46,40,315,108,712,0,0,0,0,0,0]
["09:45","10:00",0,0,0,0,0,0,189,0,138,0,105,0,87,157,46,40,315,108,712,0,0,0,0,0,0]
["10:00","10:15",0,70,0,0,0,0,150,0,51,38,185,36,86.6,157,46,40,279,51,394,0,0,0,0,0,0]
["10:15","10:30",0,70,0,0,0,0,150,0,51,38,185,55,86.6,157,46,40,279,51,394,0,0,0,0,0,0]
["10:30","10:45",0,70,0,0,0,0,150,0,51,38,185,55,86.6,157,46,40,279,51,394,0,0,0,0,0,0]
["10:45","11:00",0,70,0,0,0,0,150,0,51,38,185,55,86.6,157,46,40,279,51,394,0,0,0,0,0,0]
["11:00","11:15",0,0,0,0,0,120,150,0,0,0,25,55,86,157,46,36,0,0,0,0,0,0,0,0,0]
["11:15","11:30",0,0,0,0,0,120,150,0,0,0,25,55,86,157,46,36,0,0,0,0,0,0,0,0,0]
["11:30","11:45",0,0,0,0,0,120,150,0,0,0,25,55,86,157,46,36,0,0,0,0,0,0,0,0,0]
["11:45","12:00",0,0,0,0,0,120,150,0,0,0,25,36,86,157,46,36,0,0,0,0,0,0,0,0,0]
["12:00","12:15",0,0,0,0,0,229,189,68,0,98,51,0,14,157,46,36,0,0,0,0,0,0,0,0,0]
["12:15","12:30",0,0,0,0,0,229,189,68,0,98,51,0,14,157,46,36,0,0,0,0,0,0,0,0,0]
["12:30","12:45",0,0,0,0,0,229,189,68,0,98,51,0,14,157,46,36,0,0,0,0,0,0,0,0,0]
["12:45","13:00",0,0,0,0,0,229,189,68,0,98,51,0,14,157,46,36,0,0,0,0,0,0,0,0,0]
["13:00","13:15",0,0,17,0,0,326,174,64,0,115,0,0,12,150,29,36,0,0,0,0,0,0,0,0,0]
["13:15","13:30",0,0,17,0,0,326,174,64,0,115,0,0,12,150,29,36,0,0,0,0,0,0,0,0,0]
["13:30","13:45",0,0,17,0,0,326,174,64,0,115,0,0,12,150,29,36,0,0,0,0,0,0,0,0,0]
["13:45","14:00",0,0,17,0,0,326,174,64,0,115,0,0,12,150,29,36,0,0,0,0,0,0,0,0,0]
["14:00","14:15",0,150,45,0,50,0,189,26,100,294,0,0,0,100,0,40,0,31,0,0,0,0,0,0,0]
["14:15","14:30",0,150,45,0,50,0,189,26,100,294,0,0,0,100,0,40,0,31,0,0,0,0,0,0,0]
["14:30","14:45",0,150,45,0,50,0,189,26,100,294,0,0,0,100,0,40,0,31,0,0,0,0,0,0,0]
["14:45","15:00",0,150,45,0,50,0,189,26,100,294,0,0,0,100,0,40,0,31,0,0,0,0,0,0,0]
["15:00","15:15",150,200,0,0,95,0,189,0,0,0,0,0,0,50,0,0,0,0,0,0,0,0,0,0,0]
["15:15","15:30",150,200,0,0,95,0,189,0,0,0,0,0,0,50,0,0,0,0,0,0,0,0,0,0,0]
["15:30","15:45",150,200,0,0,95,0,189,0,0,0,0,0,0,50,0,0,0,0,0,0,0,0,0,0,0]
["15:45","16:00",150,200,0,0,95,0,189,0,0,0,0,0,0,50,0,0,0,0,0,0,0,0,0,0,0]
["16:00","16:15",150,200,0,86,146,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["16:15","16:30",150,200,0,86,146,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["16:30","16:45",150,200,0,86,146,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["16:45","17:00",150,200,0,86,146,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["17:00","17:15",0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["17:15","17:30",0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["17:30","17:45",0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["17:45","18:00",0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:00","18:15",60,0,46,132,150,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:15","18:30",60,0,46,132,150,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:30","18:45",60,0,46,132,150,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:45","19:00",60,0,46,132,150,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:00","19:15",0,0,46,132,150,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,176,0,111,0,0]
["19:15","19:30",0,0,46,132,150,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,176,0,111,0,0]
["19:30","19:45",0,0,46,132,150,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,176,0,111,0,0]
["19:45","20:00",0,0,46,132,150,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,176,0,111,0,0]
["20:00","20:15",0,0,46,0,100,56,47,0,0,0,0,0,0,0,0,0,0,0,0,270,142,0,400,0,0]
["20:15","20:30",0,0,46,0,100,56,47,0,0,0,0,0,0,0,0,0,0,0,0,270,142,0,400,0,0]
["20:30","20:45",0,0,46,0,100,56,47,0,0,0,0,0,0,0,0,0,0,0,0,270,142,0,400,0,0]
["20:45","21:00",0,0,46,0,100,56,47,0,0,0,0,0,0,0,0,0,0,0,0,270,142,0,400,0,0]
["21:00","21:15",0,0,46,0,50,206,92,0,0,0,0,0,0,0,0,0,0,0,0,130,25,0,400,0,0]
["21:15","21:30",0,0,46,0,50,206,92,0,0,0,0,0,0,0,0,0,0,0,0,130,25,0,400,0,0]
["21:30","21:45",0,0,46,0,50,206,92,0,0,0,0,0,0,0,0,0,0,0,0,130,25,0,400,0,0]
["21:45","22:00",0,0,46,0,50,206,75,0,0,0,0,0,0,0,0,0,0,0,0,130,25,0,400,0,0]
["22:00","22:15",0,0,0,0,0,341,0,0,0,0,0,0,0,0,0,0,0,0,0,15,189,27,400,0,0]
["22:15","22:30",0,0,0,0,0,341,0,0,0,0,0,0,0,0,0,0,0,0,0,15,189,27,400,0,0]
["22:30","22:45",0,0,0,0,0,341,0,0,0,0,0,0,0,0,0,0,0,0,0,15,189,27,400,0,0]
["22:45","23:00",0,0,0,0,0,341,0,0,0,0,0,0,0,0,0,0,0,0,0,15,189,27,400,0,0]
["23:00","23:15",0,0,0,0,0,308,0,200,0,0,0,0,0,0,0,0,0,0,0,48,163,0,200,0,0]
["23:15","23:30",0,0,0,0,0,308,0,200,0,0,0,0,0,0,0,0,0,0,0,48,163,0,200,0,0]
["23:30","23:45",0,0,0,0,0,308,0,200,0,0,0,0,0,0,0,0,0,0,0,48,163,0,200,0,0]
["23:45","24:00",0,0,0,0,0,308,0,200,0,0,0,0,0,0,0,0,0,0,0,48,163,0,200,0,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":3,"rows_kept":106}
[null,"Datum","03.11.2025"]
[null,"GM-Art","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday"]
[null,"Anforderer","50Hertz"]
[null,"Ursache","I"]
[null,"überlastetes Netzelement","50H / 380kV / Pasewalk / Tr. 412"]
[null,"auslösendes Netzelement","50H / 380kV / Pasewalk / Tr. 413"]
[null,"AO Klarname","50H_EDIS_CR_PAS"]
[null,"Richtung","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":150,"d":"150.00"}]
["00:00","00:15",0]
["00:15","00:30",0]
["00:30","00:45",0]
["00:45","01:00",0]
["01:00","01:15",0]
["01:15","01:30",0]
["01:30","01:45",0]
["01:45","02:00",0]
["02:00","02:15",0]
["02:15","02:30",0]
["02:30","02:45",0]
["02:45","03:00",0]
["03:00","03:15",0]
["03:15","03:30",0]
["03:30","03:45",0]
["03:45","04:00",0]
["04:00","04:15",0]
["04:15","04:30",0]
["04:30","04:45",0]
["04:45","05:00",0]
["05:00","05:15",0]
["05:15","05:30",0]
["05:30","05:45",0]
["05:45","06:00",0]
["06:00","06:15",0]
["06:15","06:30",0]
["06:30","06:45",0]
["06:45","07:00",0]
["07:00","07:15",0]
["07:15","07:30",0]
["07:30","07:45",0]
["07:45","08:00",0]
["08:00","08:15",0]
["08:15","08:30",0]
["08:30","08:45",0]
["08:45","09:00",0]
["09:00","09:15",0]
["09:15","09:30",0]
["09:30","09:45",0]
["09:45","10:00",0]
["10:00","10:15",0]
["10:15","10:30",0]
["10:30","10:45",0]
["10:45","11:00",0]
["11:00","11:15",0]
["11:15","11:30",0]
["11:30","11:45",0]
["11:45","12:00",0]
["12:00","12:15",0]
["12:15","12:30",0]
["12:30","12:45",0]
["12:45","13:00",0]
["13:00","13:15",0]
["13:15","13:30",0]
["13:30","13:45",0]
["13:45","14:00",0]
["14:00","14:15",0]
["14:15","14:30",0]
["14:30","14:45",0]
["14:45","15:00",0]
["15:00","15:15",0]
["15:15","15:30",0]
["15:30","15:45",0]
["15:45","16:00",0]
["16:00","16:15",0]
["16:15","16:30",0]
["16:30","16:45",0]
["16:45","17:00",0]
["17:00","17:15",0]
["17:15","17:30",0]
["17:30","17:45",0]
["17:45","18:00",0]
["18:00","18:15",0]
["18:15","18:30",0]
["18:30","18:45",0]
["18:45","19:00",0]
["19:00","19:15",0]
["19:15","19:30",0]
["19:30","19:45",0]
["19:45","20:00",0]
["20:00","20:15",0]
["20:15","20:30",0]
["20:30","20:45",0]
["20:45","21:00",0]
["21:00","21:15",50]
["21:15","21:30",50]
["21:30","21:45",50]
["21:45","22:00",50]
["22:00","22:15",50]
["22:15","22:30",50]
["22:30","22:45",50]
["22:45","23:00",50]
["23:00","23:15",50]
["23:15","23:30",50]
["23:30","23:45",50]
["23:45","24:00",50]