{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":21,"rows_kept":106}
[null,"Datum","03.01.2026","03.01.2026","03.01.2026","03.01.2026","03.01.2026","03.01.2026","03.01.2026","03.01.2026","03.01.2026","03.01.2026","03.01.2026","03.01.2026","03.01.2026","03.01.2026","03.01.2026","03.01.2026","03.01.2026","03.01.2026","03.01.2026"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","50H Berlin Lichterfelde","Schwarze Pumpe (Standort)","50H Erfurt-Ost HKW GuD","50H Leipzig Süd GuD","50H Leipzig Nord GuD","50H Berlin Lichterfelde","50H Berlin Marzahn","50H Berlin Mitte","50H Neubrandenburg GuD","50H Rostock Marienehe","50H Halle-Trotha HKW","Boxberg (Standort)","Schwarze Pumpe (Standort)","50H Halle-Dieselstr HKW-BlockA","50H Halle-Dieselstr HKW-BlockB","50H Hamburg Wedel1","50H UW Bertikow","50H UW Schönewalde","Boxberg (Standort)"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":161,"d":"161.00"},{"v":382,"d":"382.00"},{"v":750.5,"d":"750.50"},{"v":60,"d":"60.00"},{"v":125,"d":"125.00"},{"v":1387.5,"d":"1387.50"},{"v":3786,"d":"3786.00"},{"v":1997,"d":"1997.00"},{"v":52,"d":"52.00"},{"v":190,"d":"190.00"},{"v":286,"d":"286.00"},{"v":7,"d":"7.00"},{"v":100,"d":"100.00"},{"v":101,"d":"101.00"},{"v":312,"d":"312.00"},{"v":311,"d":"311.00"},{"v":287,"d":"287.00"},{"v":487,"d":"487.00"},{"v":63,"d":"63.00"}]
["00:00","00:15",0,340,0,0,0,157,160,269,10,40,24,7,100,16,17,61,0,139,0]
["00:15","00:30",0,340,0,0,0,157,160,269,10,40,24,7,100,16,17,61,0,139,0]
["00:30","00:45",0,340,0,0,0,157,160,269,10,40,24,7,100,16,17,61,0,139,0]
["00:45","01:00",0,340,0,0,0,143,160,269,10,40,24,7,100,16,17,61,0,139,0]
["01:00","01:15",0,7,38,30,25,46,160,269,14,40,24,0,0,17,17,61,177,100,0]
["01:15","01:30",0,7,38,30,25,46,160,269,14,40,24,0,0,17,17,61,177,100,0]
["01:30","01:45",0,7,38,30,25,46,160,269,14,40,24,0,0,17,17,61,177,100,0]
["01:45","02:00",0,7,36,30,25,32,160,269,14,40,24,0,0,17,17,61,177,100,0]
["02:00","02:15",0,7,40,0,25,43,160,270,0,0,24,0,0,17,18,56,100,160,0]
["02:15","02:30",0,7,40,0,25,30,160,270,0,0,24,0,0,17,18,56,100,160,0]
["02:30","02:45",0,7,40,0,25,43,160,270,0,0,24,0,0,17,18,56,100,160,0]
["02:45","03:00",0,7,40,0,25,30,160,270,0,0,24,0,0,17,18,56,100,160,0]
["03:00","03:15",0,7,38,0,25,40,160,270,14,40,24,0,0,17,18,61,10,29,0]
["03:15","03:30",0,7,38,0,25,26,160,270,14,40,24,0,0,17,18,61,10,29,0]
["03:30","03:45",0,7,38,0,25,40,160,270,14,40,24,0,0,17,18,61,10,29,0]
["03:45","04:00",0,7,38,0,25,26,160,270,14,40,24,0,0,17,18,61,10,29,0]
["04:00","04:15",0,7,36,15,25,34,160,270,14,40,24,0,0,17,18,61,0,29,0]
["04:15","04:30",0,7,36,15,25,20,160,270,14,40,24,0,0,17,18,61,0,29,0]
["04:30","04:45",0,7,36,15,25,34,160,270,14,40,24,0,0,17,18,61,0,29,0]
["04:45","05:00",0,7,36,15,25,20,160,270,14,40,24,0,0,17,18,61,0,29,0]
["05:00","05:15",0,7,36,15,25,42,160,220,0,30,24,0,0,17,18,11,0,30,0]
["05:15","05:30",0,7,36,15,25,28,160,220,0,30,24,0,0,17,18,11,0,30,0]
["05:30","05:45",0,7,36,15,25,42,160,220,0,30,24,0,0,17,18,11,0,30,0]
["05:45","06:00",0,7,36,15,25,28,160,220,0,30,24,0,0,17,18,11,0,30,0]
["06:00","06:15",0,7,0,0,0,10,150,170,0,0,0,0,0,0,18,0,0,0,63]
["06:15","06:30",0,7,0,0,0,10,150,170,0,0,0,0,0,0,18,0,0,0,63]
["06:30","06:45",0,7,0,0,0,10,150,170,0,0,0,0,0,0,18,0,0,0,63]
["06:45","07:00",0,7,0,0,0,10,150,170,0,0,0,0,0,0,18,0,0,0,63]
["07:00","07:15",0,0,40,0,0,0,160,120,0,0,0,0,0,0,18,0,0,0,0]
["07:15","07:30",0,0,40,0,0,0,160,120,0,0,0,0,0,0,18,0,0,0,0]
["07:30","07:45",0,0,40,0,0,0,160,120,0,0,0,0,0,0,18,0,0,0,0]
["07:45","08:00",0,0,40,0,0,0,160,120,0,0,0,0,0,0,18,0,0,0,0]
["08:00","08:15",0,0,46,0,0,119,160,69,0,0,0,0,0,0,17,0,0,0,0]
["08:15","08:30",0,0,46,0,0,119,160,69,0,0,0,0,0,0,17,0,0,0,0]
["08:30","08:45",0,0,46,0,0,119,160,69,0,0,0,0,0,0,17,0,0,0,0]
["08:45","09:00",0,0,46,0,0,119,160,69,0,0,0,0,0,0,17,0,0,0,0]
["09:00","09:15",0,0,46,0,0,158,160,20,0,0,24,0,0,0,17,0,0,0,0]
["09:15","09:30",0,0,46,0,0,158,160,20,0,0,24,0,0,0,17,0,0,0,0]
["09:30","09:45",0,0,46,0,0,158,160,20,0,0,24,0,0,0,17,0,0,0,0]
["09:45","10:00",0,0,46,0,0,158,160,20,0,0,24,0,0,0,17,0,0,0,0]
["10:00","10:15",0,0,46,0,0,158,160,50,0,0,24,0,0,0,17,0,0,0,0]
["10:15","10:30",0,0,46,0,0,158,160,50,0,0,24,0,0,0,17,0,0,0,0]
["10:30","10:45",0,0,46,0,0,158,160,50,0,0,24,0,0,0,17,0,0,0,0]
["10:45","11:00",0,0,46,0,0,158,160,50,0,0,24,0,0,0,17,0,0,0,0]
["11:00","11:15",0,0,46,0,0,158,160,0,0,0,24,0,0,0,17,0,0,0,0]
["11:15","11:30",0,0,46,0,0,158,160,0,0,0,24,0,0,0,17,0,0,0,0]
["11:30","11:45",0,0,46,0,0,158,160,0,0,0,24,0,0,0,17,0,0,0,0]
["11:45","12:00",0,0,46,0,0,158,160,0,0,0,24,0,0,0,17,0,0,0,0]
["12:00","12:15",0,0,46,0,0,158,160,0,0,0,23,0,0,0,17,0,0,0,0]
["12:15","12:30",0,0,46,0,0,158,160,0,0,0,23,0,0,0,17,0,0,0,0]
["12:30","12:45",0,0,46,0,0,158,160,0,0,0,23,0,0,0,17,0,0,0,0]
["12:45","13:00",0,0,46,0,0,158,160,0,0,0,23,0,0,0,17,0,0,0,0]
["13:00","13:15",0,0,46,0,0,149,160,0,0,0,23,0,0,0,17,0,0,0,0]
["13:15","13:30",0,0,46,0,0,149,160,0,0,0,23,0,0,0,17,0,0,0,0]
["13:30","13:45",0,0,46,0,0,149,160,0,0,0,23,0,0,0,17,0,0,0,0]
["13:45","14:00",0,0,46,0,0,149,160,0,0,0,23,0,0,0,17,0,0,0,0]
["14:00","14:15",0,0,40,0,0,100,160,0,0,0,24,0,0,0,17,0,0,0,0]
["14:15","14:30",0,0,40,0,0,100,160,0,0,0,24,0,0,0,17,0,0,0,0]
["14:30","14:45",0,0,40,0,0,100,160,0,0,0,24,0,0,0,17,0,0,0,0]
["14:45","15:00",0,0,40,0,0,100,160,0,0,0,24,0,0,0,17,0,0,0,0]
["15:00","15:15",0,0,0,0,0,50,150,0,0,0,0,0,0,0,17,0,0,0,0]
["15:15","15:30",0,0,0,0,0,50,150,0,0,0,0,0,0,0,17,0,0,0,0]
["15:30","15:45",0,0,0,0,0,50,150,0,0,0,0,0,0,0,17,0,0,0,0]
["15:45","16:00",0,0,0,0,0,50,150,0,0,0,0,0,0,0,17,0,0,0,0]
["16:00","16:15",0,0,40,0,0,0,146,0,0,0,0,0,0,0,17,0,0,0,0]
["16:15","16:30",0,0,40,0,0,0,146,0,0,0,0,0,0,0,17,0,0,0,0]
["16:30","16:45",0,0,40,0,0,0,146,0,0,0,0,0,0,0,17,0,0,0,0]
["16:45","17:00",0,0,40,0,0,0,146,0,0,0,0,0,0,0,17,0,0,0,0]
["17:00","17:15",41,0,46,0,0,0,160,0,0,0,0,0,0,0,17,0,0,0,0]
["17:15","17:30",41,0,46,0,0,0,160,0,0,0,0,0,0,0,17,0,0,0,0]
["17:30","17:45",41,0,46,0,0,0,160,0,0,0,0,0,0,0,17,0,0,0,0]
["17:45","18:00",41,0,46,0,0,0,160,0,0,0,0,0,0,0,17,0,0,0,0]
["18:00","18:15",0,0,40,0,0,0,150,0,0,0,0,0,0,0,0,0,0,0,0]
["18:15","18:30",0,0,40,0,0,0,150,0,0,0,0,0,0,0,0,0,0,0,0]
["18:30","18:45",0,0,40,0,0,0,150,0,0,0,0,0,0,0,0,0,0,0,0]
["18:45","19:00",0,0,40,0,0,0,150,0,0,0,0,0,0,0,0,0,0,0,0]
["19:00","19:15",0,0,46,0,0,0,160,0,0,0,0,0,0,0,0,0,0,0,0]
["19:15","19:30",0,0,46,0,0,0,160,0,0,0,0,0,0,0,0,0,0,0,0]
["19:30","19:45",0,0,46,0,0,0,160,0,0,0,0,0,0,0,0,0,0,0,0]
["19:45","20:00",0,0,46,0,0,0,160,0,0,0,0,0,0,0,0,0,0,0,0]
["20:00","20:15",0,0,40,0,0,0,150,0,0,0,0,0,0,0,0,0,0,0,0]
["20:15","20:30",0,0,40,0,0,0,150,0,0,0,0,0,0,0,0,0,0,0,0]
["20:30","20:45",0,0,40,0,0,0,150,0,0,0,0,0,0,0,0,0,0,0,0]
["20:45","21:00",0,0,20,0,0,0,150,0,0,0,0,0,0,0,0,0,0,0,0]
["21:00","21:15",40,0,0,0,0,0,160,0,0,0,0,0,0,0,0,0,0,0,0]
["21:15","21:30",40,0,0,0,0,0,160,0,0,0,0,0,0,0,0,0,0,0,0]
["21:30","21:45",40,0,0,0,0,0,160,0,0,0,0,0,0,0,0,0,0,0,0]
["21:45","22:00",40,0,0,0,0,0,160,0,0,0,0,0,0,0,0,0,0,0,0]
["22:00","22:15",40,0,0,0,0,0,160,0,0,0,0,0,0,0,0,0,0,0,0]
["22:15","22:30",40,0,0,0,0,0,160,0,0,0,0,0,0,0,0,0,0,0,0]
["22:30","22:45",40,0,0,0,0,0,160,0,0,0,0,0,0,0,0,0,0,0,0]
["22:45","23:00",40,0,0,0,0,0,160,0,0,0,0,0,0,0,0,0,0,0,0]
["23:00","23:15",40,0,0,0,0,0,160,0,0,0,0,0,0,0,0,0,0,0,0]
["23:15","23:30",40,0,0,0,0,0,160,0,0,0,0,0,0,0,0,0,0,0,0]
["23:30","23:45",40,0,0,0,0,0,160,0,0,0,0,0,0,0,0,0,0,0,0]
["23:45","24:00",40,0,0,0,0,0,160,0,0,0,0,0,0,0,0,0,0,0,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":4,"rows_kept":106}
[null,"Datum","03.01.2026","03.01.2026"]
[null,"GM-Art","Fremdbilanzierter RD","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz"]
[null,"Ursache","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412"]
[null,"auslösendes Netzelement","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413"]
[null,"AO Klarname","50H_EDIS_CR_GUE_Nord","50H_EDIS_CR_PAS"]
[null,"Richtung","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":225,"d":"225.00"},{"v":3375,"d":"3375.00"}]
["00:00","00:15",50,300]
["00:15","00:30",50,400]
["00:30","00:45",50,400]
["00:45","01:00",50,400]
["01:00","01:15",50,400]
["01:15","01:30",50,400]
["01:30","01:45",50,400]
["01:45","02:00",50,400]
["02:00","02:15",50,400]
["02:15","02:30",50,400]
["02:30","02:45",50,400]
["02:45","03:00",50,400]
["03:00","03:15",50,400]
["03:15","03:30",50,400]
["03:30","03:45",50,400]
["03:45","04:00",50,400]
["04:00","04:15",50,400]
["04:15","04:30",50,400]
["04:30","04:45",0,400]
["04:45","05:00",0,400]
["05:00","05:15",0,400]
["05:15","05:30",0,400]
["05:30","05:45",0,400]
["05:45","06:00",0,400]
["06:00","06:15",0,300]
["06:15","06:30",0,300]
["06:30","06:45",0,300]
["06:45","07:00",0,300]
["07:00","07:15",0,300]
["07:15","07:30",0,300]
["07:30","07:45",0,300]
["07:45","08:00",0,300]
["08:00","08:15",0,250]
["08:15","08:30",0,250]
["08:30","08:45",0,250]
["08:45","09:00",0,250]
["09:00","09:15",0,250]
["09:15","09:30",0,200]
["09:30","09:45",0,150]
["09:45","10:00",0,0]
["10:00","10:15",0,0]
["10:15","10:30",0,0]
["10:30","10:45",0,0]
["10:45","11:00",0,0]
["11:00","11:15",0,0]
["11:15","11:30",0,0]
["11:30","11:45",0,0]
["11:45","12:00",0,0]
["12:00","12:15",0,0]
["12:15","12:30",0,0]
["12:30","12:45",0,0]
["12:45","13:00",0,0]
["13:00","13:15",0,0]
["13:15","13:30",0,0]
["13:30","13:45",0,0]
["13:45","14:00",0,0]
["14:00","14:15",0,0]
["14:15","14:30",0,0]
["14:30","14:45",0,0]
["14:45","15:00",0,0]
["15:00","15:15",0,0]
["15:15","15:30",0,0]
["15:30","15:45",0,0]
["15:45","16:00",0,0]
["16:00","16:15",0,0]
["16:15","16:30",0,0]
["16:30","16:45",0,0]
["16:45","17:00",0,0]
["17:00","17:15",0,0]
["17:15","17:30",0,0]
["17:30","17:45",0,0]
["17:45","18:00",0,0]
["18:00","18:15",0,0]
["18:15","18:30",0,0]
["18:30","18:45",0,0]
["18:45","19:00",0,0]
["19:00","19:15",0,0]
["19:15","19:30",0,0]
["19:30","19:45",0,0]
["19:45","20:00",0,0]
["20:00","20:15",0,0]
["20:15","20:30",0,0]
["20:30","20:45",0,0]
["20:45","21:00",0,0]
["21:00","21:15",0,0]
["21:15","21:30",0,0]
["21:30","21:45",0,0]
["21:45","22:00",0,0]
["22:00","22:15",0,0]
["22:15","22:30",0,0]
["22:30","22:45",0,0]
["22:45","23:00",0,0]
["23:00","23:15",0,0]
["23:15","23:30",0,0]
["23:30","23:45",0,0]
["23:45","24:00",0,0]