{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":25,"rows_kept":106}
[null,"Datum","16.01.2026","16.01.2026","16.01.2026","16.01.2026","16.01.2026","16.01.2026","16.01.2026","16.01.2026","16.01.2026","16.01.2026","16.01.2026","16.01.2026","16.01.2026","16.01.2026","16.01.2026","16.01.2026","16.01.2026","16.01.2026","16.01.2026","16.01.2026","16.01.2026","16.01.2026","16.01.2026"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD1","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","TenneT DE","TenneT DE","TenneT DE","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Schkopau","Lippendorf","50H UW Schönewalde","Schwarze Pumpe (Standort)","Jänschwalde (Standort)","50H Berlin Lichterfelde","50H UW Bertikow","Rostock Kohlekraftwerk","Schkopau","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","50H Erfurt-Ost HKW GuD","50H Leipzig Nord GuD","50H Berlin Lichterfelde","50H Berlin Marzahn","50H Berlin Mitte","50H Neubrandenburg GuD","50H Rostock Marienehe","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","Lippendorf","50H Hamburg Wedel1"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":34,"d":"34.00"},{"v":153,"d":"153.00"},{"v":113,"d":"113.00"},{"v":270,"d":"270.00"},{"v":230,"d":"230.00"},{"v":220,"d":"220.00"},{"v":600,"d":"600.00"},{"v":1506,"d":"1506.00"},{"v":910,"d":"910.00"},{"v":70,"d":"70.00"},{"v":1374,"d":"1374.00"},{"v":1339,"d":"1339.00"},{"v":534,"d":"534.00"},{"v":94,"d":"94.00"},{"v":1028,"d":"1028.00"},{"v":1398,"d":"1398.00"},{"v":2143,"d":"2143.00"},{"v":44,"d":"44.00"},{"v":80,"d":"80.00"},{"v":311,"d":"311.00"},{"v":349,"d":"349.00"},{"v":38,"d":"38.00"},{"v":165,"d":"165.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,0,0,16,0,21,46,254,11,0,0,0,0,15]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,0,0,16,0,21,46,254,11,0,0,0,0,15]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,0,0,16,0,21,46,254,11,0,0,0,0,15]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,0,16,0,21,46,254,11,0,0,0,0,15]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0,0,16,23,21,0,262,11,0,0,0,0,15]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0,0,16,23,21,0,262,11,0,0,0,0,15]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0,0,16,23,21,0,262,11,0,0,0,0,15]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0,0,16,23,21,0,262,11,0,0,0,0,15]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0,0,16,23,20,46,262,11,0,0,0,0,15]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,0,16,23,20,46,262,11,0,0,0,0,15]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,0,16,23,20,46,262,11,0,0,0,0,15]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,0,16,23,20,46,262,11,0,0,0,0,15]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,0,16,23,20,31,262,11,0,0,0,0,15]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,0,16,23,20,31,262,11,0,0,0,0,15]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,0,16,23,20,31,262,11,0,0,0,0,15]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,0,16,23,20,31,262,11,0,0,0,0,15]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,0,16,0,20,0,214,0,0,0,0,0,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,0,16,0,20,0,214,0,0,0,0,0,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,0,16,0,20,0,214,0,0,0,0,0,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,0,16,0,20,0,214,0,0,0,0,0,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0,9,16,0,20,33,163,0,0,0,0,0,15]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0,9,16,0,20,33,163,0,0,0,0,0,15]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0,9,16,0,20,33,163,0,0,0,0,0,15]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0,9,16,0,20,33,163,0,0,0,0,0,15]
["06:00","06:15",0,0,0,0,0,0,0,166,0,0,170,389,0,0,0,0,113,0,0,0,0,3,15]
["06:15","06:30",0,0,0,0,0,0,0,166,0,0,170,389,0,0,0,0,113,0,0,0,0,3,15]
["06:30","06:45",0,0,0,0,0,0,0,166,0,0,170,389,0,0,0,0,113,0,0,0,0,3,15]
["06:45","07:00",0,0,0,0,0,0,0,166,0,0,170,389,0,0,0,0,113,0,0,0,0,3,15]
["07:00","07:15",0,0,0,80,0,40,300,236,10,0,326,349,0,0,0,0,65,0,0,0,0,0,15]
["07:15","07:30",0,0,0,80,0,80,300,236,10,0,326,349,0,0,0,0,65,0,0,0,0,0,15]
["07:30","07:45",0,0,0,80,0,80,300,236,10,0,326,349,0,0,0,0,65,0,0,0,0,0,15]
["07:45","08:00",0,0,0,80,80,80,260,236,10,0,326,349,0,0,0,0,65,0,0,0,0,0,15]
["08:00","08:15",34,153,113,120,180,80,120,236,350,0,283,234,0,0,0,0,15,0,0,0,0,1,15]
["08:15","08:30",34,153,113,120,180,80,120,236,350,0,283,234,0,0,0,0,15,0,0,0,0,1,15]
["08:30","08:45",34,153,113,120,180,80,120,236,350,0,283,234,0,0,0,0,15,0,0,0,0,1,15]
["08:45","09:00",34,153,113,120,180,80,120,236,350,0,283,234,0,0,0,0,15,0,0,0,0,1,15]
["09:00","09:15",0,0,0,70,30,80,200,236,350,70,311,279,0,0,48,47,64,0,40,0,0,0,15]
["09:15","09:30",0,0,0,70,30,80,200,236,350,70,311,279,0,0,48,47,64,0,40,0,0,0,15]
["09:30","09:45",0,0,0,70,30,80,200,236,350,70,311,279,0,0,48,47,64,0,40,0,0,0,15]
["09:45","10:00",0,0,0,70,30,40,160,236,350,70,311,279,0,0,48,47,64,0,40,0,0,0,15]
["10:00","10:15",0,0,0,0,0,0,0,236,200,0,234,79,20,0,97,96,113,0,0,0,0,0,15]
["10:15","10:30",0,0,0,0,0,0,0,236,200,0,234,79,40,0,97,96,113,0,0,0,0,0,15]
["10:30","10:45",0,0,0,0,0,0,0,236,200,0,234,79,40,0,97,96,113,0,0,0,0,0,15]
["10:45","11:00",0,0,0,0,0,0,0,236,200,0,234,79,40,0,97,96,113,0,0,0,0,0,15]
["11:00","11:15",0,0,0,0,0,0,0,156,0,0,50,0,47,0,147,96,164,0,40,0,0,0,15]
["11:15","11:30",0,0,0,0,0,0,0,156,0,0,50,0,47,0,147,96,164,0,40,0,0,0,15]
["11:30","11:45",0,0,0,0,0,0,0,156,0,0,50,0,47,0,147,96,164,0,40,0,0,0,15]
["11:45","12:00",0,0,0,0,0,0,0,156,0,0,50,0,47,0,147,96,164,0,40,0,0,0,15]
["12:00","12:15",0,0,0,0,0,0,0,160,0,0,0,0,44,0,158,96,114,0,0,311,200,34,0]
["12:15","12:30",0,0,0,0,0,0,0,160,0,0,0,0,44,0,158,96,114,0,0,311,200,34,0]
["12:30","12:45",0,0,0,0,0,0,0,160,0,0,0,0,44,0,158,96,114,0,0,311,200,34,0]
["12:45","13:00",0,0,0,0,0,0,0,160,0,0,0,0,44,0,158,96,114,0,0,311,200,34,0]
["13:00","13:15",0,0,0,0,0,0,0,80,0,0,0,0,44,25,158,96,64,0,0,0,149,0,0]
["13:15","13:30",0,0,0,0,0,0,0,80,0,0,0,0,44,25,158,96,64,0,0,0,149,0,0]
["13:30","13:45",0,0,0,0,0,0,0,80,0,0,0,0,44,25,158,96,64,0,0,0,149,0,0]
["13:45","14:00",0,0,0,0,0,0,0,80,0,0,0,0,44,25,158,96,64,0,0,0,149,0,0]
["14:00","14:15",0,0,0,0,0,0,0,0,0,0,0,0,44,0,149,96,14,0,0,0,0,0,0]
["14:15","14:30",0,0,0,0,0,0,0,0,0,0,0,0,44,0,149,96,14,0,0,0,0,0,0]
["14:30","14:45",0,0,0,0,0,0,0,0,0,0,0,0,44,0,149,96,14,0,0,0,0,0,0]
["14:45","15:00",0,0,0,0,0,0,0,0,0,0,0,0,44,0,149,96,14,0,0,0,0,0,0]
["15:00","15:15",0,0,0,0,0,0,0,0,0,0,0,0,44,0,99,96,0,0,0,0,0,0,0]
["15:15","15:30",0,0,0,0,0,0,0,0,0,0,0,0,44,0,99,96,0,0,0,0,0,0,0]
["15:30","15:45",0,0,0,0,0,0,0,0,0,0,0,0,44,0,99,96,0,0,0,0,0,0,0]
["15:45","16:00",0,0,0,0,0,0,0,0,0,0,0,0,44,0,99,96,0,0,0,0,0,0,0]
["16:00","16:15",0,0,0,0,0,0,0,0,0,0,0,0,46,0,50,96,0,0,0,0,0,0,0]
["16:15","16:30",0,0,0,0,0,0,0,0,0,0,0,0,46,0,50,96,0,0,0,0,0,0,0]
["16:30","16:45",0,0,0,0,0,0,0,0,0,0,0,0,46,0,50,96,0,0,0,0,0,0,0]
["16:45","17:00",0,0,0,0,0,0,0,0,0,0,0,0,46,0,50,96,0,0,0,0,0,0,0]
["17:00","17:15",0,0,0,0,0,0,0,0,0,0,0,0,47,0,0,96,0,0,0,0,0,0,0]
["17:15","17:30",0,0,0,0,0,0,0,0,0,0,0,0,47,0,0,96,0,0,0,0,0,0,0]
["17:30","17:45",0,0,0,0,0,0,0,0,0,0,0,0,47,0,0,96,0,0,0,0,0,0,0]
["17:45","18:00",0,0,0,0,0,0,0,0,0,0,0,0,47,0,0,96,0,0,0,0,0,0,0]
["18:00","18:15",0,0,0,0,0,0,0,0,0,0,0,0,47,0,0,96,0,0,0,0,0,0,0]
["18:15","18:30",0,0,0,0,0,0,0,0,0,0,0,0,47,0,0,96,0,0,0,0,0,0,0]
["18:30","18:45",0,0,0,0,0,0,0,0,0,0,0,0,47,0,0,96,0,0,0,0,0,0,0]
["18:45","19:00",0,0,0,0,0,0,0,0,0,0,0,0,47,0,0,96,0,0,0,0,0,0,0]
["19:00","19:15",0,0,0,0,0,0,0,0,0,0,0,0,40,0,0,47,0,0,0,0,0,0,0]
["19:15","19:30",0,0,0,0,0,0,0,0,0,0,0,0,40,0,0,47,0,0,0,0,0,0,0]
["19:30","19:45",0,0,0,0,0,0,0,0,0,0,0,0,40,0,0,47,0,0,0,0,0,0,0]
["19:45","20:00",0,0,0,0,0,0,0,0,0,0,0,0,40,0,0,47,0,0,0,0,0,0,0]
["20:00","20:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,96,0,0,0,0,0,0,0]
["20:15","20:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,96,0,0,0,0,0,0,0]
["20:30","20:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,96,0,0,0,0,0,0,0]
["20:45","21:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,96,0,0,0,0,0,0,0]
["21:00","21:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,96,0,0,0,0,0,0,0]
["21:15","21:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,96,0,0,0,0,0,0,0]
["21:30","21:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,96,0,0,0,0,0,0,0]
["21:45","22:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,96,0,0,0,0,0,0,0]
["22:00","22:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,46,0,0,0,0,0,0,0]
["22:15","22:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,46,0,0,0,0,0,0,0]
["22:30","22:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,46,0,0,0,0,0,0,0]
["22:45","23:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,46,0,0,0,0,0,0,0]
["23:00","23:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,46,0,0,0,0,0,0,0]
["23:15","23:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,46,0,0,0,0,0,0,0]
["23:30","23:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,46,0,0,0,0,0,0,0]
["23:45","24:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,46,0,0,0,0,0,0,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":3,"rows_kept":106}
[null,"Datum","16.01.2026"]
[null,"GM-Art","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday"]
[null,"Anforderer","50Hertz"]
[null,"Ursache","I"]
[null,"überlastetes Netzelement","extern"]
[null,"auslösendes Netzelement","extern"]
[null,"AO Klarname","50H_EDIS_CR_PAS"]
[null,"Richtung","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":300,"d":"300.00"}]
["00:00","00:15",0]
["00:15","00:30",0]
["00:30","00:45",0]
["00:45","01:00",0]
["01:00","01:15",0]
["01:15","01:30",0]
["01:30","01:45",0]
["01:45","02:00",0]
["02:00","02:15",0]
["02:15","02:30",0]
["02:30","02:45",0]
["02:45","03:00",0]
["03:00","03:15",0]
["03:15","03:30",0]
["03:30","03:45",0]
["03:45","04:00",0]
["04:00","04:15",0]
["04:15","04:30",0]
["04:30","04:45",0]
["04:45","05:00",0]
["05:00","05:15",0]
["05:15","05:30",0]
["05:30","05:45",0]
["05:45","06:00",0]
["06:00","06:15",0]
["06:15","06:30",0]
["06:30","06:45",0]
["06:45","07:00",0]
["07:00","07:15",0]
["07:15","07:30",0]
["07:30","07:45",0]
["07:45","08:00",0]
["08:00","08:15",100]
["08:15","08:30",100]
["08:30","08:45",100]
["08:45","09:00",100]
["09:00","09:15",100]
["09:15","09:30",100]
["09:30","09:45",100]
["09:45","10:00",100]
["10:00","10:15",100]
["10:15","10:30",100]
["10:30","10:45",100]
["10:45","11:00",100]
["11:00","11:15",0]
["11:15","11:30",0]
["11:30","11:45",0]
["11:45","12:00",0]
["12:00","12:15",0]
["12:15","12:30",0]
["12:30","12:45",0]
["12:45","13:00",0]
["13:00","13:15",0]
["13:15","13:30",0]
["13:30","13:45",0]
["13:45","14:00",0]
["14:00","14:15",0]
["14:15","14:30",0]
["14:30","14:45",0]
["14:45","15:00",0]
["15:00","15:15",0]
["15:15","15:30",0]
["15:30","15:45",0]
["15:45","16:00",0]
["16:00","16:15",0]
["16:15","16:30",0]
["16:30","16:45",0]
["16:45","17:00",0]
["17:00","17:15",0]
["17:15","17:30",0]
["17:30","17:45",0]
["17:45","18:00",0]
["18:00","18:15",0]
["18:15","18:30",0]
["18:30","18:45",0]
["18:45","19:00",0]
["19:00","19:15",0]
["19:15","19:30",0]
["19:30","19:45",0]
["19:45","20:00",0]
["20:00","20:15",0]
["20:15","20:30",0]
["20:30","20:45",0]
["20:45","21:00",0]
["21:00","21:15",0]
["21:15","21:30",0]
["21:30","21:45",0]
["21:45","22:00",0]
["22:00","22:15",0]
["22:15","22:30",0]
["22:30","22:45",0]
["22:45","23:00",0]
["23:00","23:15",0]
["23:15","23:30",0]
["23:30","23:45",0]
["23:45","24:00",0]