{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":39,"rows_kept":106}
[null,"Datum","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","TenneT DE","TenneT DE","TenneT DE","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Boxberg (Standort)","50H UW Schönewalde","Lippendorf","50H Berlin Mitte","Schwarze Pumpe (Standort)","Lippendorf","Jänschwalde (Standort)","Boxberg (Standort)","50H OWP Wikinger","50H UW Schönewalde","50H UW Bertikow","50H UW Wessin","50H UW Putlitz","50H UW Bertikow","50H OWP Baltic Eagle","Schwarze Pumpe (Standort)","Boxberg (Standort)","Schwarze Pumpe (Standort)","Boxberg (Standort)","50H Erfurt-Ost HKW GuD","50H Leipzig Süd GuD","50H Leipzig Nord GuD","50H Berlin Lichterfelde","50H Berlin Marzahn","50H Berlin Mitte","50H Neubrandenburg GuD","50H Rostock Marienehe","50H Halle-Trotha HKW","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","50H Halle-Dieselstr HKW-BlockA","50H Hamburg Wedel1","50H Hamburg MMB BHKW PtH","50H Erfurt-Ost HKW GuD","Boxberg (Standort)","Schwarze Pumpe (Standort)"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","SENKE","SENKE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":300,"d":"300.00"},{"v":100,"d":"100.00"},{"v":862.5,"d":"862.50"},{"v":88,"d":"88.00"},{"v":426,"d":"426.00"},{"v":2614.5,"d":"2614.50"},{"v":92.5,"d":"92.50"},{"v":172.5,"d":"172.50"},1417.25,{"v":1867,"d":"1867.00"},{"v":814,"d":"814.00"},79.75,{"v":418.5,"d":"418.50"},185.25,967.75,{"v":100,"d":"100.00"},{"v":527.5,"d":"527.50"},{"v":1654,"d":"1654.00"},{"v":213,"d":"213.00"},{"v":407,"d":"407.00"},{"v":510,"d":"510.00"},{"v":286,"d":"286.00"},{"v":627,"d":"627.00"},{"v":826,"d":"826.00"},{"v":537,"d":"537.00"},{"v":726,"d":"726.00"},{"v":598,"d":"598.00"},{"v":371,"d":"371.00"},{"v":1677,"d":"1677.00"},{"v":1142,"d":"1142.00"},{"v":5232,"d":"5232.00"},{"v":211,"d":"211.00"},{"v":1430,"d":"1430.00"},{"v":54,"d":"54.00"},{"v":6,"d":"6.00"},287.25,{"v":56,"d":"56.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,64,0,25,0,0,29,40,40,20,0,0,0,0,0,5,50,18,0,0,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,64,0,25,0,0,29,40,40,20,0,0,0,0,0,5,50,18,0,0,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,64,0,25,0,0,29,40,40,20,0,0,0,0,0,5,50,18,0,0,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,64,0,25,0,0,29,40,40,20,0,0,0,0,0,5,50,18,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,10,0,10,0,25,0,38,40,21,0,0,0,0,0,5,60,18,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,10,0,10,0,25,0,38,40,21,0,0,0,0,0,5,60,18,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,10,0,10,0,25,0,38,40,21,0,0,0,0,0,5,60,18,0,0,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,10,0,10,0,25,0,38,40,21,0,0,0,0,0,5,60,18,0,0,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,10,0,10,15,25,0,28,40,22,0,0,0,0,0,5,60,18,0,0,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,10,0,10,15,25,0,28,40,22,0,0,0,0,0,5,60,18,0,0,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,10,0,10,15,25,0,28,40,22,0,0,0,0,0,5,60,18,0,0,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,10,0,10,15,25,0,28,40,22,0,0,0,0,0,5,60,18,0,0,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,10,0,10,0,25,1,0,2,21,0,0,0,0,0,5,60,0,0,0,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,10,0,10,0,25,1,0,2,21,0,0,0,0,0,5,60,0,0,0,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,10,0,10,0,25,1,0,2,21,0,0,0,0,0,5,60,0,0,0,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,10,0,10,0,25,1,0,2,21,0,0,0,0,0,5,60,0,0,0,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,10,0,10,0,25,1,0,2,22,0,0,0,0,0,5,60,0,0,0,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,10,0,10,0,25,1,0,2,22,0,0,0,0,0,5,60,0,0,0,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,10,0,10,0,25,1,0,2,22,0,0,0,0,0,5,60,0,0,0,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,10,0,10,0,25,1,0,2,22,0,0,0,0,0,5,60,0,0,0,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,10,0,10,15,25,20,0,55,30,24,0,0,0,0,5,60,0,0,0,0]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,10,0,10,15,25,20,0,55,30,24,0,0,0,0,5,60,0,0,0,0]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,10,0,10,15,25,20,0,55,30,24,0,0,0,0,5,60,0,0,0,0]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,10,0,10,15,25,20,0,55,30,24,0,0,0,0,5,60,0,0,0,0]
["06:00","06:15",0,0,0,14,0,0,0,0,0,197,250,0,0,0,0,100,50,10,0,10,30,0,32,40,20,39,40,0,0,0,0,5,60,0,0,0,0]
["06:15","06:30",0,0,0,14,0,0,0,0,100,197,250,0,0,0,0,100,50,10,0,10,30,0,32,40,20,39,40,0,0,0,0,5,60,0,0,0,0]
["06:30","06:45",0,0,0,14,0,0,0,0,200,197,250,0,0,0,0,100,50,10,0,10,30,0,32,40,20,39,40,0,0,0,0,5,60,0,0,0,0]
["06:45","07:00",0,0,0,14,0,0,0,0,227,197,250,0,0,0,0,100,50,10,0,10,30,0,32,40,20,39,40,0,0,0,0,5,60,0,0,0,0]
["07:00","07:15",0,0,0,14,0,0,0,0,227,202,251,39,0,0,0,0,0,368,0,10,30,15,32,40,20,39,40,0,0,0,102,5,60,0,0,0,0]
["07:15","07:30",0,0,0,14,0,0,0,0,227,202,250,40,0,0,0,0,0,368,0,10,30,15,32,40,20,39,40,0,0,0,102,5,60,0,0,0,0]
["07:30","07:45",0,0,0,14,0,0,0,0,227,202,250,40,0,0,0,0,0,368,0,10,30,15,32,40,20,39,40,0,0,0,102,5,60,0,0,0,0]
["07:45","08:00",0,0,150,14,0,0,0,0,227,202,250,40,0,0,0,0,0,368,0,10,30,15,32,40,20,39,40,0,0,0,102,5,60,0,0,0,0]
["08:00","08:15",0,0,300,18,0,0,0,0,0,210,252,40,0,0,0,0,0,176,0,24,30,15,32,40,21,38,40,24,275,170,294,11,60,0,0,0,0]
["08:15","08:30",0,0,300,18,0,0,0,0,0,210,252,40,0,0,0,0,0,176,0,24,30,15,32,40,21,38,40,24,275,170,294,11,60,0,0,0,0]
["08:30","08:45",0,0,300,18,0,0,0,0,0,210,252,40,0,0,0,0,0,176,0,24,30,15,32,40,21,38,40,24,275,170,294,11,60,0,0,0,0]
["08:45","09:00",0,0,300,18,0,0,0,0,0,210,252,40,0,0,0,0,0,176,0,24,30,15,32,40,21,38,40,24,275,170,294,11,60,0,0,0,0]
["09:00","09:15",0,0,300,0,0,0,0,0,0,0,0,0,0,0,0,0,150,326,0,24,30,15,32,40,21,36,0,24,0,120,0,11,60,0,0,0,0]
["09:15","09:30",0,0,300,0,0,0,0,0,0,0,0,0,0,0,0,0,200,326,0,24,30,15,32,40,21,36,0,24,0,120,0,11,60,0,0,0,0]
["09:30","09:45",0,0,300,0,0,0,0,0,0,0,0,0,0,0,0,0,200,326,0,24,30,15,32,40,21,36,0,24,0,120,0,11,60,0,0,0,0]
["09:45","10:00",0,0,300,0,0,0,0,0,0,0,0,0,0,0,0,0,200,326,0,24,30,15,32,40,21,36,0,24,0,120,0,11,60,0,0,0,0]
["10:00","10:15",0,0,200,0,0,0,0,0,0,0,0,0,0,0,0,0,215,271,0,24,30,15,32,40,19,38,40,24,60,126,87,11,60,0,0,0,0]
["10:15","10:30",0,0,200,0,0,0,0,0,0,0,0,0,0,0,0,0,215,271,0,24,30,15,32,40,19,38,40,24,60,126,87,11,60,0,0,0,0]
["10:30","10:45",0,0,200,0,0,0,0,0,0,0,0,0,0,0,0,0,215,271,0,24,30,15,32,40,19,38,40,24,60,126,87,11,60,0,0,0,0]
["10:45","11:00",0,0,200,0,0,0,0,0,0,0,0,0,0,0,0,0,215,271,0,24,30,15,32,40,19,38,40,24,60,126,87,11,60,0,0,0,0]
["11:00","11:15",0,0,100,21,0,0,0,0,0,0,0,0,0,0,0,0,75,236,0,24,30,15,32,40,19,39,0,23,200,48,234,11,60,0,0,0,0]
["11:15","11:30",0,0,0,21,0,0,0,0,0,0,0,0,0,0,0,0,75,236,0,24,30,15,32,40,19,39,0,23,200,48,234,11,60,0,0,0,0]
["11:30","11:45",0,0,0,21,0,0,0,0,0,0,0,0,0,0,0,0,75,236,0,24,30,15,32,40,19,39,0,23,200,48,234,11,60,0,0,0,0]
["11:45","12:00",0,0,0,21,0,0,0,0,0,0,0,0,0,0,0,0,75,236,0,24,30,15,32,40,19,39,0,23,200,48,234,11,60,0,0,0,0]
["12:00","12:15",0,0,0,0,0,0,0,0,0,200,55,0,0,0,0,0,0,50,0,24,30,15,32,40,40,43,14,23,335,0,420,11,60,0,0,0,0]
["12:15","12:30",0,0,0,0,0,0,0,0,0,200,64,0,0,0,0,0,0,50,0,24,30,15,32,40,40,43,14,23,335,0,420,11,60,0,0,0,0]
["12:30","12:45",0,0,0,0,0,0,0,0,0,200,64,0,0,0,0,0,0,50,0,24,30,15,32,40,40,43,14,23,335,0,420,11,60,0,0,0,0]
["12:45","13:00",0,0,0,0,0,0,0,0,0,200,64,0,0,0,0,0,0,50,0,24,30,15,32,40,40,43,14,23,335,0,420,11,60,0,0,0,0]
["13:00","13:15",0,0,0,0,0,150,0,0,0,200,0,0,63,0,0,0,0,50,0,24,30,15,32,40,40,44,40,23,12,0,420,11,60,0,0,0,0]
["13:15","13:30",0,0,0,0,0,150,0,0,0,200,0,0,63,0,0,0,0,50,0,24,30,15,32,40,40,44,40,23,12,0,420,11,60,0,0,0,0]
["13:30","13:45",0,0,0,0,0,150,0,0,0,200,0,0,63,0,0,0,0,50,0,24,30,15,32,40,40,44,40,23,12,0,420,11,60,0,0,0,0]
["13:45","14:00",0,0,0,0,0,150,0,0,0,200,0,0,63,0,0,0,0,50,0,24,30,15,32,40,40,44,40,23,12,0,420,11,60,0,0,0,0]
["14:00","14:15",0,0,0,0,0,300,0,0,0,94,0,0,0,0,0,0,0,53,0,24,30,0,32,40,40,43,0,23,0,0,417,11,60,0,0,0,0]
["14:15","14:30",0,0,0,0,0,300,0,0,0,94,0,0,0,0,0,0,0,53,0,24,30,0,32,40,40,43,0,23,0,0,417,11,60,0,0,0,0]
["14:30","14:45",0,0,0,0,0,300,0,0,0,94,0,0,0,0,0,0,0,53,0,24,30,0,32,40,40,43,0,23,0,0,417,11,60,0,0,0,0]
["14:45","15:00",0,0,0,0,0,300,0,0,0,94,0,0,0,0,0,0,0,53,0,24,30,0,32,40,40,43,0,23,0,0,417,11,60,0,0,0,0]
["15:00","15:15",0,0,0,0,0,397,0,0,0,9,0,0,0,0,0,0,0,0,0,24,30,15,32,40,40,41,40,23,335,0,460,11,60,0,0,0,0]
["15:15","15:30",0,0,0,0,0,397,0,0,0,9,0,0,0,0,0,0,0,0,0,24,30,15,32,40,40,41,40,23,335,0,460,11,60,0,0,0,0]
["15:30","15:45",0,0,0,0,0,397,0,0,0,134,0,0,0,0,0,0,0,0,0,24,30,15,32,40,40,41,40,23,335,0,460,11,60,0,0,0,0]
["15:45","16:00",0,0,0,0,0,367,0,0,0,9,0,0,0,0,0,0,0,0,0,24,30,15,32,40,40,41,40,23,285,0,460,11,60,0,0,0,0]
["16:00","16:15",100,0,0,0,0,377,0,0,0,160,0,0,0,0,0,0,0,0,0,24,30,11,32,40,40,38,40,23,135,170,460,11,60,0,0,0,0]
["16:15","16:30",100,0,0,0,0,377,0,0,0,200,0,0,30,0,0,0,0,0,0,24,30,11,32,40,40,38,40,23,135,170,460,11,60,0,0,0,0]
["16:30","16:45",100,0,0,0,0,377,0,0,0,200,0,0,80,0,0,0,0,0,0,24,30,11,32,40,40,38,40,23,135,170,460,11,60,0,0,0,0]
["16:45","17:00",100,0,0,0,0,377,0,0,0,200,0,0,120,30,0,0,0,0,0,24,30,11,32,40,40,38,40,23,135,170,460,11,60,0,0,0,0]
["17:00","17:15",100,0,0,0,0,373,70,0,0,200,0,0,85,0,0,0,0,0,0,24,30,15,32,40,19,39,40,23,0,169,460,11,60,0,0,0,0]
["17:15","17:30",100,0,0,0,0,373,100,0,0,200,0,0,135,125,0,0,0,0,0,24,30,15,32,40,19,39,40,23,0,169,460,11,60,0,0,0,0]
["17:30","17:45",100,0,0,0,0,373,100,0,0,200,0,0,135,100,0,0,0,0,0,24,30,15,32,40,19,39,40,23,0,169,460,11,60,0,0,0,0]
["17:45","18:00",100,0,0,0,0,373,100,0,70,200,0,0,135,100,0,0,0,0,0,24,30,15,32,40,19,39,40,23,0,169,460,11,60,0,0,0,0]
["18:00","18:15",100,0,0,21,0,377,0,75,0,96,0,0,0,50,0,0,0,0,0,24,30,15,32,40,19,39,40,23,75,169,460,11,60,0,0,0,0]
["18:15","18:30",100,0,0,21,0,377,0,125,0,96,0,0,0,0,0,0,0,0,0,24,30,15,32,40,19,39,40,23,75,169,460,11,60,0,0,0,0]
["18:30","18:45",100,0,0,21,0,377,0,125,0,96,0,0,0,0,0,0,0,0,0,24,30,15,32,40,19,39,40,23,75,169,460,11,60,0,0,0,0]
["18:45","19:00",100,0,0,21,0,377,0,125,0,96,0,0,0,0,0,0,0,0,0,24,30,15,32,40,19,39,40,23,75,169,460,11,60,0,0,0,0]
["19:00","19:15",0,100,0,0,0,348,0,60,0,0,0,0,0,25,0,0,0,0,0,24,30,0,32,40,0,42,40,23,225,170,460,11,60,0,0,0,0]
["19:15","19:30",0,100,0,0,0,348,0,60,0,0,0,0,0,25,0,0,0,0,0,24,30,0,32,40,0,42,40,23,275,170,460,11,60,0,0,0,0]
["19:30","19:45",0,100,0,0,0,348,0,60,0,0,0,0,0,25,0,0,0,0,0,24,30,0,32,40,0,42,40,23,275,170,460,11,60,0,0,0,0]
["19:45","20:00",0,100,0,0,0,348,0,60,0,0,0,0,0,25,0,0,0,0,0,24,30,0,32,40,0,42,40,23,275,170,460,11,60,0,0,0,0]
["20:00","20:15",0,0,0,0,0,300,0,0,200,0,0,0,0,19,200,0,0,0,80,24,30,0,32,40,0,0,40,23,0,0,460,11,60,0,0,0,0]
["20:15","20:30",0,0,0,0,0,300,0,0,200,0,0,0,0,19,200,0,0,0,80,24,30,0,32,40,0,0,40,23,0,0,460,11,60,0,0,0,0]
["20:30","20:45",0,0,0,0,0,300,0,0,200,0,0,0,0,19,200,0,0,0,80,24,30,0,32,40,0,0,40,23,0,0,460,11,60,0,0,0,0]
["20:45","21:00",0,0,0,0,0,300,0,0,200,0,0,0,0,19,200,0,0,0,80,24,30,0,32,40,0,0,40,23,0,0,460,11,60,0,0,0,0]
["21:00","21:15",0,0,0,0,120,0,0,0,346,0,0,0,0,40,457,0,0,0,0,0,30,0,32,40,0,0,40,23,0,0,352,11,60,0,0,0,0]
["21:15","21:30",0,0,0,0,120,0,0,0,346,0,0,0,0,40,457,0,0,0,0,0,30,0,32,40,0,0,40,23,0,0,352,11,60,0,0,0,0]
["21:30","21:45",0,0,0,0,120,0,0,0,346,0,0,0,0,40,457,0,0,0,0,0,30,0,32,40,0,0,40,23,0,0,352,11,60,0,0,0,0]
["21:45","22:00",0,0,0,0,120,0,0,0,346,0,0,0,0,40,457,0,0,0,0,0,30,0,32,40,0,0,40,23,0,0,352,11,60,0,0,0,0]
["22:00","22:15",0,0,0,0,306,0,0,0,200,0,0,0,0,0,305,0,0,0,133,0,0,0,32,40,0,10,40,23,0,0,146,6,60,0,0,0,0]
["22:15","22:30",0,0,0,0,306,0,0,0,200,0,0,0,0,0,305,0,0,0,133,0,0,0,32,40,0,10,40,23,0,0,146,6,60,0,0,0,0]
["22:30","22:45",0,0,0,0,306,0,0,0,150,155,0,0,0,0,200,0,0,0,133,0,0,0,32,40,0,10,40,23,0,0,146,6,60,0,0,0,0]
["22:45","23:00",0,0,0,0,306,0,0,0,43,157,0,0,142,0,163,0,0,0,133,0,0,0,32,40,0,10,40,23,0,0,146,6,60,0,0,0,0]
["23:00","23:15",0,0,0,0,0,0,0,0,347,158,0,0,142,0,67,0,0,0,0,0,0,0,32,40,0,22,40,23,0,0,0,11,60,0,6,283,56]
["23:15","23:30",0,0,0,0,0,0,0,0,346,160,0,0,141,0,67,0,0,0,0,0,0,0,32,40,0,22,40,23,0,0,0,11,60,0,6,333,56]
["23:30","23:45",0,0,0,0,0,0,0,0,347,160,0,0,140,0,67,0,0,0,0,0,0,0,32,40,0,22,40,23,0,0,0,11,60,0,6,333,56]
["23:45","24:00",0,0,0,0,0,0,0,0,347,161,0,0,137,0,69,0,0,0,0,0,0,0,32,40,0,22,40,23,0,0,0,11,60,0,6,200,56]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":21,"rows_kept":106}
[null,"Datum","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026","09.01.2026"]
[null,"GM-Art","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & TenneT DE","50Hertz","50Hertz & TenneT DE","50Hertz","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & TenneT DE","50Hertz & TenneT DE","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & TenneT DE","50Hertz & TenneT DE","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & TenneT DE","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & TenneT DE","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412 & TTG / 380kV / Etzenricht - Mechlenreuth / 437/479","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412 & TTG / 380kV / Etzenricht - Mechlenreuth / 437/479","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412","extern","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412 & TTG / 380kV / Etzenricht - Mechlenreuth / 437/479","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412 & TTG / 380kV / Etzenricht - Mechlenreuth / 437/479","extern","extern","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412 & TTG / 380kV / Etzenricht - Mechlenreuth / 437/479","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412 & TTG / 380kV / Etzenricht - Mechlenreuth / 437/479","extern","extern","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412 & TTG / 380kV / Etzenricht - Mechlenreuth / 437/479","extern","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412 & TTG / 380kV / Etzenricht - Mechlenreuth / 437/479","extern"]
[null,"auslösendes Netzelement","extern","extern","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413 & TTG / 380kV / EC: Eltmann - Redwitz / 428 & Grafenrheinfeld - Oberhaid / 423 // EC_D2_D2_0058","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413 & TTG / 380kV / EC: Eltmann - Redwitz / 428 & Grafenrheinfeld - Oberhaid / 423 // EC_D2_D2_0058","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413","extern","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413 & TTG / 380kV / EC: Eltmann - Redwitz / 428 & Grafenrheinfeld - Oberhaid / 423 // EC_D2_D2_0058","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413 & TTG / 380kV / EC: Eltmann - Redwitz / 428 & Grafenrheinfeld - Oberhaid / 423 // EC_D2_D2_0058","extern","extern","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413 & TTG / 380kV / EC: Eltmann - Redwitz / 428 & Grafenrheinfeld - Oberhaid / 423 // EC_D2_D2_0058","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413 & TTG / 380kV / EC: Eltmann - Redwitz / 428 & Grafenrheinfeld - Oberhaid / 423 // EC_D2_D2_0058","extern","extern","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413 & TTG / 380kV / EC: Eltmann - Redwitz / 428 & Grafenrheinfeld - Oberhaid / 423 // EC_D2_D2_0058","extern","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413 & TTG / 380kV / EC: Eltmann - Redwitz / 428 & Grafenrheinfeld - Oberhaid / 423 // EC_D2_D2_0058","extern"]
[null,"AO Klarname","50H_AVA_CR_WK","50H_EDIS_CR_EH","50H_EDIS_CR_GUE_Nord","50H_EDIS_CR_GUE_Nord","50H_EDIS_CR_PAS","50H_EDIS_CR_PAS","50H_MNS_CR_LAU_Nord","50H_MNS_CR_LAU_Nord","50H_MNS_CR_LAU_Sued","50H_MNS_CR_MA_Nord","50H_MNS_CR_MA_Sued","50H_MNS_CR_MA_Sued","50H_MNS_CR_RAG","50H_TEN_CR_M1_EI","50H_TEN_CR_M2_VIB","50H_TEN_CR_M2_VIB","50H_TEN_CR_S1_ATF","50H_TEN_CR_S1_ATF","50H_TEN_CR_S2_WD"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":94,"d":"94.00"},263.75,{"v":1250,"d":"1250.00"},{"v":490,"d":"490.00"},{"v":925,"d":"925.00"},{"v":500,"d":"500.00"},{"v":1087.5,"d":"1087.50"},{"v":1600,"d":"1600.00"},{"v":200,"d":"200.00"},{"v":712.5,"d":"712.50"},{"v":1200,"d":"1200.00"},{"v":100,"d":"100.00"},{"v":1200,"d":"1200.00"},{"v":158,"d":"158.00"},{"v":470.5,"d":"470.50"},{"v":80,"d":"80.00"},{"v":416,"d":"416.00"},{"v":120,"d":"120.00"},{"v":257,"d":"257.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,0,300,0,0,0,0,0,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,0,300,0,0,0,0,0,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,0,300,0,0,0,0,0,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,0,300,0,0,0,0,0,0]
["05:00","05:15",0,0,0,0,0,0,0,200,0,0,0,0,300,0,0,0,0,0,0]
["05:15","05:30",0,0,0,0,0,0,0,200,0,0,0,0,300,0,0,0,0,0,0]
["05:30","05:45",0,0,0,0,0,0,0,200,0,0,0,0,300,0,0,0,0,0,0]
["05:45","06:00",0,0,0,0,0,0,0,200,0,0,0,0,300,0,0,0,0,0,0]
["06:00","06:15",0,191,0,0,0,0,0,200,0,0,0,0,300,0,0,0,0,0,0]
["06:15","06:30",0,191,0,0,100,0,0,200,0,0,0,0,300,0,0,0,0,0,0]
["06:30","06:45",0,191,100,0,100,0,0,200,0,0,0,0,300,0,0,0,0,0,0]
["06:45","07:00",0,191,100,0,100,0,0,200,0,0,0,0,300,0,0,0,0,0,0]
["07:00","07:15",0,141,100,0,100,0,0,200,0,0,0,0,300,0,0,0,0,0,0]
["07:15","07:30",0,100,100,0,100,0,0,200,0,0,0,0,300,0,0,0,0,0,0]
["07:30","07:45",0,50,100,0,100,0,0,200,0,0,0,0,300,0,0,0,0,0,0]
["07:45","08:00",0,0,100,0,100,0,0,200,0,0,0,0,300,0,0,0,0,0,0]
["08:00","08:15",0,0,100,0,100,0,0,200,0,0,0,0,0,0,0,0,0,0,0]
["08:15","08:30",0,0,100,0,100,0,0,200,0,0,0,0,0,0,0,0,0,0,0]
["08:30","08:45",0,0,100,0,100,0,0,200,0,0,0,0,0,0,0,0,0,0,0]
["08:45","09:00",0,0,100,0,100,0,0,200,0,0,0,0,0,0,0,0,0,0,0]
["09:00","09:15",0,0,100,0,100,0,0,300,100,0,0,0,0,0,0,40,0,60,0]
["09:15","09:30",0,0,100,0,100,0,0,300,100,0,0,0,0,0,0,40,0,60,0]
["09:30","09:45",0,0,100,0,100,0,0,300,100,0,0,0,0,0,0,40,0,60,0]
["09:45","10:00",0,0,100,0,100,0,0,300,100,0,0,0,0,0,0,40,0,60,0]
["10:00","10:15",0,0,100,0,100,0,0,300,100,0,0,100,0,0,0,40,0,60,0]
["10:15","10:30",0,0,100,0,100,0,0,300,100,0,0,100,0,0,0,40,0,60,0]
["10:30","10:45",0,0,100,0,100,0,0,300,100,0,0,100,0,0,0,40,0,60,0]
["10:45","11:00",0,0,100,0,100,0,0,300,100,0,0,100,0,0,0,40,0,60,0]
["11:00","11:15",0,0,100,0,100,0,0,200,0,0,0,0,0,0,0,0,0,0,0]
["11:15","11:30",0,0,100,0,100,0,0,200,0,0,0,0,0,0,0,0,0,0,0]
["11:30","11:45",0,0,100,0,100,0,0,200,0,0,0,0,0,0,0,0,0,0,0]
["11:45","12:00",0,0,100,0,100,0,0,200,0,0,0,0,0,0,0,0,0,0,0]
["12:00","12:15",0,0,100,0,50,0,200,0,0,100,200,0,0,0,0,0,0,0,0]
["12:15","12:30",0,0,100,0,50,0,150,0,0,150,200,0,0,0,0,0,0,0,0]
["12:30","12:45",0,0,100,0,50,0,150,0,0,150,200,0,0,0,0,0,0,0,0]
["12:45","13:00",0,0,100,0,50,0,150,0,0,150,200,0,0,0,0,0,0,0,0]
["13:00","13:15",0,0,100,0,50,0,150,0,0,150,200,0,0,0,0,0,0,0,0]
["13:15","13:30",0,0,100,0,50,0,150,0,0,150,200,0,0,0,0,0,0,0,0]
["13:30","13:45",0,0,100,0,50,0,150,0,0,150,200,0,0,0,0,0,0,0,0]
["13:45","14:00",0,0,100,0,50,0,150,0,0,150,200,0,0,0,0,0,0,0,0]
["14:00","14:15",0,0,100,0,50,0,150,0,0,150,200,0,0,0,0,0,127,0,0]
["14:15","14:30",0,0,100,0,50,0,150,0,0,150,200,0,0,0,0,0,127,0,0]
["14:30","14:45",0,0,100,0,50,0,200,0,0,100,200,0,0,0,0,0,127,0,0]
["14:45","15:00",0,0,100,0,50,0,200,0,0,100,200,0,0,0,0,0,127,0,0]
["15:00","15:15",0,0,100,0,50,0,200,0,0,100,200,0,0,0,0,0,48,0,0]
["15:15","15:30",0,0,100,0,50,0,200,0,0,100,200,0,0,0,0,0,48,0,0]
["15:30","15:45",0,0,100,0,50,0,200,0,0,100,200,0,0,0,0,0,48,0,0]
["15:45","16:00",0,0,100,0,50,0,200,0,0,100,200,0,0,0,0,0,48,0,0]
["16:00","16:15",0,0,100,0,50,0,200,0,0,100,200,0,0,80,121,0,122,0,110]
["16:15","16:30",0,0,100,0,50,0,200,0,0,100,200,0,0,80,121,0,122,0,110]
["16:30","16:45",0,0,100,0,50,50,200,0,0,100,200,0,0,80,121,0,122,0,110]
["16:45","17:00",0,0,100,0,50,50,200,0,0,100,200,0,0,80,121,0,122,0,110]
["17:00","17:15",94,0,100,0,50,50,200,0,0,100,200,0,0,78,312,0,119,0,147]
["17:15","17:30",94,0,100,0,50,50,200,0,0,100,200,0,0,78,312,0,119,0,147]
["17:30","17:45",94,0,100,0,50,50,200,0,0,100,200,0,0,78,312,0,119,0,147]
["17:45","18:00",94,0,100,0,50,50,200,0,0,100,200,0,0,78,312,0,119,0,147]
["18:00","18:15",0,0,100,0,50,50,0,0,0,0,0,0,0,0,150,0,0,0,0]
["18:15","18:30",0,0,100,0,50,50,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:30","18:45",0,0,100,0,50,50,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:45","19:00",0,0,100,0,50,50,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:00","19:15",0,0,0,100,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:15","19:30",0,0,0,100,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:30","19:45",0,0,0,100,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:45","20:00",0,0,0,100,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:00","20:15",0,0,0,100,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:15","20:30",0,0,0,100,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:30","20:45",0,0,0,100,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:45","21:00",0,0,0,100,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:00","21:15",0,0,0,100,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:15","21:30",0,0,0,100,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:30","21:45",0,0,0,100,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:45","22:00",0,0,0,100,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:00","22:15",0,0,0,100,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:15","22:30",0,0,0,100,0,50,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:30","22:45",0,0,0,100,0,50,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:45","23:00",0,0,0,100,0,50,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:00","23:15",0,0,0,100,0,50,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:15","23:30",0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:30","23:45",0,0,0,80,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:45","24:00",0,0,0,80,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]