{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Redispatch"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":17,"rows_kept":106}
[null,"Datum","12.01.2026","12.01.2026","12.01.2026","12.01.2026","12.01.2026","12.01.2026","12.01.2026","12.01.2026","12.01.2026","12.01.2026","12.01.2026","12.01.2026","12.01.2026","12.01.2026","12.01.2026"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","PRD1","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Schkopau","Boxberg (Standort)","Jänschwalde (Standort)","Schkopau","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","Lippendorf","50H Hamburg Wedel1","50H UW Wessin","50H InfraLeuna IKW","Schkopau","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)"]
[null,"Richtung","QUELLE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":5,"d":"5.00"},{"v":2109,"d":"2109.00"},{"v":747,"d":"747.00"},290.25,{"v":634,"d":"634.00"},{"v":438,"d":"438.00"},{"v":636,"d":"636.00"},2160.75,{"v":836,"d":"836.00"},{"v":5,"d":"5.00"},{"v":122,"d":"122.00"},{"v":130,"d":"130.00"},467.75,{"v":577,"d":"577.00"},{"v":447.5,"d":"447.50"}]
["00:00","00:15",0,50,50,0,0,0,0,0,50,0,0,75,200,156,110]
["00:15","00:30",0,50,50,0,0,0,0,0,50,0,0,150,200,156,120]
["00:30","00:45",0,50,50,0,0,0,0,0,50,0,0,160,200,156,124]
["00:45","01:00",0,50,50,0,0,0,0,0,50,0,0,135,225,156,124]
["01:00","01:15",0,294,0,0,0,0,0,0,55,0,0,0,271,191,224]
["01:15","01:30",0,294,0,0,0,0,0,0,55,0,0,0,271,191,224]
["01:30","01:45",0,294,0,0,0,0,0,0,55,0,0,0,271,191,224]
["01:45","02:00",0,294,0,0,0,0,0,0,55,0,0,0,201,191,224]
["02:00","02:15",0,404,0,0,0,0,0,0,55,0,0,0,0,115,50]
["02:15","02:30",0,404,0,0,0,0,0,0,55,0,0,0,0,115,50]
["02:30","02:45",0,404,0,0,0,0,0,0,55,0,0,0,0,115,50]
["02:45","03:00",0,404,0,0,0,0,0,0,55,0,0,0,0,115,50]
["03:00","03:15",0,269,0,0,0,0,0,138,55,0,0,0,0,115,19]
["03:15","03:30",0,269,0,0,0,0,0,138,55,0,0,0,0,115,19]
["03:30","03:45",0,269,0,0,0,0,0,138,55,0,0,0,0,115,19]
["03:45","04:00",0,269,0,0,0,0,0,138,55,0,0,0,0,115,19]
["04:00","04:15",0,419,145,0,0,0,0,288,55,0,0,0,0,0,0]
["04:15","04:30",0,419,145,0,0,0,0,288,55,0,0,0,0,0,0]
["04:30","04:45",0,419,145,0,0,0,0,288,55,0,0,0,0,0,0]
["04:45","05:00",0,419,145,0,0,0,0,288,55,0,0,0,0,0,0]
["05:00","05:15",0,306,216,0,0,0,0,149,55,0,0,0,0,0,0]
["05:15","05:30",0,306,216,0,0,0,0,149,55,0,0,0,0,0,0]
["05:30","05:45",0,306,216,0,0,0,0,149,55,0,0,0,0,0,0]
["05:45","06:00",0,306,216,0,0,0,0,149,55,0,0,0,0,0,0]
["06:00","06:15",0,367,336,0,0,0,0,0,35,0,36,0,8,0,0]
["06:15","06:30",0,367,336,0,0,0,0,0,35,0,36,0,8,0,0]
["06:30","06:45",0,367,336,0,0,0,0,0,35,0,36,0,8,0,0]
["06:45","07:00",0,367,336,0,0,0,0,0,35,0,36,0,8,0,0]
["07:00","07:15",0,0,0,0,0,0,0,0,35,0,36,0,0,0,8]
["07:15","07:30",0,0,0,0,0,0,0,0,35,0,36,0,0,0,8]
["07:30","07:45",0,0,0,0,0,0,0,0,35,0,36,0,0,0,8]
["07:45","08:00",0,0,0,0,0,0,0,0,35,0,36,0,0,0,8]
["08:00","08:15",0,0,0,0,0,0,0,0,30,5,36,0,0,0,8]
["08:15","08:30",0,0,0,0,0,0,0,0,30,5,36,0,0,0,8]
["08:30","08:45",0,0,0,0,0,0,0,0,30,5,36,0,0,0,8]
["08:45","09:00",0,0,0,0,0,0,0,0,30,5,36,0,0,0,8]
["09:00","09:15",0,0,0,0,0,0,0,0,30,0,28,0,0,0,3]
["09:15","09:30",0,0,0,0,0,0,0,0,30,0,28,0,0,0,3]
["09:30","09:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,1]
["09:45","10:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,1]
["10:00","10:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,9]
["10:15","10:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,9]
["10:30","10:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,9]
["10:45","11:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,9]
["11:00","11:15",0,0,0,0,0,0,18,0,0,0,0,0,0,0,0]
["11:15","11:30",0,0,0,0,0,0,18,0,0,0,0,0,0,0,0]
["11:30","11:45",0,0,0,0,0,0,18,0,0,0,0,0,0,0,0]
["11:45","12:00",0,0,0,0,0,0,18,0,0,0,0,0,0,0,0]
["12:00","12:15",0,0,0,0,0,0,112,0,0,0,0,0,0,0,0]
["12:15","12:30",0,0,0,0,0,0,112,0,0,0,0,0,0,0,0]
["12:30","12:45",0,0,0,0,0,0,112,0,0,0,0,0,0,0,0]
["12:45","13:00",0,0,0,0,0,0,112,0,0,0,0,0,0,0,0]
["13:00","13:15",0,0,0,0,0,0,112,0,0,0,0,0,0,0,0]
["13:15","13:30",0,0,0,0,0,0,112,0,0,0,0,0,0,0,0]
["13:30","13:45",0,0,0,0,0,0,112,0,0,0,0,0,0,0,0]
["13:45","14:00",0,0,0,0,0,0,112,0,0,0,0,0,0,0,0]
["14:00","14:15",0,0,0,0,92,120,112,0,0,0,0,0,0,0,0]
["14:15","14:30",0,0,0,0,92,120,112,0,0,0,0,0,0,0,0]
["14:30","14:45",0,0,0,0,92,120,112,0,0,0,0,0,0,0,0]
["14:45","15:00",0,0,0,0,92,120,112,0,0,0,0,0,0,0,0]
["15:00","15:15",0,0,0,0,285,181,116,0,32,0,0,0,0,0,0]
["15:15","15:30",0,0,0,0,285,181,116,0,32,0,0,0,0,0,0]
["15:30","15:45",0,0,0,0,285,181,116,0,32,0,0,0,0,0,0]
["15:45","16:00",0,0,0,0,285,181,116,0,32,0,0,0,0,0,0]
["16:00","16:15",0,0,0,0,200,137,21,0,32,0,0,0,0,0,0]
["16:15","16:30",0,0,0,0,200,137,21,0,32,0,0,0,0,0,0]
["16:30","16:45",0,0,0,0,200,137,21,0,32,0,0,0,0,0,0]
["16:45","17:00",0,0,0,0,200,137,21,0,32,0,0,0,0,0,0]
["17:00","17:15",0,0,0,0,0,0,0,0,32,0,0,0,0,0,0]
["17:15","17:30",0,0,0,0,0,0,0,0,32,0,0,0,0,0,0]
["17:30","17:45",0,0,0,0,0,0,0,0,32,0,0,0,0,0,0]
["17:45","18:00",0,0,0,0,0,0,0,0,32,0,0,0,0,0,0]
["18:00","18:15",5,0,0,0,0,0,0,0,50,0,0,0,0,0,8]
["18:15","18:30",5,0,0,0,0,0,0,0,50,0,0,0,0,0,8]
["18:30","18:45",5,0,0,0,0,0,0,0,50,0,0,0,0,0,8]
["18:45","19:00",5,0,0,0,0,0,0,0,50,0,0,0,0,0,8]
["19:00","19:15",0,0,0,0,12,0,0,0,50,0,0,0,0,0,0]
["19:15","19:30",0,0,0,0,12,0,0,0,50,0,0,0,0,0,0]
["19:30","19:45",0,0,0,0,12,0,0,0,50,0,0,0,0,0,0]
["19:45","20:00",0,0,0,0,12,0,0,0,50,0,0,0,0,0,0]
["20:00","20:15",0,0,0,0,11,0,51,232,50,0,0,0,0,0,0]
["20:15","20:30",0,0,0,0,11,0,51,232,50,0,0,0,0,0,0]
["20:30","20:45",0,0,0,0,11,0,51,232,50,0,0,0,0,0,0]
["20:45","21:00",0,0,0,27,11,0,51,263,50,0,0,0,0,0,0]
["21:00","21:15",0,0,0,57,11,0,43,255,50,0,0,0,0,0,0]
["21:15","21:30",0,0,0,57,11,0,43,255,50,0,0,0,0,0,0]
["21:30","21:45",0,0,0,57,11,0,43,255,50,0,0,0,0,0,0]
["21:45","22:00",0,0,0,57,11,0,43,255,50,0,0,0,0,0,0]
["22:00","22:15",0,0,0,132,11,0,51,675,50,0,0,0,0,0,0]
["22:15","22:30",0,0,0,207,11,0,51,675,50,0,0,0,0,0,0]
["22:30","22:45",0,0,0,207,11,0,51,675,50,0,0,0,0,0,0]
["22:45","23:00",0,0,0,132,11,0,51,675,50,0,0,0,0,0,0]
["23:00","23:15",0,0,0,57,12,0,0,416,50,0,0,0,0,0,0]
["23:15","23:30",0,0,0,57,12,0,0,416,50,0,0,0,0,0,0]
["23:30","23:45",0,0,0,57,12,0,0,416,50,0,0,0,0,0,0]
["23:45","24:00",0,0,0,57,12,0,0,416,50,0,0,0,0,0,0]