{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":30,"rows_kept":106}
[null,"Datum","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Schwarze Pumpe (Standort)","50H Berlin Lichterfelde","50H OWP Wikinger","50H OWP Baltic Eagle","50H UW Wessin","50H UW Putlitz","50H OWP Arkona","50H UW Schönewalde","50H OWP Arcadis Ost 1","50H Erfurt-Ost HKW GuD","50H Berlin Lichterfelde","50H Berlin Marzahn","50H Berlin Mitte","50H Neubrandenburg GuD","50H Rostock Marienehe","50H Hamburg Tiefstack GuD","50H Halle-Trotha HKW","Schwarze Pumpe (Standort)","50H Halle-Dieselstr HKW-BlockA","50H Hamburg Wedel1","50H OWP Arkona","50H OWP Baltic Eagle","50H OWP Wikinger","50H UW Bertikow","50H UW Putlitz","50H UW Schönewalde","50H UW Wessin","50H OWP Baltic Eagle"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":300,"d":"300.00"},{"v":23,"d":"23.00"},{"v":4685.5,"d":"4685.50"},{"v":6317,"d":"6317.00"},559.75,1388.75,{"v":4305,"d":"4305.00"},{"v":1164,"d":"1164.00"},{"v":397.5,"d":"397.50"},{"v":618,"d":"618.00"},{"v":1544,"d":"1544.00"},{"v":2210,"d":"2210.00"},{"v":3915,"d":"3915.00"},{"v":697,"d":"697.00"},{"v":720,"d":"720.00"},{"v":265,"d":"265.00"},{"v":168,"d":"168.00"},{"v":3680,"d":"3680.00"},{"v":272,"d":"272.00"},{"v":1464,"d":"1464.00"},{"v":1820,"d":"1820.00"},{"v":2147,"d":"2147.00"},{"v":1822,"d":"1822.00"},132.75,847.25,{"v":796.5,"d":"796.50"},{"v":432.5,"d":"432.50"},{"v":18,"d":"18.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,0,0,61,340,406,305,136,132,200,67,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,0,0,61,340,406,305,134,133,200,68,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,0,0,61,340,406,305,133,135,200,67,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,0,0,61,340,406,305,128,139,200,68,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,0,0,61,340,406,304,0,142,140,68,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,0,0,61,340,406,304,0,142,139,69,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,0,0,61,340,406,304,0,143,136,71,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,0,0,61,340,406,304,0,143,135,72,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0,0,2,0,0,0,0,0,0,61,340,406,304,0,145,142,74,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,0,2,0,0,0,0,0,0,61,340,406,304,0,147,139,75,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,0,2,0,0,0,0,0,0,61,340,406,304,0,148,137,76,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,0,2,0,0,0,0,0,0,61,340,406,304,0,148,134,79,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,0,0,61,120,407,304,0,151,144,80,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,0,0,61,120,407,304,0,152,142,81,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,0,0,61,120,407,304,0,151,141,83,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,0,0,61,120,407,304,0,152,139,84,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,0,0,61,340,113,304,0,153,158,84,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,0,0,61,340,113,304,0,153,157,85,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,0,0,61,340,113,304,0,154,156,85,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,0,0,61,340,113,304,0,154,155,86,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,0,0,61,340,409,301,0,118,23,52,0]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,0,0,61,340,409,301,0,118,23,52,0]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,0,0,61,340,409,301,0,118,23,52,0]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0,0,1,0,0,0,0,0,0,61,340,409,301,0,118,23,52,0]
["06:00","06:15",0,0,330,449,51,141,376,50,0,0,0,0,1,0,40,0,0,0,0,61,0,0,0,0,0,0,0,0]
["06:15","06:30",0,0,330,449,51,141,376,50,0,0,0,0,1,0,40,0,0,0,0,61,0,0,0,0,0,0,0,0]
["06:30","06:45",0,0,330,449,51,141,376,50,0,0,0,0,1,0,40,0,0,0,0,61,0,0,0,0,0,0,0,0]
["06:45","07:00",0,0,330,449,51,141,376,50,0,0,0,0,1,0,40,0,0,0,0,61,0,0,0,0,0,0,0,0]
["07:00","07:15",100,0,330,449,51,141,376,30,0,0,0,0,1,14,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["07:15","07:30",100,0,330,449,51,141,376,30,0,0,0,0,1,14,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["07:30","07:45",100,0,330,449,51,141,376,30,0,0,0,0,1,14,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["07:45","08:00",100,0,330,449,51,140,376,30,0,0,0,0,1,14,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["08:00","08:15",100,0,337,449,51,138,377,0,0,12,97,170,269,42,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["08:15","08:30",100,0,337,449,51,139,377,0,0,25,97,170,269,42,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["08:30","08:45",100,0,337,449,51,139,377,0,0,25,97,170,269,42,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["08:45","09:00",100,0,337,449,51,139,377,0,0,25,97,170,269,42,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["09:00","09:15",100,0,337,449,0,0,377,0,0,46,97,170,269,48,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["09:15","09:30",100,0,337,449,0,0,377,0,0,46,97,170,269,48,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["09:30","09:45",100,0,337,449,0,0,377,0,0,46,97,170,269,48,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["09:45","10:00",100,0,337,449,0,0,377,0,0,46,97,170,269,48,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["10:00","10:15",0,0,178,99,0,0,0,0,0,46,0,0,202,47,40,0,0,0,16,61,0,0,0,0,0,0,0,9]
["10:15","10:30",0,0,178,99,0,0,0,0,0,46,0,0,202,47,40,0,0,0,16,61,0,0,0,0,0,0,0,9]
["10:30","10:45",0,0,178,99,0,0,0,0,0,46,0,0,202,47,40,0,0,0,16,61,0,0,0,0,0,0,0,9]
["10:45","11:00",0,0,178,99,0,0,0,0,0,46,0,0,202,47,40,0,0,0,16,61,0,0,0,0,0,0,0,9]
["11:00","11:15",0,0,0,99,0,0,0,0,0,46,0,0,0,46,40,0,0,0,16,61,0,0,0,0,0,0,0,9]
["11:15","11:30",0,0,0,99,0,0,0,0,0,46,0,0,0,46,40,0,0,0,16,61,0,0,0,0,0,0,0,9]
["11:30","11:45",0,0,0,99,0,0,0,0,0,46,0,0,0,46,40,0,0,0,16,61,0,0,0,0,0,0,0,9]
["11:45","12:00",0,0,0,99,0,0,0,0,0,46,0,0,0,46,40,0,0,0,16,61,0,0,0,0,0,0,0,9]
["12:00","12:15",0,0,0,9,0,0,0,0,0,45,0,0,202,46,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["12:15","12:30",0,0,0,9,0,0,0,0,0,44,0,0,202,46,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["12:30","12:45",0,0,0,9,0,0,0,0,0,43,0,0,202,46,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["12:45","13:00",0,0,0,9,0,0,0,0,0,42,0,0,202,46,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["13:00","13:15",0,23,311,423,0,0,0,0,0,42,8,170,269,46,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["13:15","13:30",0,23,311,423,0,0,0,0,0,42,8,170,269,46,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["13:30","13:45",0,23,311,423,0,0,0,0,0,42,8,170,269,46,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["13:45","14:00",0,23,311,423,0,0,0,0,0,42,8,170,269,46,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["14:00","14:15",0,0,310,423,45,0,344,0,0,43,54,170,269,47,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["14:15","14:30",0,0,310,423,45,0,344,0,0,44,54,170,269,47,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["14:30","14:45",0,0,310,423,45,0,344,0,0,45,54,170,269,47,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["14:45","15:00",0,0,310,423,45,0,344,0,0,46,54,170,269,47,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["15:00","15:15",0,0,310,417,45,128,344,0,0,46,64,170,269,46,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["15:15","15:30",0,0,310,420,45,125,344,0,0,46,64,170,269,46,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["15:30","15:45",0,0,310,421,45,124,344,0,0,46,64,170,269,46,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["15:45","16:00",0,0,302,419,45,126,344,0,0,46,64,170,269,46,40,0,0,0,16,61,0,0,0,0,0,0,0,0]
["16:00","16:15",0,0,284,383,41,124,330,0,0,46,153,170,269,53,40,53,14,460,16,61,0,0,0,0,0,0,0,0]
["16:15","16:30",0,0,284,387,41,120,330,0,0,46,153,170,269,53,40,53,14,460,16,61,0,0,0,0,0,0,0,0]
["16:30","16:45",0,0,280,392,41,115,328,0,0,46,153,170,269,53,40,53,14,460,16,61,0,0,0,0,0,0,0,0]
["16:45","17:00",0,0,269,397,41,110,318,0,0,46,153,170,269,53,40,53,14,460,16,61,0,0,0,0,0,0,0,0]
["17:00","17:15",0,0,239,173,41,104,286,0,0,46,153,170,270,52,40,53,14,460,16,61,0,0,0,0,0,0,0,0]
["17:15","17:30",0,0,239,173,41,104,286,0,0,46,153,170,270,52,40,53,14,460,16,61,0,0,0,0,0,0,0,0]
["17:30","17:45",0,0,239,173,41,104,286,0,0,46,153,170,270,52,40,53,14,460,16,61,0,0,0,0,0,0,0,0]
["17:45","18:00",0,0,239,173,41,104,286,0,0,46,153,170,270,52,40,53,14,460,16,61,0,0,0,0,0,0,0,0]
["18:00","18:15",0,0,258,388,40,109,228,156,199,46,153,170,269,52,40,53,23,460,16,61,0,0,0,0,0,0,0,0]
["18:15","18:30",0,0,258,393,40,113,227,156,193,46,153,170,269,52,40,53,23,460,16,61,0,0,0,0,0,0,0,0]
["18:30","18:45",0,0,258,399,40,112,225,156,189,46,153,170,269,52,40,53,23,460,16,61,0,0,0,0,0,0,0,0]
["18:45","19:00",0,0,258,406,40,115,224,156,188,46,153,170,269,52,40,53,23,460,16,61,0,0,0,0,0,0,0,0]
["19:00","19:15",0,0,252,417,40,114,222,213,191,46,153,170,269,52,40,53,23,460,16,61,0,0,0,0,0,0,0,0]
["19:15","19:30",0,0,248,424,40,114,222,213,210,46,153,170,269,52,40,53,23,460,16,61,0,0,0,0,0,0,0,0]
["19:30","19:45",0,0,252,424,40,114,221,213,210,46,153,170,269,52,40,53,23,460,16,61,0,0,0,0,0,0,0,0]
["19:45","20:00",0,0,252,425,40,111,220,213,210,46,153,170,269,52,40,53,23,460,16,61,0,0,0,0,0,0,0,0]
["20:00","20:15",0,0,268,421,38,106,220,202,0,27,153,170,269,44,40,53,23,460,16,61,0,0,0,0,0,0,0,0]
["20:15","20:30",0,0,268,421,39,106,227,202,0,27,153,170,269,44,40,53,23,460,16,61,0,0,0,0,0,0,0,0]
["20:30","20:45",0,0,268,421,39,106,227,202,0,27,153,170,269,44,40,53,23,460,16,61,0,0,0,0,0,0,0,0]
["20:45","21:00",0,0,268,421,39,106,227,202,0,18,153,170,269,44,40,53,23,460,16,61,0,0,0,0,0,0,0,0]
["21:00","21:15",0,0,278,386,41,105,243,197,0,22,153,170,270,40,40,0,23,460,16,61,0,0,0,0,0,0,0,0]
["21:15","21:30",0,0,280,386,41,106,243,197,0,24,153,170,270,40,40,0,23,460,16,61,0,0,0,0,0,0,0,0]
["21:30","21:45",0,0,288,386,41,106,243,197,0,26,153,170,270,40,40,0,23,460,16,61,0,0,0,0,0,0,0,0]
["21:45","22:00",0,0,295,386,41,106,243,197,0,30,153,170,270,40,40,0,23,460,16,61,0,0,0,0,0,0,0,0]
["22:00","22:15",0,0,304,418,47,109,230,158,0,26,153,170,270,11,40,0,24,460,16,61,0,0,0,0,0,0,0,0]
["22:15","22:30",0,0,311,418,47,109,230,158,0,24,153,170,270,11,40,0,24,460,16,61,0,0,0,0,0,0,0,0]
["22:30","22:45",0,0,320,418,47,109,230,158,0,22,153,170,270,11,40,0,24,460,16,61,0,0,0,0,0,0,0,0]
["22:45","23:00",0,0,321,418,47,109,230,158,0,20,153,170,270,11,40,0,24,460,16,61,0,0,0,0,0,0,0,0]
["23:00","23:15",0,0,350,442,28,75,353,158,0,22,153,170,271,11,40,0,24,460,16,61,0,0,0,0,0,0,0,0]
["23:15","23:30",0,0,350,442,28,75,353,158,0,24,153,170,271,11,40,0,24,460,16,61,0,0,0,0,0,0,0,0]
["23:30","23:45",0,0,350,442,28,75,353,158,0,26,153,170,271,11,40,0,24,460,16,61,0,0,0,0,0,0,0,0]
["23:45","24:00",0,0,350,442,28,75,353,158,0,28,153,170,271,11,40,0,24,460,16,61,0,0,0,0,0,0,0,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":10,"rows_kept":106}
[null,"Datum","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026","02.01.2026"]
[null,"GM-Art","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz","50Hertz","50Hertz","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Eisenhüttenstadt / Tr. 411 & 50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Eisenhüttenstadt / Tr. 411 & 50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Lauchstädt - Vieselbach / 472","extern","50H / 380kV / Lauchstädt - Vieselbach / 472","extern"]
[null,"auslösendes Netzelement","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Eisenhüttenstadt / Tr. 412 & 50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Eisenhüttenstadt / Tr. 412 & 50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Lauchstädt - Vieselbach / 471","extern","50H / 380kV / Lauchstädt - Vieselbach / 471","extern"]
[null,"AO Klarname","50H_EDIS_CR_GUE_Nord","50H_EDIS_CR_GUE_Nord","50H_EDIS_CR_PAS","50H_EDIS_CR_PAS","50H_MNS_CR_KLM","50H_MNS_CR_KLM","50H_MNS_CR_LAU_Nord","50H_MNS_CR_LAU_Nord"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":362.5,"d":"362.50"},{"v":912.5,"d":"912.50"},{"v":2680,"d":"2680.00"},{"v":2612.5,"d":"2612.50"},{"v":75,"d":"75.00"},168.75,{"v":112.5,"d":"112.50"},{"v":625,"d":"625.00"}]
["00:00","00:15",0,100,0,300,0,0,0,0]
["00:15","00:30",0,100,0,300,0,0,0,0]
["00:30","00:45",0,100,0,300,0,0,0,0]
["00:45","01:00",0,100,0,300,0,0,0,0]
["01:00","01:15",0,100,0,300,0,0,0,0]
["01:15","01:30",0,100,0,300,0,0,0,0]
["01:30","01:45",0,100,0,300,0,0,0,0]
["01:45","02:00",0,100,0,300,150,0,150,0]
["02:00","02:15",0,100,0,300,150,0,150,0]
["02:15","02:30",0,100,0,300,0,0,150,0]
["02:30","02:45",0,100,0,300,0,0,0,0]
["02:45","03:00",0,100,0,300,0,0,0,0]
["03:00","03:15",0,100,0,300,0,0,0,0]
["03:15","03:30",0,100,0,300,0,0,0,0]
["03:30","03:45",0,100,0,300,0,0,0,0]
["03:45","04:00",0,100,0,300,0,0,0,0]
["04:00","04:15",0,100,0,300,0,0,0,0]
["04:15","04:30",0,100,0,300,0,0,0,0]
["04:30","04:45",0,100,0,300,0,0,0,0]
["04:45","05:00",0,100,0,300,0,0,0,0]
["05:00","05:15",0,100,0,300,0,0,0,0]
["05:15","05:30",0,100,0,300,0,0,0,0]
["05:30","05:45",0,150,0,300,0,0,0,0]
["05:45","06:00",0,150,0,300,0,0,0,0]
["06:00","06:15",0,150,0,300,0,0,0,0]
["06:15","06:30",0,150,0,300,0,0,0,0]
["06:30","06:45",0,150,0,300,0,0,0,0]
["06:45","07:00",0,150,0,300,0,0,0,0]
["07:00","07:15",0,150,0,250,0,0,0,0]
["07:15","07:30",0,150,0,250,0,0,0,0]
["07:30","07:45",0,100,0,200,0,0,0,0]
["07:45","08:00",0,100,0,200,0,0,0,0]
["08:00","08:15",0,50,0,200,0,0,0,0]
["08:15","08:30",0,0,0,200,0,0,0,0]
["08:30","08:45",0,0,0,200,0,0,0,0]
["08:45","09:00",0,0,0,150,0,0,0,0]
["09:00","09:15",0,0,0,100,0,0,0,0]
["09:15","09:30",0,0,0,100,0,0,0,0]
["09:30","09:45",0,0,0,100,0,0,0,0]
["09:45","10:00",0,0,0,50,0,0,0,0]
["10:00","10:15",0,0,0,50,0,0,0,0]
["10:15","10:30",0,0,0,0,0,0,0,0]
["10:30","10:45",0,0,0,0,0,0,0,0]
["10:45","11:00",0,0,0,0,0,0,0,0]
["11:00","11:15",0,0,0,0,0,0,0,0]
["11:15","11:30",0,0,0,0,0,0,0,0]
["11:30","11:45",0,0,0,0,0,0,0,0]
["11:45","12:00",0,0,0,0,0,0,0,0]
["12:00","12:15",0,0,70,0,0,0,0,0]
["12:15","12:30",0,0,70,0,0,0,0,0]
["12:30","12:45",0,0,70,0,0,0,0,0]
["12:45","13:00",0,0,70,0,0,0,0,0]
["13:00","13:15",0,0,70,0,0,0,0,0]
["13:15","13:30",0,0,120,0,0,0,0,0]
["13:30","13:45",0,0,200,0,0,0,0,0]
["13:45","14:00",0,0,200,0,0,0,0,0]
["14:00","14:15",0,0,200,0,0,0,0,0]
["14:15","14:30",0,0,200,0,0,0,0,0]
["14:30","14:45",0,0,200,0,0,0,0,0]
["14:45","15:00",0,0,200,0,0,0,0,0]
["15:00","15:15",0,0,200,0,0,0,0,0]
["15:15","15:30",0,0,200,0,0,0,0,0]
["15:30","15:45",0,0,200,0,0,0,0,0]
["15:45","16:00",0,0,200,0,0,0,0,0]
["16:00","16:15",0,0,200,0,0,0,0,0]
["16:15","16:30",0,0,200,0,0,0,0,0]
["16:30","16:45",0,0,200,0,0,0,0,0]
["16:45","17:00",50,0,200,0,0,0,0,0]
["17:00","17:15",50,0,200,0,0,0,0,0]
["17:15","17:30",50,0,200,0,0,0,0,0]
["17:30","17:45",50,0,200,0,0,0,0,0]
["17:45","18:00",50,0,200,0,0,0,0,0]
["18:00","18:15",50,0,200,0,0,0,0,0]
["18:15","18:30",50,0,200,0,0,0,0,0]
["18:30","18:45",50,0,200,0,0,0,0,0]
["18:45","19:00",50,0,200,0,0,0,0,0]
["19:00","19:15",50,0,200,0,0,0,0,200]
["19:15","19:30",50,0,250,0,0,0,0,200]
["19:30","19:45",50,0,300,0,0,0,0,200]
["19:45","20:00",50,0,300,0,0,0,0,200]
["20:00","20:15",50,0,300,0,0,0,0,200]
["20:15","20:30",50,0,300,0,0,0,0,200]
["20:30","20:45",50,0,300,0,0,0,0,200]
["20:45","21:00",50,0,300,0,0,0,0,200]
["21:00","21:15",50,0,300,0,0,150,0,200]
["21:15","21:30",50,0,300,0,0,150,0,200]
["21:30","21:45",50,0,300,0,0,150,0,200]
["21:45","22:00",50,0,300,0,0,150,0,200]
["22:00","22:15",50,0,300,0,0,75,0,100]
["22:15","22:30",50,0,300,0,0,0,0,0]
["22:30","22:45",50,0,300,0,0,0,0,0]
["22:45","23:00",50,0,300,0,0,0,0,0]
["23:00","23:15",50,0,300,0,0,0,0,0]
["23:15","23:30",50,0,300,0,0,0,0,0]
["23:30","23:45",50,0,300,0,0,0,0,0]
["23:45","24:00",50,0,300,0,0,0,0,0]