{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":110,"n_cols":12,"rows_kept":110}
[null,"Datum","26.10.2025","26.10.2025","26.10.2025","26.10.2025","26.10.2025","26.10.2025","26.10.2025","26.10.2025","26.10.2025","26.10.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","50H OWP Wikinger","50H OWP Baltic Eagle","50H UW Putlitz","50H OWP Arcadis Ost 1","50H UW Schönewalde","50H UW Bertikow","50H OWP Arkona","50H UW Altentreptow","50H UW Wessin","50H Hamburg Wedel1"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",185.25,432.25,{"v":471,"d":"471.00"},{"v":170.5,"d":"170.50"},{"v":799.5,"d":"799.50"},{"v":428,"d":"428.00"},231.25,{"v":168,"d":"168.00"},{"v":248,"d":"248.00"},{"v":245,"d":"245.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0]
["01:45","2A:00",0,0,0,0,0,0,0,0,0,0]
["2A:00","2A:15",0,0,0,0,0,0,0,0,0,0]
["2A:15","2A:30",0,0,0,0,0,0,0,0,0,0]
["2A:30","2A:45",0,0,0,0,0,0,0,0,0,0]
["2A:45","2B:00",0,0,0,0,0,0,0,0,0,0]
["2B:00","2B:15",0,0,0,0,0,0,0,0,0,0]
["2B:15","2B:30",0,0,0,0,0,0,0,0,0,0]
["2B:30","2B:45",0,0,0,0,0,0,0,0,0,0]
["2B:45","03:00",0,0,0,0,0,0,0,0,0,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0]
["06:00","06:15",0,0,0,0,0,0,0,0,0,0]
["06:15","06:30",0,0,0,0,0,0,0,0,0,0]
["06:30","06:45",0,0,0,0,0,0,0,0,0,0]
["06:45","07:00",0,0,0,0,0,0,0,0,0,0]
["07:00","07:15",0,0,0,0,0,0,0,0,0,0]
["07:15","07:30",0,0,0,0,0,0,0,0,0,0]
["07:30","07:45",0,0,0,0,0,0,0,0,0,0]
["07:45","08:00",0,0,0,0,0,0,0,0,0,0]
["08:00","08:15",0,0,0,0,0,0,0,0,0,0]
["08:15","08:30",0,0,0,0,0,0,0,0,0,0]
["08:30","08:45",0,0,0,0,0,0,0,0,0,0]
["08:45","09:00",0,0,0,0,0,0,0,0,0,0]
["09:00","09:15",0,0,0,0,0,0,0,0,0,0]
["09:15","09:30",0,0,0,0,0,0,0,0,0,0]
["09:30","09:45",0,0,0,0,0,0,0,0,0,0]
["09:45","10:00",0,0,0,0,0,0,0,0,0,0]
["10:00","10:15",0,0,0,0,0,0,0,0,0,0]
["10:15","10:30",0,0,0,0,0,0,0,0,0,0]
["10:30","10:45",0,0,0,0,0,0,0,0,0,0]
["10:45","11:00",0,0,0,0,0,0,0,0,0,0]
["11:00","11:15",0,0,0,0,0,0,0,0,0,0]
["11:15","11:30",0,0,0,0,0,0,0,0,0,0]
["11:30","11:45",0,0,0,0,0,0,0,0,0,0]
["11:45","12:00",0,0,0,0,0,0,0,0,0,0]
["12:00","12:15",0,0,0,0,0,0,0,0,0,0]
["12:15","12:30",0,0,0,0,0,0,0,0,0,0]
["12:30","12:45",0,0,0,0,0,0,0,0,0,0]
["12:45","13:00",0,0,0,0,0,0,0,0,0,0]
["13:00","13:15",0,0,0,0,0,0,0,0,0,0]
["13:15","13:30",0,0,0,0,0,0,0,0,0,0]
["13:30","13:45",0,0,0,0,0,0,0,0,0,0]
["13:45","14:00",0,0,0,0,0,0,0,0,0,0]
["14:00","14:15",0,0,0,0,0,0,0,0,0,0]
["14:15","14:30",0,0,0,0,0,0,0,0,0,0]
["14:30","14:45",0,0,0,0,0,0,0,0,0,0]
["14:45","15:00",0,0,0,0,0,0,0,0,0,0]
["15:00","15:15",0,0,0,0,0,0,0,0,0,0]
["15:15","15:30",0,0,0,0,0,0,0,0,0,0]
["15:30","15:45",0,0,0,0,0,0,0,0,0,0]
["15:45","16:00",0,0,0,0,0,0,0,0,0,0]
["16:00","16:15",0,0,0,0,0,0,0,0,0,0]
["16:15","16:30",0,0,0,0,0,0,0,0,0,0]
["16:30","16:45",0,0,0,0,0,0,0,0,0,0]
["16:45","17:00",0,0,0,0,0,0,0,0,0,0]
["17:00","17:15",0,0,0,0,0,0,0,0,0,0]
["17:15","17:30",0,0,0,0,0,0,0,0,0,0]
["17:30","17:45",0,0,0,0,0,0,0,0,0,0]
["17:45","18:00",0,50,100,0,100,100,50,0,0,0]
["18:00","18:15",30,54,149,12,280,213,100,55,76,53]
["18:15","18:30",18,39,148,13,278,249,93,55,76,53]
["18:30","18:45",22,47,151,14,278,240,86,55,76,53]
["18:45","19:00",28,55,149,16,278,230,81,56,76,53]
["19:00","19:15",38,61,151,23,274,137,76,56,86,53]
["19:15","19:30",44,69,151,43,273,102,78,56,86,53]
["19:30","19:45",56,97,149,65,271,42,80,56,86,53]
["19:45","20:00",68,125,149,79,185,70,84,56,86,53]
["20:00","20:15",83,188,148,90,269,53,87,56,86,53]
["20:15","20:30",95,223,147,96,177,70,110,56,86,53]
["20:30","20:45",118,248,146,112,268,25,0,57,86,53]
["20:45","21:00",141,273,146,119,167,70,0,58,86,53]
["21:00","21:15",0,200,0,0,100,61,0,0,0,53]
["21:15","21:30",0,0,0,0,0,30,0,0,0,53]
["21:30","21:45",0,0,0,0,0,20,0,0,0,53]
["21:45","22:00",0,0,0,0,0,0,0,0,0,53]
["22:00","22:15",0,0,0,0,0,0,0,0,0,33]
["22:15","22:30",0,0,0,0,0,0,0,0,0,33]
["22:30","22:45",0,0,0,0,0,0,0,0,0,33]
["22:45","23:00",0,0,0,0,0,0,0,0,0,33]
["23:00","23:15"]
["23:15","23:30"]
["23:30","23:45"]
["23:45","24:00"]

{"sheet":"VNB_Abrufe","index":1,"n_rows":110,"n_cols":5,"rows_kept":110}
[null,"Datum","26.10.2025","26.10.2025","26.10.2025"]
[null,"GM-Art","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz"]
[null,"Ursache","I","I","I"]
[null,"überlastetes Netzelement","50H / 220kV / Parchim/Süd / 203 & 50H / 380kV / Lauchstädt / 413 & 50H / 380kV / Pasewalk / Tr. 412","50H / 220kV / Parchim/Süd / 203 & 50H / 380kV / Lauchstädt / 413 & 50H / 380kV / Pasewalk / Tr. 412","50H / 220kV / Parchim/Süd / 203 & 50H / 380kV / Lauchstädt / 413 & 50H / 380kV / Pasewalk / Tr. 412"]
[null,"auslösendes Netzelement","50H / 380kV / Lauchstädt / 411 & 50H / 380kV / Pasewalk / Tr. 413 & Grundfall","50H / 380kV / Lauchstädt / 411 & 50H / 380kV / Pasewalk / Tr. 413 & Grundfall","50H / 380kV / Lauchstädt / 411 & 50H / 380kV / Pasewalk / Tr. 413 & Grundfall"]
[null,"AO Klarname","50H_EDIS_CR_PAS","50H_MNS_CR_LAU_Nord","CROC Cluster Parchim Süd"]
[null,"Richtung","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":3950,"d":"3950.00"},{"v":337.5,"d":"337.50"},{"v":131.2255,"d":"131.23"}]
["00:00","00:15",140,0,0]
["00:15","00:30",140,0,0]
["00:30","00:45",140,0,0]
["00:45","01:00",140,0,0]
["01:00","01:15",140,0,0]
["01:15","01:30",140,0,0]
["01:30","01:45",140,0,0]
["01:45","2A:00",140,0,0]
["2A:00","2A:15",140,0,0]
["2A:15","2A:30",140,0,0]
["2A:30","2A:45",140,0,0]
["2A:45","2B:00",140,0,0]
["2B:00","2B:15",140,0,0]
["2B:15","2B:30",140,0,0]
["2B:30","2B:45",140,0,0]
["2B:45","03:00",140,0,0]
["03:00","03:15",140,0,0]
["03:15","03:30",140,0,0]
["03:30","03:45",140,0,0]
["03:45","04:00",140,0,0]
["04:00","04:15",140,0,0]
["04:15","04:30",140,0,0]
["04:30","04:45",140,0,0]
["04:45","05:00",140,0,0]
["05:00","05:15",140,0,0]
["05:15","05:30",140,0,0]
["05:30","05:45",140,0,0]
["05:45","06:00",140,0,0]
["06:00","06:15",90,0,0]
["06:15","06:30",90,0,0]
["06:30","06:45",90,0,0]
["06:45","07:00",90,0,0]
["07:00","07:15",90,0,0]
["07:15","07:30",90,0,0]
["07:30","07:45",90,0,0]
["07:45","08:00",90,0,0]
["08:00","08:15",90,0,0]
["08:15","08:30",90,0,0]
["08:30","08:45",90,0,0]
["08:45","09:00",90,0,0]
["09:00","09:15",110,0,0]
["09:15","09:30",150,0,0]
["09:30","09:45",150,0,0]
["09:45","10:00",150,0,0]
["10:00","10:15",150,0,0]
["10:15","10:30",180,0,0]
["10:30","10:45",180,0,0]
["10:45","11:00",180,0,0]
["11:00","11:15",180,0,0]
["11:15","11:30",180,0,0]
["11:30","11:45",180,0,0]
["11:45","12:00",180,0,0]
["12:00","12:15",180,0,0]
["12:15","12:30",180,0,0]
["12:30","12:45",180,0,0]
["12:45","13:00",180,0,0]
["13:00","13:15",180,0,0]
["13:15","13:30",180,0,0]
["13:30","13:45",180,0,0]
["13:45","14:00",180,0,0]
["14:00","14:15",180,0,0]
["14:15","14:30",180,0,0]
["14:30","14:45",180,0,0]
["14:45","15:00",180,0,0]
["15:00","15:15",180,0,0]
["15:15","15:30",180,0,0]
["15:30","15:45",180,0,0]
["15:45","16:00",140,50,0]
["16:00","16:15",140,50,18.808]
["16:15","16:30",140,50,17.989]
["16:30","16:45",100,50,17.158]
["16:45","17:00",100,50,16.542]
["17:00","17:15",100,50,16.364]
["17:15","17:30",100,50,16.364]
["17:30","17:45",100,50,16.364]
["17:45","18:00",150,50,16.377]
["18:00","18:15",150,50,16.377]
["18:15","18:30",180,50,16.377]
["18:30","18:45",180,50,16.377]
["18:45","19:00",180,50,16.377]
["19:00","19:15",180,50,16.377]
["19:15","19:30",180,50,16.377]
["19:30","19:45",180,50,16.377]
["19:45","20:00",180,50,16.377]
["20:00","20:15",180,50,16.377]
["20:15","20:30",180,50,16.377]
["20:30","20:45",180,50,16.377]
["20:45","21:00",180,50,16.351]
["21:00","21:15",180,50,16.347]
["21:15","21:30",250,0,16.338]
["21:30","21:45",250,50,16.325]
["21:45","22:00",250,50,16.314]
["22:00","22:15",250,50,16.305]
["22:15","22:30",250,50,16.267]
["22:30","22:45",250,50,16.185]
["22:45","23:00",250,0,16.055]
["23:00","23:15",250,0,15.895]
["23:15","23:30",250,0,15.695]
["23:30","23:45",250,0,15.476]
["23:45","24:00",250,0,15.236]