{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":26,"rows_kept":106}
[null,"Datum","10.01.2026","10.01.2026","10.01.2026","10.01.2026","10.01.2026","10.01.2026","10.01.2026","10.01.2026","10.01.2026","10.01.2026","10.01.2026","10.01.2026","10.01.2026","10.01.2026","10.01.2026","10.01.2026","10.01.2026","10.01.2026","10.01.2026","10.01.2026","10.01.2026","10.01.2026","10.01.2026","10.01.2026"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","50H Berlin Marzahn","50H Berlin Mitte","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","Schkopau","Boxberg (Standort)","50H Leipzig Nord GuD","50H Berlin Lichterfelde","50H Berlin Marzahn","50H Berlin Mitte","50H Neubrandenburg GuD","50H Rostock Marienehe","50H Halle-Dieselstr HKW-BlockA","50H Halle-Dieselstr HKW-BlockB","50H Hamburg Wedel1","50H OWP Baltic Eagle","50H UW Bertikow","50H UW Schönewalde","50H InfraLeuna IKW","50H Berlin Lichterfelde","50H Berlin Mitte","Schkopau","Boxberg (Standort)","Schwarze Pumpe (Standort)"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":72.5,"d":"72.50"},31.75,{"v":29.5,"d":"29.50"},36.25,{"v":111,"d":"111.00"},{"v":1145,"d":"1145.00"},{"v":103,"d":"103.00"},{"v":182,"d":"182.00"},{"v":320,"d":"320.00"},{"v":163,"d":"163.00"},{"v":120,"d":"120.00"},{"v":280,"d":"280.00"},{"v":40,"d":"40.00"},{"v":35,"d":"35.00"},{"v":1331,"d":"1331.00"},{"v":253,"d":"253.00"},{"v":233,"d":"233.00"},{"v":413,"d":"413.00"},{"v":270,"d":"270.00"},{"v":8,"d":"8.00"},{"v":31,"d":"31.00"},{"v":123,"d":"123.00"},{"v":556.5,"d":"556.50"},{"v":48,"d":"48.00"}]
["00:00","00:15",0,0,0,0,0,83,0,14,40,30,22,40,5,5,70,0,0,152,0,0,0,0,202,0]
["00:15","00:30",0,0,0,0,0,83,0,14,40,30,22,40,5,5,70,0,0,152,0,0,0,0,202,0]
["00:30","00:45",0,0,0,0,0,83,0,14,40,30,22,40,5,5,70,0,0,152,0,0,0,0,202,0]
["00:45","01:00",0,0,0,0,0,83,0,14,40,30,22,40,5,5,70,0,0,152,0,0,0,0,202,0]
["01:00","01:15",0,0,0,0,0,340,0,17,40,29,21,40,5,5,51,253,233,160,0,0,0,0,56,0]
["01:15","01:30",0,0,0,0,0,340,0,17,40,29,21,40,5,5,51,253,233,160,0,0,0,0,56,0]
["01:30","01:45",0,0,0,0,0,340,0,17,40,29,21,40,5,5,51,253,233,160,0,0,0,0,56,0]
["01:45","02:00",0,0,0,0,0,340,0,17,40,29,21,40,5,5,51,253,233,160,0,0,0,0,56,0]
["02:00","02:15",0,0,0,0,0,332,0,22,40,28,21,40,5,5,100,0,0,101,0,0,0,0,118,0]
["02:15","02:30",0,0,0,0,0,332,0,22,40,28,21,40,5,5,100,0,0,101,0,0,0,0,118,0]
["02:30","02:45",0,0,0,0,0,332,0,22,40,28,21,40,5,5,100,0,0,101,0,0,0,0,118,0]
["02:45","03:00",0,0,0,0,0,332,0,22,40,28,21,40,5,5,100,0,0,101,0,0,0,0,118,0]
["03:00","03:15",0,0,0,0,0,225,13,15,40,30,21,40,5,5,100,0,0,0,0,0,0,0,61,0]
["03:15","03:30",0,0,0,0,0,225,13,15,40,30,21,40,5,5,100,0,0,0,0,0,0,0,61,0]
["03:30","03:45",0,0,0,0,0,225,13,15,40,30,21,40,5,5,100,0,0,0,0,0,0,0,61,0]
["03:45","04:00",0,0,0,0,0,225,13,15,40,30,21,40,5,5,100,0,0,0,0,0,0,0,61,0]
["04:00","04:15",0,0,0,0,0,165,25,25,40,30,22,40,5,5,100,0,0,0,0,0,0,0,0,0]
["04:15","04:30",0,0,0,0,0,165,25,25,40,30,22,40,5,5,100,0,0,0,0,0,0,0,0,0]
["04:30","04:45",0,0,0,0,0,165,25,25,40,30,22,40,5,5,100,0,0,0,0,0,0,0,0,0]
["04:45","05:00",0,0,0,0,0,165,25,25,40,30,22,40,5,5,100,0,0,0,0,0,0,0,0,0]
["05:00","05:15",0,0,0,0,0,0,40,29,40,16,0,40,5,5,49,0,0,0,0,0,0,0,0,0]
["05:15","05:30",0,0,0,0,0,0,40,29,40,16,0,40,5,5,49,0,0,0,0,0,0,0,0,0]
["05:30","05:45",0,0,0,0,0,0,40,29,40,16,0,40,5,5,49,0,0,0,0,0,0,0,0,0]
["05:45","06:00",0,0,0,0,0,0,40,29,40,16,0,40,5,5,49,0,0,0,0,0,0,0,0,0]
["06:00","06:15",0,0,0,0,0,0,25,30,40,0,13,40,5,5,100,0,0,0,0,0,0,0,0,0]
["06:15","06:30",0,0,0,0,0,0,25,30,40,0,13,40,5,5,100,0,0,0,0,0,0,0,0,0]
["06:30","06:45",0,0,0,0,0,0,25,30,40,0,13,40,5,5,100,0,0,0,0,0,0,0,0,0]
["06:45","07:00",0,0,0,0,0,0,25,30,40,0,13,40,5,5,100,0,0,0,0,0,0,0,0,0]
["07:00","07:15",0,0,0,0,0,0,0,30,40,0,0,0,5,0,100,0,0,0,0,0,0,0,0,0]
["07:15","07:30",0,0,0,0,0,0,0,30,40,0,0,0,5,0,100,0,0,0,0,0,0,0,0,0]
["07:30","07:45",0,0,0,0,0,0,0,30,40,0,0,0,5,0,100,0,0,0,0,0,0,0,0,0]
["07:45","08:00",0,0,0,0,0,0,0,30,40,0,0,0,5,0,100,0,0,0,0,0,0,0,0,0]
["08:00","08:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,22,0]
["08:15","08:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,22,0]
["08:30","08:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,22,0]
["08:45","09:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,22,0]
["09:00","09:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,100,0,0,0,35,1,6,75,60,0]
["09:15","09:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,100,0,0,0,35,1,6,123,110,0]
["09:30","09:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,100,0,0,0,35,1,6,123,110,0]
["09:45","10:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,100,0,0,0,35,1,6,123,110,0]
["10:00","10:15",0,0,0,0,75,0,0,0,0,0,0,0,0,0,100,0,0,0,35,1,6,48,0,48]
["10:15","10:30",0,0,0,0,123,0,0,0,0,0,0,0,0,0,100,0,0,0,35,1,6,0,0,48]
["10:30","10:45",0,0,0,0,123,0,0,0,0,0,0,0,0,0,100,0,0,0,35,1,6,0,0,48]
["10:45","11:00",0,0,0,0,123,0,0,0,0,0,0,0,0,0,100,0,0,0,35,1,6,0,0,48]
["11:00","11:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,100,0,0,0,35,1,6,0,0,0]
["11:15","11:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,100,0,0,0,35,1,6,0,0,0]
["11:30","11:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,100,0,0,0,35,1,6,0,0,0]
["11:45","12:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,100,0,0,0,35,1,6,0,0,0]
["12:00","12:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,100,0,0,0,35,1,7,0,0,0]
["12:15","12:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,100,0,0,0,35,1,7,0,0,0]
["12:30","12:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,100,0,0,0,35,1,7,0,0,0]
["12:45","13:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,100,0,0,0,35,1,7,0,0,0]
["13:00","13:15",40,18,24,85,0,0,0,0,0,0,0,0,0,0,100,0,0,0,35,1,0,0,0,0]
["13:15","13:30",40,18,24,39,0,0,0,0,0,0,0,0,0,0,100,0,0,0,35,1,0,0,0,0]
["13:30","13:45",40,18,24,0,0,0,0,0,0,0,0,0,0,0,100,0,0,0,35,1,0,0,0,0]
["13:45","14:00",34,6,24,0,0,0,0,0,0,0,0,0,0,0,100,0,0,0,35,1,0,0,0,0]
["14:00","14:15",34,12,0,0,0,0,0,0,0,0,0,0,0,0,58,0,0,0,25,1,0,0,0,0]
["14:15","14:30",34,15,0,0,0,0,0,0,0,0,0,0,0,0,58,0,0,0,25,1,0,0,0,0]
["14:30","14:45",34,20,0,0,0,0,0,0,0,0,0,0,0,0,58,0,0,0,25,1,0,0,0,0]
["14:45","15:00",34,20,22,21,0,0,0,0,0,0,0,0,0,0,58,0,0,0,25,1,0,0,0,0]
["15:00","15:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,3,0,0,0,35,1,6,0,0,0]
["15:15","15:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,3,0,0,0,35,1,6,0,0,0]
["15:30","15:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,3,0,0,0,35,1,6,0,0,0]
["15:45","16:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,3,0,0,0,35,1,6,0,0,0]
["16:00","16:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,35,1,0,0,0,0]
["16:15","16:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,35,1,0,0,0,0]
["16:30","16:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,35,1,0,0,0,0]
["16:45","17:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,35,1,0,0,0,0]
["17:00","17:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["17:15","17:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["17:30","17:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["17:45","18:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:00","18:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:15","18:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:30","18:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:45","19:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:00","19:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:15","19:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:30","19:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:45","20:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:00","20:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:15","20:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:30","20:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:45","21:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:00","21:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:15","21:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:30","21:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:45","22:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:00","22:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:15","22:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:30","22:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:45","23:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:00","23:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:15","23:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:30","23:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:45","24:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":5,"rows_kept":106}
[null,"Datum","10.01.2026","10.01.2026","10.01.2026"]
[null,"GM-Art","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz"]
[null,"Ursache","I","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Pasewalk / Tr. 412"]
[null,"auslösendes Netzelement","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Pasewalk / Tr. 413"]
[null,"AO Klarname","50H_EDIS_CR_GUE_Nord","50H_EDIS_CR_PAS","50H_EDIS_CR_PAS"]
[null,"Richtung","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":195,"d":"195.00"},{"v":127.5,"d":"127.50"},{"v":350,"d":"350.00"}]
["00:00","00:15",80,0,0]
["00:15","00:30",80,0,0]
["00:30","00:45",80,0,0]
["00:45","01:00",80,0,0]
["01:00","01:15",80,0,0]
["01:15","01:30",80,0,0]
["01:30","01:45",80,0,0]
["01:45","02:00",80,0,0]
["02:00","02:15",40,0,0]
["02:15","02:30",40,0,0]
["02:30","02:45",40,0,0]
["02:45","03:00",20,0,0]
["03:00","03:15",0,0,0]
["03:15","03:30",0,0,0]
["03:30","03:45",0,0,0]
["03:45","04:00",0,80,0]
["04:00","04:15",0,80,0]
["04:15","04:30",0,80,0]
["04:30","04:45",0,80,0]
["04:45","05:00",0,80,0]
["05:00","05:15",0,80,0]
["05:15","05:30",0,30,0]
["05:30","05:45",0,0,0]
["05:45","06:00",0,0,0]
["06:00","06:15",0,0,0]
["06:15","06:30",0,0,0]
["06:30","06:45",0,0,0]
["06:45","07:00",0,0,0]
["07:00","07:15",0,0,0]
["07:15","07:30",0,0,0]
["07:30","07:45",0,0,0]
["07:45","08:00",0,0,0]
["08:00","08:15",0,0,0]
["08:15","08:30",0,0,0]
["08:30","08:45",0,0,0]
["08:45","09:00",0,0,0]
["09:00","09:15",0,0,0]
["09:15","09:30",0,0,0]
["09:30","09:45",0,0,0]
["09:45","10:00",0,0,0]
["10:00","10:15",0,0,0]
["10:15","10:30",0,0,0]
["10:30","10:45",0,0,0]
["10:45","11:00",0,0,0]
["11:00","11:15",0,0,0]
["11:15","11:30",0,0,0]
["11:30","11:45",0,0,0]
["11:45","12:00",0,0,0]
["12:00","12:15",0,0,0]
["12:15","12:30",0,0,0]
["12:30","12:45",0,0,0]
["12:45","13:00",0,0,0]
["13:00","13:15",0,0,0]
["13:15","13:30",0,0,0]
["13:30","13:45",0,0,0]
["13:45","14:00",0,0,0]
["14:00","14:15",0,0,0]
["14:15","14:30",0,0,0]
["14:30","14:45",0,0,0]
["14:45","15:00",0,0,0]
["15:00","15:15",0,0,100]
["15:15","15:30",0,0,100]
["15:30","15:45",0,0,100]
["15:45","16:00",0,0,100]
["16:00","16:15",0,0,100]
["16:15","16:30",0,0,100]
["16:30","16:45",0,0,100]
["16:45","17:00",0,0,100]
["17:00","17:15",0,0,100]
["17:15","17:30",0,0,100]
["17:30","17:45",0,0,100]
["17:45","18:00",0,0,100]
["18:00","18:15",0,0,100]
["18:15","18:30",0,0,100]
["18:30","18:45",0,0,0]
["18:45","19:00",0,0,0]
["19:00","19:15",0,0,0]
["19:15","19:30",0,0,0]
["19:30","19:45",0,0,0]
["19:45","20:00",0,0,0]
["20:00","20:15",0,0,0]
["20:15","20:30",0,0,0]
["20:30","20:45",0,0,0]
["20:45","21:00",0,0,0]
["21:00","21:15",0,0,0]
["21:15","21:30",0,0,0]
["21:30","21:45",0,0,0]
["21:45","22:00",0,0,0]
["22:00","22:15",0,0,0]
["22:15","22:30",0,0,0]
["22:30","22:45",0,0,0]
["22:45","23:00",0,0,0]
["23:00","23:15",0,0,0]
["23:15","23:30",0,0,0]
["23:30","23:45",0,0,0]
["23:45","24:00",0,0,0]