{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Redispatch"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":15,"rows_kept":106}
[null,"Datum","16.10.2025","16.10.2025","16.10.2025","16.10.2025","16.10.2025","16.10.2025","16.10.2025","16.10.2025","16.10.2025","16.10.2025","16.10.2025","16.10.2025","16.10.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Rostock Kohlekraftwerk","50H Berlin Mitte","Schkopau","Jänschwalde (Standort)","Rostock Kohlekraftwerk","Schkopau","Jänschwalde (Standort)","50H Berlin Mitte","50H Hamburg Wedel1","50H Berlin Mitte","Schkopau","50H Hamburg Tiefstack 2 HKW SK","Jänschwalde (Standort)"]
[null,"Richtung","SENKE","QUELLE","QUELLE","QUELLE","SENKE","QUELLE","QUELLE","QUELLE","SENKE","QUELLE","QUELLE","QUELLE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":55,"d":"55.00"},{"v":1690,"d":"1690.00"},{"v":423.5,"d":"423.50"},{"v":906,"d":"906.00"},{"v":80,"d":"80.00"},{"v":134,"d":"134.00"},{"v":71,"d":"71.00"},41.25,261.75,{"v":541,"d":"541.00"},1227.25,{"v":139,"d":"139.00"},{"v":203,"d":"203.00"}]
["00:00","00:15",0,0,0,0,0,0,71,105,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,71,55,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,71,5,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,71,0,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,0,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0,0,85]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0,0,85]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0,0,85]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0,0,85]
["06:00","06:15",0,0,0,0,0,0,0,0,0,0,0,0,0]
["06:15","06:30",0,0,0,0,0,0,0,0,0,0,0,0,0]
["06:30","06:45",0,0,0,0,0,0,0,0,0,0,0,0,0]
["06:45","07:00",0,0,0,0,0,0,0,0,0,0,0,0,0]
["07:00","07:15",0,53,0,0,0,0,0,0,88,50,0,0,0]
["07:15","07:30",0,53,0,0,0,0,0,0,88,50,0,0,0]
["07:30","07:45",0,53,0,0,0,0,0,0,88,50,0,0,0]
["07:45","08:00",0,53,0,0,0,0,0,0,88,50,0,0,0]
["08:00","08:15",0,52,0,0,0,0,0,0,85,100,0,0,0]
["08:15","08:30",0,52,0,0,0,0,0,0,85,100,0,0,0]
["08:30","08:45",0,52,0,0,0,0,0,0,85,100,0,0,0]
["08:45","09:00",0,52,0,0,0,0,0,0,85,100,0,0,0]
["09:00","09:15",0,10,0,0,0,0,0,0,71,144,0,0,0]
["09:15","09:30",0,10,0,0,0,0,0,0,71,144,0,0,0]
["09:30","09:45",0,10,0,0,0,0,0,0,71,144,0,0,0]
["09:45","10:00",0,10,0,0,0,0,0,0,67,144,0,0,0]
["10:00","10:15",0,55,0,0,0,0,0,0,0,98,142,53,0]
["10:15","10:30",0,55,0,0,0,0,0,0,0,98,142,53,0]
["10:30","10:45",0,55,0,0,0,0,0,0,0,98,142,53,0]
["10:45","11:00",0,55,0,0,0,0,0,0,0,98,142,53,0]
["11:00","11:15",55,55,0,0,0,63,0,0,0,51,158,53,68]
["11:15","11:30",55,55,0,0,0,63,0,0,0,51,83,53,68]
["11:30","11:45",55,55,0,0,0,63,0,0,0,51,83,53,68]
["11:45","12:00",55,55,0,0,0,63,0,0,0,51,20,53,68]
["12:00","12:15",0,76,0,110,0,0,0,0,0,0,154,0,0]
["12:15","12:30",0,76,0,110,0,0,0,0,0,0,154,0,0]
["12:30","12:45",0,76,0,110,0,0,0,0,0,0,154,0,0]
["12:45","13:00",0,76,0,110,0,0,0,0,0,0,154,0,0]
["13:00","13:15",0,101,0,201,0,0,0,0,0,0,260,0,0]
["13:15","13:30",0,101,0,201,0,0,0,0,0,0,260,0,0]
["13:30","13:45",0,101,0,201,0,0,0,0,0,0,260,0,0]
["13:45","14:00",0,101,46,201,0,0,0,0,0,0,289,0,0]
["14:00","14:15",0,115,134,201,80,0,0,0,0,0,319,0,0]
["14:15","14:30",0,115,134,201,80,0,0,0,0,0,319,0,0]
["14:30","14:45",0,115,134,201,80,0,0,0,0,0,319,0,0]
["14:45","15:00",0,115,134,201,80,0,0,0,0,0,319,0,0]
["15:00","15:15",0,147,207,253,0,0,0,0,0,0,246,0,50]
["15:15","15:30",0,147,207,253,0,0,0,0,0,0,246,0,50]
["15:30","15:45",0,147,207,253,0,0,0,0,0,0,246,0,50]
["15:45","16:00",0,147,207,253,0,0,0,0,0,0,246,0,50]
["16:00","16:15",0,145,71,141,0,71,0,0,0,0,13,0,0]
["16:15","16:30",0,145,71,141,0,71,0,0,0,0,13,0,0]
["16:30","16:45",0,145,71,141,0,71,0,0,0,0,13,0,0]
["16:45","17:00",0,145,71,141,0,71,0,0,0,0,13,0,0]
["17:00","17:15",0,104,0,0,0,0,0,0,0,48,0,0,0]
["17:15","17:30",0,104,0,0,0,0,0,0,25,48,0,0,0]
["17:30","17:45",0,104,0,0,0,0,0,0,25,48,0,0,0]
["17:45","18:00",0,104,0,0,0,0,0,0,25,48,0,0,0]
["18:00","18:15",0,102,0,0,0,0,0,0,0,50,0,0,0]
["18:15","18:30",0,102,0,0,0,0,0,0,0,50,0,0,0]
["18:30","18:45",0,102,0,0,0,0,0,0,0,50,0,0,0]
["18:45","19:00",0,102,0,0,0,0,0,0,0,50,0,0,0]
["19:00","19:15",0,110,0,0,0,0,0,0,0,0,0,0,0]
["19:15","19:30",0,110,0,0,0,0,0,0,0,0,0,0,0]
["19:30","19:45",0,110,0,0,0,0,0,0,0,0,0,0,0]
["19:45","20:00",0,110,0,0,0,0,0,0,0,0,0,0,0]
["20:00","20:15",0,151,0,0,0,0,0,0,0,0,0,0,0]
["20:15","20:30",0,151,0,0,0,0,0,0,0,0,0,0,0]
["20:30","20:45",0,151,0,0,0,0,0,0,0,0,0,0,0]
["20:45","21:00",0,151,0,0,0,0,0,0,0,0,0,0,0]
["21:00","21:15",0,143,0,0,0,0,0,0,0,0,0,0,0]
["21:15","21:30",0,143,0,0,0,0,0,0,0,0,0,0,0]
["21:30","21:45",0,143,0,0,0,0,0,0,0,0,0,0,0]
["21:45","22:00",0,143,0,0,0,0,0,0,0,0,0,0,0]
["22:00","22:15",0,144,0,0,0,0,0,0,0,0,0,33,0]
["22:15","22:30",0,144,0,0,0,0,0,0,0,0,0,33,0]
["22:30","22:45",0,144,0,0,0,0,0,0,0,0,0,33,0]
["22:45","23:00",0,144,0,0,0,0,0,0,0,0,0,33,0]
["23:00","23:15",0,127,0,0,0,0,0,0,0,0,0,0,0]
["23:15","23:30",0,127,0,0,0,0,0,0,0,0,0,0,0]
["23:30","23:45",0,127,0,0,0,0,0,0,0,0,0,0,0]
["23:45","24:00",0,127,0,0,0,0,0,0,0,0,0,0,0]