{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":23,"rows_kept":106}
[null,"Datum","02.12.2025","02.12.2025","02.12.2025","02.12.2025","02.12.2025","02.12.2025","02.12.2025","02.12.2025","02.12.2025","02.12.2025","02.12.2025","02.12.2025","02.12.2025","02.12.2025","02.12.2025","02.12.2025","02.12.2025","02.12.2025","02.12.2025","02.12.2025","02.12.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Schkopau","Jänschwalde (Standort)","Lippendorf VE","50H Berlin Mitte","Boxberg (Standort)","Schwarze Pumpe (Standort)","50H Berlin Marzahn","50H UW Schönewalde","50H Berlin Mitte","50H Berlin Marzahn","Lippendorf VE","Schkopau","Boxberg (Standort)","Jänschwalde (Standort)","50H Erfurt-Ost HKW GuD","50H Berlin Marzahn","50H Berlin Mitte","Boxberg (Standort)","Jänschwalde (Standort)","50H Hamburg Wedel1","Schkopau"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":431,"d":"431.00"},1025.25,{"v":1674,"d":"1674.00"},{"v":69,"d":"69.00"},{"v":763,"d":"763.00"},{"v":2400,"d":"2400.00"},{"v":10,"d":"10.00"},{"v":144,"d":"144.00"},{"v":33,"d":"33.00"},{"v":50,"d":"50.00"},{"v":744,"d":"744.00"},{"v":577,"d":"577.00"},{"v":1166,"d":"1166.00"},{"v":1510,"d":"1510.00"},428.25,{"v":1158,"d":"1158.00"},{"v":547,"d":"547.00"},{"v":615,"d":"615.00"},{"v":362,"d":"362.00"},{"v":467,"d":"467.00"},{"v":427,"d":"427.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,398,179,273,269,30,136,183,0,0,49,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,398,179,273,269,30,136,183,0,0,49,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,398,179,273,269,24,136,183,0,0,49,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,398,179,273,269,24,136,183,0,0,49,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,248,95,273,269,40,0,69,0,0,49,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,248,95,273,269,38,0,69,0,0,49,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,248,95,273,269,30,0,69,0,0,49,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,248,95,263,269,22,0,69,0,0,49,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,98,0,182,269,26,0,0,0,0,49,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,98,0,182,269,26,0,0,0,0,49,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,98,0,182,269,26,0,0,0,0,49,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,98,0,182,269,27,0,0,0,0,49,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,0,266,268,32,0,0,0,0,66,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,0,266,268,37,0,0,0,0,66,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,0,235,268,37,0,0,0,0,66,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,0,150,268,41,0,0,0,0,66,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,0,65,263,36,0,0,0,0,66,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,0,65,263,32,0,0,0,0,66,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,0,65,263,27,0,0,0,0,66,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,0,65,263,26,0,0,0,0,66,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0,150,150,172,11,10,0,0,0,66,0]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0,150,200,172,11,10,0,0,0,66,0]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0,150,150,172,11,10,0,0,0,66,0]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0,150,85,172,11,10,0,0,0,66,0]
["06:00","06:15",0,143,150,50,200,200,0,0,0,0,0,153,0,0,21,68,0,0,0,66,0]
["06:15","06:30",0,143,150,50,200,200,0,0,0,0,0,153,0,0,21,68,0,0,0,66,0]
["06:30","06:45",0,143,150,50,200,200,0,0,0,0,0,153,0,0,21,68,0,0,0,66,0]
["06:45","07:00",0,143,150,50,200,200,0,0,0,0,0,153,0,0,21,68,0,0,0,66,0]
["07:00","07:15",0,76,218,19,124,200,0,0,0,0,0,0,0,0,25,118,0,200,0,56,0]
["07:15","07:30",0,76,218,19,124,200,0,0,0,0,0,0,0,0,25,118,0,200,0,56,0]
["07:30","07:45",0,76,218,19,124,200,0,0,0,0,0,0,0,0,30,118,0,200,0,56,0]
["07:45","08:00",0,76,218,19,124,200,0,0,0,0,0,0,0,0,30,118,0,200,0,56,0]
["08:00","08:15",80,52,65,0,124,200,0,28,0,0,0,0,0,0,32,100,0,0,0,0,0]
["08:15","08:30",80,52,65,0,124,200,0,28,0,0,0,0,0,0,32,100,0,0,0,0,0]
["08:30","08:45",80,52,65,0,124,200,0,28,0,0,0,0,0,0,32,100,0,0,0,0,0]
["08:45","09:00",80,52,65,0,124,200,0,28,0,0,0,0,0,0,32,100,0,0,0,0,0]
["09:00","09:15",80,122,65,0,124,200,0,28,0,0,0,0,0,0,32,150,51,0,0,0,0]
["09:15","09:30",80,122,65,0,124,200,0,28,0,0,0,0,0,0,32,150,51,0,0,0,0]
["09:30","09:45",80,122,65,0,124,200,0,28,0,0,0,0,0,0,32,150,51,0,0,0,0]
["09:45","10:00",80,122,65,0,124,200,0,28,0,0,0,0,0,0,32,150,51,0,0,0,0]
["10:00","10:15",80,72,65,0,70,200,0,28,0,0,0,0,0,0,32,140,51,100,61,0,52]
["10:15","10:30",80,72,65,0,70,200,0,28,0,0,0,0,0,0,32,140,51,100,61,0,52]
["10:30","10:45",80,72,65,0,70,200,0,28,0,0,0,0,0,0,32,140,51,100,61,0,52]
["10:45","11:00",80,72,65,0,70,200,0,28,0,0,0,0,0,0,32,140,51,100,61,0,52]
["11:00","11:15",20,57,65,0,70,200,0,30,0,0,0,0,0,0,32,176,151,215,181,0,123]
["11:15","11:30",20,57,65,0,70,200,0,30,0,0,0,0,0,0,32,176,151,215,181,0,123]
["11:30","11:45",20,57,65,0,70,200,0,30,0,0,0,0,0,0,32,176,151,215,181,0,123]
["11:45","12:00",20,57,65,0,70,200,0,30,0,0,0,0,0,0,32,176,151,215,181,0,123]
["12:00","12:15",0,149,65,0,51,200,0,30,0,0,0,0,0,0,32,136,42,100,120,0,141]
["12:15","12:30",0,149,65,0,51,200,0,30,0,0,0,0,0,0,32,136,42,100,120,0,141]
["12:30","12:45",0,149,65,0,51,200,0,30,0,0,0,0,0,0,32,136,42,100,120,0,141]
["12:45","13:00",0,149,65,0,51,200,0,30,0,0,0,0,0,0,32,136,42,100,120,0,141]
["13:00","13:15",0,46,183,0,0,200,0,0,0,0,0,0,0,0,32,87,0,0,0,0,35]
["13:15","13:30",0,46,183,0,0,200,0,0,0,0,0,0,0,0,32,87,0,0,0,0,35]
["13:30","13:45",0,46,183,0,0,200,0,0,0,0,0,0,0,0,32,87,0,0,0,0,35]
["13:45","14:00",0,46,183,0,0,200,0,0,0,0,0,0,0,0,32,87,0,0,0,0,35]
["14:00","14:15",0,99,201,0,0,200,0,0,0,0,0,0,0,0,0,37,0,0,0,0,76]
["14:15","14:30",0,99,201,0,0,200,0,0,0,0,0,0,0,0,0,37,0,0,0,0,76]
["14:30","14:45",0,99,201,0,0,200,0,0,0,0,0,0,0,0,0,37,0,0,0,0,76]
["14:45","15:00",0,99,201,0,0,200,0,0,0,0,0,0,0,0,0,37,0,0,0,0,76]
["15:00","15:15",0,100,201,0,0,200,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["15:15","15:30",0,100,201,0,0,200,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["15:30","15:45",0,100,201,0,0,200,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["15:45","16:00",0,100,201,0,0,200,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["16:00","16:15",50,0,246,0,0,200,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["16:15","16:30",50,0,246,0,0,200,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["16:30","16:45",50,0,246,0,0,200,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["16:45","17:00",50,0,246,0,0,200,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["17:00","17:15",121,0,150,0,0,200,10,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["17:15","17:30",121,0,150,0,0,200,10,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["17:30","17:45",121,0,150,0,0,200,10,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["17:45","18:00",121,0,150,0,0,200,10,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:00","18:15",0,23,0,0,0,0,0,0,0,0,0,0,0,0,24,0,0,0,0,0,0]
["18:15","18:30",0,23,0,0,0,0,0,0,0,0,0,0,0,0,24,0,0,0,0,0,0]
["18:30","18:45",0,23,0,0,0,0,0,0,0,0,0,0,0,0,24,0,0,0,0,0,0]
["18:45","19:00",0,23,0,0,0,0,0,0,0,0,0,0,0,0,24,0,0,0,0,0,0]
["19:00","19:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:15","19:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:30","19:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:45","20:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:00","20:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:15","20:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:30","20:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:45","21:00",0,30,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:00","21:15",0,27,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:15","21:30",0,26,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:30","21:45",0,76,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:45","22:00",0,186,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:00","22:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:15","22:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:30","22:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:45","23:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:00","23:15",0,0,0,0,0,0,0,0,33,50,0,0,0,0,0,0,0,0,0,0,0]
["23:15","23:30",0,0,0,0,0,0,0,0,33,50,0,0,0,0,0,0,0,0,0,0,0]
["23:30","23:45",0,0,0,0,0,0,0,0,33,50,0,0,0,0,0,0,0,0,0,0,0]
["23:45","24:00",0,0,0,0,0,0,0,0,33,50,0,0,0,0,0,0,0,0,0,0,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":4,"rows_kept":106}
[null,"Datum","02.12.2025","02.12.2025"]
[null,"GM-Art","Fremdbilanzierter RD","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz"]
[null,"Ursache","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 413"]
[null,"auslösendes Netzelement","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 412"]
[null,"AO Klarname","50H_EDIS_CR_GUE_Nord","50H_EDIS_CR_PAS"]
[null,"Richtung","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":150,"d":"150.00"},1993.75]
["00:00","00:15",50,150]
["00:15","00:30",50,150]
["00:30","00:45",50,150]
["00:45","01:00",50,150]
["01:00","01:15",50,150]
["01:15","01:30",50,150]
["01:30","01:45",50,150]
["01:45","02:00",50,150]
["02:00","02:15",50,150]
["02:15","02:30",50,150]
["02:30","02:45",50,150]
["02:45","03:00",50,150]
["03:00","03:15",0,150]
["03:15","03:30",0,150]
["03:30","03:45",0,150]
["03:45","04:00",0,150]
["04:00","04:15",0,150]
["04:15","04:30",0,150]
["04:30","04:45",0,150]
["04:45","05:00",0,150]
["05:00","05:15",0,150]
["05:15","05:30",0,150]
["05:30","05:45",0,150]
["05:45","06:00",0,150]
["06:00","06:15",0,150]
["06:15","06:30",0,150]
["06:30","06:45",0,150]
["06:45","07:00",0,150]
["07:00","07:15",0,150]
["07:15","07:30",0,150]
["07:30","07:45",0,150]
["07:45","08:00",0,150]
["08:00","08:15",0,150]
["08:15","08:30",0,150]
["08:30","08:45",0,150]
["08:45","09:00",0,150]
["09:00","09:15",0,150]
["09:15","09:30",0,150]
["09:30","09:45",0,150]
["09:45","10:00",0,150]
["10:00","10:15",0,150]
["10:15","10:30",0,150]
["10:30","10:45",0,150]
["10:45","11:00",0,150]
["11:00","11:15",0,150]
["11:15","11:30",0,150]
["11:30","11:45",0,150]
["11:45","12:00",0,150]
["12:00","12:15",0,150]
["12:15","12:30",0,150]
["12:30","12:45",0,150]
["12:45","13:00",0,150]
["13:00","13:15",0,75]
["13:15","13:30",0,75]
["13:30","13:45",0,25]
["13:45","14:00",0,0]
["14:00","14:15",0,0]
["14:15","14:30",0,0]
["14:30","14:45",0,0]
["14:45","15:00",0,0]
["15:00","15:15",0,0]
["15:15","15:30",0,0]
["15:30","15:45",0,0]
["15:45","16:00",0,0]
["16:00","16:15",0,0]
["16:15","16:30",0,0]
["16:30","16:45",0,0]
["16:45","17:00",0,0]
["17:00","17:15",0,0]
["17:15","17:30",0,0]
["17:30","17:45",0,0]
["17:45","18:00",0,0]
["18:00","18:15",0,0]
["18:15","18:30",0,0]
["18:30","18:45",0,0]
["18:45","19:00",0,0]
["19:00","19:15",0,0]
["19:15","19:30",0,0]
["19:30","19:45",0,0]
["19:45","20:00",0,0]
["20:00","20:15",0,0]
["20:15","20:30",0,0]
["20:30","20:45",0,0]
["20:45","21:00",0,0]
["21:00","21:15",0,0]
["21:15","21:30",0,0]
["21:30","21:45",0,0]
["21:45","22:00",0,0]
["22:00","22:15",0,0]
["22:15","22:30",0,0]
["22:30","22:45",0,0]
["22:45","23:00",0,0]
["23:00","23:15",0,0]
["23:15","23:30",0,0]
["23:30","23:45",0,0]
["23:45","24:00",0,0]