{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":16,"rows_kept":106}
[null,"Datum","21.02.2026","21.02.2026","21.02.2026","21.02.2026","21.02.2026","21.02.2026","21.02.2026","21.02.2026","21.02.2026","21.02.2026","21.02.2026","21.02.2026","21.02.2026","21.02.2026"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","50H Berlin Mitte","50H Berlin Marzahn","50H Berlin Lichterfelde","Schkopau","50H Erfurt-Ost HKW GuD","50H Leipzig Nord GuD","50H Berlin Lichterfelde","50H Berlin Marzahn","50H Berlin Mitte","50H Neubrandenburg GuD","50H Rostock Marienehe","Schwarze Pumpe (Standort)","Schkopau","Jänschwalde (Standort)"]
[null,"Richtung","SENKE","SENKE","SENKE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":398,"d":"398.00"},{"v":213,"d":"213.00"},{"v":114.5,"d":"114.50"},{"v":109.5,"d":"109.50"},{"v":65.5,"d":"65.50"},213.75,{"v":873,"d":"873.00"},{"v":779,"d":"779.00"},{"v":114,"d":"114.00"},{"v":163,"d":"163.00"},{"v":64,"d":"64.00"},{"v":64,"d":"64.00"},290.75,{"v":100,"d":"100.00"}]
["00:00","00:15",0,0,0,0,6,0,91,0,4,12,0,8,0,0]
["00:15","00:30",0,0,0,0,6,0,91,0,4,12,0,8,0,0]
["00:30","00:45",0,0,0,0,6,0,91,0,4,12,0,8,0,0]
["00:45","01:00",0,0,0,0,6,0,91,0,4,12,0,8,0,0]
["01:00","01:15",0,0,0,0,6,35,91,0,4,7,0,8,0,0]
["01:15","01:30",0,0,0,0,6,25,91,0,4,7,0,8,0,0]
["01:30","01:45",0,0,0,0,5,25,91,0,4,7,0,8,0,0]
["01:45","02:00",0,0,0,0,5,38,91,0,4,7,0,8,0,0]
["02:00","02:15",0,0,0,0,6,25,91,0,4,6,0,8,0,0]
["02:15","02:30",0,0,0,0,6,25,91,0,4,6,0,8,0,0]
["02:30","02:45",0,0,0,0,6,25,91,0,4,6,0,8,0,0]
["02:45","03:00",0,0,0,0,6,25,91,0,4,6,0,8,0,0]
["03:00","03:15",0,0,0,0,8,25,0,0,4,6,0,8,0,0]
["03:15","03:30",0,0,0,0,8,25,0,0,4,6,0,8,0,0]
["03:30","03:45",0,0,0,0,8,25,0,0,4,6,0,8,0,0]
["03:45","04:00",0,0,0,0,8,25,0,0,4,6,0,8,0,0]
["04:00","04:15",0,0,0,0,8,25,0,0,4,13,0,8,0,0]
["04:15","04:30",0,0,0,0,8,25,0,0,4,13,0,8,0,0]
["04:30","04:45",0,0,0,0,8,25,0,0,4,13,0,8,0,0]
["04:45","05:00",0,0,0,0,8,25,0,0,4,13,0,8,0,0]
["05:00","05:15",0,0,0,0,8,25,0,0,4,19,0,8,0,0]
["05:15","05:30",0,0,0,0,8,25,0,0,4,19,0,8,0,0]
["05:30","05:45",0,0,0,0,8,25,0,0,4,19,0,8,0,0]
["05:45","06:00",0,0,0,0,8,25,0,0,4,19,0,8,0,0]
["06:00","06:15",0,0,0,0,0,18,0,0,4,17,0,0,0,0]
["06:15","06:30",0,0,0,0,0,18,0,0,4,17,0,0,0,0]
["06:30","06:45",0,0,0,0,0,18,0,0,4,17,0,0,0,0]
["06:45","07:00",0,0,0,0,0,18,0,0,4,17,0,0,0,0]
["07:00","07:15",0,0,0,0,12,25,111,0,4,48,24,8,0,0]
["07:15","07:30",0,0,0,0,12,25,111,0,4,48,24,8,0,0]
["07:30","07:45",0,0,0,0,12,25,111,0,4,48,24,8,0,0]
["07:45","08:00",0,0,0,0,12,25,111,0,4,48,24,8,0,0]
["08:00","08:15",100,113,0,0,12,40,111,0,0,27,40,8,0,0]
["08:15","08:30",100,113,0,0,12,40,111,0,0,27,40,8,0,0]
["08:30","08:45",100,113,0,0,12,40,111,0,0,27,40,8,0,0]
["08:45","09:00",100,113,0,0,12,40,111,0,0,27,40,8,0,0]
["09:00","09:15",174,24,0,0,0,0,62,0,0,8,0,0,0,0]
["09:15","09:30",174,24,0,0,0,0,62,0,0,8,0,0,0,0]
["09:30","09:45",174,24,0,0,0,0,62,0,0,8,0,0,0,0]
["09:45","10:00",174,24,0,0,0,0,62,0,0,8,0,0,0,0]
["10:00","10:15",124,76,0,0,0,0,45,0,0,0,0,0,0,0]
["10:15","10:30",124,76,0,0,0,0,45,0,0,0,0,0,0,0]
["10:30","10:45",124,76,0,0,0,0,45,0,0,0,0,0,0,0]
["10:45","11:00",124,76,0,0,0,0,45,0,0,0,0,0,0,0]
["11:00","11:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["11:15","11:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["11:30","11:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["11:45","12:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:00","12:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:15","12:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:30","12:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:45","13:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:00","13:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:15","13:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:30","13:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:45","14:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:00","14:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:15","14:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:30","14:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:45","15:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["15:00","15:15",0,0,0,0,0,0,0,50,0,0,0,0,0,50]
["15:15","15:30",0,0,0,0,0,0,0,50,0,0,0,0,0,50]
["15:30","15:45",0,0,0,0,0,0,0,50,0,0,0,0,0,50]
["15:45","16:00",0,0,0,0,0,0,0,50,0,0,0,0,0,50]
["16:00","16:15",0,0,0,0,0,0,16,88,0,0,0,0,75,0]
["16:15","16:30",0,0,0,0,0,0,16,88,0,0,0,0,104,0]
["16:30","16:45",0,0,0,0,0,0,16,88,0,0,0,0,104,0]
["16:45","17:00",0,0,0,0,0,0,16,88,0,0,0,0,104,0]
["17:00","17:15",0,0,0,0,0,0,66,136,41,0,0,0,0,0]
["17:15","17:30",0,0,0,0,0,0,66,136,41,0,0,0,0,0]
["17:30","17:45",0,0,0,0,0,0,66,136,41,0,0,0,0,0]
["17:45","18:00",0,0,0,0,0,0,66,136,41,0,0,0,0,0]
["18:00","18:15",0,0,0,0,0,0,107,136,0,0,0,0,0,0]
["18:15","18:30",0,0,0,0,0,0,107,136,0,0,0,0,0,0]
["18:30","18:45",0,0,0,0,0,0,107,136,0,0,0,0,0,0]
["18:45","19:00",0,0,0,0,0,0,107,136,0,0,0,0,0,0]
["19:00","19:15",0,0,0,0,0,0,66,136,41,0,0,0,0,0]
["19:15","19:30",0,0,0,0,0,0,66,136,41,0,0,0,0,0]
["19:30","19:45",0,0,0,0,0,0,66,136,41,0,0,0,0,0]
["19:45","20:00",0,0,0,0,0,0,66,136,41,0,0,0,0,0]
["20:00","20:15",0,0,72,72,0,0,16,88,0,0,0,0,104,0]
["20:15","20:30",0,0,72,72,0,0,16,88,0,0,0,0,104,0]
["20:30","20:45",0,0,72,72,0,0,16,88,0,0,0,0,104,0]
["20:45","21:00",0,0,72,72,0,0,16,88,0,0,0,0,104,0]
["21:00","21:15",0,0,50,50,0,0,0,95,0,0,0,0,95,0]
["21:15","21:30",0,0,50,50,0,0,0,95,0,0,0,0,95,0]
["21:30","21:45",0,0,50,50,0,0,0,95,0,0,0,0,95,0]
["21:45","22:00",0,0,20,0,0,0,0,95,0,0,0,0,75,0]
["22:00","22:15",0,0,0,0,0,0,0,50,0,0,0,0,0,50]
["22:15","22:30",0,0,0,0,0,0,0,50,0,0,0,0,0,50]
["22:30","22:45",0,0,0,0,0,0,0,50,0,0,0,0,0,50]
["22:45","23:00",0,0,0,0,0,0,0,50,0,0,0,0,0,50]
["23:00","23:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:15","23:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:30","23:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:45","24:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":4,"rows_kept":106}
[null,"Datum","21.02.2026","21.02.2026"]
[null,"GM-Art","Fremdbilanzierter RD","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz"]
[null,"Ursache","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Güstrow / 414","50H / 380kV / Güstrow / 414"]
[null,"auslösendes Netzelement","50H / 380kV / Güstrow / 416","50H / 380kV / Güstrow / 416"]
[null,"AO Klarname","50H_EDIS_CR_GUE_Sued","50H_EDIS_CR_PAS"]
[null,"Richtung","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":652.5,"d":"652.50"},{"v":1055,"d":"1055.00"}]
["00:00","00:15",0,0]
["00:15","00:30",0,0]
["00:30","00:45",0,0]
["00:45","01:00",0,0]
["01:00","01:15",0,0]
["01:15","01:30",0,0]
["01:30","01:45",0,0]
["01:45","02:00",0,0]
["02:00","02:15",0,0]
["02:15","02:30",0,0]
["02:30","02:45",0,0]
["02:45","03:00",0,0]
["03:00","03:15",0,0]
["03:15","03:30",0,0]
["03:30","03:45",0,0]
["03:45","04:00",0,0]
["04:00","04:15",0,0]
["04:15","04:30",0,0]
["04:30","04:45",0,0]
["04:45","05:00",0,0]
["05:00","05:15",0,0]
["05:15","05:30",0,0]
["05:30","05:45",0,0]
["05:45","06:00",0,0]
["06:00","06:15",0,0]
["06:15","06:30",0,0]
["06:30","06:45",0,0]
["06:45","07:00",0,0]
["07:00","07:15",0,0]
["07:15","07:30",0,0]
["07:30","07:45",0,0]
["07:45","08:00",0,0]
["08:00","08:15",0,0]
["08:15","08:30",0,0]
["08:30","08:45",0,0]
["08:45","09:00",0,0]
["09:00","09:15",0,0]
["09:15","09:30",0,0]
["09:30","09:45",60,0]
["09:45","10:00",60,0]
["10:00","10:15",60,0]
["10:15","10:30",60,0]
["10:30","10:45",60,60]
["10:45","11:00",60,60]
["11:00","11:15",60,60]
["11:15","11:30",60,60]
["11:30","11:45",60,60]
["11:45","12:00",60,60]
["12:00","12:15",60,60]
["12:15","12:30",60,100]
["12:30","12:45",60,100]
["12:45","13:00",60,100]
["13:00","13:15",60,100]
["13:15","13:30",60,100]
["13:30","13:45",60,100]
["13:45","14:00",60,100]
["14:00","14:15",60,100]
["14:15","14:30",60,100]
["14:30","14:45",60,100]
["14:45","15:00",60,100]
["15:00","15:15",60,100]
["15:15","15:30",60,100]
["15:30","15:45",60,100]
["15:45","16:00",60,100]
["16:00","16:15",100,100]
["16:15","16:30",100,100]
["16:30","16:45",100,100]
["16:45","17:00",100,100]
["17:00","17:15",100,100]
["17:15","17:30",100,100]
["17:30","17:45",100,100]
["17:45","18:00",100,100]
["18:00","18:15",50,100]
["18:15","18:30",50,100]
["18:30","18:45",50,100]
["18:45","19:00",50,100]
["19:00","19:15",50,100]
["19:15","19:30",0,100]
["19:30","19:45",0,100]
["19:45","20:00",0,100]
["20:00","20:15",0,0]
["20:15","20:30",0,100]
["20:30","20:45",0,100]
["20:45","21:00",0,100]
["21:00","21:15",0,100]
["21:15","21:30",0,100]
["21:30","21:45",0,100]
["21:45","22:00",0,100]
["22:00","22:15",0,0]
["22:15","22:30",0,0]
["22:30","22:45",0,0]
["22:45","23:00",0,0]
["23:00","23:15",0,0]
["23:15","23:30",0,0]
["23:30","23:45",0,0]
["23:45","24:00",0,0]