{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":17,"rows_kept":106}
[null,"Datum","08.12.2025","08.12.2025","08.12.2025","08.12.2025","08.12.2025","08.12.2025","08.12.2025","08.12.2025","08.12.2025","08.12.2025","08.12.2025","08.12.2025","08.12.2025","08.12.2025","08.12.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","TenneT DE","TenneT DE","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Schwarze Pumpe (Standort)","Boxberg (Standort)","50H Berlin Mitte","Boxberg (Standort)","50H Berlin Marzahn","Schwarze Pumpe (Standort)","Schkopau","50H Erfurt-Ost HKW GuD","Rostock Kohlekraftwerk","50H Rostock Marienehe","Schkopau","Boxberg (Standort)","50H Hamburg Wedel1","Schkopau","Boxberg (Standort)"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":600,"d":"600.00"},{"v":600,"d":"600.00"},{"v":818,"d":"818.00"},{"v":661,"d":"661.00"},{"v":160,"d":"160.00"},112.75,{"v":221,"d":"221.00"},{"v":256,"d":"256.00"},{"v":207,"d":"207.00"},{"v":266,"d":"266.00"},{"v":85.5,"d":"85.50"},{"v":434,"d":"434.00"},{"v":604,"d":"604.00"},618.25,{"v":384,"d":"384.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,0,25,0,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,0,25,0,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,0,25,0,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,0,25,0,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,24,0,0,42,0,0]
["05:15","05:30",0,0,0,0,0,0,0,0,0,24,0,0,42,0,0]
["05:30","05:45",0,0,0,0,0,0,0,0,0,24,0,0,42,0,0]
["05:45","06:00",0,0,0,0,0,0,0,0,0,24,0,0,42,0,0]
["06:00","06:15",0,0,0,0,0,0,0,0,0,2,0,3,42,0,0]
["06:15","06:30",0,0,0,0,0,0,0,0,0,2,0,3,42,0,0]
["06:30","06:45",0,0,0,0,0,0,0,0,0,2,0,3,42,0,0]
["06:45","07:00",0,0,0,0,0,0,0,0,0,2,0,3,42,0,0]
["07:00","07:15",0,0,0,0,0,0,58,0,0,40,0,1,42,0,0]
["07:15","07:30",0,0,0,0,0,0,58,0,0,40,0,1,42,0,0]
["07:30","07:45",0,0,0,0,0,0,58,0,0,40,0,1,42,0,0]
["07:45","08:00",0,0,0,0,0,0,58,0,0,40,0,1,42,0,0]
["08:00","08:15",0,0,0,0,0,0,88,0,0,40,0,0,42,0,0]
["08:15","08:30",0,0,0,0,0,0,88,0,0,40,0,0,42,0,0]
["08:30","08:45",0,0,0,0,0,0,88,0,0,40,0,0,42,0,0]
["08:45","09:00",0,0,0,0,0,0,88,0,0,40,0,0,42,0,0]
["09:00","09:15",0,0,0,0,0,0,75,0,0,0,0,0,42,0,0]
["09:15","09:30",0,0,0,0,0,0,75,0,0,0,0,0,42,0,0]
["09:30","09:45",0,0,0,0,0,0,75,0,0,0,0,0,42,0,0]
["09:45","10:00",0,0,0,0,0,0,75,0,0,0,0,0,42,0,0]
["10:00","10:15",0,0,0,0,0,0,0,0,0,0,0,0,42,246,111]
["10:15","10:30",0,0,0,0,0,0,0,0,0,0,0,0,42,246,111]
["10:30","10:45",0,0,0,0,0,0,0,0,0,0,0,0,42,246,111]
["10:45","11:00",0,0,0,0,0,0,0,0,0,0,0,0,42,186,111]
["11:00","11:15",0,0,0,0,0,0,0,0,0,0,0,0,33,111,111]
["11:15","11:30",0,0,0,0,0,0,0,0,0,0,0,0,33,111,111]
["11:30","11:45",0,0,0,0,0,0,0,0,0,0,0,0,33,111,111]
["11:45","12:00",0,0,0,0,0,0,0,0,0,0,0,0,33,111,111]
["12:00","12:15",0,0,0,0,0,0,0,0,0,0,0,0,33,185,111]
["12:15","12:30",0,0,0,0,0,0,0,0,0,0,0,0,33,185,111]
["12:30","12:45",0,0,0,0,0,0,0,0,0,0,0,0,33,185,111]
["12:45","13:00",0,0,0,0,0,0,0,0,0,0,0,0,33,170,111]
["13:00","13:15",0,0,0,0,10,0,0,0,0,0,0,0,35,95,51]
["13:15","13:30",0,0,0,0,10,0,0,0,0,0,0,0,35,95,51]
["13:30","13:45",0,0,0,0,10,0,0,0,0,0,0,0,35,95,51]
["13:45","14:00",0,0,0,0,10,0,0,0,0,0,0,0,35,95,51]
["14:00","14:15",0,0,0,0,50,0,0,32,0,40,0,0,51,0,0]
["14:15","14:30",0,0,0,0,50,0,0,32,0,40,0,0,51,0,0]
["14:30","14:45",0,0,0,0,50,0,0,32,0,40,0,0,51,0,0]
["14:45","15:00",0,0,0,0,50,26,0,32,0,40,0,0,51,0,0]
["15:00","15:15",0,0,51,153,0,80,0,0,0,40,0,0,52,0,0]
["15:15","15:30",0,0,51,153,0,100,0,0,0,40,0,0,52,0,0]
["15:30","15:45",0,0,51,153,0,100,0,0,0,40,0,0,52,0,0]
["15:45","16:00",0,0,51,153,0,99,0,0,0,40,0,0,52,0,0]
["16:00","16:15",100,100,33,100,100,46,0,0,0,0,0,58,41,0,0]
["16:15","16:30",100,100,33,100,100,0,0,0,0,0,0,58,41,0,0]
["16:30","16:45",100,100,33,100,100,0,0,0,0,0,0,58,41,0,0]
["16:45","17:00",100,100,33,100,100,0,0,0,0,0,0,58,41,0,0]
["17:00","17:15",100,100,124,100,0,0,0,32,0,0,0,117,41,0,0]
["17:15","17:30",100,100,124,100,0,0,0,32,0,0,0,117,41,0,0]
["17:30","17:45",100,100,124,100,0,0,0,32,0,0,0,117,41,0,0]
["17:45","18:00",100,100,124,100,0,0,0,32,0,0,0,117,41,0,0]
["18:00","18:15",100,100,106,100,0,0,0,32,80,40,0,121,41,0,0]
["18:15","18:30",100,100,106,100,0,0,0,32,80,40,0,121,41,0,0]
["18:30","18:45",100,100,106,100,0,0,0,32,80,40,0,121,41,0,0]
["18:45","19:00",100,100,106,100,0,0,0,32,80,40,0,121,41,0,0]
["19:00","19:15",100,100,106,100,0,0,0,32,127,0,75,0,0,0,0]
["19:15","19:30",100,100,106,100,0,0,0,32,127,0,89,0,0,0,0]
["19:30","19:45",100,100,106,100,0,0,0,32,127,0,89,0,0,0,0]
["19:45","20:00",100,100,106,100,0,0,0,32,127,0,89,0,0,0,0]
["20:00","20:15",100,100,106,62,0,0,0,32,0,0,0,0,0,0,0]
["20:15","20:30",100,100,106,62,0,0,0,32,0,0,0,0,0,0,0]
["20:30","20:45",100,100,106,62,0,0,0,32,0,0,0,0,0,0,0]
["20:45","21:00",100,100,106,62,0,0,0,32,0,0,0,0,0,0,0]
["21:00","21:15",100,100,105,46,0,0,0,32,0,0,0,5,0,0,0]
["21:15","21:30",100,100,105,46,0,0,0,32,0,0,0,5,0,0,0]
["21:30","21:45",100,100,105,46,0,0,0,32,0,0,0,5,0,0,0]
["21:45","22:00",100,100,105,46,0,0,0,32,0,0,0,5,0,0,0]
["22:00","22:15",0,0,59,0,0,0,0,32,0,40,0,129,0,0,0]
["22:15","22:30",0,0,59,0,0,0,0,32,0,40,0,129,0,0,0]
["22:30","22:45",0,0,59,0,0,0,0,32,0,40,0,129,0,0,0]
["22:45","23:00",0,0,59,0,0,0,0,32,0,40,0,129,0,0,0]
["23:00","23:15",0,0,128,0,0,0,0,32,0,0,0,0,0,0,0]
["23:15","23:30",0,0,128,0,0,0,0,32,0,0,0,0,0,0,0]
["23:30","23:45",0,0,128,0,0,0,0,32,0,0,0,0,0,0,0]
["23:45","24:00",0,0,128,0,0,0,0,32,0,0,0,0,0,0,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":4,"rows_kept":106}
[null,"Datum","08.12.2025","08.12.2025"]
[null,"GM-Art","Fremdbilanzierter RD","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz"]
[null,"Ursache","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Güstrow / 414","50H / 380kV / Pasewalk / Tr. 412"]
[null,"auslösendes Netzelement","50H / 380kV / Güstrow / 416","50H / 380kV / Pasewalk / Tr. 413"]
[null,"AO Klarname","50H_EDIS_CR_GUE_Nord","50H_EDIS_CR_PAS"]
[null,"Richtung","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":525,"d":"525.00"},{"v":2387.5,"d":"2387.50"}]
["00:00","00:15",0,0]
["00:15","00:30",0,0]
["00:30","00:45",0,0]
["00:45","01:00",0,0]
["01:00","01:15",0,0]
["01:15","01:30",0,0]
["01:30","01:45",0,50]
["01:45","02:00",0,50]
["02:00","02:15",0,100]
["02:15","02:30",0,100]
["02:30","02:45",0,100]
["02:45","03:00",0,100]
["03:00","03:15",0,200]
["03:15","03:30",0,200]
["03:30","03:45",0,200]
["03:45","04:00",0,200]
["04:00","04:15",0,200]
["04:15","04:30",0,250]
["04:30","04:45",0,250]
["04:45","05:00",0,250]
["05:00","05:15",0,250]
["05:15","05:30",0,250]
["05:30","05:45",0,250]
["05:45","06:00",0,250]
["06:00","06:15",0,250]
["06:15","06:30",100,250]
["06:30","06:45",100,250]
["06:45","07:00",100,250]
["07:00","07:15",100,250]
["07:15","07:30",100,250]
["07:30","07:45",100,250]
["07:45","08:00",100,250]
["08:00","08:15",50,150]
["08:15","08:30",50,150]
["08:30","08:45",50,150]
["08:45","09:00",50,150]
["09:00","09:15",50,150]
["09:15","09:30",50,150]
["09:30","09:45",50,150]
["09:45","10:00",50,150]
["10:00","10:15",50,100]
["10:15","10:30",50,100]
["10:30","10:45",50,100]
["10:45","11:00",50,100]
["11:00","11:15",50,100]
["11:15","11:30",50,200]
["11:30","11:45",50,200]
["11:45","12:00",50,200]
["12:00","12:15",50,200]
["12:15","12:30",50,200]
["12:30","12:45",50,150]
["12:45","13:00",50,150]
["13:00","13:15",50,150]
["13:15","13:30",50,150]
["13:30","13:45",50,50]
["13:45","14:00",50,50]
["14:00","14:15",50,50]
["14:15","14:30",50,50]
["14:30","14:45",50,50]
["14:45","15:00",50,50]
["15:00","15:15",0,0]
["15:15","15:30",0,0]
["15:30","15:45",0,0]
["15:45","16:00",0,0]
["16:00","16:15",0,0]
["16:15","16:30",0,0]
["16:30","16:45",0,0]
["16:45","17:00",0,0]
["17:00","17:15",0,0]
["17:15","17:30",0,0]
["17:30","17:45",0,0]
["17:45","18:00",0,0]
["18:00","18:15",0,0]
["18:15","18:30",0,0]
["18:30","18:45",0,0]
["18:45","19:00",0,0]
["19:00","19:15",0,0]
["19:15","19:30",0,0]
["19:30","19:45",0,0]
["19:45","20:00",0,0]
["20:00","20:15",0,0]
["20:15","20:30",0,0]
["20:30","20:45",0,0]
["20:45","21:00",0,0]
["21:00","21:15",0,0]
["21:15","21:30",0,100]
["21:30","21:45",0,100]
["21:45","22:00",0,100]
["22:00","22:15",0,100]
["22:15","22:30",0,100]
["22:30","22:45",0,100]
["22:45","23:00",0,100]
["23:00","23:15",0,0]
["23:15","23:30",0,0]
["23:30","23:45",0,0]
["23:45","24:00",0,0]