{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":24,"rows_kept":106}
[null,"Datum","15.12.2025","15.12.2025","15.12.2025","15.12.2025","15.12.2025","15.12.2025","15.12.2025","15.12.2025","15.12.2025","15.12.2025","15.12.2025","15.12.2025","15.12.2025","15.12.2025","15.12.2025","15.12.2025","15.12.2025","15.12.2025","15.12.2025","15.12.2025","15.12.2025","15.12.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD1","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","TenneT DE","TenneT DE","TenneT DE","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Schwarze Pumpe (Standort)","Boxberg (Standort)","Jänschwalde (Standort)","Lippendorf VE","Rostock Kohlekraftwerk","Schwarze Pumpe (Standort)","Jänschwalde (Standort)","Boxberg (Standort)","Schkopau","Lippendorf VE","Rostock Kohlekraftwerk","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","50H Erfurt-Ost HKW GuD","50H Berlin Lichterfelde","50H Berlin Marzahn","50H Berlin Mitte","50H Halle-Trotha HKW","Boxberg (Standort)","Schwarze Pumpe (Standort)","50H Hamburg Wedel1"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":300,"d":"300.00"},{"v":300,"d":"300.00"},{"v":300,"d":"300.00"},{"v":1060,"d":"1060.00"},{"v":1444,"d":"1444.00"},{"v":1743,"d":"1743.00"},{"v":1047.5,"d":"1047.50"},259.75,{"v":22.5,"d":"22.50"},{"v":480,"d":"480.00"},{"v":1322,"d":"1322.00"},{"v":320,"d":"320.00"},{"v":1467,"d":"1467.00"},{"v":2843,"d":"2843.00"},{"v":494,"d":"494.00"},{"v":1944,"d":"1944.00"},{"v":3252,"d":"3252.00"},{"v":1132,"d":"1132.00"},{"v":506,"d":"506.00"},{"v":320,"d":"320.00"},{"v":338,"d":"338.00"},{"v":420,"d":"420.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,434,200,150,810,26,49,102,100,23,0,0,45]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,434,200,150,810,26,49,102,100,23,0,0,45]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,434,200,150,810,26,49,102,100,23,0,0,45]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,434,200,150,810,26,49,102,100,23,0,0,45]
["01:00","01:15",0,0,0,0,0,0,0,0,0,120,354,70,269,920,26,59,93,184,23,0,114,45]
["01:15","01:30",0,0,0,0,0,0,0,0,0,120,354,70,269,920,26,59,93,184,23,0,114,45]
["01:30","01:45",0,0,0,0,0,0,0,0,0,120,354,70,269,920,26,59,93,184,23,0,114,45]
["01:45","02:00",0,0,0,0,0,0,0,0,0,120,354,70,269,920,26,59,93,184,23,0,114,45]
["02:00","02:15",0,0,0,0,0,0,0,0,0,120,274,50,358,667,26,61,83,227,23,0,100,45]
["02:15","02:30",0,0,0,0,0,0,0,0,0,120,274,50,358,667,26,61,83,227,23,0,100,45]
["02:30","02:45",0,0,0,0,0,0,0,0,0,120,274,50,358,667,26,61,83,227,23,0,100,45]
["02:45","03:00",0,0,0,0,0,0,0,0,0,120,274,50,358,667,26,61,83,227,23,0,100,45]
["03:00","03:15",0,0,0,0,0,0,0,0,0,120,260,0,181,205,26,61,85,244,23,0,0,45]
["03:15","03:30",0,0,0,0,0,0,0,0,0,120,260,0,181,205,26,61,85,244,23,0,0,45]
["03:30","03:45",0,0,0,0,0,0,0,0,0,120,260,0,181,205,26,61,85,244,23,0,0,45]
["03:45","04:00",0,0,0,0,0,0,0,0,0,120,260,0,181,205,26,61,85,244,23,0,0,45]
["04:00","04:15",0,0,0,0,0,0,0,0,0,120,0,0,312,241,26,69,85,246,23,140,0,45]
["04:15","04:30",0,0,0,0,0,0,0,0,0,120,0,0,312,241,26,69,85,246,23,140,0,45]
["04:30","04:45",0,0,0,0,0,0,0,0,0,120,0,0,312,241,26,69,85,246,23,140,0,45]
["04:45","05:00",0,0,0,0,0,0,0,0,0,120,0,0,312,241,26,69,85,246,23,140,0,45]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0,0,197,0,26,0,186,106,23,180,79,45]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0,0,197,0,26,0,186,106,23,180,79,45]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0,0,197,0,26,0,186,106,23,180,79,45]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0,0,197,0,26,0,186,106,23,180,79,45]
["06:00","06:15",0,0,0,0,0,50,0,0,0,0,0,0,0,0,26,0,186,0,23,0,0,45]
["06:15","06:30",0,0,0,0,0,50,0,0,0,0,0,0,0,0,26,0,186,0,23,0,0,45]
["06:30","06:45",0,0,0,0,0,50,0,0,0,0,0,0,0,0,26,0,186,0,23,0,0,45]
["06:45","07:00",0,0,0,0,0,50,0,0,0,0,0,0,0,0,26,0,186,0,23,0,0,45]
["07:00","07:15",0,0,0,0,60,0,0,0,0,0,0,0,0,0,26,51,186,4,23,0,0,45]
["07:15","07:30",0,0,0,0,80,0,0,0,0,0,0,0,0,0,26,51,186,4,23,0,0,45]
["07:30","07:45",0,0,0,0,80,0,0,0,0,0,0,0,0,0,26,51,186,4,23,0,0,45]
["07:45","08:00",0,0,0,0,80,0,0,0,0,0,0,0,0,0,26,51,186,4,23,0,0,45]
["08:00","08:15",0,0,0,120,160,200,200,0,0,0,0,0,0,0,0,101,186,4,23,0,0,0]
["08:15","08:30",0,0,0,120,160,200,200,0,0,0,0,0,0,0,0,101,186,4,23,0,0,0]
["08:30","08:45",0,0,0,120,160,200,200,0,0,0,0,0,0,0,0,101,186,4,23,0,0,0]
["08:45","09:00",0,0,0,120,160,200,200,0,0,0,0,0,0,0,0,101,186,4,23,0,0,0]
["09:00","09:15",0,0,0,91,240,200,200,0,0,0,0,0,0,0,0,151,185,3,23,0,0,0]
["09:15","09:30",0,0,0,91,240,200,200,0,0,0,0,0,0,0,0,151,185,3,23,0,0,0]
["09:30","09:45",0,0,0,91,240,200,200,0,0,0,0,0,0,0,0,151,185,3,23,0,0,0]
["09:45","10:00",0,0,0,91,240,200,200,0,0,0,0,0,0,0,0,151,185,3,23,0,0,0]
["10:00","10:15",0,0,0,0,240,200,159,0,0,0,0,0,0,0,26,154,186,1,23,0,0,0]
["10:15","10:30",0,0,0,0,240,200,159,0,0,0,0,0,0,0,26,154,186,1,23,0,0,0]
["10:30","10:45",0,0,0,0,240,200,159,0,0,0,0,0,0,0,26,154,186,1,23,0,0,0]
["10:45","11:00",0,0,0,0,240,200,159,0,0,0,0,0,0,0,26,154,186,1,23,0,0,0]
["11:00","11:15",0,0,0,0,254,400,159,0,0,0,0,0,0,0,26,154,186,1,23,0,0,0]
["11:15","11:30",0,0,0,0,254,400,159,0,0,0,0,0,0,0,26,154,186,1,23,0,0,0]
["11:30","11:45",0,0,0,0,254,400,159,0,0,0,0,0,0,0,26,154,186,1,23,0,0,0]
["11:45","12:00",0,0,0,0,254,400,159,0,0,0,0,0,0,0,26,154,186,1,23,0,0,0]
["12:00","12:15",0,0,0,0,200,400,159,0,0,0,0,0,0,0,26,154,186,0,23,0,0,0]
["12:15","12:30",0,0,0,0,150,400,159,0,0,0,0,0,0,0,26,154,186,0,23,0,0,0]
["12:30","12:45",0,0,0,0,100,400,159,0,0,0,0,0,0,0,26,154,186,0,23,0,0,0]
["12:45","13:00",0,0,0,0,50,400,159,0,0,0,0,0,0,0,26,154,186,0,23,0,0,0]
["13:00","13:15",0,0,0,137,80,0,0,0,0,0,0,0,0,0,26,154,186,0,23,0,0,0]
["13:15","13:30",0,0,0,137,80,0,0,0,0,0,0,0,0,0,26,154,186,0,23,0,0,0]
["13:30","13:45",0,0,0,137,80,0,0,0,0,0,0,0,0,0,26,154,186,0,23,0,0,0]
["13:45","14:00",0,0,0,137,80,0,0,0,0,0,0,0,0,0,26,154,186,0,23,0,0,0]
["14:00","14:15",0,0,0,137,80,0,0,0,0,0,0,0,0,0,0,154,186,4,23,0,45,0]
["14:15","14:30",0,0,0,137,80,0,0,0,0,0,0,0,0,0,0,154,186,4,23,0,45,0]
["14:30","14:45",0,0,0,137,80,0,0,0,0,0,0,0,0,0,0,154,186,4,23,0,45,0]
["14:45","15:00",0,0,0,137,80,0,0,0,0,0,0,0,0,0,0,154,186,4,23,0,45,0]
["15:00","15:15",0,0,0,137,80,0,0,0,0,0,0,0,0,0,26,154,186,4,23,0,0,0]
["15:15","15:30",0,0,0,137,80,0,0,0,0,0,0,0,0,0,26,154,186,4,23,0,0,0]
["15:30","15:45",0,0,0,137,80,0,0,0,0,0,0,0,0,0,26,154,186,4,23,0,0,0]
["15:45","16:00",0,0,0,137,80,0,0,0,0,0,0,0,0,0,26,154,186,4,23,0,0,0]
["16:00","16:15",0,0,0,137,80,0,0,0,0,0,0,0,0,0,0,154,186,4,23,0,0,41]
["16:15","16:30",0,0,0,137,80,0,0,0,0,0,0,0,0,0,0,154,186,4,23,0,0,41]
["16:30","16:45",0,0,0,137,80,0,0,0,0,0,0,0,0,0,0,154,186,4,23,0,0,41]
["16:45","17:00",0,0,0,137,80,0,0,0,0,0,0,0,0,0,0,154,186,4,23,0,0,41]
["17:00","17:15",100,100,100,0,0,0,0,0,0,0,0,0,0,0,0,114,145,0,23,0,0,19]
["17:15","17:30",100,100,100,0,0,0,0,0,0,0,0,0,0,0,0,114,145,0,23,0,0,19]
["17:30","17:45",100,100,100,0,0,0,0,0,0,0,0,0,0,0,0,114,145,0,23,0,0,19]
["17:45","18:00",100,100,100,0,0,0,0,0,0,0,0,0,0,0,0,114,145,0,23,0,0,19]
["18:00","18:15",100,100,100,0,0,0,0,0,0,0,0,0,0,0,26,64,88,0,23,0,0,0]
["18:15","18:30",100,100,100,0,0,0,0,0,0,0,0,0,0,0,26,64,88,0,23,0,0,0]
["18:30","18:45",100,100,100,0,0,0,0,0,0,0,0,0,0,0,26,64,88,0,23,0,0,0]
["18:45","19:00",100,100,100,0,0,0,0,0,0,0,0,0,0,0,26,64,88,0,23,0,0,0]
["19:00","19:15",100,100,100,67,50,90,60,80,30,0,0,0,0,0,26,10,45,0,23,0,0,0]
["19:15","19:30",100,100,100,67,35,50,30,53,30,0,0,0,0,0,26,10,45,0,23,0,0,0]
["19:30","19:45",100,100,100,67,35,50,30,53,30,0,0,0,0,0,26,10,45,0,23,0,0,0]
["19:45","20:00",100,100,100,67,0,50,30,53,0,0,0,0,0,0,26,10,45,0,23,0,0,0]
["20:00","20:15",0,0,0,167,0,133,100,100,0,0,0,0,0,0,26,0,45,0,23,0,0,0]
["20:15","20:30",0,0,0,167,0,133,100,100,0,0,0,0,0,0,26,0,45,0,23,0,0,0]
["20:30","20:45",0,0,0,167,0,133,100,100,0,0,0,0,0,0,26,0,45,0,23,0,0,0]
["20:45","21:00",0,0,0,167,0,133,100,100,0,0,0,0,0,0,26,0,45,0,23,0,0,0]
["21:00","21:15",0,0,0,67,0,100,33,100,0,0,0,0,0,0,26,46,50,0,23,0,0,0]
["21:15","21:30",0,0,0,67,0,100,33,100,0,0,0,0,0,0,26,46,50,0,23,0,0,0]
["21:30","21:45",0,0,0,67,0,100,33,100,0,0,0,0,0,0,26,46,50,0,23,0,0,0]
["21:45","22:00",0,0,0,67,0,100,33,100,0,0,0,0,0,0,26,46,50,0,23,0,0,0]
["22:00","22:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,26,0,50,0,0,0,0,0]
["22:15","22:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,26,0,50,0,0,0,0,0]
["22:30","22:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,26,0,50,0,0,0,0,0]
["22:45","23:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,26,0,50,0,0,0,0,0]
["23:00","23:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,26,30,150,0,0,0,0,0]
["23:15","23:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,26,30,150,0,0,0,0,0]
["23:30","23:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,26,30,150,0,0,0,0,0]
["23:45","24:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,26,30,150,0,0,0,0,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":3,"rows_kept":106}
[null,"Datum","15.12.2025"]
[null,"GM-Art","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday"]
[null,"Anforderer","50Hertz"]
[null,"Ursache","I"]
[null,"überlastetes Netzelement","50H / 380kV / Pasewalk / Tr. 412"]
[null,"auslösendes Netzelement","50H / 380kV / Pasewalk / Tr. 413"]
[null,"AO Klarname","50H_EDIS_CR_PAS"]
[null,"Richtung","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":410,"d":"410.00"}]
["00:00","00:15",70]
["00:15","00:30",70]
["00:30","00:45",70]
["00:45","01:00",70]
["01:00","01:15",70]
["01:15","01:30",70]
["01:30","01:45",70]
["01:45","02:00",70]
["02:00","02:15",70]
["02:15","02:30",70]
["02:30","02:45",70]
["02:45","03:00",70]
["03:00","03:15",50]
["03:15","03:30",50]
["03:30","03:45",50]
["03:45","04:00",50]
["04:00","04:15",50]
["04:15","04:30",50]
["04:30","04:45",50]
["04:45","05:00",50]
["05:00","05:15",50]
["05:15","05:30",50]
["05:30","05:45",50]
["05:45","06:00",50]
["06:00","06:15",50]
["06:15","06:30",50]
["06:30","06:45",50]
["06:45","07:00",50]
["07:00","07:15",0]
["07:15","07:30",0]
["07:30","07:45",0]
["07:45","08:00",0]
["08:00","08:15",0]
["08:15","08:30",0]
["08:30","08:45",0]
["08:45","09:00",0]
["09:00","09:15",0]
["09:15","09:30",0]
["09:30","09:45",0]
["09:45","10:00",0]
["10:00","10:15",0]
["10:15","10:30",0]
["10:30","10:45",0]
["10:45","11:00",0]
["11:00","11:15",0]
["11:15","11:30",0]
["11:30","11:45",0]
["11:45","12:00",0]
["12:00","12:15",0]
["12:15","12:30",0]
["12:30","12:45",0]
["12:45","13:00",0]
["13:00","13:15",0]
["13:15","13:30",0]
["13:30","13:45",0]
["13:45","14:00",0]
["14:00","14:15",0]
["14:15","14:30",0]
["14:30","14:45",0]
["14:45","15:00",0]
["15:00","15:15",0]
["15:15","15:30",0]
["15:30","15:45",0]
["15:45","16:00",0]
["16:00","16:15",0]
["16:15","16:30",0]
["16:30","16:45",0]
["16:45","17:00",0]
["17:00","17:15",0]
["17:15","17:30",0]
["17:30","17:45",0]
["17:45","18:00",0]
["18:00","18:15",0]
["18:15","18:30",0]
["18:30","18:45",0]
["18:45","19:00",0]
["19:00","19:15",0]
["19:15","19:30",0]
["19:30","19:45",0]
["19:45","20:00",0]
["20:00","20:15",0]
["20:15","20:30",0]
["20:30","20:45",0]
["20:45","21:00",0]
["21:00","21:15",0]
["21:15","21:30",0]
["21:30","21:45",0]
["21:45","22:00",0]
["22:00","22:15",0]
["22:15","22:30",0]
["22:30","22:45",0]
["22:45","23:00",0]
["23:00","23:15",0]
["23:15","23:30",0]
["23:30","23:45",0]
["23:45","24:00",0]