{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":24,"rows_kept":106}
[null,"Datum","27.10.2025","27.10.2025","27.10.2025","27.10.2025","27.10.2025","27.10.2025","27.10.2025","27.10.2025","27.10.2025","27.10.2025","27.10.2025","27.10.2025","27.10.2025","27.10.2025","27.10.2025","27.10.2025","27.10.2025","27.10.2025","27.10.2025","27.10.2025","27.10.2025","27.10.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","DACF","DACF","DACF","DACF","DACF","Intraday","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","TenneT DE","TenneT DE","TenneT DE","TenneT DE","TenneT DE","50Hertz","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","50H Berlin Mitte","Schwarze Pumpe (Standort)","Boxberg (Standort)","50H Berlin Reuter West","50H UW Bertikow","50H UW Bertikow","Schwarze Pumpe (Standort)","50H Berlin Mitte","Boxberg (Standort)","50H Berlin Marzahn","50H UW Bertikow","50H Hamburg Tiefstack 2 HKW SK","50H Dresden-Nossen","50H Erfurt-Ost HKW GuD","50H Berlin Marzahn","50H Berlin Mitte","50H Neubrandenburg GuD","50H Rostock Marienehe","Boxberg (Standort)","Schwarze Pumpe (Standort)","50H Hamburg Wedel1","Boxberg (Standort)"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":20,"d":"20.00"},{"v":31,"d":"31.00"},{"v":29,"d":"29.00"},{"v":61,"d":"61.00"},{"v":59,"d":"59.00"},{"v":270,"d":"270.00"},{"v":2335,"d":"2335.00"},{"v":245,"d":"245.00"},{"v":312,"d":"312.00"},{"v":448,"d":"448.00"},{"v":353.5,"d":"353.50"},{"v":48,"d":"48.00"},{"v":375,"d":"375.00"},{"v":62,"d":"62.00"},{"v":1078,"d":"1078.00"},{"v":226,"d":"226.00"},218.25,{"v":173,"d":"173.00"},{"v":367,"d":"367.00"},{"v":2633,"d":"2633.00"},{"v":1023,"d":"1023.00"},{"v":19,"d":"19.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,58,0]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,58,0]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,58,0]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,58,0]
["06:00","06:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,20,0]
["06:15","06:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,20,0]
["06:30","06:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,20,0]
["06:45","07:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,20,0]
["07:00","07:15",0,0,0,0,0,0,53,0,0,0,0,0,0,0,0,0,6,29,29,407,20,0]
["07:15","07:30",0,0,0,0,0,0,53,0,0,0,0,0,0,0,0,0,11,29,29,407,20,0]
["07:30","07:45",0,0,0,0,0,0,53,0,0,0,0,0,0,0,0,0,11,29,29,407,20,0]
["07:45","08:00",0,0,0,0,0,0,53,0,0,0,0,0,0,0,0,0,11,29,29,407,20,0]
["08:00","08:15",0,31,29,31,9,0,0,0,0,0,0,0,0,0,0,0,0,36,0,394,50,0]
["08:15","08:30",0,31,29,31,9,0,0,0,0,0,0,0,0,0,0,0,0,36,0,394,50,0]
["08:30","08:45",0,31,29,31,9,0,0,0,0,0,0,0,0,0,0,0,0,36,0,394,50,0]
["08:45","09:00",0,31,29,31,9,0,0,0,0,0,0,0,0,0,0,0,0,36,0,394,50,0]
["09:00","09:15",50,0,0,30,20,0,0,0,0,0,0,0,0,0,0,0,10,0,29,425,59,0]
["09:15","09:30",30,0,0,30,40,0,0,0,0,0,0,0,0,0,0,0,20,0,29,425,59,0]
["09:30","09:45",0,0,0,30,70,0,0,0,0,0,0,0,0,0,0,0,24,0,29,425,59,0]
["09:45","10:00",0,0,0,30,70,0,0,0,0,0,0,0,0,0,0,0,24,0,29,425,59,0]
["10:00","10:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,22,0,24,0,29,425,59,0]
["10:15","10:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,22,0,24,0,29,425,59,0]
["10:30","10:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,22,0,24,0,29,425,59,0]
["10:45","11:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,22,0,24,0,29,425,59,0]
["11:00","11:15",0,0,0,0,0,0,0,25,0,0,0,0,0,0,44,0,24,0,29,326,59,0]
["11:15","11:30",0,0,0,0,0,0,0,25,0,0,0,0,0,0,44,0,24,0,29,326,59,0]
["11:30","11:45",0,0,0,0,0,0,0,25,0,0,0,0,0,0,44,0,24,0,29,326,59,0]
["11:45","12:00",0,0,0,0,0,0,0,25,0,0,0,0,0,0,44,0,24,0,29,326,59,0]
["12:00","12:15",0,0,0,0,0,0,120,0,0,0,50,0,31,0,92,45,24,12,29,106,59,0]
["12:15","12:30",0,0,0,0,0,0,120,0,0,0,50,0,31,0,92,45,24,12,29,106,59,0]
["12:30","12:45",0,0,0,0,0,0,120,0,0,0,50,0,31,0,92,45,24,12,29,106,59,0]
["12:45","13:00",0,0,0,0,0,0,120,0,0,0,50,0,31,0,92,45,24,12,29,106,59,0]
["13:00","13:15",0,0,0,0,0,0,226,0,0,0,144,0,0,14,92,45,24,12,0,0,59,0]
["13:15","13:30",0,0,0,0,0,0,226,0,0,0,144,0,0,14,92,45,24,12,0,0,59,0]
["13:30","13:45",0,0,0,0,0,0,226,0,0,0,144,0,0,14,92,45,24,12,0,0,59,0]
["13:45","14:00",0,0,0,0,0,0,226,0,0,0,144,0,0,14,92,45,24,12,0,0,59,0]
["14:00","14:15",0,0,0,0,0,0,226,40,0,49,157,0,0,0,43,0,11,0,0,0,59,0]
["14:15","14:30",0,0,0,0,0,0,226,40,0,49,154,0,0,0,43,0,11,0,0,0,59,0]
["14:30","14:45",0,0,0,0,0,0,226,40,0,49,148,0,0,0,43,0,11,0,0,0,59,0]
["14:45","15:00",0,0,0,0,0,0,226,40,0,49,143,0,0,0,43,0,11,0,0,0,59,0]
["15:00","15:15",0,0,0,0,0,0,374,0,0,0,9,0,0,16,92,45,24,12,0,50,59,0]
["15:15","15:30",0,0,0,0,0,0,374,0,0,0,9,0,0,16,92,45,24,12,0,50,59,0]
["15:30","15:45",0,0,0,0,0,0,374,0,0,0,9,0,0,16,92,45,24,12,0,50,59,0]
["15:45","16:00",0,0,0,0,0,0,374,0,0,0,9,0,0,16,92,45,24,12,0,50,59,0]
["16:00","16:15",0,0,0,0,0,0,383,45,0,50,0,0,0,0,93,0,7,0,0,0,59,0]
["16:15","16:30",0,0,0,0,0,0,383,45,0,50,0,0,0,0,93,0,7,0,0,0,59,0]
["16:30","16:45",0,0,0,0,0,0,383,45,0,50,0,0,0,0,93,0,7,0,0,0,59,0]
["16:45","17:00",0,0,0,0,0,0,383,45,0,50,0,0,0,0,93,0,7,0,0,0,59,0]
["17:00","17:15",0,0,0,0,0,0,351,45,0,49,0,15,86,0,107,0,7,0,0,50,63,0]
["17:15","17:30",0,0,0,0,0,0,351,45,0,49,0,15,86,0,107,0,7,0,0,50,63,0]
["17:30","17:45",0,0,0,0,0,0,351,45,0,49,0,15,86,0,107,0,7,0,0,50,63,0]
["17:45","18:00",0,0,0,0,0,0,351,45,0,49,0,15,86,0,107,0,7,0,0,50,63,0]
["18:00","18:15",0,0,0,0,0,0,151,0,0,32,0,33,86,0,123,45,24,36,111,250,63,0]
["18:15","18:30",0,0,0,0,0,0,151,0,0,32,0,33,86,0,123,45,24,36,111,250,63,0]
["18:30","18:45",0,0,0,0,0,0,151,0,0,32,0,33,86,0,123,45,24,36,111,250,63,0]
["18:45","19:00",0,0,0,0,0,0,151,0,0,32,0,33,86,0,123,45,24,36,111,250,63,0]
["19:00","19:15",0,0,0,0,0,0,51,0,0,40,0,0,86,16,73,46,20,36,111,200,59,0]
["19:15","19:30",0,0,0,0,0,0,51,0,0,40,0,0,86,16,73,46,20,36,111,200,59,0]
["19:30","19:45",0,0,0,0,0,180,51,0,0,40,0,0,86,16,73,46,20,36,111,200,59,0]
["19:45","20:00",0,0,0,0,0,180,51,0,0,40,0,0,86,16,73,46,20,36,111,200,59,0]
["20:00","20:15",0,0,0,0,0,180,200,45,0,90,0,0,0,0,0,0,0,0,0,0,59,19]
["20:15","20:30",0,0,0,0,0,180,200,45,0,90,0,0,0,0,0,0,0,0,0,0,59,19]
["20:30","20:45",0,0,0,0,0,180,200,45,0,90,0,0,0,0,0,0,0,0,0,0,59,19]
["20:45","21:00",0,0,0,0,0,180,200,45,0,90,0,0,0,0,0,0,0,0,0,0,59,19]
["21:00","21:15",0,0,0,0,0,0,200,45,112,90,0,0,0,0,34,0,0,0,0,0,53,0]
["21:15","21:30",0,0,0,0,0,0,200,45,112,90,0,0,0,0,34,0,0,0,0,0,53,0]
["21:30","21:45",0,0,0,0,0,0,200,45,112,90,0,0,0,0,34,0,0,0,0,0,53,0]
["21:45","22:00",0,0,0,0,0,0,200,45,112,90,0,0,0,0,34,0,0,0,0,0,53,0]
["22:00","22:15",0,0,0,0,0,0,0,0,200,48,0,0,0,0,107,0,0,0,0,0,53,0]
["22:15","22:30",0,0,0,0,0,0,0,0,200,48,0,0,0,0,107,0,0,0,0,0,53,0]
["22:30","22:45",0,0,0,0,0,0,0,0,200,48,0,0,0,0,107,0,0,0,0,0,53,0]
["22:45","23:00",0,0,0,0,0,0,0,0,200,48,0,0,0,0,107,0,0,0,0,0,53,0]
["23:00","23:15",0,0,0,0,0,0,0,0,0,0,0,0,86,16,156,0,0,0,0,0,53,0]
["23:15","23:30",0,0,0,0,0,0,0,0,0,0,0,0,86,16,156,0,0,0,0,0,53,0]
["23:30","23:45",0,0,0,0,0,0,0,0,0,0,0,0,86,16,156,0,0,0,0,0,53,0]
["23:45","24:00",0,0,0,0,0,0,0,0,0,0,0,0,86,16,156,0,0,0,0,0,53,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":6,"rows_kept":106}
[null,"Datum","27.10.2025","27.10.2025","27.10.2025","27.10.2025"]
[null,"GM-Art","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz","50Hertz"]
[null,"Ursache","I","I","I","I"]
[null,"überlastetes Netzelement","50H / 220kV / Parchim/Süd / 203 & 50H / 380kV / Lauchstädt / 413 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Eisenhüttenstadt / Tr. 412 & 50H / 380kV / Lauchstädt / 411 & 50H / 380kV / Pasewalk / Tr. 412","50H / 220kV / Parchim/Süd / 203 & 50H / 380kV / Lauchstädt / 413 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Eisenhüttenstadt / Tr. 412 & 50H / 380kV / Lauchstädt / 411 & 50H / 380kV / Pasewalk / Tr. 412"]
[null,"auslösendes Netzelement","50H / 380kV / Lauchstädt / 411 & 50H / 380kV / Pasewalk / Tr. 413 & Grundfall","50H / 380kV / Eisenhüttenstadt / Tr. 411 & 50H / 380kV / Lauchstädt / 413 & 50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Lauchstädt / 411 & 50H / 380kV / Pasewalk / Tr. 413 & Grundfall","50H / 380kV / Eisenhüttenstadt / Tr. 411 & 50H / 380kV / Lauchstädt / 413 & 50H / 380kV / Pasewalk / Tr. 413"]
[null,"AO Klarname","50H_EDIS_CR_PAS","50H_EDIS_CR_PAS","50H_MNS_CR_LAU_Nord","50H_MNS_CR_LAU_Nord"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":1300,"d":"1300.00"},{"v":900,"d":"900.00"},{"v":1010,"d":"1010.00"},{"v":990,"d":"990.00"}]
["00:00","00:15",250,0,0,0]
["00:15","00:30",250,0,30,0]
["00:30","00:45",250,0,30,0]
["00:45","01:00",250,0,70,0]
["01:00","01:15",250,0,70,0]
["01:15","01:30",250,0,70,0]
["01:30","01:45",250,0,100,0]
["01:45","02:00",250,0,100,0]
["02:00","02:15",250,0,100,0]
["02:15","02:30",250,0,100,0]
["02:30","02:45",250,0,100,0]
["02:45","03:00",250,0,100,0]
["03:00","03:15",250,0,100,0]
["03:15","03:30",150,0,100,0]
["03:30","03:45",150,0,100,0]
["03:45","04:00",150,0,100,0]
["04:00","04:15",150,0,50,0]
["04:15","04:30",150,0,50,0]
["04:30","04:45",150,0,50,0]
["04:45","05:00",150,0,80,0]
["05:00","05:15",150,0,80,0]
["05:15","05:30",150,0,80,0]
["05:30","05:45",100,0,40,0]
["05:45","06:00",100,0,40,0]
["06:00","06:15",100,0,40,0]
["06:15","06:30",100,0,40,0]
["06:30","06:45",100,0,40,0]
["06:45","07:00",100,0,40,0]
["07:00","07:15",0,0,40,0]
["07:15","07:30",0,0,40,0]
["07:30","07:45",0,0,40,0]
["07:45","08:00",0,0,40,0]
["08:00","08:15",0,0,40,0]
["08:15","08:30",0,0,40,0]
["08:30","08:45",0,0,80,0]
["08:45","09:00",0,0,80,0]
["09:00","09:15",0,0,120,0]
["09:15","09:30",0,0,120,0]
["09:30","09:45",0,0,150,0]
["09:45","10:00",0,0,150,0]
["10:00","10:15",0,0,150,0]
["10:15","10:30",0,0,150,0]
["10:30","10:45",0,0,150,0]
["10:45","11:00",0,0,150,0]
["11:00","11:15",0,0,150,0]
["11:15","11:30",0,0,150,0]
["11:30","11:45",0,0,150,0]
["11:45","12:00",0,0,150,0]
["12:00","12:15",0,0,0,150]
["12:15","12:30",0,0,0,150]
["12:30","12:45",0,0,0,150]
["12:45","13:00",0,0,0,150]
["13:00","13:15",0,0,0,150]
["13:15","13:30",0,0,0,150]
["13:30","13:45",0,0,0,150]
["13:45","14:00",0,0,0,150]
["14:00","14:15",0,0,0,150]
["14:15","14:30",0,0,0,150]
["14:30","14:45",0,0,0,150]
["14:45","15:00",0,0,0,150]
["15:00","15:15",0,0,0,0]
["15:15","15:30",0,0,0,100]
["15:30","15:45",0,0,0,100]
["15:45","16:00",0,0,0,100]
["16:00","16:15",0,0,0,100]
["16:15","16:30",0,0,0,100]
["16:30","16:45",0,0,0,100]
["16:45","17:00",0,0,0,100]
["17:00","17:15",0,0,0,100]
["17:15","17:30",0,0,0,100]
["17:30","17:45",0,0,0,0]
["17:45","18:00",0,0,0,0]
["18:00","18:15",0,0,0,0]
["18:15","18:30",0,0,0,0]
["18:30","18:45",0,0,0,100]
["18:45","19:00",0,0,0,100]
["19:00","19:15",0,0,0,100]
["19:15","19:30",0,100,0,100]
["19:30","19:45",0,100,0,100]
["19:45","20:00",0,200,0,100]
["20:00","20:15",0,200,0,100]
["20:15","20:30",0,200,0,100]
["20:30","20:45",0,200,0,100]
["20:45","21:00",0,200,0,100]
["21:00","21:15",0,200,0,100]
["21:15","21:30",0,200,0,0]
["21:30","21:45",0,200,0,0]
["21:45","22:00",0,200,0,0]
["22:00","22:15",0,200,0,0]
["22:15","22:30",0,200,0,0]
["22:30","22:45",0,200,0,0]
["22:45","23:00",0,200,0,0]
["23:00","23:15",0,200,0,40]
["23:15","23:30",0,200,0,40]
["23:30","23:45",0,200,0,40]
["23:45","24:00",0,200,0,40]