{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":30,"rows_kept":106}
[null,"Datum","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Preilack - Graustein / 542","50H / 380kV / Preilack - Graustein / 542","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","50H / 380kV / Altdöbern - Streumen / 563","50H / 380kV / Altdöbern - Streumen / 563","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","50H OWP Baltic Eagle","50H OWP Arkona","50H OWP Wikinger","50H OWP Baltic Eagle","50H UW Wustermark","50H UW Schönewalde","50H UW Bertikow","50H UW Iven","50H UW Wessin","50H UW Altentreptow","50H OWP Arcadis Ost 1","50H UW Putlitz","50H OWP Arkona","Boxberg (Standort)","50H Erfurt-Ost HKW GuD","50H Berlin Marzahn","50H Neubrandenburg GuD","50H Hamburg Wedel1","50H OWP Arcadis Ost 1","50H OWP Arkona","50H OWP Baltic Eagle","50H OWP Wikinger","50H UW Altentreptow","50H UW Bertikow","50H UW Iven","50H UW Putlitz","50H UW Wessin","50H UW Schönewalde"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":600,"d":"600.00"},{"v":400,"d":"400.00"},{"v":6147.5,"d":"6147.50"},{"v":8027.5,"d":"8027.50"},{"v":122.5,"d":"122.50"},{"v":4465.5,"d":"4465.50"},{"v":7273.5,"d":"7273.50"},524.25,1236.25,{"v":843,"d":"843.00"},4397.75,2366.25,{"v":6692,"d":"6692.00"},{"v":795.5,"d":"795.50"},{"v":231,"d":"231.00"},{"v":50,"d":"50.00"},{"v":46,"d":"46.00"},{"v":1632,"d":"1632.00"},519.75,{"v":609,"d":"609.00"},{"v":652,"d":"652.00"},{"v":622,"d":"622.00"},{"v":44,"d":"44.00"},{"v":1568,"d":"1568.00"},{"v":145,"d":"145.00"},{"v":682.5,"d":"682.50"},123.25,617.75]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,20,50,11,54,0,0,0,0,0,155,14,63,26,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,20,50,11,54,0,0,0,0,0,165,14,69,29,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,20,50,11,54,0,0,0,0,0,166,15,74,31,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,20,50,11,54,0,0,0,0,0,166,15,80,35,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,20,0,7,54,118,127,129,126,17,197,16,86,37,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,20,0,7,54,118,127,129,126,19,208,16,93,39,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,20,0,7,54,118,127,129,126,20,220,17,101,42,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,20,0,7,54,118,127,129,126,21,232,18,109,45,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,8,0,7,54,158,182,223,196,22,200,19,116,48,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,8,0,7,54,158,182,223,196,24,200,20,123,51,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,8,0,7,54,158,182,223,196,26,200,22,126,53,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,8,0,7,54,158,182,223,196,27,200,23,131,57,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,8,0,7,70,15,100,100,100,0,285,24,129,0,100]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,8,0,7,70,15,100,100,100,0,285,26,130,0,206]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,8,0,7,70,15,100,100,100,0,285,27,130,0,208]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,8,0,7,70,15,100,100,100,0,285,29,130,0,211]
["04:00","04:15",300,200,0,0,0,0,0,0,0,0,0,0,0,0,8,0,7,70,150,100,100,100,0,285,30,131,0,213]
["04:15","04:30",300,200,0,0,0,0,0,0,0,0,0,0,0,0,8,0,7,70,150,100,100,100,0,358,31,130,0,217]
["04:30","04:45",300,200,0,0,0,0,0,0,0,0,0,0,0,0,8,0,7,70,149,100,100,100,0,358,32,131,0,221]
["04:45","05:00",300,200,0,0,0,0,0,0,0,0,0,0,0,0,8,0,7,70,150,100,100,100,0,358,33,129,0,224]
["05:00","05:15",300,200,0,0,0,0,0,0,0,0,0,0,0,0,8,0,7,70,79,100,100,100,0,366,34,129,0,228]
["05:15","05:30",300,200,0,0,0,0,0,0,0,0,0,0,0,0,8,0,7,70,79,100,100,100,0,366,35,129,0,220]
["05:30","05:45",300,200,0,0,0,0,0,0,0,0,0,0,0,0,8,0,7,70,79,100,100,100,0,366,35,130,0,214]
["05:45","06:00",300,200,0,0,0,0,0,0,0,0,0,0,0,0,8,0,7,70,79,100,100,100,0,366,35,131,0,209]
["06:00","06:15",0,0,343,442,10,49,0,34,63,41,247,119,371,0,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["06:15","06:30",0,0,343,442,7,49,0,34,63,41,247,122,371,0,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["06:30","06:45",0,0,343,442,2,49,0,35,65,41,247,124,371,0,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["06:45","07:00",0,0,343,442,0,49,0,35,65,41,247,126,371,0,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["07:00","07:15",0,0,344,442,14,217,0,35,66,41,247,125,372,0,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["07:15","07:30",0,0,344,442,8,221,0,35,68,41,247,125,372,0,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["07:30","07:45",0,0,344,442,2,226,0,35,69,41,247,125,372,0,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["07:45","08:00",0,0,344,442,0,228,0,35,69,41,247,125,372,0,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["08:00","08:15",0,0,344,440,95,236,437,35,75,45,247,136,374,0,14,0,0,70,0,0,0,0,0,0,0,0,0,0]
["08:15","08:30",0,0,344,440,95,240,441,35,75,45,247,136,374,0,14,0,0,70,0,0,0,0,0,0,0,0,0,0]
["08:30","08:45",0,0,344,440,95,244,443,35,75,45,247,136,374,0,14,0,0,70,0,0,0,0,0,0,0,0,0,0]
["08:45","09:00",0,0,344,440,95,244,443,35,75,45,247,136,374,0,14,0,0,70,0,0,0,0,0,0,0,0,0,0]
["09:00","09:15",0,0,343,450,14,255,451,36,77,46,247,135,375,0,14,0,0,70,0,0,0,0,0,0,0,0,0,0]
["09:15","09:30",0,0,343,450,8,258,453,36,77,46,247,136,375,0,14,0,0,70,0,0,0,0,0,0,0,0,0,0]
["09:30","09:45",0,0,343,450,6,258,453,36,77,46,247,138,375,0,14,0,0,70,0,0,0,0,0,0,0,0,0,0]
["09:45","10:00",0,0,343,450,4,258,453,36,77,46,247,140,375,0,14,0,0,70,0,0,0,0,0,0,0,0,0,0]
["10:00","10:15",0,0,343,451,7,266,458,37,83,49,247,141,376,0,14,0,0,70,0,0,0,0,0,0,0,0,0,0]
["10:15","10:30",0,0,343,451,4,267,459,37,84,49,247,141,376,0,14,0,0,70,0,0,0,0,0,0,0,0,0,0]
["10:30","10:45",0,0,343,451,0,269,461,37,84,49,247,141,376,0,14,0,0,70,0,0,0,0,0,0,0,0,0,0]
["10:45","11:00",0,0,343,451,6,269,461,37,84,49,247,135,376,0,14,0,0,70,0,0,0,0,0,0,0,0,0,0]
["11:00","11:15",0,0,341,451,4,270,463,38,55,54,247,94,377,0,14,0,0,70,0,0,0,0,0,0,0,0,0,0]
["11:15","11:30",0,0,341,451,1,271,465,38,55,54,247,94,377,0,14,0,0,70,0,0,0,0,0,0,0,0,0,0]
["11:30","11:45",0,0,341,451,5,272,465,38,55,54,242,94,377,0,14,0,0,70,0,0,0,0,0,0,0,0,0,0]
["11:45","12:00",0,0,341,451,0,272,465,38,55,54,247,94,377,0,14,0,0,70,0,0,0,0,0,0,0,0,0,0]
["12:00","12:15",0,0,340,450,3,275,468,38,54,54,247,95,377,0,0,0,0,70,0,0,0,0,0,0,0,0,0,0]
["12:15","12:30",0,0,339,450,2,276,469,38,54,54,247,95,377,0,0,0,0,70,0,0,0,0,0,0,0,0,0,0]
["12:30","12:45",0,0,339,450,2,276,469,38,54,54,247,95,377,0,0,0,0,70,0,0,0,0,0,0,0,0,0,0]
["12:45","13:00",0,0,340,450,1,276,469,38,54,54,247,95,377,0,0,0,0,70,0,0,0,0,0,0,0,0,0,0]
["13:00","13:15",0,0,340,451,0,249,473,13,34,55,247,126,377,0,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["13:15","13:30",0,0,340,451,0,255,473,15,34,55,247,126,377,0,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["13:30","13:45",0,0,340,451,0,259,473,16,34,55,247,127,377,0,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["13:45","14:00",0,0,340,451,0,260,473,17,34,55,247,129,377,0,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["14:00","14:15",0,0,343,451,0,274,474,18,81,53,247,128,377,0,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["14:15","14:30",0,0,343,451,0,276,474,19,81,53,247,131,377,0,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["14:30","14:45",0,0,343,451,0,276,474,20,81,53,247,131,377,0,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["14:45","15:00",0,0,343,451,0,278,474,21,81,53,247,131,377,0,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["15:00","15:15",0,0,343,451,0,282,477,22,79,51,247,150,377,0,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["15:15","15:30",0,0,343,451,0,281,477,23,79,51,247,151,377,0,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["15:30","15:45",0,0,343,451,0,278,477,23,79,51,247,152,377,0,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["15:45","16:00",0,0,343,451,0,278,477,24,78,51,247,153,377,0,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["16:00","16:15",0,0,343,451,0,276,474,25,77,49,247,154,377,50,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["16:15","16:30",0,0,343,451,0,277,474,26,78,49,247,155,377,100,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["16:30","16:45",0,0,343,451,0,279,474,27,79,49,247,155,377,100,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["16:45","17:00",0,0,343,451,0,278,474,28,79,49,247,156,377,100,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["17:00","17:15",0,0,342,450,0,279,473,29,84,49,247,155,377,100,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["17:15","17:30",0,0,342,450,0,280,473,30,82,49,247,155,377,100,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["17:30","17:45",0,0,342,450,0,283,473,31,82,49,247,153,377,100,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["17:45","18:00",0,0,342,450,0,283,473,32,81,49,247,151,377,100,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["18:00","18:15",0,0,347,456,0,273,474,24,78,50,247,143,377,110,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["18:15","18:30",0,0,347,458,0,271,474,25,78,50,247,141,377,110,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["18:30","18:45",0,0,347,458,0,271,474,25,77,50,247,140,377,110,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["18:45","19:00",0,0,347,458,0,270,474,25,76,50,247,140,377,110,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["19:00","19:15",0,0,348,460,0,263,474,28,77,50,247,138,377,110,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["19:15","19:30",0,0,348,460,0,263,474,29,76,50,247,139,377,110,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["19:30","19:45",0,0,348,460,0,260,474,29,76,50,247,139,377,110,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["19:45","20:00",0,0,348,460,0,261,474,29,75,50,247,140,377,110,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["20:00","20:15",0,0,348,460,0,253,477,31,72,54,247,142,377,97,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["20:15","20:30",0,0,348,460,0,253,477,32,72,54,247,142,377,97,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["20:30","20:45",0,0,348,460,0,249,477,32,72,54,247,141,377,97,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["20:45","21:00",0,0,348,460,0,247,477,33,71,54,247,142,377,97,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["21:00","21:15",0,0,348,460,0,242,471,34,70,52,247,142,377,97,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["21:15","21:30",0,0,348,460,0,242,471,34,70,52,247,142,377,97,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["21:30","21:45",0,0,348,460,0,242,471,35,69,52,247,141,377,97,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["21:45","22:00",0,0,348,460,0,243,471,35,70,52,247,140,377,97,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["22:00","22:15",0,0,348,460,0,242,471,36,70,50,247,140,377,97,7,0,0,70,0,0,0,0,0,0,0,0,0,0]
["22:15","22:30",0,0,348,460,0,242,471,36,68,50,247,139,377,97,7,0,0,70,0,0,0,0,0,0,0,0,0,0]
["22:30","22:45",0,0,348,460,0,242,471,36,68,50,247,140,377,97,7,0,0,70,0,0,0,0,0,0,0,0,0,0]
["22:45","23:00",0,0,348,460,0,244,471,36,68,50,247,139,377,97,7,0,0,70,0,0,0,0,0,0,0,0,0,0]
["23:00","23:15",0,0,300,350,0,242,249,0,42,0,200,97,300,97,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["23:15","23:30",0,0,300,350,0,242,249,0,42,0,200,97,300,97,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["23:30","23:45",0,0,300,350,0,242,249,0,42,0,200,97,300,97,8,0,0,70,0,0,0,0,0,0,0,0,0,0]
["23:45","24:00",0,0,300,350,0,242,249,0,42,0,200,97,300,97,8,0,0,70,0,0,0,0,0,0,0,0,0,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":19,"rows_kept":106}
[null,"Datum","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026","01.01.2026"]
[null,"GM-Art","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz","50Hertz","50Hertz","50Hertz","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Preilack - Graustein / 542","50H / 380kV / Eisenhüttenstadt / Tr. 411 & 50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Eisenhüttenstadt / Tr. 411 & 50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Eisenhüttenstadt / Tr. 411 & 50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Preilack - Graustein / 542","50H / 380kV / Lauchstädt - Vieselbach / 471 & 50H / 380kV / Lauchstädt / 411","extern","50H / 380kV / Lauchstädt - Vieselbach / 471 & 50H / 380kV / Lauchstädt / 411","extern","50H / 380kV / Lauchstädt - Vieselbach / 471 & 50H / 380kV / Lauchstädt / 411","extern","50H / 380kV / Lauchstädt - Vieselbach / 471 & 50H / 380kV / Lauchstädt / 411","extern","50H / 380kV / Lauchstädt - Vieselbach / 471 & 50H / 380kV / Lauchstädt / 411","extern","50H / 380kV / Lauchstädt - Vieselbach / 471 & 50H / 380kV / Lauchstädt / 411","extern"]
[null,"auslösendes Netzelement","50H / 380kV / Altdöbern - Streumen / 563","50H / 380kV / Eisenhüttenstadt / Tr. 412 & 50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Eisenhüttenstadt / Tr. 412 & 50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Eisenhüttenstadt / Tr. 412 & 50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Altdöbern - Streumen / 563","50H / 380kV / Lauchstädt - Klostermansfeld / 537 & 50H-PSE / 380kV / Vierraden - Krajnik / 508","extern","50H / 380kV / Lauchstädt - Klostermansfeld / 537 & 50H-PSE / 380kV / Vierraden - Krajnik / 508","extern","50H / 380kV / Lauchstädt - Klostermansfeld / 537 & 50H-PSE / 380kV / Vierraden - Krajnik / 508","extern","50H / 380kV / Lauchstädt - Klostermansfeld / 537 & 50H-PSE / 380kV / Vierraden - Krajnik / 508","extern","50H / 380kV / Lauchstädt - Klostermansfeld / 537 & 50H-PSE / 380kV / Vierraden - Krajnik / 508","extern","50H / 380kV / Lauchstädt - Klostermansfeld / 537 & 50H-PSE / 380kV / Vierraden - Krajnik / 508","extern"]
[null,"AO Klarname","50H_EDIS_CR_EH","50H_EDIS_CR_EH","50H_EDIS_CR_GUE_Nord","50H_EDIS_CR_PAS","50H_MNS_CR_ADB","50H_MNS_CR_JSN","50H_MNS_CR_JSN","50H_MNS_CR_KLM","50H_MNS_CR_KLM","50H_MNS_CR_LAU_Nord","50H_MNS_CR_LAU_Nord","50H_MNS_CR_LAU_Sued","50H_MNS_CR_LAU_Sued","50H_MNS_CR_MA_Nord","50H_MNS_CR_MA_Nord","50H_MNS_CR_MA_Sued","50H_MNS_CR_MA_Sued"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":2537.5,"d":"2537.50"},{"v":287.5,"d":"287.50"},{"v":2412.5,"d":"2412.50"},{"v":5800,"d":"5800.00"},{"v":3975,"d":"3975.00"},{"v":1417.5,"d":"1417.50"},{"v":1125,"d":"1125.00"},{"v":1200,"d":"1200.00"},{"v":687.5,"d":"687.50"},{"v":4300,"d":"4300.00"},{"v":4050,"d":"4050.00"},{"v":385,"d":"385.00"},{"v":315,"d":"315.00"},{"v":2137.5,"d":"2137.50"},{"v":1437.5,"d":"1437.50"},{"v":650,"d":"650.00"},{"v":1037.5,"d":"1037.50"}]
["00:00","00:15",0,0,0,0,0,0,0,150,0,300,0,0,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,0,150,0,300,0,0,0,150,0,0,0]
["00:30","00:45",0,0,0,0,0,0,0,150,0,300,0,0,0,150,0,0,0]
["00:45","01:00",0,0,0,0,0,0,0,150,0,300,0,0,0,150,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,150,0,300,0,0,0,150,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,150,0,400,0,0,0,150,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,150,0,500,0,0,0,300,0,100,0]
["01:45","02:00",0,0,0,0,0,0,0,150,0,500,0,0,0,300,0,100,0]
["02:00","02:15",0,0,0,0,0,0,0,150,0,500,0,0,0,300,0,100,0]
["02:15","02:30",0,0,100,0,100,0,0,150,0,600,0,0,0,300,0,100,0]
["02:30","02:45",0,0,100,0,200,100,0,150,0,600,0,70,0,300,0,100,0]
["02:45","03:00",0,0,100,0,300,200,0,150,0,600,0,70,0,300,0,100,0]
["03:00","03:15",100,0,100,100,400,300,0,150,0,600,0,70,0,300,0,100,0]
["03:15","03:30",200,0,100,200,400,300,0,150,0,600,0,70,0,300,0,100,0]
["03:30","03:45",200,0,100,200,400,300,0,150,0,600,0,70,0,300,0,100,0]
["03:45","04:00",200,0,100,300,400,300,0,150,0,600,0,70,0,300,0,100,0]
["04:00","04:15",200,0,100,300,400,300,0,150,0,600,0,70,0,300,0,100,0]
["04:15","04:30",200,0,100,300,400,300,0,150,0,600,0,70,0,300,0,100,0]
["04:30","04:45",200,0,100,300,400,300,0,150,0,600,0,70,0,300,0,100,0]
["04:45","05:00",200,0,100,300,400,300,0,150,0,600,0,70,0,300,0,100,0]
["05:00","05:15",200,0,100,300,400,300,0,150,0,600,0,70,0,300,0,100,0]
["05:15","05:30",200,0,100,300,400,300,0,150,0,600,0,70,0,300,0,100,0]
["05:30","05:45",200,0,100,300,400,300,0,150,0,600,0,70,0,300,0,100,0]
["05:45","06:00",200,0,100,300,400,300,0,150,0,600,0,70,0,300,0,100,0]
["06:00","06:15",200,0,100,300,400,300,0,150,0,600,0,70,0,300,0,100,0]
["06:15","06:30",300,0,100,300,400,210,0,150,0,600,0,70,0,300,0,100,0]
["06:30","06:45",300,0,100,300,400,210,0,150,0,600,0,70,0,300,0,100,0]
["06:45","07:00",300,0,100,300,400,210,0,150,0,600,0,70,0,300,0,100,0]
["07:00","07:15",300,0,100,300,400,210,0,150,0,600,0,70,0,300,0,100,0]
["07:15","07:30",300,0,150,350,400,210,0,150,0,600,0,70,0,300,0,100,0]
["07:30","07:45",300,0,150,350,400,210,0,150,0,600,0,70,0,300,0,100,0]
["07:45","08:00",300,0,150,350,400,210,0,150,0,600,0,70,0,300,0,100,0]
["08:00","08:15",300,0,150,350,400,0,250,0,150,0,600,0,70,0,300,0,200]
["08:15","08:30",300,0,150,350,400,0,250,0,150,0,600,0,70,0,300,0,200]
["08:30","08:45",300,0,150,350,400,0,250,0,150,0,600,0,70,0,300,0,200]
["08:45","09:00",300,0,150,350,400,0,250,0,150,0,600,0,70,0,300,0,200]
["09:00","09:15",300,0,150,350,400,0,250,0,150,0,600,0,70,0,300,0,200]
["09:15","09:30",300,0,150,350,400,0,250,0,150,0,600,0,70,0,300,0,200]
["09:30","09:45",300,0,150,350,400,0,250,0,150,0,600,0,70,0,300,0,200]
["09:45","10:00",300,0,150,350,400,0,250,0,150,0,600,0,70,0,300,0,200]
["10:00","10:15",300,0,150,250,400,0,250,0,150,0,600,0,70,0,300,0,200]
["10:15","10:30",300,0,150,250,400,0,250,0,150,0,600,0,70,0,300,0,200]
["10:30","10:45",300,0,150,250,400,0,250,0,150,0,600,0,70,0,300,0,200]
["10:45","11:00",300,0,150,250,400,0,250,0,150,0,600,0,70,0,300,0,200]
["11:00","11:15",300,0,150,250,400,0,250,0,150,0,600,0,70,0,300,0,200]
["11:15","11:30",300,0,150,250,400,0,250,0,150,0,600,0,70,0,300,0,200]
["11:30","11:45",300,0,150,250,400,0,250,0,150,0,600,0,70,0,300,0,200]
["11:45","12:00",300,0,150,250,400,0,250,0,150,0,600,0,70,0,300,0,200]
["12:00","12:15",250,0,100,250,200,0,200,0,150,0,600,0,70,0,300,0,200]
["12:15","12:30",200,0,100,250,200,0,200,0,150,0,600,0,70,0,300,0,200]
["12:30","12:45",150,0,100,250,200,0,100,0,50,0,500,0,0,0,200,0,200]
["12:45","13:00",100,0,100,250,200,0,0,0,0,0,400,0,0,0,100,0,200]
["13:00","13:15",50,0,100,250,100,0,0,0,0,0,300,0,0,0,50,0,100]
["13:15","13:30",0,0,100,250,0,0,0,0,0,0,200,0,0,0,0,0,50]
["13:30","13:45",0,0,100,250,0,0,0,0,0,0,100,0,0,0,0,0,0]
["13:45","14:00",0,0,100,250,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:00","14:15",0,0,100,250,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:15","14:30",0,0,100,250,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:30","14:45",0,0,100,250,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:45","15:00",0,0,100,250,0,0,0,0,0,0,0,0,0,0,0,0,0]
["15:00","15:15",0,0,100,250,0,0,0,0,0,0,0,0,0,0,0,0,0]
["15:15","15:30",0,0,100,250,0,0,0,0,0,0,0,0,0,0,0,0,0]
["15:30","15:45",0,0,100,250,0,0,0,0,0,0,0,0,0,0,0,0,0]
["15:45","16:00",0,0,100,250,0,0,0,0,0,0,0,0,0,0,0,0,0]
["16:00","16:15",0,0,100,250,0,0,0,0,0,0,0,0,0,0,0,0,0]
["16:15","16:30",0,0,100,250,0,0,0,0,0,0,0,0,0,0,0,0,0]
["16:30","16:45",0,0,100,250,0,0,0,0,0,0,0,0,0,0,0,0,0]
["16:45","17:00",0,0,100,250,0,0,0,0,0,0,0,0,0,0,0,0,0]
["17:00","17:15",0,0,100,250,0,0,0,0,0,0,0,0,0,0,0,0,0]
["17:15","17:30",0,50,100,250,0,0,0,0,0,0,0,0,0,0,0,0,0]
["17:30","17:45",0,50,100,250,0,0,0,0,0,0,0,0,0,0,0,0,0]
["17:45","18:00",0,50,100,250,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:00","18:15",0,50,100,250,0,0,0,0,0,0,50,0,0,0,0,0,0]
["18:15","18:30",0,50,100,250,0,0,0,0,0,0,50,0,0,0,0,0,0]
["18:30","18:45",0,50,100,250,0,0,0,0,0,0,50,0,0,0,0,0,0]
["18:45","19:00",0,50,100,250,0,0,0,0,0,0,50,0,0,0,0,0,0]
["19:00","19:15",0,50,100,250,0,0,0,0,0,0,100,0,0,0,0,0,0]
["19:15","19:30",0,50,100,250,0,0,0,0,0,0,100,0,0,0,0,0,0]
["19:30","19:45",0,50,100,250,0,0,0,0,0,0,100,0,0,0,0,0,0]
["19:45","20:00",0,50,100,250,0,0,0,0,0,0,100,0,0,0,0,0,0]
["20:00","20:15",0,50,100,250,0,0,0,0,0,0,250,0,0,0,0,0,0]
["20:15","20:30",0,50,100,250,0,0,0,0,0,0,250,0,0,0,0,0,0]
["20:30","20:45",0,50,100,250,0,0,0,0,0,0,250,0,0,0,0,0,0]
["20:45","21:00",0,50,100,300,0,0,0,0,0,0,250,0,0,0,0,0,0]
["21:00","21:15",0,50,100,300,0,0,0,0,0,0,350,0,0,0,0,0,0]
["21:15","21:30",0,50,100,300,0,0,0,0,0,0,350,0,0,0,0,0,0]
["21:30","21:45",0,50,100,300,0,0,0,0,0,0,350,0,0,0,0,0,0]
["21:45","22:00",0,50,100,300,0,0,0,0,0,0,350,0,0,0,0,0,0]
["22:00","22:15",0,50,100,300,0,0,0,0,0,0,200,0,0,0,0,0,0]
["22:15","22:30",0,50,100,300,0,0,0,0,0,0,200,0,0,0,0,0,0]
["22:30","22:45",0,50,100,300,0,0,0,0,0,0,200,0,0,0,0,0,0]
["22:45","23:00",0,50,100,300,0,0,0,0,0,0,200,0,0,0,0,0,0]
["23:00","23:15",0,0,100,300,0,0,0,0,0,0,100,0,0,0,0,0,0]
["23:15","23:30",0,0,100,300,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:30","23:45",0,0,100,300,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:45","24:00",0,0,100,300,0,0,0,0,0,0,0,0,0,0,0,0,0]