{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Redispatch"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":18,"rows_kept":106}
[null,"Datum","02.11.2025","02.11.2025","02.11.2025","02.11.2025","02.11.2025","02.11.2025","02.11.2025","02.11.2025","02.11.2025","02.11.2025","02.11.2025","02.11.2025","02.11.2025","02.11.2025","02.11.2025","02.11.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Schwarze Pumpe (Standort)","Schkopau","Boxberg (Standort)","Jänschwalde (Standort)","50H Berlin Reuter West","Börse","Schkopau","Boxberg (Standort)","Jänschwalde (Standort)","50H Dresden-Nossen","50H Hamburg MMB BHKW PtH","Jänschwalde (Standort)","Schkopau","50H InfraLeuna IKW","Jänschwalde (Standort)","Schwarze Pumpe (Standort)"]
[null,"Richtung","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":134,"d":"134.00"},{"v":359,"d":"359.00"},{"v":149,"d":"149.00"},{"v":474.5,"d":"474.50"},156.75,{"v":6,"d":"6.00"},{"v":1456,"d":"1456.00"},{"v":354,"d":"354.00"},{"v":750,"d":"750.00"},{"v":283,"d":"283.00"},182.25,{"v":50,"d":"50.00"},928.75,{"v":38,"d":"38.00"},{"v":460,"d":"460.00"},{"v":1329,"d":"1329.00"}]
["00:00","00:15",0,0,0,0,0,0,141,0,120,0,0,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,141,0,120,0,0,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,141,0,120,0,0,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,141,0,120,0,0,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,179,0,105,59,0,0,0,0,0,0]
["01:15","01:30",0,0,0,0,0,0,179,0,105,59,0,0,0,0,0,0]
["01:30","01:45",0,0,0,0,0,0,179,0,105,59,0,0,0,0,0,0]
["01:45","02:00",0,0,0,0,0,0,179,0,105,59,0,0,0,0,0,0]
["02:00","02:15",0,0,0,0,0,0,254,0,105,77,0,0,0,0,0,0]
["02:15","02:30",0,0,0,0,0,0,271,0,105,77,0,0,0,0,0,0]
["02:30","02:45",0,0,0,0,0,0,271,0,105,77,0,0,0,0,0,0]
["02:45","03:00",0,0,0,0,0,0,220,0,105,77,0,0,0,0,0,0]
["03:00","03:15",0,0,0,0,0,0,145,71,105,0,0,0,101,0,172,200]
["03:15","03:30",0,0,0,0,0,0,145,71,105,0,0,0,126,0,172,200]
["03:30","03:45",0,0,0,0,0,0,145,71,105,0,0,0,126,0,172,200]
["03:45","04:00",0,0,0,0,0,0,145,71,105,0,9,0,126,0,172,200]
["04:00","04:15",0,0,0,0,0,0,200,71,105,0,9,0,71,0,48,391]
["04:15","04:30",0,0,0,0,0,0,200,71,105,0,9,0,71,0,48,391]
["04:30","04:45",0,0,0,0,0,0,200,71,105,0,9,0,71,0,48,391]
["04:45","05:00",0,0,0,0,0,0,200,71,105,0,9,0,71,0,48,391]
["05:00","05:15",0,0,0,0,0,0,271,71,105,0,9,0,0,0,56,441]
["05:15","05:30",0,0,0,0,0,0,271,71,105,0,9,0,0,0,56,441]
["05:30","05:45",0,0,0,0,0,0,271,71,105,0,9,0,0,0,56,441]
["05:45","06:00",0,0,0,0,0,0,271,71,105,0,9,0,0,0,56,441]
["06:00","06:15",134,0,0,56,0,0,208,70,105,0,9,0,63,0,0,297]
["06:15","06:30",134,0,0,56,17,0,208,70,105,0,9,0,63,0,0,297]
["06:30","06:45",134,0,0,56,38,0,208,70,105,0,9,0,63,0,0,297]
["06:45","07:00",134,0,0,56,38,0,208,70,105,0,9,0,63,0,0,297]
["07:00","07:15",0,0,0,0,39,0,0,71,0,0,9,0,271,0,123,0]
["07:15","07:30",0,0,0,6,39,0,0,71,0,0,9,0,271,0,123,0]
["07:30","07:45",0,0,0,6,39,0,0,71,0,0,9,0,271,0,123,0]
["07:45","08:00",0,0,0,6,39,0,0,71,0,0,9,0,271,0,123,0]
["08:00","08:15",0,0,28,50,37,0,0,0,0,0,9,0,255,0,50,0]
["08:15","08:30",0,0,28,50,37,0,0,0,0,0,9,0,255,0,50,0]
["08:30","08:45",0,0,28,50,37,0,0,0,0,0,9,0,255,0,50,0]
["08:45","09:00",0,0,28,50,37,0,0,0,0,0,9,0,255,0,50,0]
["09:00","09:15",0,116,71,104,38,6,0,0,0,0,9,0,149,0,0,0]
["09:15","09:30",0,116,71,104,38,6,0,0,0,0,9,0,149,0,0,0]
["09:30","09:45",0,116,71,104,38,6,0,0,0,0,9,0,149,0,0,0]
["09:45","10:00",0,116,71,104,38,6,0,0,0,0,9,0,149,0,0,0]
["10:00","10:15",0,122,50,135,26,0,29,0,0,18,9,0,0,0,0,0]
["10:15","10:30",0,122,50,135,26,0,29,0,0,18,9,0,0,0,0,0]
["10:30","10:45",0,122,50,135,26,0,29,0,0,18,9,0,0,0,0,0]
["10:45","11:00",0,122,50,135,0,0,29,0,0,18,9,0,0,0,0,0]
["11:00","11:15",0,121,0,125,0,0,29,0,0,67,9,0,0,0,0,0]
["11:15","11:30",0,121,0,125,0,0,29,0,0,67,9,0,0,0,0,0]
["11:30","11:45",0,121,0,125,0,0,29,0,0,67,9,0,0,0,0,0]
["11:45","12:00",0,121,0,125,0,0,29,0,0,67,9,0,0,0,0,0]
["12:00","12:15",0,0,0,0,0,0,0,0,0,0,9,0,0,0,11,0]
["12:15","12:30",0,0,0,0,0,0,0,0,0,0,9,0,0,0,11,0]
["12:30","12:45",0,0,0,0,0,0,0,0,0,0,9,0,0,0,11,0]
["12:45","13:00",0,0,0,0,0,0,0,0,0,0,9,0,0,0,11,0]
["13:00","13:15",0,0,0,0,0,0,0,0,0,62,9,50,0,0,0,0]
["13:15","13:30",0,0,0,0,0,0,0,0,0,62,9,50,0,0,0,0]
["13:30","13:45",0,0,0,0,0,0,0,0,0,62,9,50,0,0,0,0]
["13:45","14:00",0,0,0,0,0,0,0,0,0,62,9,50,0,0,0,0]
["14:00","14:15",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["14:15","14:30",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["14:30","14:45",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["14:45","15:00",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["15:00","15:15",0,0,0,0,0,0,0,0,0,0,9,0,0,14,0,0]
["15:15","15:30",0,0,0,0,0,0,0,0,0,0,9,0,0,14,0,0]
["15:30","15:45",0,0,0,0,0,0,0,0,0,0,9,0,0,14,0,0]
["15:45","16:00",0,0,0,0,0,0,0,0,0,0,9,0,0,14,0,0]
["16:00","16:15",0,0,0,0,0,0,0,0,0,0,9,0,0,14,0,0]
["16:15","16:30",0,0,0,0,0,0,0,0,0,0,9,0,0,14,0,0]
["16:30","16:45",0,0,0,0,0,0,0,0,0,0,9,0,0,14,0,0]
["16:45","17:00",0,0,0,0,0,0,0,0,0,0,9,0,0,14,0,0]
["17:00","17:15",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["17:15","17:30",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["17:30","17:45",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["17:45","18:00",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["18:00","18:15",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["18:15","18:30",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["18:30","18:45",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["18:45","19:00",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["19:00","19:15",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["19:15","19:30",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["19:30","19:45",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["19:45","20:00",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["20:00","20:15",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["20:15","20:30",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["20:30","20:45",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["20:45","21:00",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["21:00","21:15",0,0,0,0,0,0,0,0,0,0,9,0,0,10,0,0]
["21:15","21:30",0,0,0,0,0,0,0,0,0,0,9,0,0,10,0,0]
["21:30","21:45",0,0,0,0,0,0,0,0,0,0,9,0,0,10,0,0]
["21:45","22:00",0,0,0,0,0,0,0,0,0,0,9,0,0,10,0,0]
["22:00","22:15",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["22:15","22:30",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["22:30","22:45",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["22:45","23:00",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["23:00","23:15",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["23:15","23:30",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["23:30","23:45",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]
["23:45","24:00",0,0,0,0,0,0,0,0,0,0,9,0,0,0,0,0]