{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":18,"rows_kept":106}
[null,"Datum","10.12.2025","10.12.2025","10.12.2025","10.12.2025","10.12.2025","10.12.2025","10.12.2025","10.12.2025","10.12.2025","10.12.2025","10.12.2025","10.12.2025","10.12.2025","10.12.2025","10.12.2025","10.12.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD1","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Schwarze Pumpe (Standort)","50H Berlin Mitte","50H Berlin Marzahn","Lippendorf VE","Jänschwalde (Standort)","Schkopau","Boxberg (Standort)","Schwarze Pumpe (Standort)","Lippendorf VE","Jänschwalde (Standort)","50H Erfurt-Ost HKW GuD","Lippendorf VE","Boxberg (Standort)","Schwarze Pumpe (Standort)","50H Hamburg Tiefstack 2 HKW SK","Boxberg (Standort)"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE"]
["Kontrollsumme:","[MWh] ",2471.75,{"v":529,"d":"529.00"},{"v":517,"d":"517.00"},{"v":531,"d":"531.00"},{"v":13,"d":"13.00"},{"v":268,"d":"268.00"},2638.75,2731.75,{"v":150,"d":"150.00"},{"v":195,"d":"195.00"},{"v":139.5,"d":"139.50"},{"v":295,"d":"295.00"},{"v":422,"d":"422.00"},{"v":1468,"d":"1468.00"},{"v":1455,"d":"1455.00"},{"v":85,"d":"85.00"}]
["00:00","00:15",0,0,0,0,0,0,260,317,150,200,0,147,0,200,83,0]
["00:15","00:30",0,0,0,0,0,0,260,317,150,200,0,147,0,200,83,0]
["00:30","00:45",0,0,0,0,0,0,260,317,150,200,0,147,0,200,83,0]
["00:45","01:00",0,0,0,0,0,0,280,317,150,180,0,147,0,200,83,0]
["01:00","01:15",0,0,0,0,0,0,333,482,0,0,0,0,153,402,83,0]
["01:15","01:30",0,0,0,0,0,0,333,482,0,0,0,0,153,402,83,0]
["01:30","01:45",0,0,0,0,0,0,333,482,0,0,0,0,153,402,83,0]
["01:45","02:00",0,0,0,0,0,0,333,482,0,0,0,0,153,402,83,0]
["02:00","02:15",0,0,0,0,0,75,446,482,0,0,0,0,0,596,83,0]
["02:15","02:30",0,0,0,0,0,82,439,482,0,0,0,0,0,596,83,0]
["02:30","02:45",0,0,0,0,0,82,439,482,0,0,0,0,0,596,83,0]
["02:45","03:00",0,0,0,0,0,82,439,482,0,0,0,0,0,596,83,0]
["03:00","03:15",0,0,0,0,0,150,655,483,0,0,4,0,0,270,85,0]
["03:15","03:30",0,0,0,0,0,188,655,483,0,0,4,0,0,270,85,0]
["03:30","03:45",0,0,0,0,0,188,655,483,0,0,4,0,0,270,85,0]
["03:45","04:00",0,0,0,0,0,150,655,483,0,0,4,0,0,270,85,0]
["04:00","04:15",0,0,0,0,0,75,550,483,0,0,10,0,0,0,0,0]
["04:15","04:30",0,0,0,0,0,0,550,504,0,0,14,0,0,0,0,0]
["04:30","04:45",0,0,0,0,0,0,550,504,0,0,21,0,0,0,0,0]
["04:45","05:00",0,0,0,0,0,0,550,504,0,0,21,0,0,0,0,0]
["05:00","05:15",0,0,0,0,0,0,395,469,0,0,29,0,0,0,0,0]
["05:15","05:30",0,0,0,0,0,0,395,469,0,0,29,0,0,0,0,0]
["05:30","05:45",0,0,0,0,0,0,395,469,0,0,29,0,0,0,0,0]
["05:45","06:00",0,0,0,0,0,0,395,469,0,0,29,0,0,0,0,0]
["06:00","06:15",0,0,0,0,0,0,0,0,0,0,30,148,0,0,38,0]
["06:15","06:30",0,0,0,0,0,0,0,0,0,0,30,148,0,0,38,0]
["06:30","06:45",0,0,0,0,0,0,0,0,0,0,30,148,0,0,38,0]
["06:45","07:00",0,0,0,0,0,0,0,0,0,0,30,148,0,0,38,0]
["07:00","07:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,38,0]
["07:15","07:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,38,0]
["07:30","07:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,38,0]
["07:45","08:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,38,0]
["08:00","08:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["08:15","08:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["08:30","08:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["08:45","09:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["09:00","09:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["09:15","09:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["09:30","09:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["09:45","10:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["10:00","10:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["10:15","10:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["10:30","10:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["10:45","11:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["11:00","11:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["11:15","11:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["11:30","11:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["11:45","12:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:00","12:15",0,0,0,0,0,0,0,0,0,0,30,0,74,0,90,0]
["12:15","12:30",0,0,0,0,0,0,0,0,0,0,30,0,74,0,90,0]
["12:30","12:45",0,0,0,0,0,0,0,0,0,0,30,0,74,0,90,0]
["12:45","13:00",0,0,0,0,0,0,0,0,0,0,30,0,74,0,90,0]
["13:00","13:15",0,0,0,0,0,0,0,0,0,0,30,0,195,0,74,0]
["13:15","13:30",0,0,0,0,0,0,0,0,0,0,30,0,195,0,74,0]
["13:30","13:45",0,0,0,0,0,0,0,0,0,0,30,0,195,0,74,0]
["13:45","14:00",0,0,0,0,0,0,0,0,0,0,30,0,195,0,74,0]
["14:00","14:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,92,0]
["14:15","14:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,92,0]
["14:30","14:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,92,0]
["14:45","15:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,92,0]
["15:00","15:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,86,0]
["15:15","15:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,86,0]
["15:30","15:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,86,0]
["15:45","16:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,86,0]
["16:00","16:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,90,0]
["16:15","16:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,90,0]
["16:30","16:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,90,0]
["16:45","17:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,90,0]
["17:00","17:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,90,0]
["17:15","17:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,90,0]
["17:30","17:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,90,0]
["17:45","18:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,90,0]
["18:00","18:15",150,92,50,0,0,0,0,0,0,0,0,0,0,0,88,0]
["18:15","18:30",150,92,50,0,0,0,0,0,0,0,0,0,0,0,88,0]
["18:30","18:45",150,92,50,0,0,0,0,0,0,0,0,0,0,0,88,0]
["18:45","19:00",150,92,50,0,0,0,0,0,0,0,0,0,0,0,88,0]
["19:00","19:15",250,92,88,0,0,0,0,0,0,0,0,0,0,0,89,0]
["19:15","19:30",250,92,88,0,0,0,0,0,0,0,0,0,0,0,89,0]
["19:30","19:45",250,92,88,0,0,0,0,0,0,0,0,0,0,0,89,0]
["19:45","20:00",250,92,88,0,0,0,0,0,0,0,0,0,0,0,89,0]
["20:00","20:15",300,150,108,0,0,0,0,0,0,0,0,0,0,0,88,0]
["20:15","20:30",300,150,108,0,0,0,0,0,0,0,0,0,0,0,88,0]
["20:30","20:45",300,150,108,0,0,0,0,0,0,0,0,0,0,0,88,0]
["20:45","21:00",359,150,108,0,0,0,0,0,0,0,0,0,0,0,88,0]
["21:00","21:15",427,140,137,100,0,0,0,0,0,0,0,0,0,0,87,0]
["21:15","21:30",427,140,137,100,0,0,0,0,0,0,0,0,0,0,87,0]
["21:30","21:45",427,140,137,100,0,0,0,0,0,0,0,0,0,0,87,0]
["21:45","22:00",427,140,137,100,0,0,0,0,0,0,0,0,0,0,87,0]
["22:00","22:15",627,27,67,200,0,0,0,0,0,0,0,0,0,0,85,0]
["22:15","22:30",627,27,67,200,0,0,0,0,0,0,0,0,0,0,85,0]
["22:30","22:45",627,27,67,200,0,0,0,0,0,0,0,0,0,0,85,0]
["22:45","23:00",627,27,67,200,0,0,0,0,0,0,0,0,0,0,85,0]
["23:00","23:15",703,28,67,231,13,0,0,0,0,0,0,0,0,0,86,85]
["23:15","23:30",703,28,67,231,13,0,0,0,0,0,0,0,0,0,86,85]
["23:30","23:45",703,28,67,231,13,0,0,0,0,0,0,0,0,0,86,85]
["23:45","24:00",703,28,67,231,13,0,0,0,0,0,0,0,0,0,86,85]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":3,"rows_kept":106}
[null,"Datum","10.12.2025"]
[null,"GM-Art","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday"]
[null,"Anforderer","50Hertz"]
[null,"Ursache","I"]
[null,"überlastetes Netzelement","50H / 380kV / Pasewalk / Tr. 412"]
[null,"auslösendes Netzelement","50H / 380kV / Pasewalk / Tr. 413"]
[null,"AO Klarname","50H_EDIS_CR_PAS"]
[null,"Richtung","SENKE"]
["Kontrollsumme:","[MWh] ",318.75]
["00:00","00:15",0]
["00:15","00:30",0]
["00:30","00:45",0]
["00:45","01:00",0]
["01:00","01:15",0]
["01:15","01:30",0]
["01:30","01:45",0]
["01:45","02:00",0]
["02:00","02:15",0]
["02:15","02:30",0]
["02:30","02:45",0]
["02:45","03:00",0]
["03:00","03:15",0]
["03:15","03:30",0]
["03:30","03:45",0]
["03:45","04:00",0]
["04:00","04:15",0]
["04:15","04:30",0]
["04:30","04:45",0]
["04:45","05:00",0]
["05:00","05:15",0]
["05:15","05:30",0]
["05:30","05:45",0]
["05:45","06:00",0]
["06:00","06:15",0]
["06:15","06:30",0]
["06:30","06:45",0]
["06:45","07:00",0]
["07:00","07:15",0]
["07:15","07:30",0]
["07:30","07:45",0]
["07:45","08:00",0]
["08:00","08:15",0]
["08:15","08:30",0]
["08:30","08:45",0]
["08:45","09:00",0]
["09:00","09:15",0]
["09:15","09:30",0]
["09:30","09:45",0]
["09:45","10:00",0]
["10:00","10:15",0]
["10:15","10:30",0]
["10:30","10:45",0]
["10:45","11:00",0]
["11:00","11:15",0]
["11:15","11:30",0]
["11:30","11:45",0]
["11:45","12:00",0]
["12:00","12:15",0]
["12:15","12:30",0]
["12:30","12:45",0]
["12:45","13:00",0]
["13:00","13:15",0]
["13:15","13:30",0]
["13:30","13:45",0]
["13:45","14:00",0]
["14:00","14:15",0]
["14:15","14:30",0]
["14:30","14:45",0]
["14:45","15:00",0]
["15:00","15:15",0]
["15:15","15:30",0]
["15:30","15:45",0]
["15:45","16:00",0]
["16:00","16:15",0]
["16:15","16:30",0]
["16:30","16:45",0]
["16:45","17:00",0]
["17:00","17:15",0]
["17:15","17:30",0]
["17:30","17:45",0]
["17:45","18:00",0]
["18:00","18:15",0]
["18:15","18:30",0]
["18:30","18:45",0]
["18:45","19:00",0]
["19:00","19:15",0]
["19:15","19:30",0]
["19:30","19:45",0]
["19:45","20:00",0]
["20:00","20:15",0]
["20:15","20:30",75]
["20:30","20:45",75]
["20:45","21:00",75]
["21:00","21:15",75]
["21:15","21:30",75]
["21:30","21:45",75]
["21:45","22:00",75]
["22:00","22:15",75]
["22:15","22:30",75]
["22:30","22:45",75]
["22:45","23:00",75]
["23:00","23:15",75]
["23:15","23:30",125]
["23:30","23:45",125]
["23:45","24:00",125]