{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":30,"rows_kept":106}
[null,"Datum","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026","07.01.2026"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz","50Hertz","50Hertz","50Hertz","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Vierraden / Tr. 441","50H / 380kV / Vierraden / Tr. 441","50H / 380kV / Vierraden / Tr. 441","50H / 380kV / Vierraden / Tr. 441","50H / 380kV / Vierraden / Tr. 441","50H / 380kV / Vierraden / Tr. 441","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","50H-PSE / 380kV / Hagenwerder - Mikulowa / 567","50H-PSE / 380kV / Hagenwerder - Mikulowa / 567","50H-PSE / 380kV / Hagenwerder - Mikulowa / 567","50H-PSE / 380kV / Hagenwerder - Mikulowa / 567","50H-PSE / 380kV / Hagenwerder - Mikulowa / 567","50H-PSE / 380kV / Hagenwerder - Mikulowa / 567","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Schwarze Pumpe (Standort)","Jänschwalde (Standort)","Boxberg (Standort)","Rostock Kohlekraftwerk","Lippendorf","50H OWP Baltic Eagle","Schwarze Pumpe (Standort)","50H Berlin Marzahn","50H UW Bertikow","Schkopau","Jänschwalde (Standort)","50H Berlin Lichterfelde","50H Berlin Marzahn","50H Berlin Mitte","50H Neubrandenburg GuD","Rostock Kohlekraftwerk","50H Rostock Marienehe","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","50H Hamburg Wedel1","50H Neubrandenburg GuD","50H Hamburg Tiefstack GuD","Rostock Kohlekraftwerk","Lippendorf","50H Neubrandenburg GuD","Boxberg (Standort)","Boxberg (Standort)"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","SENKE","SENKE","SENKE","QUELLE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":3006,"d":"3006.00"},3004.75,{"v":386,"d":"386.00"},{"v":425,"d":"425.00"},2088.75,{"v":309.5,"d":"309.50"},{"v":770,"d":"770.00"},{"v":29.5,"d":"29.50"},{"v":1106.5,"d":"1106.50"},{"v":821,"d":"821.00"},{"v":1591.5,"d":"1591.50"},{"v":1504,"d":"1504.00"},{"v":1635,"d":"1635.00"},{"v":363,"d":"363.00"},{"v":508,"d":"508.00"},1927.25,{"v":311,"d":"311.00"},2528.75,3414.25,{"v":5126,"d":"5126.00"},{"v":1453,"d":"1453.00"},{"v":6.5,"d":"6.50"},{"v":330,"d":"330.00"},{"v":196,"d":"196.00"},60.25,{"v":19,"d":"19.00"},{"v":50,"d":"50.00"},239.75]
["00:00","00:15",0,0,0,0,0,0,0,0,0,153,167,0,0,0,0,0,0,0,0,0,11,0,55,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,153,167,0,0,0,0,0,0,0,0,0,11,0,55,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,153,167,0,0,0,0,0,0,0,0,0,11,0,55,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,153,167,0,0,0,0,0,0,0,0,0,11,0,55,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,167,382,0,0,0,0,0,0,0,0,0,17,0,55,0,0,0,0,80]
["01:15","01:30",0,0,0,0,0,0,0,0,0,167,382,0,0,0,0,0,0,0,0,0,17,0,55,0,0,0,0,80]
["01:30","01:45",0,0,0,0,0,0,0,0,0,167,382,0,0,0,0,0,0,0,0,0,17,0,55,0,0,0,0,70]
["01:45","02:00",0,0,0,0,0,0,0,0,0,167,382,0,0,0,0,0,0,0,0,0,17,0,55,0,0,0,0,70]
["02:00","02:15",0,0,0,0,0,0,0,0,0,167,382,49,50,0,0,0,0,0,0,0,11,0,55,0,0,0,0,70]
["02:15","02:30",0,0,0,0,0,0,0,0,0,167,382,49,50,0,0,0,0,0,0,0,11,0,55,0,0,0,0,70]
["02:30","02:45",0,0,0,0,0,0,0,0,0,167,382,49,50,0,0,0,0,0,0,0,11,0,55,0,0,0,0,70]
["02:45","03:00",0,0,0,0,0,0,0,0,0,167,240,49,50,0,0,0,0,0,0,0,11,0,55,0,0,0,0,55]
["03:00","03:15",0,0,0,0,0,0,0,0,0,83,142,90,99,0,0,0,21,0,0,0,10,0,55,0,0,0,0,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,83,142,90,99,0,0,0,21,0,0,0,10,0,55,0,0,0,0,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,83,142,90,99,0,0,0,21,0,0,0,10,0,55,0,0,0,0,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,83,142,90,99,0,0,0,21,0,0,0,10,0,55,0,0,0,0,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,84,101,49,50,10,0,0,11,0,0,0,60,0,0,0,0,0,0,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,84,101,49,50,10,0,0,11,0,0,0,60,0,0,0,0,0,0,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,84,101,49,50,10,0,0,11,0,0,0,60,0,0,0,0,0,0,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,84,101,49,50,10,0,0,11,0,0,0,60,0,0,0,0,0,0,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,167,342,0,0,0,0,0,0,0,0,0,71,5,0,0,0,0,0,70]
["05:15","05:30",0,0,0,0,0,0,0,0,0,167,342,0,0,0,0,0,0,0,0,0,71,5,0,0,0,0,0,108]
["05:30","05:45",0,0,0,0,0,0,0,0,0,167,342,0,0,0,0,0,0,0,0,0,71,2,0,0,0,0,0,108]
["05:45","06:00",0,0,0,0,0,0,0,0,0,167,342,0,0,0,0,0,0,0,0,0,71,2,0,0,0,0,0,108]
["06:00","06:15",0,0,0,0,0,0,0,0,0,0,111,0,0,0,0,0,0,0,0,0,71,1,0,0,0,0,0,0]
["06:15","06:30",0,0,0,0,0,0,0,0,0,0,111,0,0,0,0,0,0,0,0,0,71,1,0,0,0,0,0,0]
["06:30","06:45",0,0,0,0,0,0,0,0,0,0,111,0,0,0,0,0,0,0,0,0,71,1,0,0,0,0,0,0]
["06:45","07:00",0,0,0,0,0,0,0,0,0,0,111,0,0,0,0,0,0,0,0,0,71,1,0,0,0,0,0,0]
["07:00","07:15",200,300,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,71,1,0,0,0,0,0,0]
["07:15","07:30",200,300,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,71,1,0,0,0,0,0,0]
["07:30","07:45",200,300,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,71,1,0,0,0,0,0,0]
["07:45","08:00",200,300,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,71,1,0,0,0,0,0,0]
["08:00","08:15",48,422,0,0,0,30,0,0,0,0,0,0,0,0,0,0,0,0,0,0,71,1,0,0,0,0,0,0]
["08:15","08:30",48,452,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,71,1,0,0,0,0,0,0]
["08:30","08:45",48,452,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,71,1,0,0,0,0,0,0]
["08:45","09:00",48,452,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,71,1,0,0,0,0,0,0]
["09:00","09:15",148,452,0,0,0,0,232,0,0,0,0,46,50,0,0,0,0,0,0,0,71,0,0,0,0,0,0,0]
["09:15","09:30",148,452,0,0,0,0,250,0,0,0,0,46,50,0,0,0,0,0,0,0,71,0,0,0,0,0,0,0]
["09:30","09:45",148,452,0,0,0,0,281,0,0,0,0,46,50,0,0,0,0,0,0,0,71,0,0,0,0,0,0,0]
["09:45","10:00",148,452,0,0,0,0,298,0,0,0,0,46,50,0,0,0,0,0,0,0,71,0,0,0,0,0,0,0]
["10:00","10:15",347,253,0,0,0,0,221,0,0,0,0,96,99,29,19,0,0,0,199,0,71,0,0,0,0,0,0,0]
["10:15","10:30",347,253,0,0,0,0,242,18,0,0,0,96,99,29,19,0,0,0,199,0,71,0,0,80,0,0,0,0]
["10:30","10:45",347,253,0,0,0,0,231,50,0,0,0,96,99,29,19,0,0,0,199,0,71,0,0,80,57,0,0,0]
["10:45","11:00",347,253,0,0,0,0,231,50,0,0,0,96,99,29,19,0,0,0,199,0,71,0,0,80,144,0,0,0]
["11:00","11:15",148,452,0,0,0,0,200,0,0,0,0,46,99,0,0,0,0,0,0,0,71,0,0,0,0,19,0,0]
["11:15","11:30",148,452,0,0,0,0,200,0,0,0,0,46,99,0,0,0,0,0,0,0,71,0,0,0,13,19,0,0]
["11:30","11:45",148,452,0,0,0,0,200,0,0,0,0,46,99,0,0,0,0,0,0,0,71,0,0,0,13,19,0,0]
["11:45","12:00",148,452,0,0,0,0,200,0,0,0,0,46,99,0,0,0,0,0,0,0,71,0,0,0,14,19,0,0]
["12:00","12:15",209,391,0,0,0,0,70,0,0,0,0,95,99,10,19,0,0,0,61,0,71,0,0,0,0,0,0,0]
["12:15","12:30",209,391,0,0,0,0,0,0,0,0,0,95,99,10,19,0,0,0,61,0,71,0,0,0,0,0,0,0]
["12:30","12:45",209,391,0,0,0,0,0,0,0,0,0,95,99,10,19,0,0,0,61,0,71,0,0,0,0,0,0,0]
["12:45","13:00",209,311,0,80,0,0,0,0,0,0,0,95,99,10,19,0,0,0,61,0,71,0,0,0,0,0,0,0]
["13:00","13:15",300,152,0,157,26,125,0,0,0,0,0,104,99,29,40,0,39,220,149,320,71,0,0,0,0,0,0,0]
["13:15","13:30",300,0,75,157,228,0,0,0,0,0,0,104,99,29,40,79,39,267,301,320,71,0,0,0,0,0,0,0]
["13:30","13:45",300,0,75,157,228,0,0,0,0,0,0,104,99,29,40,79,39,267,301,320,71,0,0,0,0,0,0,0]
["13:45","14:00",300,0,75,157,228,0,0,0,0,0,0,104,99,29,40,79,39,267,301,320,71,0,0,0,0,0,0,0]
["14:00","14:15",300,0,161,164,135,0,0,0,0,0,0,104,99,29,56,72,0,181,452,244,71,0,0,0,0,0,0,0]
["14:15","14:30",300,0,161,164,135,0,0,0,0,0,0,104,99,29,56,72,0,181,452,244,71,0,0,0,0,0,0,0]
["14:30","14:45",300,0,161,164,135,0,0,0,0,0,0,104,99,29,56,72,0,181,452,244,71,0,0,0,0,0,0,0]
["14:45","15:00",300,101,111,164,34,50,0,0,0,0,0,104,99,29,56,72,0,181,351,244,71,0,0,0,0,0,0,0]
["15:00","15:15",300,276,0,84,0,0,0,0,0,0,0,103,99,25,36,152,0,142,92,365,71,0,0,0,0,0,0,0]
["15:15","15:30",300,276,0,84,0,0,0,0,0,0,0,103,99,25,36,152,0,142,92,365,71,0,0,0,0,0,0,0]
["15:30","15:45",300,276,0,84,0,0,0,0,0,0,0,103,99,25,36,152,0,142,92,365,71,0,0,0,0,0,0,0]
["15:45","16:00",300,276,0,84,0,0,0,0,0,0,0,103,99,25,36,152,0,142,92,365,71,0,0,0,0,0,0,0]
["16:00","16:15",150,152,0,0,300,58,0,0,167,0,0,103,99,28,48,232,40,295,300,582,71,0,0,0,0,0,0,0]
["16:15","16:30",150,0,0,0,450,60,0,0,167,0,0,103,99,28,48,232,40,345,452,582,71,0,0,0,0,0,0,0]
["16:30","16:45",150,0,0,0,450,60,0,0,167,0,0,103,99,28,48,232,40,345,452,582,71,0,0,0,0,0,0,0]
["16:45","17:00",150,50,0,0,450,10,0,0,167,0,0,103,99,28,48,232,40,345,402,582,71,0,0,0,0,0,0,0]
["17:00","17:15",300,150,21,0,189,0,56,0,140,0,0,101,99,29,47,236,40,324,302,376,86,0,0,0,0,0,0,0]
["17:15","17:30",300,150,21,0,189,0,56,0,142,0,0,101,99,29,47,236,40,324,302,376,86,0,0,0,0,0,0,0]
["17:30","17:45",300,150,21,0,189,0,56,0,142,0,0,101,99,29,47,236,40,324,302,376,86,0,0,0,0,0,0,0]
["17:45","18:00",300,150,21,0,189,0,56,0,142,0,0,101,99,29,47,236,40,324,302,376,86,0,0,0,0,0,0,0]
["18:00","18:15",200,50,0,0,300,110,0,0,230,0,0,111,99,29,47,236,40,345,402,532,86,0,0,0,0,0,0,0]
["18:15","18:30",200,0,0,0,300,160,0,0,230,0,0,111,99,29,47,236,40,345,452,532,86,0,0,0,0,0,0,0]
["18:30","18:45",200,0,0,0,300,160,0,0,230,0,0,111,99,29,47,236,40,345,452,532,86,0,0,0,0,0,0,0]
["18:45","19:00",200,50,25,0,300,85,0,0,230,0,0,111,99,29,47,236,40,320,402,532,86,0,0,0,0,0,0,0]
["19:00","19:15",356,150,154,0,0,0,0,0,110,0,0,111,99,29,50,236,40,169,302,376,86,0,0,0,0,0,0,0]
["19:15","19:30",356,150,154,0,0,0,0,0,110,0,0,111,99,29,50,236,40,169,302,376,86,0,0,0,0,0,0,0]
["19:30","19:45",356,150,154,0,0,0,0,0,110,0,0,111,99,29,50,236,40,169,302,376,86,0,0,0,0,0,0,0]
["19:45","20:00",356,150,154,0,0,0,0,0,110,0,0,111,99,29,50,236,40,169,302,376,86,0,0,0,0,0,0,0]
["20:00","20:15",0,50,0,0,300,150,0,0,230,0,0,111,99,29,53,236,40,360,402,618,71,0,0,0,0,0,0,0]
["20:15","20:30",0,0,0,0,500,0,0,0,230,0,0,111,99,29,53,236,40,385,452,618,71,0,0,0,0,0,0,0]
["20:30","20:45",0,0,0,0,500,0,0,0,230,0,0,111,99,29,53,236,40,385,452,618,71,0,0,0,0,0,0,0]
["20:45","21:00",0,0,0,0,500,0,0,0,230,0,0,111,99,29,53,236,40,385,452,618,71,0,0,0,0,0,0,0]
["21:00","21:15",0,0,0,0,500,0,0,0,228,0,0,111,99,29,53,190,40,310,452,618,71,0,0,0,0,0,0,0]
["21:15","21:30",0,0,0,0,500,0,0,0,228,0,0,111,99,29,53,190,40,310,452,618,71,0,0,0,0,0,0,0]
["21:30","21:45",0,0,0,0,500,0,0,0,228,0,0,111,99,29,53,190,40,310,452,618,71,0,0,0,0,0,0,0]
["21:45","22:00",0,20,0,0,300,180,0,0,228,0,0,111,99,29,53,190,40,260,402,618,71,0,0,0,0,0,0,0]
["22:00","22:15",0,0,0,0,0,0,0,0,0,0,0,62,99,29,31,128,0,110,61,477,71,0,55,73,0,0,0,0]
["22:15","22:30",0,0,0,0,0,0,0,0,0,0,0,62,99,29,31,128,0,110,61,477,71,0,55,73,0,0,0,0]
["22:30","22:45",0,0,0,0,0,0,0,0,0,0,0,62,99,29,31,128,0,110,61,477,71,0,55,73,0,0,0,0]
["22:45","23:00",0,0,0,0,0,0,0,0,0,0,0,62,99,29,31,128,0,110,61,477,71,0,55,73,0,0,0,0]
["23:00","23:15",0,0,0,0,0,0,0,0,0,0,0,12,99,29,9,150,0,0,0,618,21,0,55,63,0,0,50,0]
["23:15","23:30",0,0,0,0,0,0,0,0,0,0,0,12,99,29,9,150,0,0,0,618,21,0,55,63,0,0,50,0]
["23:30","23:45",0,0,0,0,0,0,0,0,0,0,0,12,99,29,9,150,0,0,0,618,21,0,55,63,0,0,50,0]
["23:45","24:00",0,0,0,0,0,0,0,0,0,0,0,12,99,29,9,150,0,0,0,618,21,0,55,63,0,0,50,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":3,"rows_kept":106}
[null,"Datum","07.01.2026"]
[null,"GM-Art","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday"]
[null,"Anforderer","50Hertz"]
[null,"Ursache","I"]
[null,"überlastetes Netzelement","50H / 380kV / Pasewalk / Tr. 412"]
[null,"auslösendes Netzelement","50H / 380kV / Pasewalk / Tr. 413"]
[null,"AO Klarname","50H_EDIS_CR_PAS"]
[null,"Richtung","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":1267.5,"d":"1267.50"}]
["00:00","00:15",0]
["00:15","00:30",0]
["00:30","00:45",0]
["00:45","01:00",0]
["01:00","01:15",0]
["01:15","01:30",0]
["01:30","01:45",0]
["01:45","02:00",0]
["02:00","02:15",0]
["02:15","02:30",0]
["02:30","02:45",0]
["02:45","03:00",0]
["03:00","03:15",0]
["03:15","03:30",0]
["03:30","03:45",0]
["03:45","04:00",0]
["04:00","04:15",0]
["04:15","04:30",0]
["04:30","04:45",0]
["04:45","05:00",0]
["05:00","05:15",0]
["05:15","05:30",0]
["05:30","05:45",0]
["05:45","06:00",0]
["06:00","06:15",0]
["06:15","06:30",0]
["06:30","06:45",0]
["06:45","07:00",0]
["07:00","07:15",0]
["07:15","07:30",0]
["07:30","07:45",0]
["07:45","08:00",0]
["08:00","08:15",0]
["08:15","08:30",0]
["08:30","08:45",0]
["08:45","09:00",0]
["09:00","09:15",0]
["09:15","09:30",0]
["09:30","09:45",0]
["09:45","10:00",0]
["10:00","10:15",0]
["10:15","10:30",0]
["10:30","10:45",0]
["10:45","11:00",0]
["11:00","11:15",0]
["11:15","11:30",0]
["11:30","11:45",0]
["11:45","12:00",0]
["12:00","12:15",0]
["12:15","12:30",0]
["12:30","12:45",0]
["12:45","13:00",0]
["13:00","13:15",0]
["13:15","13:30",0]
["13:30","13:45",0]
["13:45","14:00",0]
["14:00","14:15",0]
["14:15","14:30",0]
["14:30","14:45",0]
["14:45","15:00",0]
["15:00","15:15",0]
["15:15","15:30",0]
["15:30","15:45",0]
["15:45","16:00",0]
["16:00","16:15",0]
["16:15","16:30",0]
["16:30","16:45",50]
["16:45","17:00",100]
["17:00","17:15",100]
["17:15","17:30",180]
["17:30","17:45",180]
["17:45","18:00",180]
["18:00","18:15",180]
["18:15","18:30",180]
["18:30","18:45",180]
["18:45","19:00",180]
["19:00","19:15",180]
["19:15","19:30",180]
["19:30","19:45",180]
["19:45","20:00",180]
["20:00","20:15",180]
["20:15","20:30",180]
["20:30","20:45",180]
["20:45","21:00",180]
["21:00","21:15",180]
["21:15","21:30",180]
["21:30","21:45",180]
["21:45","22:00",180]
["22:00","22:15",180]
["22:15","22:30",180]
["22:30","22:45",180]
["22:45","23:00",180]
["23:00","23:15",180]
["23:15","23:30",180]
["23:30","23:45",180]
["23:45","24:00",140]