{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":26,"rows_kept":106}
[null,"Datum","23.11.2025","23.11.2025","23.11.2025","23.11.2025","23.11.2025","23.11.2025","23.11.2025","23.11.2025","23.11.2025","23.11.2025","23.11.2025","23.11.2025","23.11.2025","23.11.2025","23.11.2025","23.11.2025","23.11.2025","23.11.2025","23.11.2025","23.11.2025","23.11.2025","23.11.2025","23.11.2025","23.11.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz","TenneT DE","TenneT DE","TenneT DE","TenneT DE","TenneT DE","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","50H-CEPS / 380kV / Röhrsdorf - Hradec / 445","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","50H-CEPS / 380kV / Röhrsdorf - Hradec / 446","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Markersbach (Standort)","Lippendorf VE","50H UW Schönewalde","50H UW Putlitz","50H OWP Baltic Eagle","50H UW Bertikow","50H Berlin Lichterfelde","50H Berlin Marzahn","50H Berlin Mitte","Schwarze Pumpe (Standort)","Jänschwalde (Standort)","Boxberg (Standort)","Lippendorf VE","50H UW Bertikow","Boxberg (Standort)","Schwarze Pumpe (Standort)","50H Berlin Marzahn","50H Berlin Mitte","50H Rostock Marienehe","Jänschwalde (Standort)","50H Hamburg Wedel1","Lippendorf VE","Boxberg (Standort)","Jänschwalde (Standort)"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":675,"d":"675.00"},{"v":155,"d":"155.00"},139.25,{"v":91,"d":"91.00"},84.75,371.25,{"v":724,"d":"724.00"},267.75,{"v":1592,"d":"1592.00"},{"v":1703,"d":"1703.00"},{"v":1804.5,"d":"1804.50"},{"v":1427,"d":"1427.00"},{"v":2479,"d":"2479.00"},{"v":59.5,"d":"59.50"},{"v":345,"d":"345.00"},{"v":275,"d":"275.00"},{"v":2029,"d":"2029.00"},{"v":114,"d":"114.00"},{"v":240,"d":"240.00"},{"v":50,"d":"50.00"},{"v":330,"d":"330.00"},{"v":701,"d":"701.00"},{"v":610,"d":"610.00"},{"v":2713.5,"d":"2713.50"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,40,0,33,0,60,407]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,40,0,33,0,60,407]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,40,0,33,0,60,407]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,40,0,33,0,60,407]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,33,0,70,737]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,33,0,70,737]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,33,0,70,737]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,33,0,70,737]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,33,150,120,520]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,33,150,120,520]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,33,150,120,520]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,33,150,120,520]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,120,314]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,120,314]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,120,314]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,120,314]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,40,0,33,60,120,336]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,40,0,33,60,120,336]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,40,0,33,60,120,336]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,40,0,33,60,120,336]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,33,250,120,426]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,33,250,120,426]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,33,250,120,426]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,33,250,120,320]
["06:00","06:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,50,50,40,0,33,250,0,0]
["06:15","06:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,50,50,40,0,33,250,0,0]
["06:30","06:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,50,50,40,0,33,250,0,0]
["06:45","07:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,50,50,40,0,33,190,0,0]
["07:00","07:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,94,0,0,0,33,6,0,0]
["07:15","07:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,94,0,0,0,33,6,0,0]
["07:30","07:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,94,0,0,0,33,6,0,0]
["07:45","08:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,94,0,0,0,33,6,0,0]
["08:00","08:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,143,52,40,0,33,0,0,0]
["08:15","08:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,143,52,40,0,33,0,0,0]
["08:30","08:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,143,52,40,0,33,0,0,0]
["08:45","09:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,143,52,40,0,33,0,0,0]
["09:00","09:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,92,0,0,0,0,0,0,0]
["09:15","09:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,92,0,0,0,0,0,0,0]
["09:30","09:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,92,0,0,0,0,0,0,0]
["09:45","10:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,92,0,0,0,0,0,0,0]
["10:00","10:15",0,0,0,0,0,0,75,100,120,0,0,0,0,0,0,0,50,0,0,0,0,0,0,0]
["10:15","10:30",0,0,0,0,0,0,75,100,120,0,0,0,0,0,0,0,50,0,0,0,0,0,0,0]
["10:30","10:45",0,0,0,0,0,0,75,100,120,0,0,0,0,0,0,0,50,0,0,0,0,0,0,0]
["10:45","11:00",0,0,0,0,0,0,75,100,70,0,0,0,0,0,0,0,50,0,0,0,0,0,0,0]
["11:00","11:15",0,0,0,0,0,0,83,80,81,0,0,0,0,0,0,0,70,0,0,0,0,0,0,0]
["11:15","11:30",0,0,0,0,0,0,83,80,81,0,0,0,0,0,0,0,70,0,0,0,0,0,0,0]
["11:30","11:45",0,0,0,0,0,0,83,80,81,0,0,0,0,0,0,0,70,0,0,0,0,0,0,0]
["11:45","12:00",0,0,0,0,0,0,83,80,81,0,0,0,0,0,0,0,70,0,0,0,0,0,0,0]
["12:00","12:15",0,0,0,0,0,0,99,30,114,0,0,0,0,0,0,0,80,0,0,0,0,0,0,0]
["12:15","12:30",0,0,0,0,0,0,59,30,120,0,0,0,0,0,0,0,120,0,0,0,0,0,0,0]
["12:30","12:45",0,0,0,0,0,0,59,30,120,0,0,0,0,0,0,0,120,0,0,0,0,0,0,0]
["12:45","13:00",0,0,0,0,0,0,59,21,0,0,0,0,0,0,0,0,120,0,0,0,0,0,0,0]
["13:00","13:15",0,0,0,0,0,0,0,0,49,0,0,0,0,0,0,0,120,0,0,0,0,0,0,0]
["13:15","13:30",0,0,0,0,0,0,0,0,49,0,0,0,0,0,0,0,120,0,0,0,0,0,0,0]
["13:30","13:45",0,0,0,0,0,0,0,0,49,0,0,0,0,0,0,0,120,0,0,0,0,0,0,0]
["13:45","14:00",0,0,0,0,0,0,0,0,49,0,0,0,0,0,0,0,120,0,0,0,0,0,0,0]
["14:00","14:15",0,0,0,0,0,0,0,0,99,0,0,0,0,0,0,0,120,0,0,0,0,0,0,0]
["14:15","14:30",0,0,0,0,0,0,0,0,99,0,0,0,0,0,0,0,120,0,0,0,0,0,0,0]
["14:30","14:45",0,0,0,0,0,0,0,0,99,0,0,0,0,0,0,0,120,0,0,0,0,0,0,0]
["14:45","15:00",0,0,0,0,0,0,0,0,99,0,0,0,0,0,0,0,120,0,0,0,0,0,0,0]
["15:00","15:15",0,0,0,0,0,0,18,0,99,200,22,0,121,0,0,0,70,0,0,0,0,0,0,0]
["15:15","15:30",0,0,0,0,0,0,18,0,99,200,165,0,121,0,0,0,70,0,0,0,0,0,0,0]
["15:30","15:45",0,0,0,0,0,0,18,0,99,200,165,0,121,0,0,0,70,0,0,0,0,0,0,0]
["15:45","16:00",0,0,0,0,0,0,18,0,99,200,180,0,121,0,0,0,70,0,0,0,0,0,0,0]
["16:00","16:15",0,145,38,61,106,0,74,0,118,75,365,79,271,0,37,173,120,0,0,0,0,0,0,0]
["16:15","16:30",0,145,47,65,93,99,74,0,118,75,365,219,271,0,37,173,120,0,0,0,0,0,0,0]
["16:30","16:45",300,145,57,72,76,99,74,0,118,75,365,237,271,11,37,173,120,0,0,0,0,0,0,0]
["16:45","17:00",300,145,64,77,64,99,74,0,118,75,365,237,271,27,37,173,120,0,0,0,0,0,0,0]
["17:00","17:15",300,10,77,33,0,99,72,0,118,280,504,115,406,0,210,0,150,0,0,0,0,0,0,0]
["17:15","17:30",300,10,82,28,0,99,72,0,118,280,506,115,406,0,210,0,150,0,0,0,0,0,0,0]
["17:30","17:45",300,10,92,18,0,99,72,0,118,280,506,115,406,0,210,0,150,0,0,0,0,0,0,0]
["17:45","18:00",300,10,100,10,0,99,72,0,118,280,586,115,406,0,210,0,150,0,0,0,0,0,0,0]
["18:00","18:15",300,0,0,0,0,99,74,0,119,149,542,227,406,0,98,102,150,0,0,0,0,0,0,0]
["18:15","18:30",300,0,0,0,0,99,74,0,119,149,542,227,406,0,98,102,150,0,0,0,0,0,0,0]
["18:30","18:45",300,0,0,0,0,99,74,0,119,149,542,227,406,0,98,102,150,0,0,0,0,0,0,0]
["18:45","19:00",0,0,0,0,0,99,74,0,119,149,542,227,406,0,98,102,150,0,0,0,0,0,0,0]
["19:00","19:15",0,0,0,0,0,99,75,0,119,436,200,203,406,50,0,0,150,0,40,50,33,0,0,0]
["19:15","19:30",0,0,0,0,0,99,75,0,119,436,200,203,406,50,0,0,150,0,40,50,33,0,0,0]
["19:30","19:45",0,0,0,0,0,99,75,0,119,436,200,203,406,50,0,0,150,0,40,50,33,0,0,0]
["19:45","20:00",0,0,0,0,0,99,75,0,119,436,200,203,406,50,0,0,150,0,40,50,33,0,0,0]
["20:00","20:15",0,0,0,0,0,0,31,0,107,272,13,380,406,0,0,0,150,12,40,0,33,0,0,0]
["20:15","20:30",0,0,0,0,0,0,31,0,107,272,13,380,406,0,0,0,150,12,40,0,33,0,0,0]
["20:30","20:45",0,0,0,0,0,0,31,0,107,272,13,380,406,0,0,0,150,12,40,0,33,0,0,0]
["20:45","21:00",0,0,0,0,0,0,31,0,107,272,13,380,406,0,0,0,150,12,40,0,33,0,0,0]
["21:00","21:15",0,0,0,0,0,0,31,30,119,91,13,309,300,0,0,0,120,0,0,0,0,0,0,0]
["21:15","21:30",0,0,0,0,0,0,31,30,119,91,13,309,300,0,0,0,120,0,0,0,0,0,0,0]
["21:30","21:45",0,0,0,0,0,0,31,30,119,91,13,309,300,0,0,0,120,0,0,0,0,0,0,0]
["21:45","22:00",0,0,0,0,0,0,31,30,119,91,13,309,300,0,0,0,120,0,0,0,0,0,0,0]
["22:00","22:15",0,0,0,0,0,0,61,30,169,200,13,0,150,0,0,0,120,0,0,0,0,0,0,0]
["22:15","22:30",0,0,0,0,0,0,61,30,169,200,13,0,150,0,0,0,120,0,0,0,0,0,0,0]
["22:30","22:45",0,0,0,0,0,0,61,30,169,200,13,0,150,0,0,0,120,0,0,0,0,0,0,0]
["22:45","23:00",0,0,0,0,0,0,61,30,169,200,13,0,150,0,0,0,120,0,0,0,0,0,0,0]
["23:00","23:15",0,0,0,0,0,0,61,0,199,0,0,0,13,0,0,0,150,0,0,0,0,0,0,0]
["23:15","23:30",0,0,0,0,0,0,61,0,199,0,0,0,13,0,0,0,150,0,0,0,0,0,0,0]
["23:30","23:45",0,0,0,0,0,0,61,0,199,0,0,0,13,0,0,0,150,0,0,0,0,0,0,0]
["23:45","24:00",0,0,0,0,0,0,61,0,199,0,0,0,13,0,0,0,150,0,0,0,0,0,0,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":3,"rows_kept":106}
[null,"Datum","23.11.2025"]
[null,"GM-Art","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday"]
[null,"Anforderer","50Hertz"]
[null,"Ursache","I"]
[null,"überlastetes Netzelement","50H / 380kV / Pasewalk / Tr. 412"]
[null,"auslösendes Netzelement","50H / 380kV / Pasewalk / Tr. 413"]
[null,"AO Klarname","50H_EDIS_CR_PAS"]
[null,"Richtung","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":537.5,"d":"537.50"}]
["00:00","00:15",0]
["00:15","00:30",0]
["00:30","00:45",0]
["00:45","01:00",0]
["01:00","01:15",0]
["01:15","01:30",0]
["01:30","01:45",0]
["01:45","02:00",0]
["02:00","02:15",0]
["02:15","02:30",0]
["02:30","02:45",0]
["02:45","03:00",0]
["03:00","03:15",0]
["03:15","03:30",0]
["03:30","03:45",0]
["03:45","04:00",0]
["04:00","04:15",0]
["04:15","04:30",0]
["04:30","04:45",0]
["04:45","05:00",0]
["05:00","05:15",0]
["05:15","05:30",0]
["05:30","05:45",0]
["05:45","06:00",0]
["06:00","06:15",0]
["06:15","06:30",0]
["06:30","06:45",0]
["06:45","07:00",0]
["07:00","07:15",0]
["07:15","07:30",0]
["07:30","07:45",0]
["07:45","08:00",0]
["08:00","08:15",0]
["08:15","08:30",0]
["08:30","08:45",0]
["08:45","09:00",0]
["09:00","09:15",0]
["09:15","09:30",0]
["09:30","09:45",0]
["09:45","10:00",0]
["10:00","10:15",0]
["10:15","10:30",0]
["10:30","10:45",0]
["10:45","11:00",0]
["11:00","11:15",0]
["11:15","11:30",0]
["11:30","11:45",0]
["11:45","12:00",0]
["12:00","12:15",0]
["12:15","12:30",0]
["12:30","12:45",0]
["12:45","13:00",0]
["13:00","13:15",0]
["13:15","13:30",0]
["13:30","13:45",0]
["13:45","14:00",0]
["14:00","14:15",0]
["14:15","14:30",0]
["14:30","14:45",0]
["14:45","15:00",0]
["15:00","15:15",0]
["15:15","15:30",0]
["15:30","15:45",0]
["15:45","16:00",0]
["16:00","16:15",0]
["16:15","16:30",0]
["16:30","16:45",0]
["16:45","17:00",0]
["17:00","17:15",0]
["17:15","17:30",0]
["17:30","17:45",0]
["17:45","18:00",0]
["18:00","18:15",100]
["18:15","18:30",200]
["18:30","18:45",200]
["18:45","19:00",200]
["19:00","19:15",200]
["19:15","19:30",200]
["19:30","19:45",200]
["19:45","20:00",150]
["20:00","20:15",150]
["20:15","20:30",150]
["20:30","20:45",150]
["20:45","21:00",50]
["21:00","21:15",50]
["21:15","21:30",50]
["21:30","21:45",50]
["21:45","22:00",50]
["22:00","22:15",0]
["22:15","22:30",0]
["22:30","22:45",0]
["22:45","23:00",0]
["23:00","23:15",0]
["23:15","23:30",0]
["23:30","23:45",0]
["23:45","24:00",0]