{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Redispatch"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":16,"rows_kept":106}
[null,"Datum","31.01.2026","31.01.2026","31.01.2026","31.01.2026","31.01.2026","31.01.2026","31.01.2026","31.01.2026","31.01.2026","31.01.2026","31.01.2026","31.01.2026","31.01.2026","31.01.2026"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Rostock Kohlekraftwerk","50H Berlin Mitte","Jänschwalde (Standort)","50H Berlin Lichterfelde","Schwarze Pumpe (Standort)","50H Berlin Marzahn","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","50H Berlin Lichterfelde","50H Berlin Marzahn","50H Berlin Mitte","Rostock Kohlekraftwerk","50H Hamburg Wedel1"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":2512,"d":"2512.00"},{"v":897,"d":"897.00"},{"v":5390,"d":"5390.00"},2367.75,5108.75,{"v":900,"d":"900.00"},{"v":1526,"d":"1526.00"},{"v":237,"d":"237.00"},{"v":505,"d":"505.00"},{"v":162,"d":"162.00"},{"v":224,"d":"224.00"},{"v":100,"d":"100.00"},{"v":1538.5,"d":"1538.50"},{"v":954,"d":"954.00"}]
["00:00","00:15",0,0,0,0,0,0,0,190,497,0,0,50,0,34]
["00:15","00:30",0,0,0,0,0,0,0,190,497,0,0,50,0,34]
["00:30","00:45",0,0,0,0,0,0,0,190,497,0,0,50,0,34]
["00:45","01:00",0,0,0,0,0,0,0,190,497,0,0,50,0,34]
["01:00","01:15",0,0,0,0,0,0,0,0,8,0,50,0,90,40]
["01:15","01:30",0,0,0,0,0,0,0,0,8,0,50,0,188,40]
["01:30","01:45",0,0,0,0,0,0,0,0,8,0,50,0,188,40]
["01:45","02:00",0,0,0,0,0,0,0,0,8,0,50,0,188,40]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0,0,108,40]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,0,108,40]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,0,108,40]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,0,108,40]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,0,152,40]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,0,152,40]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,0,152,40]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,0,152,40]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,0,72,40]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,0,72,40]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,0,72,40]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,0,72,40]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0,0,0,40]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0,0,0,40]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0,0,0,40]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0,0,0,40]
["06:00","06:15",0,50,0,0,0,0,0,0,0,0,0,0,80,40]
["06:15","06:30",0,50,0,0,0,0,0,0,0,0,0,0,80,40]
["06:30","06:45",0,50,0,0,0,0,0,0,0,0,0,0,80,40]
["06:45","07:00",0,50,0,0,0,0,0,0,0,0,0,0,80,40]
["07:00","07:15",0,0,200,0,0,0,0,47,0,12,50,50,148,40]
["07:15","07:30",0,0,200,0,0,0,0,47,0,12,50,50,148,40]
["07:30","07:45",0,0,200,0,0,0,0,47,0,12,50,50,148,40]
["07:45","08:00",0,0,200,0,0,0,0,47,0,12,50,50,148,40]
["08:00","08:15",80,50,325,113,235,64,0,0,0,0,0,0,68,40]
["08:15","08:30",80,50,325,138,235,64,0,0,0,0,0,0,68,40]
["08:30","08:45",80,50,325,138,235,64,0,0,0,0,0,0,68,40]
["08:45","09:00",80,50,325,138,235,64,0,0,0,0,0,0,68,40]
["09:00","09:15",160,53,325,159,398,64,0,0,0,0,0,0,0,40]
["09:15","09:30",160,53,325,159,398,64,0,0,0,0,0,0,0,40]
["09:30","09:45",160,53,325,159,398,64,0,0,0,0,0,0,0,40]
["09:45","10:00",160,53,325,159,398,64,0,0,0,0,0,0,0,40]
["10:00","10:15",116,53,324,159,280,64,0,0,0,0,0,0,0,40]
["10:15","10:30",116,53,324,159,280,64,0,0,0,0,0,0,0,40]
["10:30","10:45",116,53,324,159,280,64,0,0,0,0,0,0,0,40]
["10:45","11:00",116,53,324,159,280,64,0,0,0,0,0,0,0,40]
["11:00","11:15",116,53,301,160,280,64,0,0,0,0,0,0,0,40]
["11:15","11:30",116,53,301,160,280,64,0,0,0,0,0,0,0,40]
["11:30","11:45",116,53,301,160,280,64,0,0,0,0,0,0,0,40]
["11:45","12:00",116,53,301,160,280,64,0,0,0,0,0,0,0,40]
["12:00","12:15",236,54,301,160,375,64,0,0,0,0,0,0,0,40]
["12:15","12:30",236,54,301,160,375,64,0,0,0,0,0,0,0,40]
["12:30","12:45",236,54,301,160,375,64,0,0,0,0,0,0,0,40]
["12:45","13:00",236,54,301,160,375,64,0,0,0,0,0,0,0,40]
["13:00","13:15",156,54,301,160,415,54,187,0,0,0,10,0,80,40]
["13:15","13:30",156,54,301,160,415,54,187,0,0,0,10,0,80,40]
["13:30","13:45",156,54,301,160,415,54,187,0,0,0,10,0,80,40]
["13:45","14:00",156,54,301,160,415,54,187,0,0,0,10,0,80,40]
["14:00","14:15",236,53,301,160,415,64,263,0,0,0,0,0,0,40]
["14:15","14:30",236,53,301,160,415,64,263,0,0,0,0,0,0,40]
["14:30","14:45",236,53,301,160,415,64,263,0,0,0,0,0,0,40]
["14:45","15:00",236,53,301,160,415,64,263,0,0,0,0,0,0,40]
["15:00","15:15",236,53,213,159,305,64,263,0,0,0,0,0,0,40]
["15:15","15:30",236,53,213,159,305,64,363,0,0,0,0,0,0,40]
["15:30","15:45",236,53,213,159,305,64,363,0,0,0,0,0,0,40]
["15:45","16:00",236,53,213,159,280,64,363,0,0,0,0,0,0,40]
["16:00","16:15",236,53,213,159,265,64,363,0,0,0,0,0,0,40]
["16:15","16:30",236,53,213,159,265,64,363,0,0,0,0,0,0,40]
["16:30","16:45",236,53,213,159,265,64,363,0,0,0,0,0,0,40]
["16:45","17:00",236,53,213,159,265,64,263,0,0,0,0,0,0,40]
["17:00","17:15",236,53,361,159,415,64,200,0,0,0,0,0,0,40]
["17:15","17:30",236,53,361,159,415,64,200,0,0,0,0,0,0,40]
["17:30","17:45",236,53,361,159,415,64,200,0,0,0,0,0,0,40]
["17:45","18:00",236,53,361,159,415,64,200,0,0,0,0,0,0,40]
["18:00","18:15",236,52,361,159,407,64,200,0,0,0,0,0,0,40]
["18:15","18:30",236,52,361,159,407,64,200,0,0,0,0,0,0,40]
["18:30","18:45",236,52,361,159,407,64,200,0,0,0,0,0,0,40]
["18:45","19:00",236,52,361,159,407,64,200,0,0,0,0,0,0,40]
["19:00","19:15",236,52,361,159,272,64,0,0,0,0,0,0,0,40]
["19:15","19:30",236,52,361,159,272,64,0,0,0,0,0,0,0,40]
["19:30","19:45",236,52,361,159,272,64,0,0,0,0,0,0,0,40]
["19:45","20:00",236,52,361,159,272,64,0,0,0,0,0,0,0,40]
["20:00","20:15",156,52,376,159,272,64,0,0,0,0,0,0,80,40]
["20:15","20:30",156,52,376,159,272,64,0,0,0,0,0,0,80,40]
["20:30","20:45",156,52,376,159,272,64,0,0,0,0,0,0,80,40]
["20:45","21:00",156,52,376,159,272,64,0,0,0,0,0,0,80,40]
["21:00","21:15",76,54,376,158,147,64,0,0,0,0,0,0,160,40]
["21:15","21:30",76,54,376,158,147,64,0,0,0,0,0,0,160,40]
["21:30","21:45",76,54,376,158,147,64,0,0,0,0,0,0,160,40]
["21:45","22:00",76,54,376,158,147,64,0,0,0,0,0,0,160,40]
["22:00","22:15",0,54,375,108,310,14,0,0,0,50,50,0,248,40]
["22:15","22:30",0,54,375,108,310,14,0,0,0,50,50,0,248,40]
["22:30","22:45",0,54,375,108,310,14,0,0,0,50,50,0,248,40]
["22:45","23:00",0,54,375,108,310,14,0,0,0,50,50,0,248,40]
["23:00","23:15",0,54,376,58,324,0,0,0,0,100,64,0,179,40]
["23:15","23:30",0,54,376,58,324,0,0,0,0,100,64,0,179,40]
["23:30","23:45",0,54,376,58,324,0,0,0,0,100,64,0,179,40]
["23:45","24:00",0,54,376,58,324,0,0,0,0,100,64,0,179,40]