{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":33,"rows_kept":106}
[null,"Datum","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025","18.12.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD1","PRD1","PRD1","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","TenneT DE","TenneT DE","TenneT DE","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Schwarze Pumpe (Standort)","50H PV Witznitz","50H UW Schönewalde","50H Berlin Marzahn","50H Berlin Mitte","50H Berlin Lichterfelde","Goldisthal (Standort)","Schwarze Pumpe (Standort)","Jänschwalde (Standort)","Boxberg (Standort)","Jänschwalde (Standort)","Schkopau","Boxberg (Standort)","Jänschwalde (Standort)","Schkopau","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","50H Erfurt-Ost HKW GuD","50H Berlin Lichterfelde","50H Berlin Marzahn","50H Berlin Mitte","50H Halle-Trotha HKW","50H Halle-Dieselstr HKW-BlockB","50H Hamburg Wedel1","Boxberg (Standort)","50H Hamburg Tiefstack 2 HKW SK","50H Halle-Trotha HKW","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":250,"d":"250.00"},{"v":50,"d":"50.00"},{"v":100,"d":"100.00"},{"v":962,"d":"962.00"},{"v":594,"d":"594.00"},{"v":664,"d":"664.00"},{"v":68.5,"d":"68.50"},{"v":1336,"d":"1336.00"},{"v":728,"d":"728.00"},{"v":736,"d":"736.00"},{"v":190,"d":"190.00"},{"v":70,"d":"70.00"},{"v":17,"d":"17.00"},{"v":325,"d":"325.00"},582.25,{"v":3435,"d":"3435.00"},{"v":968,"d":"968.00"},{"v":3426,"d":"3426.00"},{"v":232,"d":"232.00"},{"v":90,"d":"90.00"},{"v":292,"d":"292.00"},{"v":344,"d":"344.00"},{"v":161,"d":"161.00"},{"v":104,"d":"104.00"},{"v":604,"d":"604.00"},{"v":83,"d":"83.00"},683.75,{"v":1,"d":"1.00"},{"v":150,"d":"150.00"},{"v":120,"d":"120.00"},{"v":279,"d":"279.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,0,0,17,0,0,0,0,0,0,50,100,50,23,11,45,83,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,0,0,17,0,0,0,0,0,0,50,100,50,23,11,45,83,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,0,0,17,0,0,0,0,0,0,50,100,50,23,11,45,83,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,0,17,0,0,0,0,0,0,50,100,50,23,11,45,83,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,20,96,98,16,11,45,0,0,0,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,20,96,98,16,11,45,0,0,0,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,20,96,98,16,11,45,0,0,0,0,0,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,20,96,98,16,11,45,0,0,0,0,0,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,196,122,400,0,20,96,147,23,11,45,0,0,0,0,0,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,196,122,400,0,20,96,147,23,11,45,0,0,0,0,0,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,196,122,400,0,20,96,147,23,11,45,0,0,0,0,0,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,196,122,400,0,20,96,147,23,11,45,0,0,0,0,0,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,205,0,500,0,0,0,0,23,11,32,0,77,0,0,0,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,205,0,500,0,0,0,0,23,11,32,0,58,0,0,0,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,205,0,500,0,0,0,0,23,11,32,0,58,0,0,0,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,205,0,500,0,0,0,0,23,11,32,0,58,0,0,0,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,525,0,610,0,0,0,0,0,0,45,0,68,0,0,0,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,525,0,610,0,0,0,0,0,0,45,0,68,0,0,0,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,525,0,610,0,0,0,0,0,0,45,0,68,0,0,0,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,525,0,610,0,0,0,0,0,0,45,0,68,0,0,0,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,75,650,53,610,30,0,0,0,23,10,32,0,0,0,0,0,0]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,150,650,53,610,30,0,0,0,23,10,32,0,0,0,0,0,0]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,150,650,53,610,30,0,0,0,23,10,32,0,0,0,0,0,0]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,150,650,53,610,30,0,0,0,23,10,32,0,0,0,0,0,0]
["06:00","06:15",0,0,0,50,41,10,0,0,0,0,0,0,0,0,164,650,210,610,0,0,0,0,0,0,45,0,42,0,0,0,0]
["06:15","06:30",0,0,0,50,41,10,0,0,0,0,0,0,0,0,164,650,210,610,0,0,0,0,0,0,45,0,42,0,0,0,0]
["06:30","06:45",0,0,0,50,41,10,0,0,0,0,0,0,0,0,164,650,210,610,0,0,0,0,0,0,45,0,42,0,0,0,0]
["06:45","07:00",0,0,0,50,41,10,274,0,0,0,0,0,0,0,164,650,210,610,0,0,0,0,0,0,45,0,42,0,0,0,0]
["07:00","07:15",0,0,0,50,41,10,0,0,0,0,0,0,0,0,164,325,315,0,0,0,0,0,0,0,45,0,40,1,0,0,0]
["07:15","07:30",0,0,0,50,41,10,0,0,0,0,0,0,0,0,164,325,315,0,0,0,0,0,0,0,45,0,40,1,0,0,0]
["07:30","07:45",0,0,0,50,41,10,0,0,0,0,0,0,0,0,164,325,315,0,0,0,0,0,0,0,45,0,40,1,0,0,0]
["07:45","08:00",0,0,0,50,41,10,0,0,0,0,0,0,0,0,164,325,315,0,0,0,0,0,0,0,45,0,40,1,0,0,0]
["08:00","08:15",0,0,0,50,41,10,0,0,0,0,0,0,0,0,139,0,53,0,0,0,0,0,0,0,45,0,25,0,0,0,0]
["08:15","08:30",0,0,0,50,41,10,0,0,0,0,0,0,0,0,139,0,53,0,0,0,0,0,0,0,45,0,25,0,0,0,0]
["08:30","08:45",0,0,0,50,41,10,0,0,0,0,0,0,0,0,139,0,53,0,0,0,0,0,0,0,45,0,25,0,0,0,0]
["08:45","09:00",0,0,0,50,41,10,0,0,0,0,0,0,0,0,75,0,53,0,0,0,0,0,0,0,45,0,25,0,0,0,0]
["09:00","09:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,45,0,45,0,0,0,0]
["09:15","09:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,45,0,45,0,0,0,0]
["09:30","09:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,45,0,45,0,0,0,0]
["09:45","10:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,45,0,45,0,0,0,0]
["10:00","10:15",0,0,0,0,0,0,0,0,0,83,0,0,0,0,0,74,0,0,0,0,0,0,0,0,45,0,50,0,0,0,279]
["10:15","10:30",0,0,0,0,0,0,0,0,0,83,0,0,0,0,0,74,0,0,0,0,0,0,0,0,45,0,50,0,0,0,279]
["10:30","10:45",0,0,0,0,0,0,0,0,0,83,0,0,0,0,0,74,0,0,0,0,0,0,0,0,45,0,50,0,0,0,279]
["10:45","11:00",0,0,0,0,0,0,0,0,0,83,0,0,0,0,0,74,0,0,0,0,0,0,0,0,45,0,50,0,0,0,279]
["11:00","11:15",0,0,0,0,0,0,0,0,0,45,38,0,0,0,0,50,0,174,0,0,0,0,0,0,45,0,53,0,150,120,0]
["11:15","11:30",0,0,0,0,0,0,0,0,0,45,38,0,0,0,0,50,0,174,0,0,0,0,0,0,45,0,53,0,150,120,0]
["11:30","11:45",0,0,0,0,0,0,0,0,0,45,38,0,0,0,0,50,0,174,0,0,0,0,0,0,45,0,53,0,150,120,0]
["11:45","12:00",0,0,0,0,0,0,0,0,0,45,38,0,0,0,0,50,0,174,0,0,0,0,0,0,45,0,53,0,150,120,0]
["12:00","12:15",125,25,50,0,0,0,0,0,0,373,57,0,0,0,0,175,0,275,34,0,0,0,7,9,45,0,57,0,0,0,0]
["12:15","12:30",125,25,50,0,0,0,0,0,0,373,57,0,0,0,0,175,0,275,34,0,0,0,7,9,45,0,57,0,0,0,0]
["12:30","12:45",125,25,50,0,0,0,0,0,0,373,57,0,0,0,0,175,0,275,34,0,0,0,7,9,45,0,57,0,0,0,0]
["12:45","13:00",125,25,50,0,0,0,0,0,0,373,57,0,0,0,0,175,0,275,34,0,0,0,7,9,45,0,57,0,0,0,0]
["13:00","13:15",125,25,50,50,20,50,0,200,0,235,95,0,0,0,0,0,0,0,0,0,0,0,0,0,45,0,58,0,0,0,0]
["13:15","13:30",125,25,50,50,20,50,0,200,0,235,95,0,0,0,0,0,0,0,0,0,0,0,0,0,45,0,58,0,0,0,0]
["13:30","13:45",125,25,50,50,20,50,0,200,0,235,95,0,0,0,0,0,0,0,0,0,0,0,0,0,45,0,58,0,0,0,0]
["13:45","14:00",125,25,50,50,20,50,0,200,0,235,95,0,0,0,0,0,0,0,0,0,0,0,0,0,45,0,58,0,0,0,0]
["14:00","14:15",0,0,0,100,70,100,0,226,134,0,0,0,0,0,0,0,0,0,41,0,0,0,0,9,0,0,0,0,0,0,0]
["14:15","14:30",0,0,0,100,70,100,0,226,134,0,0,0,0,0,0,0,0,0,41,0,0,0,0,9,0,0,0,0,0,0,0]
["14:30","14:45",0,0,0,100,70,100,0,226,134,0,0,0,0,0,0,0,0,0,41,0,0,0,0,9,0,0,0,0,0,0,0]
["14:45","15:00",0,0,0,100,70,100,0,226,134,0,0,0,0,0,0,0,0,0,41,0,0,0,0,9,0,0,0,0,0,0,0]
["15:00","15:15",0,0,0,131,70,100,0,226,134,0,0,0,0,50,0,0,0,0,47,0,0,49,23,10,0,0,0,0,0,0,0]
["15:15","15:30",0,0,0,131,70,100,0,226,134,0,0,0,0,50,0,0,0,0,47,0,0,49,23,10,0,0,0,0,0,0,0]
["15:30","15:45",0,0,0,131,70,100,0,226,134,0,0,0,0,50,0,0,0,0,47,0,0,49,23,10,0,0,0,0,0,0,0]
["15:45","16:00",0,0,0,131,70,100,0,226,134,0,0,0,0,50,0,0,0,0,47,0,0,49,23,10,0,0,0,0,0,0,0]
["16:00","16:15",0,0,0,181,113,150,0,277,194,0,0,70,0,107,0,0,0,0,40,0,0,0,23,10,0,0,0,0,0,0,0]
["16:15","16:30",0,0,0,181,113,150,0,277,194,0,0,70,0,107,0,0,0,0,40,0,0,0,23,10,0,0,0,0,0,0,0]
["16:30","16:45",0,0,0,181,113,150,0,277,194,0,0,70,0,107,0,0,0,0,40,0,0,0,23,10,0,0,0,0,0,0,0]
["16:45","17:00",0,0,0,181,113,150,0,277,194,0,0,70,0,107,0,0,0,0,40,0,0,0,23,10,0,0,0,0,0,0,0]
["17:00","17:15",0,0,0,150,112,121,0,276,133,0,0,0,0,168,0,0,0,0,0,0,0,0,0,7,0,0,0,0,0,0,0]
["17:15","17:30",0,0,0,150,112,121,0,276,133,0,0,0,0,168,0,0,0,0,0,0,0,0,0,7,0,0,0,0,0,0,0]
["17:30","17:45",0,0,0,150,112,121,0,276,133,0,0,0,0,168,0,0,0,0,0,0,0,0,0,7,0,0,0,0,0,0,0]
["17:45","18:00",0,0,0,150,112,121,0,276,133,0,0,0,0,168,0,0,0,0,0,0,0,0,0,7,0,0,0,0,0,0,0]
["18:00","18:15",0,0,0,100,62,71,0,131,133,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:15","18:30",0,0,0,100,62,71,0,131,133,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:30","18:45",0,0,0,100,62,71,0,131,133,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:45","19:00",0,0,0,100,62,71,0,131,133,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:00","19:15",0,0,0,50,12,21,0,0,0,0,0,0,0,0,0,120,215,0,40,0,0,0,0,5,0,0,0,0,0,0,0]
["19:15","19:30",0,0,0,50,12,21,0,0,0,0,0,0,0,0,0,120,215,0,40,0,0,0,0,5,0,0,0,0,0,0,0]
["19:30","19:45",0,0,0,50,12,21,0,0,0,0,0,0,0,0,0,120,215,0,40,0,0,0,0,5,0,0,0,0,0,0,0]
["19:45","20:00",0,0,0,50,12,21,0,0,0,0,0,0,0,0,0,120,215,0,40,0,0,0,0,5,0,0,0,0,0,0,0]
["20:00","20:15",0,0,0,50,12,21,0,0,0,0,0,0,0,0,0,286,0,217,0,0,0,0,0,0,0,0,71,0,0,0,0]
["20:15","20:30",0,0,0,50,12,21,0,0,0,0,0,0,0,0,0,286,0,217,0,0,0,0,0,0,0,0,71,0,0,0,0]
["20:30","20:45",0,0,0,50,12,21,0,0,0,0,0,0,0,0,0,286,0,217,0,0,0,0,0,0,0,0,71,0,0,0,0]
["20:45","21:00",0,0,0,50,12,21,0,0,0,0,0,0,0,0,0,286,0,217,0,0,0,0,0,0,0,0,71,0,0,0,0]
["21:00","21:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,30,0,0,0,0,0,0,0,0,78,0,0,0,0]
["21:15","21:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,30,0,0,0,0,0,0,0,0,78,0,0,0,0]
["21:30","21:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,30,0,0,0,0,0,0,0,0,78,0,0,0,0]
["21:45","22:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,30,0,0,0,0,0,0,0,0,78,0,0,0,0]
["22:00","22:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,179,0,0,0,0,0,0,0,0,0,0,34,0,0,0,0]
["22:15","22:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,179,0,0,0,0,0,0,0,0,0,0,34,0,0,0,0]
["22:30","22:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,179,0,0,0,0,0,0,0,0,0,0,34,0,0,0,0]
["22:45","23:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,179,0,0,0,0,0,0,0,0,0,0,34,0,0,0,0]
["23:00","23:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:15","23:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:30","23:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:45","24:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":4,"rows_kept":106}
[null,"Datum","18.12.2025","18.12.2025"]
[null,"GM-Art","Fremdbilanzierter RD","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz"]
[null,"Ursache","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Vierraden / Tr. 441"]
[null,"auslösendes Netzelement","50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Vierraden / Tr. 443"]
[null,"AO Klarname","50H_EDIS_CR_PAS","50H_EDIS_CR_PAS"]
[null,"Richtung","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":395,"d":"395.00"},{"v":325,"d":"325.00"}]
["00:00","00:15",0,0]
["00:15","00:30",0,0]
["00:30","00:45",0,0]
["00:45","01:00",0,0]
["01:00","01:15",0,0]
["01:15","01:30",0,0]
["01:30","01:45",0,0]
["01:45","02:00",0,0]
["02:00","02:15",0,0]
["02:15","02:30",0,0]
["02:30","02:45",0,0]
["02:45","03:00",0,0]
["03:00","03:15",0,0]
["03:15","03:30",0,0]
["03:30","03:45",0,0]
["03:45","04:00",0,0]
["04:00","04:15",0,0]
["04:15","04:30",0,0]
["04:30","04:45",0,0]
["04:45","05:00",0,0]
["05:00","05:15",0,0]
["05:15","05:30",0,0]
["05:30","05:45",0,0]
["05:45","06:00",0,0]
["06:00","06:15",0,0]
["06:15","06:30",0,0]
["06:30","06:45",0,0]
["06:45","07:00",0,0]
["07:00","07:15",0,0]
["07:15","07:30",0,0]
["07:30","07:45",0,0]
["07:45","08:00",0,0]
["08:00","08:15",0,0]
["08:15","08:30",0,0]
["08:30","08:45",0,0]
["08:45","09:00",0,200]
["09:00","09:15",0,200]
["09:15","09:30",0,200]
["09:30","09:45",0,200]
["09:45","10:00",0,200]
["10:00","10:15",0,150]
["10:15","10:30",0,100]
["10:30","10:45",0,50]
["10:45","11:00",0,0]
["11:00","11:15",0,0]
["11:15","11:30",0,0]
["11:30","11:45",0,0]
["11:45","12:00",0,0]
["12:00","12:15",0,0]
["12:15","12:30",0,0]
["12:30","12:45",0,0]
["12:45","13:00",0,0]
["13:00","13:15",0,0]
["13:15","13:30",0,0]
["13:30","13:45",0,0]
["13:45","14:00",0,0]
["14:00","14:15",0,0]
["14:15","14:30",0,0]
["14:30","14:45",0,0]
["14:45","15:00",0,0]
["15:00","15:15",0,0]
["15:15","15:30",0,0]
["15:30","15:45",0,0]
["15:45","16:00",0,0]
["16:00","16:15",0,0]
["16:15","16:30",0,0]
["16:30","16:45",0,0]
["16:45","17:00",0,0]
["17:00","17:15",0,0]
["17:15","17:30",0,0]
["17:30","17:45",0,0]
["17:45","18:00",0,0]
["18:00","18:15",0,0]
["18:15","18:30",0,0]
["18:30","18:45",0,0]
["18:45","19:00",0,0]
["19:00","19:15",0,0]
["19:15","19:30",0,0]
["19:30","19:45",0,0]
["19:45","20:00",0,0]
["20:00","20:15",0,0]
["20:15","20:30",0,0]
["20:30","20:45",70,0]
["20:45","21:00",70,0]
["21:00","21:15",120,0]
["21:15","21:30",120,0]
["21:30","21:45",120,0]
["21:45","22:00",120,0]
["22:00","22:15",120,0]
["22:15","22:30",120,0]
["22:30","22:45",120,0]
["22:45","23:00",120,0]
["23:00","23:15",120,0]
["23:15","23:30",120,0]
["23:30","23:45",120,0]
["23:45","24:00",120,0]