{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":19,"rows_kept":106}
[null,"Datum","04.11.2025","04.11.2025","04.11.2025","04.11.2025","04.11.2025","04.11.2025","04.11.2025","04.11.2025","04.11.2025","04.11.2025","04.11.2025","04.11.2025","04.11.2025","04.11.2025","04.11.2025","04.11.2025","04.11.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","PRD1","PRD1","PRD1","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Schwarze Pumpe (Standort)","Lippendorf VE","Schkopau","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","50H Hamburg Tiefstack 2 HKW SK","50H Dresden-Nossen","50H Hamburg MMB BHKW PtH","50H Berlin Marzahn","50H Berlin Mitte","50H Halle-Trotha HKW","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","50H Hamburg Wedel1","Börse"]
[null,"Richtung","SENKE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":57,"d":"57.00"},{"v":550,"d":"550.00"},{"v":1514,"d":"1514.00"},{"v":3752,"d":"3752.00"},{"v":656,"d":"656.00"},{"v":191,"d":"191.00"},{"v":259,"d":"259.00"},{"v":390.4,"d":"390.40"},240.75,{"v":925,"d":"925.00"},{"v":288,"d":"288.00"},{"v":200,"d":"200.00"},{"v":335,"d":"335.00"},{"v":201,"d":"201.00"},{"v":1084,"d":"1084.00"},{"v":273,"d":"273.00"},{"v":14,"d":"14.00"}]
["00:00","00:15",0,0,178,369,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:15","00:30",0,0,122,369,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:30","00:45",0,0,122,369,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:45","01:00",0,0,122,369,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:00","01:15",0,0,122,384,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:15","01:30",0,0,122,384,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:30","01:45",0,150,122,384,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:45","02:00",0,150,122,384,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:00","02:15",0,150,122,384,119,0,0,0,0,0,0,0,0,0,0,0,0]
["02:15","02:30",0,150,122,384,119,0,0,0,0,0,0,0,0,0,0,0,0]
["02:30","02:45",0,150,122,384,119,0,0,0,0,0,0,0,0,0,0,0,0]
["02:45","03:00",0,150,122,384,119,0,0,0,0,0,0,0,0,0,0,0,0]
["03:00","03:15",0,150,178,710,135,0,0,0,0,0,0,0,0,0,0,0,0]
["03:15","03:30",0,150,178,710,135,0,0,0,0,0,0,0,0,0,0,0,0]
["03:30","03:45",0,150,178,710,135,0,0,0,0,0,0,0,0,0,0,0,0]
["03:45","04:00",0,150,178,710,135,0,0,0,0,0,0,0,0,0,0,0,0]
["04:00","04:15",0,150,159,820,175,0,0,0,0,0,0,0,0,0,0,0,0]
["04:15","04:30",0,150,159,820,175,0,0,0,0,0,0,0,0,0,0,0,0]
["04:30","04:45",0,0,159,820,175,0,0,0,0,0,0,0,0,0,0,0,0]
["04:45","05:00",0,0,159,820,175,0,0,0,0,0,0,0,0,0,0,0,0]
["05:00","05:15",0,0,159,577,99,0,0,0,0,0,0,0,0,0,0,0,0]
["05:15","05:30",0,0,159,577,99,0,0,0,0,0,0,0,0,0,0,0,0]
["05:30","05:45",0,0,159,577,99,0,0,0,0,0,0,0,0,0,0,0,0]
["05:45","06:00",0,0,159,577,99,0,0,0,0,0,0,0,0,0,0,0,0]
["06:00","06:15",0,0,0,386,78,0,0,0,0,0,0,0,0,0,0,0,0]
["06:15","06:30",0,0,0,386,78,0,0,0,9,0,0,0,0,0,0,0,0]
["06:30","06:45",0,0,0,386,78,0,0,0,9,0,0,0,0,0,0,0,0]
["06:45","07:00",0,0,0,386,78,0,0,0,9,0,0,0,0,0,0,0,0]
["07:00","07:15",0,0,0,0,0,0,73,0,9,50,0,0,0,0,0,87,0]
["07:15","07:30",0,0,0,0,0,0,73,0,9,50,0,0,0,0,0,87,0]
["07:30","07:45",0,0,0,0,0,0,73,0,9,50,0,0,0,0,0,87,0]
["07:45","08:00",0,0,0,0,0,0,73,0,9,50,0,0,0,0,0,87,0]
["08:00","08:15",0,0,0,0,0,0,79,0,9,100,0,0,0,0,50,86,0]
["08:15","08:30",0,0,0,0,0,0,79,0,9,100,0,0,0,0,50,86,0]
["08:30","08:45",0,0,0,0,0,0,79,0,9,100,0,0,0,0,50,86,0]
["08:45","09:00",0,0,0,0,0,0,79,0,9,100,0,0,0,0,50,86,0]
["09:00","09:15",57,0,0,0,0,0,0,0,9,150,49,23,0,0,351,0,0]
["09:15","09:30",57,0,0,0,0,0,0,0,9,150,49,23,0,0,351,0,0]
["09:30","09:45",57,0,0,0,0,0,0,0,9,150,49,23,0,0,351,0,0]
["09:45","10:00",57,0,0,0,0,0,0,0,9,150,49,23,0,0,351,0,0]
["10:00","10:15",0,0,0,0,0,191,0,70,9,157,46,22,0,0,192,0,0]
["10:15","10:30",0,0,0,0,0,191,0,70,9,157,46,22,0,0,192,0,0]
["10:30","10:45",0,0,0,0,0,191,0,70,9,157,46,22,0,0,192,0,0]
["10:45","11:00",0,0,0,0,0,191,0,70,9,157,46,22,0,0,192,0,0]
["11:00","11:15",0,0,0,122,0,0,0,0,9,0,0,22,122,0,0,0,0]
["11:15","11:30",0,0,0,122,0,0,0,0,9,0,0,22,122,0,0,0,0]
["11:30","11:45",0,0,0,122,0,0,0,0,9,0,0,22,122,0,0,0,0]
["11:45","12:00",0,0,0,122,0,0,0,0,9,0,0,22,122,0,0,0,0]
["12:00","12:15",0,0,0,0,0,0,0,0,9,0,0,21,0,5,0,0,0]
["12:15","12:30",0,0,0,0,0,0,0,0,9,0,0,21,0,5,0,0,0]
["12:30","12:45",0,0,0,0,0,0,0,0,9,0,0,21,0,5,0,0,0]
["12:45","13:00",0,0,0,0,0,0,0,0,9,0,0,21,0,5,0,0,0]
["13:00","13:15",0,100,0,0,0,0,0,0,9,10,0,0,0,0,0,0,0]
["13:15","13:30",0,100,0,0,0,0,0,0,9,10,0,0,0,0,0,0,0]
["13:30","13:45",0,100,0,0,0,0,0,0,9,10,0,0,0,0,0,0,0]
["13:45","14:00",0,100,0,0,0,0,0,0,9,10,0,0,0,0,0,0,0]
["14:00","14:15",0,0,0,0,0,0,0,86.9,9,60,49,21,0,76,0,0,0]
["14:15","14:30",0,0,0,0,0,0,0,86.9,9,60,49,21,0,76,0,0,0]
["14:30","14:45",0,0,0,0,0,0,0,86.9,9,60,49,21,0,76,0,0,0]
["14:45","15:00",0,0,0,0,0,0,0,86.9,9,60,49,21,0,76,0,0,0]
["15:00","15:15",0,0,0,0,0,0,0,0,18,10,0,0,0,0,0,0,0]
["15:15","15:30",0,0,0,0,0,0,0,0,18,10,0,0,0,0,0,0,0]
["15:30","15:45",0,0,0,0,0,0,0,0,18,10,0,0,0,0,0,0,0]
["15:45","16:00",0,0,0,0,0,0,0,0,18,10,0,0,0,0,0,0,0]
["16:00","16:15",0,0,0,0,0,0,0,5,18,60,0,22,0,0,0,0,0]
["16:15","16:30",0,0,0,0,0,0,0,5,18,60,0,22,0,0,0,0,0]
["16:30","16:45",0,0,0,0,0,0,0,5,18,60,0,22,0,0,0,0,0]
["16:45","17:00",0,0,0,0,0,0,0,5,18,60,0,22,0,0,0,0,0]
["17:00","17:15",0,0,0,0,0,0,38,0,18,10,0,0,0,0,0,50,0]
["17:15","17:30",0,0,0,0,0,0,38,0,18,10,0,0,0,0,0,50,0]
["17:30","17:45",0,0,0,0,0,0,38,0,18,10,0,0,0,0,0,50,0]
["17:45","18:00",0,0,0,0,0,0,38,0,18,10,0,0,0,0,0,50,0]
["18:00","18:15",0,0,0,0,0,0,83,0,18,0,0,0,0,0,0,50,0]
["18:15","18:30",0,0,0,0,0,0,83,0,18,0,0,0,0,0,0,50,0]
["18:30","18:45",0,0,0,0,0,0,55,0,18,0,0,0,0,0,0,50,28]
["18:45","19:00",0,0,0,0,0,0,55,0,18,0,0,0,0,0,0,50,28]
["19:00","19:15",0,0,0,0,0,0,0,0,18,0,0,0,0,0,0,0,0]
["19:15","19:30",0,0,0,0,0,0,0,0,18,0,0,0,0,0,0,0,0]
["19:30","19:45",0,0,0,0,0,0,0,0,18,0,0,0,0,0,0,0,0]
["19:45","20:00",0,0,0,0,0,0,0,0,18,0,0,0,0,0,0,0,0]
["20:00","20:15",0,0,0,0,0,0,0,0,18,50,0,0,0,0,0,0,0]
["20:15","20:30",0,0,0,0,0,0,0,0,18,50,0,0,0,0,0,0,0]
["20:30","20:45",0,0,0,0,0,0,0,0,18,50,0,0,0,0,0,0,0]
["20:45","21:00",0,0,0,0,0,0,0,0,18,50,0,0,0,0,0,0,0]
["21:00","21:15",0,0,0,0,0,0,0,57,18,100,50,23,0,0,0,0,0]
["21:15","21:30",0,0,0,0,0,0,0,57,18,100,50,23,0,0,0,0,0]
["21:30","21:45",0,0,0,0,0,0,0,57,18,100,50,23,0,0,0,0,0]
["21:45","22:00",0,0,0,0,0,0,0,57,18,100,50,23,0,0,0,0,0]
["22:00","22:15",0,0,258,0,50,0,0,73.5,18,84,47,23,0,120,83,0,0]
["22:15","22:30",0,0,258,0,50,0,0,73.5,18,84,47,23,0,120,83,0,0]
["22:30","22:45",0,0,258,0,50,0,0,73.5,18,84,47,23,0,120,83,0,0]
["22:45","23:00",0,0,258,0,50,0,0,73.5,18,84,47,23,0,120,83,0,0]
["23:00","23:15",0,0,380,0,0,0,0,98,18,84,47,23,213,0,408,0,0]
["23:15","23:30",0,0,380,0,0,0,0,98,18,84,47,23,213,0,408,0,0]
["23:30","23:45",0,0,380,0,0,0,0,98,18,84,47,23,213,0,408,0,0]
["23:45","24:00",0,0,380,0,0,0,0,98,18,84,47,23,213,0,408,0,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":3,"rows_kept":106}
[null,"Datum","04.11.2025"]
[null,"GM-Art","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday"]
[null,"Anforderer","50Hertz"]
[null,"Ursache","I"]
[null,"überlastetes Netzelement","50H / 380kV / Pasewalk / Tr. 412"]
[null,"auslösendes Netzelement","50H / 380kV / Pasewalk / Tr. 413"]
[null,"AO Klarname","50H_EDIS_CR_PAS"]
[null,"Richtung","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":212.5,"d":"212.50"}]
["00:00","00:15",50]
["00:15","00:30",50]
["00:30","00:45",50]
["00:45","01:00",50]
["01:00","01:15",50]
["01:15","01:30",50]
["01:30","01:45",50]
["01:45","02:00",50]
["02:00","02:15",50]
["02:15","02:30",50]
["02:30","02:45",50]
["02:45","03:00",50]
["03:00","03:15",50]
["03:15","03:30",50]
["03:30","03:45",50]
["03:45","04:00",50]
["04:00","04:15",50]
["04:15","04:30",0]
["04:30","04:45",0]
["04:45","05:00",0]
["05:00","05:15",0]
["05:15","05:30",0]
["05:30","05:45",0]
["05:45","06:00",0]
["06:00","06:15",0]
["06:15","06:30",0]
["06:30","06:45",0]
["06:45","07:00",0]
["07:00","07:15",0]
["07:15","07:30",0]
["07:30","07:45",0]
["07:45","08:00",0]
["08:00","08:15",0]
["08:15","08:30",0]
["08:30","08:45",0]
["08:45","09:00",0]
["09:00","09:15",0]
["09:15","09:30",0]
["09:30","09:45",0]
["09:45","10:00",0]
["10:00","10:15",0]
["10:15","10:30",0]
["10:30","10:45",0]
["10:45","11:00",0]
["11:00","11:15",0]
["11:15","11:30",0]
["11:30","11:45",0]
["11:45","12:00",0]
["12:00","12:15",0]
["12:15","12:30",0]
["12:30","12:45",0]
["12:45","13:00",0]
["13:00","13:15",0]
["13:15","13:30",0]
["13:30","13:45",0]
["13:45","14:00",0]
["14:00","14:15",0]
["14:15","14:30",0]
["14:30","14:45",0]
["14:45","15:00",0]
["15:00","15:15",0]
["15:15","15:30",0]
["15:30","15:45",0]
["15:45","16:00",0]
["16:00","16:15",0]
["16:15","16:30",0]
["16:30","16:45",0]
["16:45","17:00",0]
["17:00","17:15",0]
["17:15","17:30",0]
["17:30","17:45",0]
["17:45","18:00",0]
["18:00","18:15",0]
["18:15","18:30",0]
["18:30","18:45",0]
["18:45","19:00",0]
["19:00","19:15",0]
["19:15","19:30",0]
["19:30","19:45",0]
["19:45","20:00",0]
["20:00","20:15",0]
["20:15","20:30",0]
["20:30","20:45",0]
["20:45","21:00",0]
["21:00","21:15",0]
["21:15","21:30",0]
["21:30","21:45",0]
["21:45","22:00",0]
["22:00","22:15",0]
["22:15","22:30",0]
["22:30","22:45",0]
["22:45","23:00",0]
["23:00","23:15",0]
["23:15","23:30",0]
["23:30","23:45",0]
["23:45","24:00",0]