{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":22,"rows_kept":106}
[null,"Datum","14.01.2026","14.01.2026","14.01.2026","14.01.2026","14.01.2026","14.01.2026","14.01.2026","14.01.2026","14.01.2026","14.01.2026","14.01.2026","14.01.2026","14.01.2026","14.01.2026","14.01.2026","14.01.2026","14.01.2026","14.01.2026","14.01.2026","14.01.2026"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday","Intraday","PRD1","PRD1","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz","50Hertz","50Hertz","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Lauchstädt - Vieselbach / 471","50H / 380kV / Lauchstädt - Vieselbach / 471","50H / 380kV / Lauchstädt - Vieselbach / 471","50H / 380kV / Lauchstädt - Vieselbach / 471","50H / 380kV / Lauchstädt - Vieselbach / 471","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","50H / 380kV / Pulgar - Vieselbach / 589","50H / 380kV / Pulgar - Vieselbach / 589","50H / 380kV / Pulgar - Vieselbach / 589","50H / 380kV / Pulgar - Vieselbach / 589","50H / 380kV / Pulgar - Vieselbach / 589","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Schkopau","Rostock Kohlekraftwerk","50H UW Schönewalde","Goldisthal (Standort)","Goldisthal (Standort)","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","Lippendorf","50H Berlin Lichterfelde","50H Berlin Marzahn","50H Berlin Mitte","Schkopau","50H Halle-Trotha HKW","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","50H Halle-Dieselstr HKW-BlockA","50H Halle-Dieselstr HKW-BlockB","50H Hamburg MMB BHKW PtH","Boxberg (Standort)"]
[null,"Richtung","SENKE","SENKE","SENKE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":1844,"d":"1844.00"},{"v":1485.5,"d":"1485.50"},{"v":23,"d":"23.00"},{"v":85.5,"d":"85.50"},{"v":1425,"d":"1425.00"},{"v":520,"d":"520.00"},{"v":1091,"d":"1091.00"},{"v":1759,"d":"1759.00"},{"v":145,"d":"145.00"},{"v":361,"d":"361.00"},{"v":570,"d":"570.00"},{"v":205,"d":"205.00"},{"v":1523,"d":"1523.00"},{"v":148,"d":"148.00"},{"v":355,"d":"355.00"},{"v":1085.5,"d":"1085.50"},{"v":27,"d":"27.00"},{"v":152,"d":"152.00"},{"v":54,"d":"54.00"},{"v":127,"d":"127.00"}]
["00:00","00:15",0,0,0,0,0,37,0,200,0,0,0,0,0,10,0,90,0,15,0,0]
["00:15","00:30",0,0,0,0,0,37,0,200,0,0,0,0,0,10,0,90,0,15,0,0]
["00:30","00:45",0,0,0,0,0,37,0,200,0,0,0,0,0,10,0,90,0,15,0,0]
["00:45","01:00",0,0,0,0,0,37,0,200,0,0,0,0,0,10,0,90,0,15,0,0]
["01:00","01:15",0,0,0,0,0,0,0,400,0,0,32,0,0,23,0,30,9,15,18,0]
["01:15","01:30",0,0,0,0,0,0,0,400,0,0,32,0,0,23,0,0,9,15,18,0]
["01:30","01:45",0,0,0,0,0,0,0,400,0,0,32,0,0,23,0,0,9,15,18,0]
["01:45","02:00",0,0,0,0,0,0,0,400,0,0,32,0,0,23,0,30,9,15,18,0]
["02:00","02:15",0,0,0,0,0,223,0,436,0,0,63,0,0,0,0,0,0,15,18,0]
["02:15","02:30",0,0,0,0,0,223,0,436,0,0,63,0,0,0,0,0,0,15,18,0]
["02:30","02:45",0,0,0,0,0,223,0,436,0,0,63,0,0,0,0,0,0,15,18,0]
["02:45","03:00",0,0,0,0,0,223,0,436,0,0,63,0,0,0,0,0,0,15,18,0]
["03:00","03:15",0,0,0,0,0,50,0,348,0,13,79,0,0,0,0,0,0,15,18,0]
["03:15","03:30",0,0,0,0,0,50,0,348,0,13,79,0,0,0,0,0,0,15,18,0]
["03:30","03:45",0,0,0,0,0,50,0,348,0,13,79,0,0,0,0,0,0,15,18,0]
["03:45","04:00",0,0,0,0,0,50,0,348,0,13,79,0,0,0,0,0,0,15,18,0]
["04:00","04:15",0,0,0,0,0,0,150,148,0,16,83,0,0,0,0,25,0,0,0,0]
["04:15","04:30",0,0,0,0,0,0,150,148,0,16,83,0,0,0,0,25,0,0,0,0]
["04:30","04:45",0,0,0,0,0,0,150,148,0,16,83,0,0,0,0,25,0,0,0,0]
["04:45","05:00",0,0,0,0,0,0,150,148,0,16,83,0,0,0,0,45,0,0,0,0]
["05:00","05:15",0,0,0,0,0,104,150,51,145,66,47,0,0,0,0,90,0,0,0,0]
["05:15","05:30",0,0,0,0,0,104,150,51,145,66,47,0,0,0,0,90,0,0,0,0]
["05:30","05:45",0,0,0,0,0,104,150,51,145,66,47,0,0,0,0,90,0,0,0,0]
["05:45","06:00",0,0,0,0,0,104,150,51,145,66,47,0,0,0,0,116,0,0,0,0]
["06:00","06:15",0,0,0,0,0,106,301,0,0,116,97,52,289,23,0,299,0,15,0,0]
["06:15","06:30",0,0,0,0,0,106,301,0,0,116,97,52,289,23,0,299,0,15,0,100]
["06:30","06:45",0,0,0,0,0,106,301,0,0,116,97,52,289,23,0,299,0,15,0,100]
["06:45","07:00",0,0,0,0,0,106,301,0,0,116,97,52,289,23,0,299,0,15,0,100]
["07:00","07:15",0,0,0,0,0,0,61,165,0,100,97,102,395,23,240,164,9,20,0,52]
["07:15","07:30",0,0,0,0,0,0,61,165,0,100,97,102,395,23,240,164,9,20,0,52]
["07:30","07:45",0,0,0,0,0,0,61,165,0,100,97,102,395,23,240,164,9,20,0,52]
["07:45","08:00",0,0,0,0,0,0,61,165,0,100,97,102,395,23,240,164,9,20,0,52]
["08:00","08:15",0,0,0,0,0,0,209,11,0,50,50,51,394,23,115,161,9,20,0,0]
["08:15","08:30",0,0,0,0,0,0,209,11,0,50,50,51,394,23,115,161,9,20,0,0]
["08:30","08:45",0,0,0,0,0,0,209,11,0,50,50,51,394,23,115,161,9,20,0,0]
["08:45","09:00",0,70,0,70,0,0,209,11,0,50,50,51,394,23,115,161,9,20,0,0]
["09:00","09:15",132,140,0,272,0,0,220,0,0,0,0,0,244,23,0,161,0,0,0,0]
["09:15","09:30",148,210,0,0,300,0,220,0,0,0,0,0,244,23,0,133,0,0,0,0]
["09:30","09:45",148,236,16,0,300,0,220,0,0,0,0,0,244,23,0,100,0,0,0,0]
["09:45","10:00",148,236,66,0,300,0,220,0,0,0,0,0,244,23,0,100,0,0,0,0]
["10:00","10:15",239,236,0,0,300,0,0,0,0,0,22,0,153,23,0,100,0,21,0,0]
["10:15","10:30",239,236,0,0,300,0,0,0,0,0,22,0,153,23,0,100,0,21,0,0]
["10:30","10:45",239,236,0,0,300,0,0,0,0,0,22,0,153,23,0,100,0,21,0,0]
["10:45","11:00",239,236,0,0,300,0,0,0,0,0,22,0,153,23,0,126,0,21,0,0]
["11:00","11:15",344,236,0,0,300,0,0,0,0,0,0,0,48,0,0,0,0,16,0,0]
["11:15","11:30",344,236,0,0,300,0,0,0,0,0,0,0,48,0,0,0,0,16,0,0]
["11:30","11:45",344,236,0,0,300,0,0,0,0,0,0,0,48,0,0,0,0,16,0,0]
["11:45","12:00",344,236,0,0,300,0,0,0,0,0,0,0,48,0,0,0,0,16,0,0]
["12:00","12:15",282,236,0,0,300,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:15","12:30",282,236,0,0,300,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:30","12:45",282,236,0,0,300,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:45","13:00",282,236,0,0,300,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:00","13:15",374,236,0,0,300,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:15","13:30",374,236,0,0,300,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:30","13:45",374,236,0,0,300,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:45","14:00",374,236,0,0,300,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:00","14:15",374,236,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:15","14:30",374,236,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:30","14:45",374,236,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:45","15:00",374,236,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["15:00","15:15",224,180,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["15:15","15:30",74,110,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["15:30","15:45",50,40,10,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["15:45","16:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["16:00","16:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["16:15","16:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["16:30","16:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["16:45","17:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["17:00","17:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["17:15","17:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["17:30","17:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["17:45","18:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:00","18:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:15","18:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:30","18:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:45","19:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:00","19:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:15","19:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:30","19:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:45","20:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:00","20:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:15","20:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:30","20:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:45","21:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:00","21:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:15","21:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:30","21:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:45","22:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:00","22:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:15","22:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:30","22:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:45","23:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:00","23:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:15","23:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:30","23:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:45","24:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":6,"rows_kept":106}
[null,"Datum","14.01.2026","14.01.2026","14.01.2026","14.01.2026"]
[null,"GM-Art","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz","50Hertz"]
[null,"Ursache","I","I","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Lauchstädt - Vieselbach / 471","50H / 380kV / Lauchstädt - Vieselbach / 471","50H / 380kV / Lauchstädt - Vieselbach / 471","50H / 380kV / Lauchstädt - Vieselbach / 471"]
[null,"auslösendes Netzelement","50H / 380kV / Pulgar - Vieselbach / 589","50H / 380kV / Pulgar - Vieselbach / 589","50H / 380kV / Pulgar - Vieselbach / 589","50H / 380kV / Pulgar - Vieselbach / 589"]
[null,"AO Klarname","50H_MNS_CR_KLM","50H_MNS_CR_LAU_Nord","50H_MNS_CR_LAU_Sued","50H_MNS_CR_MA_Sued"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",568.75,{"v":2787.5,"d":"2787.50"},{"v":232.5,"d":"232.50"},296.25]
["00:00","00:15",0,0,0,0]
["00:15","00:30",0,0,0,0]
["00:30","00:45",0,0,0,0]
["00:45","01:00",0,0,0,0]
["01:00","01:15",0,0,0,0]
["01:15","01:30",0,0,0,0]
["01:30","01:45",0,0,0,0]
["01:45","02:00",0,0,0,0]
["02:00","02:15",0,0,0,0]
["02:15","02:30",0,0,0,0]
["02:30","02:45",0,0,0,0]
["02:45","03:00",0,0,0,0]
["03:00","03:15",0,0,0,0]
["03:15","03:30",0,0,0,0]
["03:30","03:45",0,0,0,0]
["03:45","04:00",0,0,0,0]
["04:00","04:15",0,0,0,0]
["04:15","04:30",0,0,0,0]
["04:30","04:45",0,0,0,0]
["04:45","05:00",0,0,0,0]
["05:00","05:15",0,0,0,0]
["05:15","05:30",0,0,0,0]
["05:30","05:45",0,0,0,0]
["05:45","06:00",0,0,0,0]
["06:00","06:15",0,0,0,0]
["06:15","06:30",0,0,0,0]
["06:30","06:45",0,0,0,0]
["06:45","07:00",0,0,0,0]
["07:00","07:15",0,0,0,0]
["07:15","07:30",0,0,0,0]
["07:30","07:45",0,300,0,0]
["07:45","08:00",0,300,0,0]
["08:00","08:15",120,450,30,0]
["08:15","08:30",120,450,30,0]
["08:30","08:45",120,450,30,0]
["08:45","09:00",120,450,30,0]
["09:00","09:15",120,450,30,0]
["09:15","09:30",120,450,30,0]
["09:30","09:45",120,450,30,0]
["09:45","10:00",120,450,30,0]
["10:00","10:15",0,350,0,0]
["10:15","10:30",0,350,0,0]
["10:30","10:45",0,350,0,0]
["10:45","11:00",100,400,50,0]
["11:00","11:15",100,400,50,0]
["11:15","11:30",100,400,50,0]
["11:30","11:45",100,400,50,100]
["11:45","12:00",100,400,50,100]
["12:00","12:15",100,400,50,100]
["12:15","12:30",100,400,50,100]
["12:30","12:45",100,400,50,100]
["12:45","13:00",100,400,50,100]
["13:00","13:15",70,350,40,90]
["13:15","13:30",70,350,40,90]
["13:30","13:45",70,350,40,90]
["13:45","14:00",70,350,40,90]
["14:00","14:15",50,300,40,90]
["14:15","14:30",50,300,40,90]
["14:30","14:45",35,200,0,45]
["14:45","15:00",0,100,0,0]
["15:00","15:15",0,0,0,0]
["15:15","15:30",0,0,0,0]
["15:30","15:45",0,0,0,0]
["15:45","16:00",0,0,0,0]
["16:00","16:15",0,0,0,0]
["16:15","16:30",0,0,0,0]
["16:30","16:45",0,0,0,0]
["16:45","17:00",0,0,0,0]
["17:00","17:15",0,0,0,0]
["17:15","17:30",0,0,0,0]
["17:30","17:45",0,0,0,0]
["17:45","18:00",0,0,0,0]
["18:00","18:15",0,0,0,0]
["18:15","18:30",0,0,0,0]
["18:30","18:45",0,0,0,0]
["18:45","19:00",0,0,0,0]
["19:00","19:15",0,0,0,0]
["19:15","19:30",0,0,0,0]
["19:30","19:45",0,0,0,0]
["19:45","20:00",0,0,0,0]
["20:00","20:15",0,0,0,0]
["20:15","20:30",0,0,0,0]
["20:30","20:45",0,0,0,0]
["20:45","21:00",0,0,0,0]
["21:00","21:15",0,0,0,0]
["21:15","21:30",0,0,0,0]
["21:30","21:45",0,0,0,0]
["21:45","22:00",0,0,0,0]
["22:00","22:15",0,0,0,0]
["22:15","22:30",0,0,0,0]
["22:30","22:45",0,0,0,0]
["22:45","23:00",0,0,0,0]
["23:00","23:15",0,0,0,0]
["23:15","23:30",0,0,0,0]
["23:30","23:45",0,0,0,0]
["23:45","24:00",0,0,0,0]