{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":12,"rows_kept":106}
[null,"Datum","18.11.2025","18.11.2025","18.11.2025","18.11.2025","18.11.2025","18.11.2025","18.11.2025","18.11.2025","18.11.2025","18.11.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz & TenneT DE","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Lauchstädt - Vieselbach / 471","50H / 380kV / Lauchstädt - Vieselbach / 471","50H-TTG / 380kV / Remptendorf - Redwitz / 414","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","50H / 380kV / Lauchstädt - Vieselbach / 472","50H / 380kV / Lauchstädt - Vieselbach / 472","50H-TTG / 380kV / Remptendorf - Redwitz / 413","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Schkopau","50H UW Schönewalde","Goldisthal (Standort)","50H Dresden-Nossen","50H Erfurt-Ost HKW GuD","50H Berlin Marzahn","Boxberg (Standort)","Schkopau","50H Berlin Mitte","Schwarze Pumpe (Standort)"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":333,"d":"333.00"},{"v":42,"d":"42.00"},{"v":397.5,"d":"397.50"},{"v":220.7,"d":"220.70"},160.75,{"v":740,"d":"740.00"},{"v":742.5,"d":"742.50"},{"v":108,"d":"108.00"},{"v":37.5,"d":"37.50"},23.75]
["00:00","00:15",0,0,0,83.7,15,50,0,0,0,0]
["00:15","00:30",0,0,0,83.7,27,50,75,0,0,0]
["00:30","00:45",0,0,0,83.7,27,50,99,0,0,0]
["00:45","01:00",0,0,0,83.7,27,50,99,0,0,0]
["01:00","01:15",0,0,0,77,28,100,55,0,0,0]
["01:15","01:30",0,0,0,77,28,100,55,0,0,0]
["01:30","01:45",0,0,0,77,28,100,55,0,0,0]
["01:45","02:00",0,0,0,77,28,100,55,0,0,0]
["02:00","02:15",0,0,0,30,28,147,55,0,0,0]
["02:15","02:30",0,0,0,30,28,147,55,0,0,0]
["02:30","02:45",0,0,0,30,28,147,55,0,0,0]
["02:45","03:00",0,0,0,30,28,147,55,0,0,0]
["03:00","03:15",0,0,0,30,28,147,55,0,0,0]
["03:15","03:30",0,0,0,30,28,147,55,0,0,0]
["03:30","03:45",0,0,0,30,28,147,55,0,0,0]
["03:45","04:00",0,0,0,30,28,147,55,0,0,0]
["04:00","04:15",0,0,0,0,28,137,175,0,0,0]
["04:15","04:30",0,0,0,0,28,137,175,0,50,0]
["04:30","04:45",0,0,0,0,28,137,175,0,50,0]
["04:45","05:00",0,0,0,0,28,137,175,0,50,0]
["05:00","05:15",0,0,0,0,28,99,297,116,0,0]
["05:15","05:30",0,0,0,0,28,99,247,116,0,0]
["05:30","05:45",0,0,0,0,28,99,195,100,0,0]
["05:45","06:00",0,0,0,0,15,99,50,100,0,95]
["06:00","06:15",166,134,0,0,0,50,12,0,0,0]
["06:15","06:30",266,34,0,0,0,50,12,0,0,0]
["06:30","06:45",300,0,0,0,0,50,12,0,0,0]
["06:45","07:00",300,0,0,0,0,50,12,0,0,0]
["07:00","07:15",200,0,0,0,0,0,66,0,0,0]
["07:15","07:30",100,0,530,0,0,0,66,0,0,0]
["07:30","07:45",0,0,530,0,0,0,66,0,0,0]
["07:45","08:00",0,0,530,0,0,0,66,0,0,0]
["08:00","08:15",0,0,0,0,0,0,0,0,0,0]
["08:15","08:30",0,0,0,0,0,0,0,0,0,0]
["08:30","08:45",0,0,0,0,0,0,0,0,0,0]
["08:45","09:00",0,0,0,0,0,0,0,0,0,0]
["09:00","09:15",0,0,0,0,0,10,6,0,0,0]
["09:15","09:30",0,0,0,0,0,10,6,0,0,0]
["09:30","09:45",0,0,0,0,0,10,6,0,0,0]
["09:45","10:00",0,0,0,0,0,10,6,0,0,0]
["10:00","10:15",0,0,0,0,0,0,32,0,0,0]
["10:15","10:30",0,0,0,0,0,0,32,0,0,0]
["10:30","10:45",0,0,0,0,0,0,32,0,0,0]
["10:45","11:00",0,0,0,0,0,0,32,0,0,0]
["11:00","11:15",0,0,0,0,0,0,21,0,0,0]
["11:15","11:30",0,0,0,0,0,0,21,0,0,0]
["11:30","11:45",0,0,0,0,0,0,21,0,0,0]
["11:45","12:00",0,0,0,0,0,0,21,0,0,0]
["12:00","12:15",0,0,0,0,0,0,0,0,0,0]
["12:15","12:30",0,0,0,0,0,0,0,0,0,0]
["12:30","12:45",0,0,0,0,0,0,0,0,0,0]
["12:45","13:00",0,0,0,0,0,0,0,0,0,0]
["13:00","13:15",0,0,0,0,0,0,0,0,0,0]
["13:15","13:30",0,0,0,0,0,0,0,0,0,0]
["13:30","13:45",0,0,0,0,0,0,0,0,0,0]
["13:45","14:00",0,0,0,0,0,0,0,0,0,0]
["14:00","14:15",0,0,0,0,0,0,0,0,0,0]
["14:15","14:30",0,0,0,0,0,0,0,0,0,0]
["14:30","14:45",0,0,0,0,0,0,0,0,0,0]
["14:45","15:00",0,0,0,0,0,0,0,0,0,0]
["15:00","15:15",0,0,0,0,0,0,0,0,0,0]
["15:15","15:30",0,0,0,0,0,0,0,0,0,0]
["15:30","15:45",0,0,0,0,0,0,0,0,0,0]
["15:45","16:00",0,0,0,0,0,0,0,0,0,0]
["16:00","16:15",0,0,0,0,0,0,0,0,0,0]
["16:15","16:30",0,0,0,0,0,0,0,0,0,0]
["16:30","16:45",0,0,0,0,0,0,0,0,0,0]
["16:45","17:00",0,0,0,0,0,0,0,0,0,0]
["17:00","17:15",0,0,0,0,0,0,0,0,0,0]
["17:15","17:30",0,0,0,0,0,0,0,0,0,0]
["17:30","17:45",0,0,0,0,0,0,0,0,0,0]
["17:45","18:00",0,0,0,0,0,0,0,0,0,0]
["18:00","18:15",0,0,0,0,0,0,0,0,0,0]
["18:15","18:30",0,0,0,0,0,0,0,0,0,0]
["18:30","18:45",0,0,0,0,0,0,0,0,0,0]
["18:45","19:00",0,0,0,0,0,0,0,0,0,0]
["19:00","19:15",0,0,0,0,0,0,0,0,0,0]
["19:15","19:30",0,0,0,0,0,0,0,0,0,0]
["19:30","19:45",0,0,0,0,0,0,0,0,0,0]
["19:45","20:00",0,0,0,0,0,0,0,0,0,0]
["20:00","20:15",0,0,0,0,0,0,0,0,0,0]
["20:15","20:30",0,0,0,0,0,0,0,0,0,0]
["20:30","20:45",0,0,0,0,0,0,0,0,0,0]
["20:45","21:00",0,0,0,0,0,0,0,0,0,0]
["21:00","21:15",0,0,0,0,0,0,0,0,0,0]
["21:15","21:30",0,0,0,0,0,0,0,0,0,0]
["21:30","21:45",0,0,0,0,0,0,0,0,0,0]
["21:45","22:00",0,0,0,0,0,0,0,0,0,0]
["22:00","22:15",0,0,0,0,0,0,0,0,0,0]
["22:15","22:30",0,0,0,0,0,0,0,0,0,0]
["22:30","22:45",0,0,0,0,0,0,0,0,0,0]
["22:45","23:00",0,0,0,0,0,0,0,0,0,0]
["23:00","23:15",0,0,0,0,0,0,0,0,0,0]
["23:15","23:30",0,0,0,0,0,0,0,0,0,0]
["23:30","23:45",0,0,0,0,0,0,0,0,0,0]
["23:45","24:00",0,0,0,0,0,0,0,0,0,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":9,"rows_kept":106}
[null,"Datum","18.11.2025","18.11.2025","18.11.2025","18.11.2025","18.11.2025","18.11.2025","18.11.2025"]
[null,"GM-Art","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz","50Hertz","50Hertz","50Hertz","50Hertz"]
[null,"Ursache","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Lauchstädt - Vieselbach / 471 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Lauchstädt - Vieselbach / 471 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Lauchstädt - Vieselbach / 471 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Lauchstädt - Vieselbach / 471 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Lauchstädt - Vieselbach / 471 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Lauchstädt - Vieselbach / 471 & 50H / 380kV / Pasewalk / Tr. 412"]
[null,"auslösendes Netzelement","50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Lauchstädt - Vieselbach / 472 & 50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Lauchstädt - Vieselbach / 472 & 50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Lauchstädt - Vieselbach / 472 & 50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Lauchstädt - Vieselbach / 472 & 50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Lauchstädt - Vieselbach / 472 & 50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Lauchstädt - Vieselbach / 472 & 50H / 380kV / Pasewalk / Tr. 413"]
[null,"AO Klarname","50H_EDIS_CR_PAS","50H_EDIS_CR_PAS","50H_MNS_CR_KLM","50H_MNS_CR_LAU_Nord","50H_MNS_CR_LAU_Sued","50H_MNS_CR_MA_Nord","50H_MNS_CR_MA_Sued"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":300,"d":"300.00"},{"v":475,"d":"475.00"},{"v":100,"d":"100.00"},{"v":1012.5,"d":"1012.50"},{"v":100,"d":"100.00"},{"v":300,"d":"300.00"},{"v":135,"d":"135.00"}]
["00:00","00:15",0,0,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0]
["01:45","02:00",0,0,0,0,0,0,0]
["02:00","02:15",0,0,0,0,0,0,0]
["02:15","02:30",0,0,0,0,0,0,0]
["02:30","02:45",0,0,0,0,0,0,0]
["02:45","03:00",0,0,0,0,0,0,0]
["03:00","03:15",0,0,0,0,0,0,0]
["03:15","03:30",0,0,0,0,0,0,0]
["03:30","03:45",0,0,0,0,0,0,0]
["03:45","04:00",0,0,0,0,0,0,0]
["04:00","04:15",0,0,0,0,0,0,0]
["04:15","04:30",0,100,0,0,0,0,0]
["04:30","04:45",0,100,0,0,0,0,0]
["04:45","05:00",0,100,0,0,0,0,0]
["05:00","05:15",0,100,0,0,0,0,0]
["05:15","05:30",0,100,0,0,0,0,0]
["05:30","05:45",0,100,0,200,0,0,0]
["05:45","06:00",0,100,0,200,0,0,0]
["06:00","06:15",0,100,0,200,0,0,0]
["06:15","06:30",0,100,0,350,50,200,0]
["06:30","06:45",0,100,80,350,50,200,120]
["06:45","07:00",0,100,80,350,50,200,120]
["07:00","07:15",0,100,80,350,50,200,120]
["07:15","07:30",0,100,80,350,50,200,120]
["07:30","07:45",0,100,80,350,50,100,60]
["07:45","08:00",0,100,0,350,50,100,0]
["08:00","08:15",0,100,0,300,50,0,0]
["08:15","08:30",0,100,0,200,0,0,0]
["08:30","08:45",0,100,0,200,0,0,0]
["08:45","09:00",0,100,0,200,0,0,0]
["09:00","09:15",0,0,0,100,0,0,0]
["09:15","09:30",0,0,0,0,0,0,0]
["09:30","09:45",0,0,0,0,0,0,0]
["09:45","10:00",0,0,0,0,0,0,0]
["10:00","10:15",0,0,0,0,0,0,0]
["10:15","10:30",0,0,0,0,0,0,0]
["10:30","10:45",0,0,0,0,0,0,0]
["10:45","11:00",0,0,0,0,0,0,0]
["11:00","11:15",0,0,0,0,0,0,0]
["11:15","11:30",0,0,0,0,0,0,0]
["11:30","11:45",0,0,0,0,0,0,0]
["11:45","12:00",0,0,0,0,0,0,0]
["12:00","12:15",0,0,0,0,0,0,0]
["12:15","12:30",0,0,0,0,0,0,0]
["12:30","12:45",0,0,0,0,0,0,0]
["12:45","13:00",0,0,0,0,0,0,0]
["13:00","13:15",0,0,0,0,0,0,0]
["13:15","13:30",0,0,0,0,0,0,0]
["13:30","13:45",0,0,0,0,0,0,0]
["13:45","14:00",0,0,0,0,0,0,0]
["14:00","14:15",0,0,0,0,0,0,0]
["14:15","14:30",0,0,0,0,0,0,0]
["14:30","14:45",0,0,0,0,0,0,0]
["14:45","15:00",0,0,0,0,0,0,0]
["15:00","15:15",0,0,0,0,0,0,0]
["15:15","15:30",0,0,0,0,0,0,0]
["15:30","15:45",0,0,0,0,0,0,0]
["15:45","16:00",0,0,0,0,0,0,0]
["16:00","16:15",0,0,0,0,0,0,0]
["16:15","16:30",0,0,0,0,0,0,0]
["16:30","16:45",0,0,0,0,0,0,0]
["16:45","17:00",0,0,0,0,0,0,0]
["17:00","17:15",0,0,0,0,0,0,0]
["17:15","17:30",0,0,0,0,0,0,0]
["17:30","17:45",0,0,0,0,0,0,0]
["17:45","18:00",0,0,0,0,0,0,0]
["18:00","18:15",0,0,0,0,0,0,0]
["18:15","18:30",80,0,0,0,0,0,0]
["18:30","18:45",80,0,0,0,0,0,0]
["18:45","19:00",80,0,0,0,0,0,0]
["19:00","19:15",80,0,0,0,0,0,0]
["19:15","19:30",80,0,0,0,0,0,0]
["19:30","19:45",80,0,0,0,0,0,0]
["19:45","20:00",80,0,0,0,0,0,0]
["20:00","20:15",80,0,0,0,0,0,0]
["20:15","20:30",80,0,0,0,0,0,0]
["20:30","20:45",80,0,0,0,0,0,0]
["20:45","21:00",80,0,0,0,0,0,0]
["21:00","21:15",80,0,0,0,0,0,0]
["21:15","21:30",80,0,0,0,0,0,0]
["21:30","21:45",80,0,0,0,0,0,0]
["21:45","22:00",80,0,0,0,0,0,0]
["22:00","22:15",0,0,0,0,0,0,0]
["22:15","22:30",0,0,0,0,0,0,0]
["22:30","22:45",0,0,0,0,0,0,0]
["22:45","23:00",0,0,0,0,0,0,0]
["23:00","23:15",0,0,0,0,0,0,0]
["23:15","23:30",0,0,0,0,0,0,0]
["23:30","23:45",0,0,0,0,0,0,0]
["23:45","24:00",0,0,0,0,0,0,0]