{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":13,"rows_kept":106}
[null,"Datum","02.02.2026","02.02.2026","02.02.2026","02.02.2026","02.02.2026","02.02.2026","02.02.2026","02.02.2026","02.02.2026","02.02.2026","02.02.2026"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD2 (DACF)"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Hamburg Nord - Hamburg Ost / 961","50H / 380kV / Hamburg Nord - Hamburg Ost / 961","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","50H / 380kV / Hamburg Nord - Hamburg Ost / 962","50H / 380kV / Hamburg Nord - Hamburg Ost / 962","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Markersbach (Standort)","Börse","Jänschwalde (Standort)","50H Berlin Lichterfelde","Rostock Kohlekraftwerk","50H Berlin Marzahn","Schwarze Pumpe (Standort)","Schkopau","Schkopau","Rostock Kohlekraftwerk","Schwarze Pumpe (Standort)"]
[null,"Richtung","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":80,"d":"80.00"},{"v":28.5,"d":"28.50"},{"v":588,"d":"588.00"},{"v":1302,"d":"1302.00"},{"v":1912,"d":"1912.00"},{"v":729,"d":"729.00"},499.75,{"v":142,"d":"142.00"},290.75,{"v":80,"d":"80.00"},{"v":450,"d":"450.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,80,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,80,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,80,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,80,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0]
["06:00","06:15",0,0,0,0,0,50,0,0,0,0,0]
["06:15","06:30",0,0,0,0,0,50,0,0,0,0,0]
["06:30","06:45",0,0,0,0,0,50,0,0,0,0,0]
["06:45","07:00",0,0,0,0,0,50,0,0,0,0,0]
["07:00","07:15",0,0,0,0,0,0,0,0,0,0,200]
["07:15","07:30",0,0,0,0,0,0,0,0,0,0,200]
["07:30","07:45",0,0,0,0,0,0,0,0,0,0,200]
["07:45","08:00",0,0,0,0,0,0,0,0,0,0,200]
["08:00","08:15",0,0,0,0,0,0,0,0,0,0,250]
["08:15","08:30",0,0,0,0,0,0,0,0,0,0,250]
["08:30","08:45",0,0,0,0,0,0,0,0,0,0,250]
["08:45","09:00",0,0,0,0,0,0,0,0,0,0,250]
["09:00","09:15",0,0,0,0,57,0,0,0,0,0,0]
["09:15","09:30",0,0,0,0,57,0,0,0,0,0,0]
["09:30","09:45",0,0,0,0,57,0,0,0,0,0,0]
["09:45","10:00",0,0,0,0,57,0,0,0,0,0,0]
["10:00","10:15",0,0,0,50,137,49,0,0,0,0,0]
["10:15","10:30",0,0,0,50,137,49,0,0,0,0,0]
["10:30","10:45",0,0,0,50,137,49,0,0,0,0,0]
["10:45","11:00",0,0,0,50,137,49,0,0,0,0,0]
["11:00","11:15",0,0,0,100,137,63,0,0,0,0,0]
["11:15","11:30",0,0,0,100,137,63,64,0,0,0,0]
["11:30","11:45",0,0,0,100,137,63,179,0,0,0,0]
["11:45","12:00",0,0,0,100,137,63,152,0,0,0,0]
["12:00","12:15",0,0,0,100,98,62,44,0,0,0,0]
["12:15","12:30",0,0,0,100,98,62,142,0,0,0,0]
["12:30","12:45",0,0,0,100,98,62,172,0,0,0,0]
["12:45","13:00",0,0,0,100,98,62,234,0,0,0,0]
["13:00","13:15",0,0,0,150,103,62,71,0,0,0,0]
["13:15","13:30",0,0,0,150,103,62,0,0,0,0,0]
["13:30","13:45",0,0,0,150,103,62,16,0,0,0,0]
["13:45","14:00",0,0,0,150,103,62,34,0,0,0,0]
["14:00","14:15",0,0,0,150,156,62,0,0,0,0,0]
["14:15","14:30",0,0,0,150,156,62,59,0,0,0,0]
["14:30","14:45",0,0,0,150,156,62,128,0,0,0,0]
["14:45","15:00",0,0,0,150,156,62,177,0,0,0,0]
["15:00","15:15",0,0,200,152,236,63,0,0,0,0,0]
["15:15","15:30",0,0,200,152,236,63,0,0,0,0,0]
["15:30","15:45",0,0,200,152,236,63,0,0,0,0,0]
["15:45","16:00",0,0,200,152,236,63,0,0,0,0,0]
["16:00","16:15",0,0,188,152,236,63,0,0,0,0,0]
["16:15","16:30",0,0,188,152,236,63,127,0,0,0,0]
["16:30","16:45",0,0,188,152,236,63,200,0,0,0,0]
["16:45","17:00",0,0,188,152,236,63,200,0,0,0,0]
["17:00","17:15",80,70,0,102,236,61,0,0,0,0,0]
["17:15","17:30",80,9,0,102,236,61,0,0,0,0,0]
["17:30","17:45",80,9,0,102,236,61,0,0,0,0,0]
["17:45","18:00",80,26,0,102,236,61,0,0,0,0,0]
["18:00","18:15",0,0,0,99,156,61,0,0,0,0,0]
["18:15","18:30",0,0,0,99,156,61,0,0,0,0,0]
["18:30","18:45",0,0,0,99,156,61,0,0,0,0,0]
["18:45","19:00",0,0,0,99,156,61,0,0,0,0,0]
["19:00","19:15",0,0,0,99,144,61,0,0,0,0,0]
["19:15","19:30",0,0,0,99,144,61,0,0,0,0,0]
["19:30","19:45",0,0,0,99,144,61,0,0,0,0,0]
["19:45","20:00",0,0,0,99,144,61,0,0,0,0,0]
["20:00","20:15",0,0,200,99,148,61,0,142,0,0,0]
["20:15","20:30",0,0,200,99,148,61,0,142,0,0,0]
["20:30","20:45",0,0,200,99,148,61,0,142,0,0,0]
["20:45","21:00",0,0,200,99,148,61,0,142,0,0,0]
["21:00","21:15",0,0,0,49,68,11,0,0,0,0,0]
["21:15","21:30",0,0,0,49,68,11,0,0,0,0,0]
["21:30","21:45",0,0,0,49,68,11,0,0,0,0,0]
["21:45","22:00",0,0,0,49,68,11,0,0,0,0,0]
["22:00","22:15",0,0,0,0,0,0,0,0,150,0,0]
["22:15","22:30",0,0,0,0,0,0,0,0,150,0,0]
["22:30","22:45",0,0,0,0,0,0,0,0,150,0,0]
["22:45","23:00",0,0,0,0,0,0,0,0,150,0,0]
["23:00","23:15",0,0,0,0,0,0,0,0,150,0,0]
["23:15","23:30",0,0,0,0,0,0,0,0,150,0,0]
["23:30","23:45",0,0,0,0,0,0,0,0,150,0,0]
["23:45","24:00",0,0,0,0,0,0,0,0,113,0,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":3,"rows_kept":106}
[null,"Datum","02.02.2026"]
[null,"GM-Art","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday"]
[null,"Anforderer","50Hertz"]
[null,"Ursache","I"]
[null,"überlastetes Netzelement","50H / 380kV / Pasewalk - Bertikow / 407"]
[null,"auslösendes Netzelement","50H / 380kV / Pasewalk - Bertikow / 408"]
[null,"AO Klarname","50H_EDIS_CR_PAS"]
[null,"Richtung","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":187.5,"d":"187.50"}]
["00:00","00:15",0]
["00:15","00:30",0]
["00:30","00:45",0]
["00:45","01:00",0]
["01:00","01:15",0]
["01:15","01:30",0]
["01:30","01:45",0]
["01:45","02:00",0]
["02:00","02:15",0]
["02:15","02:30",0]
["02:30","02:45",0]
["02:45","03:00",0]
["03:00","03:15",0]
["03:15","03:30",0]
["03:30","03:45",0]
["03:45","04:00",0]
["04:00","04:15",0]
["04:15","04:30",0]
["04:30","04:45",0]
["04:45","05:00",0]
["05:00","05:15",0]
["05:15","05:30",0]
["05:30","05:45",0]
["05:45","06:00",0]
["06:00","06:15",0]
["06:15","06:30",0]
["06:30","06:45",0]
["06:45","07:00",0]
["07:00","07:15",0]
["07:15","07:30",0]
["07:30","07:45",0]
["07:45","08:00",0]
["08:00","08:15",0]
["08:15","08:30",0]
["08:30","08:45",0]
["08:45","09:00",0]
["09:00","09:15",0]
["09:15","09:30",0]
["09:30","09:45",0]
["09:45","10:00",0]
["10:00","10:15",0]
["10:15","10:30",0]
["10:30","10:45",0]
["10:45","11:00",0]
["11:00","11:15",0]
["11:15","11:30",0]
["11:30","11:45",0]
["11:45","12:00",0]
["12:00","12:15",0]
["12:15","12:30",0]
["12:30","12:45",0]
["12:45","13:00",0]
["13:00","13:15",0]
["13:15","13:30",0]
["13:30","13:45",0]
["13:45","14:00",0]
["14:00","14:15",0]
["14:15","14:30",0]
["14:30","14:45",0]
["14:45","15:00",0]
["15:00","15:15",0]
["15:15","15:30",0]
["15:30","15:45",0]
["15:45","16:00",0]
["16:00","16:15",0]
["16:15","16:30",0]
["16:30","16:45",0]
["16:45","17:00",0]
["17:00","17:15",0]
["17:15","17:30",0]
["17:30","17:45",0]
["17:45","18:00",0]
["18:00","18:15",0]
["18:15","18:30",250]
["18:30","18:45",200]
["18:45","19:00",150]
["19:00","19:15",100]
["19:15","19:30",50]
["19:30","19:45",0]
["19:45","20:00",0]
["20:00","20:15",0]
["20:15","20:30",0]
["20:30","20:45",0]
["20:45","21:00",0]
["21:00","21:15",0]
["21:15","21:30",0]
["21:30","21:45",0]
["21:45","22:00",0]
["22:00","22:15",0]
["22:15","22:30",0]
["22:30","22:45",0]
["22:45","23:00",0]
["23:00","23:15",0]
["23:15","23:30",0]
["23:30","23:45",0]
["23:45","24:00",0]