{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":8,"rows_kept":106}
[null,"Datum","03.10.2025","03.10.2025","03.10.2025","03.10.2025","03.10.2025","03.10.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Netzbauprojekte","Netzbauprojekte","Netzbauprojekte","Netzbauprojekte","Netzbauprojekte","Netzbauprojekte"]
[null,"Anforderer","TenneT DE","TenneT DE","TenneT DE","TenneT DE","TenneT DE","TenneT DE"]
[null,"Ursache","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Lippendorf VE","50H Berlin Mitte","50H OWP Wikinger","50H OWP Arkona","50H UW Putlitz","50H PV Witznitz"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":496,"d":"496.00"},{"v":8,"d":"8.00"},32.75,45.25,{"v":37.5,"d":"37.50"},219.25]
["00:00","00:15",0,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0]
["01:00","01:15",50,0,0,0,0,0]
["01:15","01:30",50,0,0,0,0,0]
["01:30","01:45",50,0,0,0,0,0]
["01:45","02:00",50,0,0,0,0,0]
["02:00","02:15",50,0,0,0,0,0]
["02:15","02:30",50,0,0,0,0,0]
["02:30","02:45",50,0,0,0,0,0]
["02:45","03:00",50,0,0,0,0,0]
["03:00","03:15",50,0,0,0,0,0]
["03:15","03:30",50,0,0,0,0,0]
["03:30","03:45",50,0,0,0,0,0]
["03:45","04:00",50,0,0,0,0,0]
["04:00","04:15",50,0,0,0,0,0]
["04:15","04:30",50,0,0,0,0,0]
["04:30","04:45",50,0,0,0,0,0]
["04:45","05:00",50,0,0,0,0,0]
["05:00","05:15",50,0,0,0,0,0]
["05:15","05:30",50,0,0,0,0,0]
["05:30","05:45",50,0,0,0,0,0]
["05:45","06:00",50,0,0,0,0,0]
["06:00","06:15",50,0,0,0,0,0]
["06:15","06:30",50,0,0,0,0,0]
["06:30","06:45",50,0,0,0,0,0]
["06:45","07:00",50,0,0,0,0,0]
["07:00","07:15",50,0,0,0,0,0]
["07:15","07:30",50,0,0,0,0,0]
["07:30","07:45",50,0,0,0,0,0]
["07:45","08:00",50,0,0,0,0,0]
["08:00","08:15",58,0,0,0,0,0]
["08:15","08:30",58,0,0,0,0,0]
["08:30","08:45",58,0,0,0,0,0]
["08:45","09:00",58,0,0,0,0,0]
["09:00","09:15",58,0,0,0,0,0]
["09:15","09:30",58,0,0,0,0,0]
["09:30","09:45",58,0,0,0,0,0]
["09:45","10:00",58,0,0,0,0,0]
["10:00","10:15",60,0,0,0,0,0]
["10:15","10:30",60,0,0,0,0,0]
["10:30","10:45",0,16,0,3,4,37]
["10:45","11:00",0,16,0,4,5,35]
["11:00","11:15",0,0,1,5,5,58]
["11:15","11:30",0,0,1,5,5,58]
["11:30","11:45",0,0,2,5,5,57]
["11:45","12:00",0,0,2,6,7,54]
["12:00","12:15",0,0,4,6,7,55]
["12:15","12:30",0,0,4,7,7,54]
["12:30","12:45",0,0,6,8,8,50]
["12:45","13:00",0,0,6,9,8,49]
["13:00","13:15",0,0,8,10,10,61]
["13:15","13:30",0,0,9,11,10,59]
["13:30","13:45",0,0,10,13,11,55]
["13:45","14:00",0,0,12,14,11,52]
["14:00","14:15",0,0,15,16,11,46]
["14:15","14:30",0,0,16,18,12,35]
["14:30","14:45",0,0,17,20,12,32]
["14:45","15:00",0,0,18,21,12,30]
["15:00","15:15",0,0,0,0,0,0]
["15:15","15:30",0,0,0,0,0,0]
["15:30","15:45",0,0,0,0,0,0]
["15:45","16:00",0,0,0,0,0,0]
["16:00","16:15",0,0,0,0,0,0]
["16:15","16:30",0,0,0,0,0,0]
["16:30","16:45",0,0,0,0,0,0]
["16:45","17:00",0,0,0,0,0,0]
["17:00","17:15",0,0,0,0,0,0]
["17:15","17:30",0,0,0,0,0,0]
["17:30","17:45",0,0,0,0,0,0]
["17:45","18:00",0,0,0,0,0,0]
["18:00","18:15",0,0,0,0,0,0]
["18:15","18:30",0,0,0,0,0,0]
["18:30","18:45",0,0,0,0,0,0]
["18:45","19:00",0,0,0,0,0,0]
["19:00","19:15",0,0,0,0,0,0]
["19:15","19:30",0,0,0,0,0,0]
["19:30","19:45",0,0,0,0,0,0]
["19:45","20:00",0,0,0,0,0,0]
["20:00","20:15",0,0,0,0,0,0]
["20:15","20:30",0,0,0,0,0,0]
["20:30","20:45",0,0,0,0,0,0]
["20:45","21:00",0,0,0,0,0,0]
["21:00","21:15",0,0,0,0,0,0]
["21:15","21:30",0,0,0,0,0,0]
["21:30","21:45",0,0,0,0,0,0]
["21:45","22:00",0,0,0,0,0,0]
["22:00","22:15",0,0,0,0,0,0]
["22:15","22:30",0,0,0,0,0,0]
["22:30","22:45",0,0,0,0,0,0]
["22:45","23:00",0,0,0,0,0,0]
["23:00","23:15",0,0,0,0,0,0]
["23:15","23:30",0,0,0,0,0,0]
["23:30","23:45",0,0,0,0,0,0]
["23:45","24:00",0,0,0,0,0,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":5,"rows_kept":106}
[null,"Datum","03.10.2025","03.10.2025","03.10.2025"]
[null,"GM-Art","Unbilanzierter RD","Unbilanzierter RD","Unbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz"]
[null,"Ursache","I","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Pasewalk / Tr. 412","50H / 380kV-110kV / Görries / 402","50H / 380kV-110kV / Görries / 402"]
[null,"auslösendes Netzelement","50H / 380kV / Pasewalk / Tr. 413","Sonstiges (siehe Kommentar)","Sonstiges (siehe Kommentar)"]
[null,"AO Klarname","50H_EDIS_CR_PAS","50H_WEMA_CR_GOE","CROC Cluster Görries"]
[null,"Richtung","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":75,"d":"75.00"},{"v":112.5,"d":"112.50"},{"v":0,"d":"0.00"}]
["00:00","00:15",0,0,0]
["00:15","00:30",0,0,0]
["00:30","00:45",0,0,0]
["00:45","01:00",0,0,0]
["01:00","01:15",0,0,0]
["01:15","01:30",0,0,0]
["01:30","01:45",0,0,0]
["01:45","02:00",0,0,0]
["02:00","02:15",0,0,0]
["02:15","02:30",0,0,0]
["02:30","02:45",0,0,0]
["02:45","03:00",0,0,0]
["03:00","03:15",0,0,0]
["03:15","03:30",0,0,0]
["03:30","03:45",0,0,0]
["03:45","04:00",0,0,0]
["04:00","04:15",0,0,0]
["04:15","04:30",0,0,0]
["04:30","04:45",0,0,0]
["04:45","05:00",0,0,0]
["05:00","05:15",0,0,0]
["05:15","05:30",0,0,0]
["05:30","05:45",0,0,0]
["05:45","06:00",0,0,0]
["06:00","06:15",0,0,0]
["06:15","06:30",0,0,0]
["06:30","06:45",0,0,0]
["06:45","07:00",0,0,0]
["07:00","07:15",0,0,0]
["07:15","07:30",0,0,0]
["07:30","07:45",0,0,0]
["07:45","08:00",0,0,0]
["08:00","08:15",0,0,0]
["08:15","08:30",0,0,0]
["08:30","08:45",0,0,0]
["08:45","09:00",0,0,0]
["09:00","09:15",0,0,0]
["09:15","09:30",0,0,0]
["09:30","09:45",0,0,0]
["09:45","10:00",0,0,0]
["10:00","10:15",0,0,0]
["10:15","10:30",0,0,0]
["10:30","10:45",0,0,0]
["10:45","11:00",0,0,0]
["11:00","11:15",0,0,0]
["11:15","11:30",0,0,0]
["11:30","11:45",0,0,0]
["11:45","12:00",0,0,0]
["12:00","12:15",0,0,0]
["12:15","12:30",0,0,0]
["12:30","12:45",0,0,0]
["12:45","13:00",0,0,0]
["13:00","13:15",0,0,0]
["13:15","13:30",0,0,0]
["13:30","13:45",0,0,0]
["13:45","14:00",0,0,0]
["14:00","14:15",0,0,0]
["14:15","14:30",0,50,0]
["14:30","14:45",0,50,0]
["14:45","15:00",0,50,0]
["15:00","15:15",0,50,0]
["15:15","15:30",0,50,0]
["15:30","15:45",0,50,0]
["15:45","16:00",0,50,0]
["16:00","16:15",0,50,0]
["16:15","16:30",0,50,0]
["16:30","16:45",0,0,0]
["16:45","17:00",0,0,0]
["17:00","17:15",0,0,0]
["17:15","17:30",0,0,0]
["17:30","17:45",0,0,0]
["17:45","18:00",0,0,0]
["18:00","18:15",0,0,0]
["18:15","18:30",0,0,0]
["18:30","18:45",0,0,0]
["18:45","19:00",0,0,0]
["19:00","19:15",0,0,0]
["19:15","19:30",0,0,0]
["19:30","19:45",0,0,0]
["19:45","20:00",0,0,0]
["20:00","20:15",0,0,0]
["20:15","20:30",0,0,0]
["20:30","20:45",0,0,0]
["20:45","21:00",0,0,0]
["21:00","21:15",0,0,0]
["21:15","21:30",0,0,0]
["21:30","21:45",0,0,0]
["21:45","22:00",0,0,0]
["22:00","22:15",0,0,0]
["22:15","22:30",0,0,0]
["22:30","22:45",0,0,0]
["22:45","23:00",0,0,0]
["23:00","23:15",0,0,0]
["23:15","23:30",100,0,0]
["23:30","23:45",100,0,0]
["23:45","24:00",100,0,0]