{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Redispatch"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":23,"rows_kept":106}
[null,"Datum","13.01.2026","13.01.2026","13.01.2026","13.01.2026","13.01.2026","13.01.2026","13.01.2026","13.01.2026","13.01.2026","13.01.2026","13.01.2026","13.01.2026","13.01.2026","13.01.2026","13.01.2026","13.01.2026","13.01.2026","13.01.2026","13.01.2026","13.01.2026","13.01.2026"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD1","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","TenneT DE","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Vierraden / Tr. 443","50H / 380kV / Vierraden / Tr. 443","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","50H-PSE / 380kV / Hagenwerder - Mikulowa / 567","50H-PSE / 380kV / Hagenwerder - Mikulowa / 567","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","Schkopau","Lippendorf","Schkopau","Boxberg (Standort)","Lippendorf","Lippendorf","Schkopau","Boxberg (Standort)","Lippendorf","50H Berlin Marzahn","Schwarze Pumpe (Standort)","Lippendorf","50H Hamburg MMB BHKW PtH","Boxberg (Standort)","50H Hamburg Tiefstack GuD","Boxberg (Standort)","Jänschwalde (Standort)","Goldisthal (Standort)","Goldisthal (Standort)"]
[null,"Richtung","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","SENKE","SENKE","SENKE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":200,"d":"200.00"},{"v":100,"d":"100.00"},{"v":125,"d":"125.00"},{"v":110,"d":"110.00"},{"v":106,"d":"106.00"},{"v":50,"d":"50.00"},{"v":75,"d":"75.00"},{"v":1014,"d":"1014.00"},{"v":66,"d":"66.00"},{"v":110,"d":"110.00"},{"v":38,"d":"38.00"},{"v":241,"d":"241.00"},{"v":1720.5,"d":"1720.50"},{"v":177.5,"d":"177.50"},{"v":54,"d":"54.00"},{"v":95,"d":"95.00"},{"v":6.5,"d":"6.50"},{"v":35,"d":"35.00"},{"v":120,"d":"120.00"},{"v":1100,"d":"1100.00"},{"v":574,"d":"574.00"}]
["00:00","00:15",0,0,0,0,0,0,100,0,0,0,0,0,246,295,0,59,26,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,100,0,0,0,0,0,260,125,0,0,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,100,0,0,0,0,0,260,0,0,0,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,0,260,0,0,0,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0,0,274,50,0,0,0,0,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0,0,274,0,0,0,0,0,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0,0,244,0,0,0,0,0,0,0,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0,0,244,0,0,0,0,0,0,0,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0,0,244,0,0,0,0,0,0,0,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,0,244,0,0,0,0,0,0,0,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,0,244,0,0,0,0,0,0,0,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,0,244,0,0,0,0,0,0,0,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,22,310,0,18,0,0,0,0,0,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,22,310,0,18,0,0,0,0,0,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,22,310,0,18,0,0,0,0,0,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,22,332,33,18,45,0,0,0,0,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,13,332,0,18,0,0,0,0,0,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,13,380,7,18,45,0,0,0,0,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,13,322,0,18,0,0,0,0,0,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,13,260,0,18,0,0,0,0,0,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0,22,360,0,18,114,0,0,0,0,0]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0,22,360,0,18,104,0,0,0,0,0]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0,22,360,0,18,13,0,0,0,0,0]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0,22,208,0,18,0,0,0,0,0,0]
["06:00","06:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["06:15","06:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["06:30","06:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["06:45","07:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["07:00","07:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["07:15","07:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["07:30","07:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["07:45","08:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["08:00","08:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["08:15","08:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["08:30","08:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["08:45","09:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["09:00","09:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["09:15","09:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["09:30","09:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["09:45","10:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["10:00","10:15",0,0,125,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,700,0]
["10:15","10:30",0,0,125,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,700,0]
["10:30","10:45",0,0,125,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,700,0]
["10:45","11:00",0,0,125,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,700,0]
["11:00","11:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,400,0]
["11:15","11:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,400,0]
["11:30","11:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,400,0]
["11:45","12:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,400,0]
["12:00","12:15",0,0,0,0,0,0,0,0,0,0,0,24,0,0,0,0,0,0,0,0,0]
["12:15","12:30",0,0,0,0,0,0,0,0,0,0,0,24,0,0,0,0,0,0,0,0,0]
["12:30","12:45",0,0,0,0,0,0,0,0,0,0,0,24,0,0,0,0,0,0,0,0,0]
["12:45","13:00",0,0,0,0,0,0,0,0,0,0,0,24,0,0,0,0,0,0,0,0,0]
["13:00","13:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:15","13:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:30","13:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:45","14:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:00","14:15",200,100,0,0,0,0,0,0,0,0,0,40,0,0,0,0,0,0,0,0,0]
["14:15","14:30",200,100,0,0,0,0,0,0,0,0,0,40,0,0,0,0,0,0,0,0,0]
["14:30","14:45",200,100,0,0,0,0,0,0,0,0,0,40,0,0,0,0,0,0,0,0,0]
["14:45","15:00",200,100,0,0,0,0,0,0,0,0,0,40,0,0,0,0,0,0,0,0,0]
["15:00","15:15",0,0,0,0,0,0,0,0,0,0,0,40,0,0,0,0,0,0,0,0,0]
["15:15","15:30",0,0,0,0,0,0,0,0,0,0,0,40,0,0,0,0,0,0,0,0,0]
["15:30","15:45",0,0,0,0,0,0,0,0,0,0,0,40,0,0,0,0,0,0,0,0,0]
["15:45","16:00",0,0,0,0,0,0,0,0,0,0,0,40,0,0,0,0,0,0,0,0,200]
["16:00","16:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,200]
["16:15","16:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,200]
["16:30","16:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,200]
["16:45","17:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,200]
["17:00","17:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,324]
["17:15","17:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,324]
["17:30","17:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,324]
["17:45","18:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,324]
["18:00","18:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:15","18:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:30","18:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:45","19:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:00","19:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:15","19:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:30","19:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:45","20:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:00","20:15",0,0,0,0,0,50,0,260,0,0,0,40,0,50,0,0,0,0,0,0,0]
["20:15","20:30",0,0,0,0,0,50,0,260,0,0,0,40,0,50,0,0,0,0,0,0,0]
["20:30","20:45",0,0,0,0,0,50,0,260,0,0,0,40,0,50,0,0,0,0,0,0,0]
["20:45","21:00",0,0,0,0,0,50,0,260,0,0,0,40,0,50,0,0,0,0,0,0,0]
["21:00","21:15",0,0,0,0,56,0,0,224,36,0,0,0,0,0,0,0,0,0,0,0,0]
["21:15","21:30",0,0,0,0,56,0,0,224,36,0,0,0,0,0,0,0,0,0,0,0,0]
["21:30","21:45",0,0,0,0,56,0,0,224,36,0,0,0,0,0,0,0,0,0,0,0,0]
["21:45","22:00",0,0,0,0,56,0,0,224,36,0,0,0,0,0,0,0,0,0,0,0,0]
["22:00","22:15",0,0,0,0,50,0,0,230,30,0,0,0,0,0,0,0,0,35,120,0,0]
["22:15","22:30",0,0,0,0,50,0,0,230,30,0,0,0,0,0,0,0,0,35,120,0,0]
["22:30","22:45",0,0,0,0,50,0,0,230,30,0,0,0,0,0,0,0,0,35,120,0,0]
["22:45","23:00",0,0,0,0,50,0,0,230,30,0,0,0,0,0,0,0,0,35,120,0,0]
["23:00","23:15",0,0,0,110,0,0,0,260,0,110,38,40,0,0,0,0,0,0,0,0,0]
["23:15","23:30",0,0,0,110,0,0,0,260,0,110,38,40,0,0,0,0,0,0,0,0,0]
["23:30","23:45",0,0,0,110,0,0,0,300,0,110,38,40,0,0,0,0,0,0,0,0,0]
["23:45","24:00",0,0,0,110,0,0,0,380,0,110,38,40,0,0,0,0,0,0,0,0,0]