## 00 Editing Note
Market Sounding/Evaluation for potential vendors of systems for Dynamic Security Assessment
Notes for the vendor on the processing of the present document
This market evaluation is intended to be used by the vendor to answer or process questions or tasks related to 50hertz's Dynamic Security Assessment Initiative. In this context, please note the following processing instructions:
Please enter your responses in the designated "Vendor Response" and/or "Explanation/Details/Specification" column of the respective Task and Question Tables. The light orange colorization indicates, where to answer a specific question.
If possible, keep your additional provided comments short and precise. If necessary, you can include one-to-one references to attached files (concrete graphics and/or individual MS PowerPoint slides, etc.) in the respective answer fields.
Unless 50Hertz specifically asks for additional documents in the task or question, please do not attach any additional documents from which the answer or processing of a task or question could result.
Please save the response document you edited in MS Office Excel format with the following name: MEV_DSA_for_50Hertz_<Name Provider>.xlsx. Unfortunately, providing the response document in pdf format cannot be accepted.

## 01 Content
Market Sounding/Evaluation for potential vendors of systems for Dynamic Security Assessment
01 Content
02 DSA & Extended Functionality
2.1 | Industry Knowledge and Experience
2.2 | RMS Calculation
2.3 | Dynamize grid models
2.4 | Frequency-domain calculation (Modal Analysis)
2.5 | Long-term voltage stability
2.6 | Countermeasures
2.7 | General Requirements
03 IT-related questions
3.1 | Modularity, Programming Interfaces and IT-Services
3.2 | IT-support
Attachment
1 | MCCSng_Ext-System_Integration_Scenarios.pdf

## 02 DSA & Extended Func.
2. | Questions about DSA competences | Category | Vendor Response Select answer from dropdown or leave blank | Explanation/Details/Specification Provide additional comments/explanations here
2.1 | Industry Knowledge and Experience
2.1.1 | Please describe your knowledge and experience in the field of energy and electric power systems.
2.1.2 | What knowledge and experience do you have in dynamic network analysis, especially DSA?
2.1.3 | Please describe (name, customer is not relevant) at least 3 reference projects for the implementation of dynamic network calculations and specify the following information: goal of the project, topics/areas of interest, calculation types/methods.
2.1.4 | Is your company involved in research projects concerning DSA? If yes, which?
2.1.5 | Can you provide a product demo that covers the functionality of the queries listed below as far as possible. The product demo shoud be based on a grid with 14.000 nodes calculating RMS simulations of 600 contigencies (short circuit events) with 150 miliseconds clearing time each. The calculation should be finished in within 15 minutes. Please indicate the ability by clicking yes but do not deliver a demo directly.
2.2 | RMS Calculation
2.2.1 | Is there a functionality to perform dynamic RMS simulations (positive sequence)? | RMS Calculation
2.2.2 | Is it possible to provide a demo version of the RMS simulation that can be run in 50Hertz's IT environment? The demo version should include the Texas Test System with its dynamic controllers (Link: https://electricgrids.engr.tamu.edu/electric-grid-test-cases/activsg2000/) or a test system with similar characteristics. Please indicate the ability by clicking yes but do not deliver a demo directly. | RMS Calculation
2.2.3 | Are there reference benchmarks to compare the performance of the RMS tools with common network calculation software (PowerFactory, PSS/E, NEPLAN, ...)? | RMS Calculation
2.2.4 | Is there functionality for dynamic, time-domain calculation of transient stability criteria? | RMS Calculation
2.2.5 | If (2.2.4) yes, can short-circuit assessments (FRT) be performed? | RMS Calculation
2.2.6 | If (2.2.4) yes, can topology changes be taken into account (breaker opening, line tripping, etc.)? | RMS Calculation
2.2.7 | If (2.2.4) yes, can events be applied to controller parameter settings (e.g. active power setpoint)? | RMS Calculation
2.2.8 | Does the tool support stability indicators? If yes, which ones? | RMS Calculation
2.2.9 | If yes (2.2.8), can the stability indicators be monitored during time-domain simulation (as oposed to post-processing)? | RMS Calculation
2.2.10 | Can the tool assess stability reserves? If yes, for which stability criteria? | RMS Calculation
2.2.11 | Can customized methods to analyze stability criteria be implemented? | RMS Calculation
2.3 | Dynamize grid models
2.3.1 | Can the tool do plausibility checks of network data? If yes, which checks are provided? | Dynamize Grid Models
2.3.2 | Does the tool offer functionalities to consider the modelling of protection systems and their response in dynamic simulations? | Dynamize Grid Models
2.3.3 | Is UCTE DEF supported? | Dynamize Grid Models
2.3.4 | Is CGMES supported? | Dynamize Grid Models
2.3.5 | If (2.3.4) yes, which versions are supported? | Dynamize Grid Models
2.3.6 | If (2.3.4) yes, which profiles are supported (e.g. SSH, contingencies, etc.)? | Dynamize Grid Models
2.3.7 | How and to what extend does the internal data structure of the tool differ from CGMES? If possible, please provide an overview of the internal data structure. | Dynamize Grid Models
2.3.8 | Are formats for dynamic models supported (e.g. DLL, FMI, Modelica)? If yes, which? | Dynamize Grid Models
2.3.9 | Which standard dynamic models are supported in which versions (e.g. WECC, IEC, IEEE, …)? | Dynamize Grid Models
2.3.10 | Does the tool allow for user defined dynamic controller models? | Dynamize Grid Models
2.4 | Frequency-domain calculation (Modal Analysis)
2.4.1 | Can the tool calculate small-signal stability by modal analysis of the linearized dynamic system model? | Frequency-domain calculation (Modal Analysis)
2.4.2 | Does the tool offer functionalities for the conversion between time- and frequency-domain? (e.g. DFT, prony analysis) | Frequency-domain calculation (Modal Analysis)
2.5 | Long-term voltage stability
2.5.1 | Can the tool assess long-term voltage stability? | Long-term voltage stability
2.5.1.1 | If yes (2.5.1), is there support for reactive power reserve calculation? | Long-term voltage stability
2.5.2 | Does the tool support PV-/QV-curves? | Long-term voltage stability
2.5.3 | Does the tool support modal analysis of the reduced power flow jacobian? | Long-term voltage stability
2.5.3.1 | If yes (2.5.3), is there support for participation factors (bus, branch, generator)? | Long-term voltage stability
2.5.3.2 | If yes (2.5.3), is there support for sensitivity analysis (e.g., dV/dQ sensitivity)? | Long-term voltage stability
2.6 | Countermeasures
2.6.1 | Can the tool propose countermeasures upon detection of stability issues? If yes, which ones? | Countermeasures
2.6.2 | If yes (2.6.1), can the countermeasures be ranked (e.g. according to efficiency, cost, etc.)? | Countermeasures
2.6.3 | If yes (2.6.1), can the countermeasures be modified by the operator and reevaluated by the tool? | Countermeasures
2.6.4 | Can countermeasures be included in the visualization/graphical representation? | Countermeasures
2.6.5 | Can the countermeasures be adapted and reevaluated interatctively in the graphical representation? | Countermeasures
2.6.6 | Can a customized logic/method for derivation of countermeasure be applied? | Countermeasures
2.7 | General Requirements
2.7.1 | Which calculation methods are offered for the analysis of electric power systems? | General
2.7.2 | Can the tool do plausibility checks of calculation results? If yes, which checks are provided? | General
2.7.3 | Can probabilistic forecasting (30 min - 6h) be considered? | General
2.7.4 | Can relative outage probabilities be considered? | General
2.7.5 | Can methods for contingency screening be applied? | General
2.7.6 | Do you offer AI based methods (e.g. for contingency screening)? If yes, which? | General
2.7.7 | If yes (2.7.6), in which DSA modules/steps are the methods used? | General
2.7.8 | Does the tool offer optimization methods with objectives/constraints e.g. for dynamic stability, OPF voltage/reactive power, congestion management or redispatch? | General
2.7.9 | Is there support for graphical representation of large transmission systems? | General
2.7.10 | Is there a simple and intuitive visualization that summarizes the system state (e.g traffic lights or similar)? | General
2.7.11 | Is offline mode supported (e.g. for training of operators)? | General
2.7.12 | Is there an archiving function (e.g to evaluate decisions taken by the operator in retrospect)? | General
2.7.13 | Can data from field measurements (PMU, WAMS, SCADA, etc.) be interfaced with the DSA tools? | General
2.7.14 | If yes (2.7.13), which interfaces are used? | General
2.7.15 | Please describe the process for operational data (e.g. switching states, node voltages, branch currents from SCADA systems) to be imported in the DSA tool, ensuring a plausible and realistic initial state for the RMS calculation. | General

## 03 IT-related topics
3 | General IT-releated questions | Vendor response | Explanation/Details/Specification
3.1 | Modularity, Programming Interfaces and IT-Services
3.1.1 | Can the different functionalities be supplied in a modular manner?
3.1.2 | To what extend does the tool allow programmability within the tool itself?
3.1.3 | What operating systems are supported?
3.1.4 | Are there dependencies on other software (databases, middleware, …) to be able to run the sofware? If yes, please name the dependecies.
3.1.5 | Can you run the software in (docker-) containers?
3.1.5.1 | If (3.1.5) yes: Are images available?
3.1.5.2 | If (3.1.5) yes: Do you offer Images using Windows as base image?
3.1.5.3 | If (3.1.5) yes: Do you offer Images using Linux as base image?
3.1.6 | Can the software be run in engine mode (simply as a service without UI and without user interaction)?
3.1.6.1 | If (3.1.6) yes: Which protocols are supported (REST, gRCP, Kafka)?
3.1.6.2 | If (3.1.6) yes: Which functionalities are exposed via API's?
3.1.7 | Is it possible to connect external components (e.g. solvers)?
3.1.8 | Does the system support parallelization of operations?
3.1.8.1 | If (3.1.8) yes: What are the adjustable parameters for parallelzation?
3.1.9 | What kind of deployment models are supported (Local/SaaS/Cloud/hybrid)?
3.1.10 | Which integration scenarios presented in the attached document "MCCSng_Ext-System_Integration_Scenarios.pdf" are you able to realize with your technology stack enabling DSA?
3.1.11. | Can you provide a Web UI? If yes, provide at least 3 sample screenshots.
3.2 | IT-support
3.2.1 | Does the vendor offer IT-support for example 24/7 or business hours only?
3.2.2 | Please describe your licensing model.
3.2.3 | What kind of protection is used (USB-dongle, Software License, etc.) and how is it technically organized, especially for the container mode?

## Summary (hidden)
Topic | Sum answer "yes" | Total number of answers
02 DSA & Extended Functionality | 0 | 0
03 IT-related topics | 0 | 0

## Steuerung (hidden)
Scale 1 | Scale 2 | Y/N
very high | very high | yes
high | high | no
medium | medium
low | low
none | very low
none
02 DSA & Extended Functionality |  |  |  | 03 IT-related topics
Question | Weight | Answer | Sum | Question | Weight | Answer | Sum
2.1.1 | 1 | 0 | 0 | 3.1.1 | 1 | 0 | 0
2.1.2 | 1 | 0 | 0 | 3.1.2 | 1 | 0 | 0
2.1.3 | 1 | 0 | 0 | 3.1.3 | 1 | 0 | 0
2.1.4 | 2 | 0 | 0 | 3.1.4 | 1 | 0 | 0
2.1.5 | 3 | 0 | 0 | 3.1.5 | 1 | 0 | 0
2.2 |  | 0 | 0 | 3.1.5.1 | 1 | 0 | 0
2.2.1 | 3 | 0 | 0 | 3.1.5.2 | 1 | 0 | 0
2.2.2 | 2 | 0 | 0 | 3.1.5.3 | 1 | 0 | 0
2.2.3 | 1 | 0 | 0 | 3.1.6 | 1 | 0 | 0
2.2.4 | 3 | 0 | 0 | 3.1.6.1 | 1 | 0 | 0
2.2.5 | 3 | 0 | 0 | 3.1.6.2 | 1 | 0 | 0
2.2.6 | 3 | 0 | 0 | 3.1.7 | 1 | 0 | 0
2.2.7 | 2 | 0 | 0 | 3.1.8 | 1 | 0 | 0
2.2.8 | 1 | 0 | 0 | 3.1.8.1 | 1 | 0 | 0
2.2.9 | 1 | 0 | 0 | 3.1.9 | 1 | 0 | 0
2.2.10 | 1 | 0 | 0 | 3.1.10 | 1 | 0 | 0
2.2.11 | 3 | 0 | 0 | 3.1.11. | 1 | 0 | 0
2.3 |  | 0 | 0 | 3.2.1 | 1 | 0 | 0
2.3.1 | 1 | 0 | 0 | 3.2.1.1 | 1 | #N/A | #N/A
2.3.2 | 1 | 0 | 0 | 3.2.2 | 1 | 0 | 0
2.3.3 | 2 | 0 | 0 | 3.2.3 | 1 | 0 | 0
2.3.4 | 3 | 0 | 0 | 3.2.4 | 1 | #N/A | #N/A
2.3.5 |  | 0 | 0
2.3.6 |  | 0 | 0
2.3.7 |  | 0 | 0
2.3.8 | 1 | 0 | 0
2.3.9 |  | 0 | 0
2.3.10 | 3 | 0
2.4 |  | 0 | 0
2.4.1 | 3 | 0 | 0
2.4.2 | 2 | 0 | 0
2.5 |  | 0 | 0
2.5.1 | 3 | 0 | 0
2.5.1.1 | 1 | 0 | 0
2.5.2 | 3 | 0 | 0
2.5.3 | 3 | 0 | 0
2.5.3.1 | 3 | 0 | 0
2.5.3.2 | 3 | 0 | 0
2.6 |  | 0 | 0
2.6.1 | 2 | 0 | 0
2.6.2 | 2 | 0 | 0
2.6.3 | 2 | 0 | 0
2.6.4 | 1 | 0 | 0
2.6.5 | 1 | 0 | 0
2.6.6 | 3 | 0
2.7 |  | 0 | 0
2.7.1 |  | 0 | 0
2.7.2 | 1 | 0 | 0
2.7.3 | 1 | 0 | 0
2.7.4 | 1 | 0 | 0
2.7.5 | 2 | 0 | 0
2.7.6 | 1 | 0 | 0
2.7.7 |  | 0
2.7.8 | 1 | 0
2.7.9 | 1 | 0
2.7.10 | 2 | 0
2.7.11 | 2 | 0
2.7.12 | 1 | 0
2.7.13 |  | 0
2.7.14 | 1 | 0
2.7.15 |  | 0
do not change
Will be password locked when sent to vendors