{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":28,"rows_kept":106}
[null,"Datum","26.02.2026","26.02.2026","26.02.2026","26.02.2026","26.02.2026","26.02.2026","26.02.2026","26.02.2026","26.02.2026","26.02.2026","26.02.2026","26.02.2026","26.02.2026","26.02.2026","26.02.2026","26.02.2026","26.02.2026","26.02.2026","26.02.2026","26.02.2026","26.02.2026","26.02.2026","26.02.2026","26.02.2026","26.02.2026","26.02.2026"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Charlottenburg - Mitte / 906","50H / 380kV / Charlottenburg - Mitte / 906","50H / 380kV / Charlottenburg - Mitte / 906","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","50H / 380kV / Reuter - Mitte / 903","50H / 380kV / Reuter - Mitte / 903","50H / 380kV / Reuter - Mitte / 903","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","50H UW Bertikow","Boxberg (Standort)","Schwarze Pumpe (Standort)","50H Berlin Mitte","Boxberg (Standort)","50H Berlin Lichterfelde","Lippendorf","50H Erfurt-Ost HKW GuD","50H Halle-Dieselstr HKW-BlockA","50H Dresden-Nossen","50H BASF Schwarzheide","50H UW Bertikow","Jänschwalde (Standort)","50H Erfurt-Ost HKW GuD","50H InfraLeuna IKW","50H Berlin Lichterfelde","50H Berlin Marzahn","50H Berlin Mitte","50H Neubrandenburg GuD","50H Rostock Marienehe","50H Halle-Trotha HKW","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","Lippendorf","50H Hamburg Wedel1","50H BASF Schwarzheide"]
[null,"Richtung","SENKE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":338.5,"d":"338.50"},215.25,123.25,{"v":307,"d":"307.00"},372.75,{"v":210,"d":"210.00"},{"v":316,"d":"316.00"},{"v":33,"d":"33.00"},{"v":49,"d":"49.00"},{"v":85,"d":"85.00"},{"v":19,"d":"19.00"},{"v":503,"d":"503.00"},{"v":56,"d":"56.00"},{"v":105,"d":"105.00"},{"v":127,"d":"127.00"},{"v":473,"d":"473.00"},{"v":2097,"d":"2097.00"},{"v":806,"d":"806.00"},{"v":28,"d":"28.00"},{"v":440,"d":"440.00"},{"v":44,"d":"44.00"},{"v":100,"d":"100.00"},{"v":1555,"d":"1555.00"},{"v":607,"d":"607.00"},{"v":595,"d":"595.00"},{"v":66,"d":"66.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,0,0,56,0,0,27,100,0,0,0,0,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,0,0,56,0,0,27,100,0,0,0,0,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,0,0,56,0,0,27,100,0,0,0,0,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,0,56,0,0,27,100,0,0,0,0,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,27,100,0,0,40,0,0,0,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,27,100,0,0,40,0,0,0,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,27,100,0,0,40,0,0,0,0,0,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,27,100,0,0,40,0,0,0,0,0,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,13,100,0,0,0,0,0,0,0,10,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,13,100,0,0,0,0,0,0,0,10,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,13,100,0,0,0,0,0,0,0,10,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,13,100,0,0,0,0,0,0,0,10,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,27,100,0,0,40,0,0,0,0,59,12]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,27,100,0,0,40,0,0,0,0,59,24]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,27,100,0,0,40,0,0,0,0,59,24]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,27,100,0,0,40,0,0,0,0,59,24]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,27,100,0,0,40,0,0,0,0,59,24]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,27,100,0,0,40,0,0,0,0,59,24]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,27,100,0,0,40,0,0,0,0,59,24]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,27,100,0,0,40,0,0,0,0,59,24]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,22,100,0,0,40,0,0,0,0,59,24]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,22,100,0,0,40,0,0,0,0,59,24]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,22,100,0,0,40,0,0,0,0,59,24]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,22,100,0,0,40,0,0,0,0,59,12]
["06:00","06:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,22,119,56,0,0,0,0,0,0,59,0]
["06:15","06:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,22,119,56,0,0,0,0,0,0,59,0]
["06:30","06:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,22,119,56,0,0,0,0,0,0,59,0]
["06:45","07:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,22,119,56,0,0,0,0,0,0,59,0]
["07:00","07:15",0,0,0,50,0,27,0,0,0,0,0,0,0,0,0,49,159,106,0,0,0,0,0,0,78,0]
["07:15","07:30",0,0,0,50,0,27,0,0,0,0,0,0,0,0,0,49,159,106,0,0,0,0,0,0,78,0]
["07:30","07:45",0,0,0,50,0,27,0,0,0,0,0,0,0,0,0,49,159,106,0,0,0,0,0,0,78,0]
["07:45","08:00",0,0,0,50,0,27,0,0,0,0,0,0,0,0,0,49,159,106,0,0,0,0,0,0,78,0]
["08:00","08:15",0,0,0,99,66,27,0,0,0,0,0,0,0,39,25,99,188,155,0,40,22,100,161,152,28,0]
["08:15","08:30",0,0,0,99,66,27,0,0,0,0,0,0,0,39,25,99,188,155,0,40,22,100,161,152,28,0]
["08:30","08:45",0,0,0,99,66,27,0,0,0,0,0,0,0,39,25,99,188,155,0,40,22,100,161,152,28,0]
["08:45","09:00",0,0,0,99,66,27,0,0,0,0,0,0,0,39,25,99,188,155,0,40,22,100,161,152,28,0]
["09:00","09:15",0,0,0,49,0,27,0,0,0,0,0,0,0,0,0,83,188,195,0,0,1,0,472,125,0,0]
["09:15","09:30",0,0,0,49,0,27,16,0,0,0,0,0,0,0,0,83,188,195,0,0,1,0,472,125,0,0]
["09:30","09:45",277,75,202,49,0,27,41,0,0,0,0,0,0,0,0,83,188,195,0,0,1,0,472,125,0,0]
["09:45","10:00",257,150,107,49,0,27,301,0,0,0,0,0,0,0,0,83,188,195,0,0,1,0,472,125,0,0]
["10:00","10:15",234,225,9,49,0,37,111,0,0,0,0,0,0,39,25,0,188,244,15,40,21,0,872,201,0,0]
["10:15","10:30",212,212,0,49,0,37,111,0,0,0,0,0,0,39,25,0,188,244,15,40,21,0,872,201,0,0]
["10:30","10:45",194,137,57,49,0,37,111,0,0,0,0,0,0,39,25,0,188,244,15,40,21,0,872,201,0,0]
["10:45","11:00",180,62,118,49,0,37,111,0,0,0,0,0,0,39,25,0,188,244,15,40,21,0,872,201,0,0]
["11:00","11:15",0,0,0,0,0,37,0,0,0,0,0,174,0,4,13,0,86,0,13,40,0,0,0,0,0,0]
["11:15","11:30",0,0,0,0,0,37,0,0,0,0,0,172,0,4,13,0,86,0,13,40,0,0,0,0,0,0]
["11:30","11:45",0,0,0,0,0,37,0,0,0,0,0,176,0,4,13,0,86,0,13,40,0,0,0,0,0,0]
["11:45","12:00",0,0,0,0,0,37,0,0,0,0,0,175,0,4,13,0,86,0,13,40,0,0,0,0,0,0]
["12:00","12:15",0,0,0,0,0,0,0,0,0,0,0,15,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:15","12:30",0,0,0,0,0,0,0,0,0,0,0,60,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:30","12:45",0,0,0,0,0,0,0,0,0,0,0,85,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:45","13:00",0,0,0,0,0,0,0,0,0,0,0,110,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:00","13:15",0,0,0,0,0,0,0,0,0,0,0,110,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:15","13:30",0,0,0,0,0,0,0,0,0,0,0,110,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:30","13:45",0,0,0,0,0,0,0,0,0,0,0,110,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:45","14:00",0,0,0,0,0,0,0,0,0,0,0,110,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:00","14:15",0,0,0,0,0,0,0,0,0,0,0,110,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:15","14:30",0,0,0,0,0,0,0,0,0,0,0,165,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:30","14:45",0,0,0,0,0,0,0,0,0,0,0,165,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:45","15:00",0,0,0,0,0,0,0,0,0,0,0,165,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["15:00","15:15",0,0,0,0,110,0,0,0,0,0,0,0,0,0,0,0,55,0,0,0,0,0,0,0,0,0]
["15:15","15:30",0,0,0,0,220,0,0,0,0,0,0,0,0,0,0,0,55,0,0,0,0,0,0,0,0,0]
["15:30","15:45",0,0,0,0,220,0,0,0,0,0,0,0,0,0,0,0,55,0,0,0,0,0,0,0,0,0]
["15:45","16:00",0,0,0,0,270,0,0,0,0,0,0,0,0,0,0,0,55,0,0,0,0,0,0,0,0,0]
["16:00","16:15",0,0,0,0,195,0,0,0,0,0,0,0,0,0,0,0,50,0,0,0,0,0,0,0,19,0]
["16:15","16:30",0,0,0,0,120,0,0,0,0,0,0,0,0,0,0,0,50,0,0,0,0,0,0,0,19,0]
["16:30","16:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,50,0,0,0,0,0,0,0,19,0]
["16:45","17:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,50,0,0,0,0,0,0,0,19,0]
["17:00","17:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,16,0]
["17:15","17:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,16,0]
["17:30","17:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,16,0]
["17:45","18:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,16,0]
["18:00","18:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,14,0,0,0,0,40,0,0,0,0,78,0]
["18:15","18:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,14,0,0,0,0,40,0,0,0,0,78,0]
["18:30","18:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,14,0,0,0,0,40,0,0,0,0,78,0]
["18:45","19:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,14,0,0,0,0,40,0,0,0,0,78,0]
["19:00","19:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,76,0]
["19:15","19:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,76,0]
["19:30","19:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,76,0]
["19:45","20:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,76,0]
["20:00","20:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,50,0,0,40,0,0,0,0,10,0]
["20:15","20:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,50,0,0,40,0,0,0,0,10,0]
["20:30","20:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,50,0,0,40,0,0,0,0,10,0]
["20:45","21:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,50,0,0,40,0,0,0,0,10,0]
["21:00","21:15",0,0,0,60,14,40,138,36,49,85,13,0,0,0,0,0,88,0,0,0,0,0,0,0,12,0]
["21:15","21:30",0,0,0,60,32,60,110,34,49,85,25,0,0,0,0,0,88,0,0,0,0,0,0,0,12,0]
["21:30","21:45",0,0,0,60,32,60,91,32,49,85,25,0,0,0,0,0,88,0,0,0,0,0,0,0,12,0]
["21:45","22:00",0,0,0,60,14,60,123,30,49,85,13,0,0,0,0,0,88,0,0,0,0,0,0,0,12,0]
["22:00","22:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,50,138,0,0,40,0,0,0,0,15,0]
["22:15","22:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,50,138,0,0,40,0,0,0,0,15,0]
["22:30","22:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,50,138,0,0,40,0,0,0,0,15,0]
["22:45","23:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,50,138,0,0,40,0,0,0,0,15,0]
["23:00","23:15",0,0,0,0,0,0,0,0,0,0,0,0,0,23,25,27,188,50,0,40,0,0,50,129,17,0]
["23:15","23:30",0,0,0,0,0,0,0,0,0,0,0,0,0,23,25,27,188,50,0,40,0,0,50,129,17,0]
["23:30","23:45",0,0,0,0,0,0,0,0,0,0,0,0,0,23,25,27,188,50,0,40,0,0,50,129,17,0]
["23:45","24:00",0,0,0,0,0,0,0,0,0,0,0,0,0,23,25,27,188,50,0,40,0,0,50,129,17,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":3,"rows_kept":106}
[null,"Datum","26.02.2026"]
[null,"GM-Art","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday"]
[null,"Anforderer","50Hertz"]
[null,"Ursache","I"]
[null,"überlastetes Netzelement","50H / 380kV / Pasewalk / Tr. 412"]
[null,"auslösendes Netzelement","50H / 380kV / Pasewalk / Tr. 413"]
[null,"AO Klarname","50H_EDIS_CR_PAS"]
[null,"Richtung","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":250,"d":"250.00"}]
["00:00","00:15",0]
["00:15","00:30",0]
["00:30","00:45",0]
["00:45","01:00",0]
["01:00","01:15",0]
["01:15","01:30",0]
["01:30","01:45",0]
["01:45","02:00",0]
["02:00","02:15",0]
["02:15","02:30",0]
["02:30","02:45",0]
["02:45","03:00",0]
["03:00","03:15",0]
["03:15","03:30",0]
["03:30","03:45",0]
["03:45","04:00",0]
["04:00","04:15",0]
["04:15","04:30",0]
["04:30","04:45",0]
["04:45","05:00",0]
["05:00","05:15",0]
["05:15","05:30",0]
["05:30","05:45",0]
["05:45","06:00",0]
["06:00","06:15",0]
["06:15","06:30",0]
["06:30","06:45",0]
["06:45","07:00",0]
["07:00","07:15",0]
["07:15","07:30",0]
["07:30","07:45",0]
["07:45","08:00",0]
["08:00","08:15",0]
["08:15","08:30",0]
["08:30","08:45",0]
["08:45","09:00",0]
["09:00","09:15",100]
["09:15","09:30",100]
["09:30","09:45",100]
["09:45","10:00",100]
["10:00","10:15",100]
["10:15","10:30",100]
["10:30","10:45",100]
["10:45","11:00",100]
["11:00","11:15",100]
["11:15","11:30",100]
["11:30","11:45",0]
["11:45","12:00",0]
["12:00","12:15",0]
["12:15","12:30",0]
["12:30","12:45",0]
["12:45","13:00",0]
["13:00","13:15",0]
["13:15","13:30",0]
["13:30","13:45",0]
["13:45","14:00",0]
["14:00","14:15",0]
["14:15","14:30",0]
["14:30","14:45",0]
["14:45","15:00",0]
["15:00","15:15",0]
["15:15","15:30",0]
["15:30","15:45",0]
["15:45","16:00",0]
["16:00","16:15",0]
["16:15","16:30",0]
["16:30","16:45",0]
["16:45","17:00",0]
["17:00","17:15",0]
["17:15","17:30",0]
["17:30","17:45",0]
["17:45","18:00",0]
["18:00","18:15",0]
["18:15","18:30",0]
["18:30","18:45",0]
["18:45","19:00",0]
["19:00","19:15",0]
["19:15","19:30",0]
["19:30","19:45",0]
["19:45","20:00",0]
["20:00","20:15",0]
["20:15","20:30",0]
["20:30","20:45",0]
["20:45","21:00",0]
["21:00","21:15",0]
["21:15","21:30",0]
["21:30","21:45",0]
["21:45","22:00",0]
["22:00","22:15",0]
["22:15","22:30",0]
["22:30","22:45",0]
["22:45","23:00",0]
["23:00","23:15",0]
["23:15","23:30",0]
["23:30","23:45",0]
["23:45","24:00",0]