{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":17,"rows_kept":106}
[null,"Datum","30.12.2025","30.12.2025","30.12.2025","30.12.2025","30.12.2025","30.12.2025","30.12.2025","30.12.2025","30.12.2025","30.12.2025","30.12.2025","30.12.2025","30.12.2025","30.12.2025","30.12.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Görries / 413","50H / 380kV / Görries / 413","50H / 380kV / Görries / 413","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","50H / 380kV / Görries - Güstrow / 423","50H / 380kV / Görries - Güstrow / 423","50H / 380kV / Görries - Güstrow / 423","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","50H OWP Arcadis Ost 1","50H OWP Baltic Eagle","Börse","Boxberg (Standort)","50H Erfurt-Ost HKW GuD","50H Berlin Lichterfelde","50H Berlin Marzahn","50H Berlin Mitte","50H Rostock Marienehe","50H Halle-Trotha HKW","Boxberg (Standort)","50H Halle-Dieselstr HKW-BlockA","50H Halle-Dieselstr HKW-BlockB","50H Berlin Mitte","Lippendorf VE"]
[null,"Richtung","SENKE","SENKE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":700,"d":"700.00"},1067.25,193.75,{"v":30,"d":"30.00"},{"v":217,"d":"217.00"},{"v":109,"d":"109.00"},{"v":2308,"d":"2308.00"},{"v":1099,"d":"1099.00"},{"v":120,"d":"120.00"},{"v":47,"d":"47.00"},{"v":196,"d":"196.00"},{"v":20,"d":"20.00"},{"v":43,"d":"43.00"},11.25,{"v":957,"d":"957.00"}]
["00:00","00:15",0,0,0,0,5,0,135,70,0,0,0,0,0,0,0]
["00:15","00:30",0,0,0,0,5,0,135,70,0,0,0,0,0,0,0]
["00:30","00:45",0,0,0,0,5,0,135,70,0,0,0,0,0,0,0]
["00:45","01:00",0,0,0,0,5,0,135,70,0,0,0,0,0,0,0]
["01:00","01:15",0,0,0,0,1,0,140,70,40,0,0,0,10,0,0]
["01:15","01:30",0,0,0,0,1,0,140,70,40,0,0,0,10,0,0]
["01:30","01:45",0,0,0,0,1,0,140,70,40,0,0,0,10,0,0]
["01:45","02:00",0,0,0,0,1,0,140,70,40,0,0,0,10,0,0]
["02:00","02:15",0,0,0,0,0,0,115,0,0,0,0,0,0,0,0]
["02:15","02:30",0,0,0,0,0,0,115,0,0,0,0,0,0,0,0]
["02:30","02:45",0,0,0,0,0,0,115,0,0,0,0,0,0,0,0]
["02:45","03:00",0,0,0,0,0,0,115,0,0,0,0,0,0,0,0]
["03:00","03:15",0,0,0,0,0,0,115,0,0,0,0,0,0,0,0]
["03:15","03:30",0,0,0,0,0,0,115,0,0,0,0,0,0,0,0]
["03:30","03:45",0,0,0,0,0,0,115,0,0,0,0,0,0,0,0]
["03:45","04:00",0,0,0,0,0,0,115,0,0,0,0,0,0,0,0]
["04:00","04:15",0,0,0,0,0,0,115,0,0,0,0,0,0,0,0]
["04:15","04:30",0,0,0,0,0,0,115,0,0,0,0,0,0,0,0]
["04:30","04:45",0,0,0,0,0,0,115,0,0,0,0,0,0,0,0]
["04:45","05:00",0,0,0,0,0,0,115,0,0,0,0,0,0,0,0]
["05:00","05:15",0,0,0,0,0,0,135,0,0,0,0,0,0,0,0]
["05:15","05:30",0,0,0,0,0,0,135,0,0,0,0,0,0,0,0]
["05:30","05:45",0,0,0,0,0,0,135,0,0,0,0,0,0,0,0]
["05:45","06:00",0,0,0,0,0,0,135,0,0,0,0,0,0,0,0]
["06:00","06:15",0,0,0,0,0,0,135,0,0,0,0,0,0,0,0]
["06:15","06:30",0,0,0,0,0,0,135,0,0,0,0,0,0,0,0]
["06:30","06:45",0,0,0,0,0,0,135,0,0,0,0,0,0,0,0]
["06:45","07:00",0,0,0,0,0,0,135,0,0,0,0,0,0,0,0]
["07:00","07:15",0,0,0,30,0,0,100,0,0,0,0,0,0,0,0]
["07:15","07:30",0,0,0,30,0,0,100,0,0,0,0,0,0,0,0]
["07:30","07:45",0,0,0,30,0,0,100,0,0,0,0,0,0,0,0]
["07:45","08:00",0,0,0,30,0,0,100,0,0,0,0,0,0,0,0]
["08:00","08:15",0,0,0,0,40,0,108,0,0,0,0,0,0,0,148]
["08:15","08:30",0,0,0,0,40,0,108,0,0,0,0,0,0,0,148]
["08:30","08:45",0,0,0,0,40,0,108,0,0,0,0,0,0,0,148]
["08:45","09:00",0,0,0,0,40,0,108,0,0,0,0,0,0,0,148]
["09:00","09:15",0,0,0,0,40,0,120,44,0,0,0,0,0,0,204]
["09:15","09:30",0,0,0,0,40,0,120,44,0,0,0,0,0,0,204]
["09:30","09:45",0,0,0,0,40,0,120,44,0,0,0,0,0,0,204]
["09:45","10:00",0,0,0,0,40,0,120,44,0,0,0,0,0,0,204]
["10:00","10:15",0,0,0,0,40,35,170,95,0,0,0,0,11,0,54]
["10:15","10:30",0,0,0,0,40,35,170,95,0,0,0,0,11,0,54]
["10:30","10:45",0,0,0,0,40,35,170,95,0,0,0,0,11,0,54]
["10:45","11:00",0,0,0,0,40,35,170,95,0,0,0,0,11,0,54]
["11:00","11:15",200,300,440,0,46,35,170,145,40,24,196,10,11,0,0]
["11:15","11:30",200,300,60,0,46,35,170,145,40,24,196,10,11,0,0]
["11:30","11:45",200,300,60,0,46,35,170,145,40,24,196,10,11,0,0]
["11:45","12:00",200,300,60,0,46,35,170,145,40,24,196,10,11,0,0]
["12:00","12:15",200,300,11,0,45,28,170,195,40,23,0,10,11,0,0]
["12:15","12:30",200,300,12,0,45,28,170,195,40,23,0,10,11,0,0]
["12:30","12:45",200,300,15,0,45,28,170,195,40,23,0,10,11,0,0]
["12:45","13:00",200,300,16,0,45,28,170,195,40,23,0,10,11,0,0]
["13:00","13:15",200,300,0,0,0,0,170,171,0,0,0,0,0,0,139]
["13:15","13:30",200,300,0,0,0,0,170,171,0,0,0,0,0,0,139]
["13:30","13:45",200,300,0,0,0,0,170,171,0,0,0,0,0,0,139]
["13:45","14:00",200,300,80,0,0,0,170,171,0,0,0,0,0,0,139]
["14:00","14:15",100,219,0,0,0,11,170,201,0,0,0,0,0,0,213]
["14:15","14:30",100,150,7,0,0,11,170,201,0,0,0,0,0,0,213]
["14:30","14:45",100,150,7,0,0,11,170,201,0,0,0,0,0,0,213]
["14:45","15:00",100,150,7,0,0,11,170,201,0,0,0,0,0,0,213]
["15:00","15:15",0,0,0,0,0,0,120,79,0,0,0,0,0,0,199]
["15:15","15:30",0,0,0,0,0,0,120,79,0,0,0,0,0,0,199]
["15:30","15:45",0,0,0,0,0,0,120,79,0,0,0,0,0,0,199]
["15:45","16:00",0,0,0,0,0,0,120,79,0,0,0,0,0,0,199]
["16:00","16:15",0,0,0,0,0,0,70,29,0,0,0,0,0,0,0]
["16:15","16:30",0,0,0,0,0,0,70,29,0,0,0,0,0,0,0]
["16:30","16:45",0,0,0,0,0,0,70,29,0,0,0,0,0,0,0]
["16:45","17:00",0,0,0,0,0,0,70,29,0,0,0,0,0,0,0]
["17:00","17:15",0,0,0,0,0,0,50,0,0,0,0,0,0,0,0]
["17:15","17:30",0,0,0,0,0,0,50,0,0,0,0,0,0,0,0]
["17:30","17:45",0,0,0,0,0,0,50,0,0,0,0,0,0,0,0]
["17:45","18:00",0,0,0,0,0,0,50,0,0,0,0,0,0,0,0]
["18:00","18:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:15","18:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:30","18:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:45","19:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:00","19:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:15","19:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:30","19:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:45","20:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:00","20:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:15","20:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:30","20:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["20:45","21:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:00","21:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:15","21:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:30","21:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["21:45","22:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:00","22:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:15","22:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:30","22:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["22:45","23:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:00","23:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:15","23:30",0,0,0,0,0,0,0,0,0,0,0,0,0,15,0]
["23:30","23:45",0,0,0,0,0,0,0,0,0,0,0,0,0,15,0]
["23:45","24:00",0,0,0,0,0,0,0,0,0,0,0,0,0,15,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":9,"rows_kept":106}
[null,"Datum","30.12.2025","30.12.2025","30.12.2025","30.12.2025","30.12.2025","30.12.2025","30.12.2025"]
[null,"GM-Art","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz","50Hertz","50Hertz","50Hertz","50Hertz"]
[null,"Ursache","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412 & 50H / 380kV / Siedenbrünzow / 411","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412 & 50H / 380kV / Siedenbrünzow / 411","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412 & 50H / 380kV / Siedenbrünzow / 411","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412 & 50H / 380kV / Siedenbrünzow / 411","50H / 380kV / Görries / 413","50H / 380kV / Görries / 413","50H / 380kV / Görries / 413"]
[null,"auslösendes Netzelement","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413 & 50H / 380kV / Siedenbrünzow / 412","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413 & 50H / 380kV / Siedenbrünzow / 412","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413 & 50H / 380kV / Siedenbrünzow / 412","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413 & 50H / 380kV / Siedenbrünzow / 412","50H / 380kV / Görries - Güstrow / 423","50H / 380kV / Görries - Güstrow / 423","50H / 380kV / Görries - Güstrow / 423"]
[null,"AO Klarname","50H_EDIS_CR_GUE_Nord","50H_EDIS_CR_GUE_Sued","50H_EDIS_CR_PAS","50H_EDIS_CR_SOW_Sued","50H_WEMA_CR_GOE","CROC Cluster Güstrow","CROC Cluster Parchim Süd"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":977.5,"d":"977.50"},{"v":75,"d":"75.00"},{"v":2830,"d":"2830.00"},{"v":350,"d":"350.00"},{"v":37.5,"d":"37.50"},{"v":412.5,"d":"412.50"},{"v":837.5,"d":"837.50"}]
["00:00","00:15",0,0,0,0,0,0,0]
["00:15","00:30",0,0,100,0,0,0,0]
["00:30","00:45",0,0,100,0,0,0,0]
["00:45","01:00",0,0,100,0,0,0,0]
["01:00","01:15",0,0,100,0,0,0,0]
["01:15","01:30",0,0,100,0,0,0,0]
["01:30","01:45",0,0,100,0,0,0,0]
["01:45","02:00",0,0,100,0,0,0,0]
["02:00","02:15",0,0,100,0,0,0,0]
["02:15","02:30",0,0,200,0,0,0,0]
["02:30","02:45",0,0,200,0,0,0,0]
["02:45","03:00",0,0,200,0,0,0,0]
["03:00","03:15",0,0,200,0,0,0,0]
["03:15","03:30",0,0,200,0,0,0,0]
["03:30","03:45",0,0,200,0,0,0,0]
["03:45","04:00",0,0,200,0,0,0,0]
["04:00","04:15",0,0,200,0,0,0,0]
["04:15","04:30",0,0,200,0,0,0,0]
["04:30","04:45",0,0,200,0,0,0,0]
["04:45","05:00",0,0,200,0,0,0,0]
["05:00","05:15",0,0,200,0,0,0,0]
["05:15","05:30",0,0,150,0,0,0,0]
["05:30","05:45",0,0,150,0,0,0,0]
["05:45","06:00",0,0,150,0,0,0,0]
["06:00","06:15",0,0,150,0,0,0,0]
["06:15","06:30",0,0,150,0,0,0,0]
["06:30","06:45",0,0,150,0,0,0,0]
["06:45","07:00",0,0,150,0,0,0,0]
["07:00","07:15",0,0,150,0,0,0,0]
["07:15","07:30",0,0,150,0,0,0,0]
["07:30","07:45",50,0,150,0,0,0,0]
["07:45","08:00",50,0,150,0,0,0,0]
["08:00","08:15",50,0,150,0,0,0,0]
["08:15","08:30",50,0,150,0,0,0,0]
["08:30","08:45",100,0,150,0,0,0,0]
["08:45","09:00",100,0,150,0,0,0,0]
["09:00","09:15",100,0,100,0,0,0,0]
["09:15","09:30",100,0,100,0,0,0,0]
["09:30","09:45",100,0,100,0,0,0,0]
["09:45","10:00",100,0,100,0,0,0,0]
["10:00","10:15",100,0,100,0,50,0,100]
["10:15","10:30",100,0,100,0,0,0,100]
["10:30","10:45",100,0,150,0,0,0,100]
["10:45","11:00",100,0,150,0,0,0,100]
["11:00","11:15",200,0,250,0,0,0,180]
["11:15","11:30",200,0,250,0,0,0,180]
["11:30","11:45",200,0,250,0,0,0,180]
["11:45","12:00",200,0,250,0,50,0,230]
["12:00","12:15",250,0,250,0,50,150,230]
["12:15","12:30",250,0,250,0,0,150,230]
["12:30","12:45",250,50,250,200,0,150,230]
["12:45","13:00",250,50,250,200,0,150,230]
["13:00","13:15",190,50,250,200,0,150,180]
["13:15","13:30",190,50,250,200,0,150,180]
["13:30","13:45",190,50,250,200,0,150,180]
["13:45","14:00",190,50,250,200,0,150,180]
["14:00","14:15",75,0,250,100,0,75,90]
["14:15","14:30",75,0,250,100,0,75,90]
["14:30","14:45",0,0,250,0,0,75,90]
["14:45","15:00",0,0,250,0,0,75,90]
["15:00","15:15",0,0,250,0,0,75,90]
["15:15","15:30",0,0,200,0,0,75,90]
["15:30","15:45",0,0,150,0,0,0,0]
["15:45","16:00",0,0,150,0,0,0,0]
["16:00","16:15",0,0,150,0,0,0,0]
["16:15","16:30",0,0,70,0,0,0,0]
["16:30","16:45",0,0,0,0,0,0,0]
["16:45","17:00",0,0,0,0,0,0,0]
["17:00","17:15",0,0,0,0,0,0,0]
["17:15","17:30",0,0,0,0,0,0,0]
["17:30","17:45",0,0,0,0,0,0,0]
["17:45","18:00",0,0,0,0,0,0,0]
["18:00","18:15",0,0,0,0,0,0,0]
["18:15","18:30",0,0,0,0,0,0,0]
["18:30","18:45",0,0,0,0,0,0,0]
["18:45","19:00",0,0,0,0,0,0,0]
["19:00","19:15",0,0,0,0,0,0,0]
["19:15","19:30",0,0,0,0,0,0,0]
["19:30","19:45",0,0,0,0,0,0,0]
["19:45","20:00",0,0,0,0,0,0,0]
["20:00","20:15",0,0,0,0,0,0,0]
["20:15","20:30",0,0,0,0,0,0,0]
["20:30","20:45",0,0,0,0,0,0,0]
["20:45","21:00",0,0,0,0,0,0,0]
["21:00","21:15",0,0,0,0,0,0,0]
["21:15","21:30",0,0,0,0,0,0,0]
["21:30","21:45",0,0,0,0,0,0,0]
["21:45","22:00",0,0,0,0,0,0,0]
["22:00","22:15",0,0,0,0,0,0,0]
["22:15","22:30",0,0,0,0,0,0,0]
["22:30","22:45",0,0,0,0,0,0,0]
["22:45","23:00",0,0,0,0,0,0,0]
["23:00","23:15",0,0,0,0,0,0,0]
["23:15","23:30",0,0,0,0,0,0,0]
["23:30","23:45",0,0,0,0,0,0,0]
["23:45","24:00",0,0,0,0,0,0,0]