{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":40,"rows_kept":106}
[null,"Datum","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025","24.02.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","PRD1","PRD1","PRD1","PRD1","PRD1","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)"]
[null,"Anforderer","50Hertz & TenneT DE","50Hertz & TenneT DE","50Hertz & TenneT DE","50Hertz & TenneT DE","50Hertz & TenneT DE","TenneT DE","TenneT DE","TenneT DE","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Röhrsdorf / Tr. 442 & 50H-TTG / 380kV / Remptendorf - Redwitz / 413","50H / 380kV / Röhrsdorf / Tr. 442 & 50H-TTG / 380kV / Remptendorf - Redwitz / 413","50H / 380kV / Röhrsdorf / Tr. 442 & 50H-TTG / 380kV / Remptendorf - Redwitz / 413","50H / 380kV / Röhrsdorf / Tr. 442 & 50H-TTG / 380kV / Remptendorf - Redwitz / 413","50H / 380kV / Röhrsdorf / Tr. 442 & 50H-TTG / 380kV / Remptendorf - Redwitz / 413","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","50H-CEPS / 380kV / Röhrsdorf - Hradec / 445 & 50H-TTG / 380kV / Remptendorf - Redwitz / 414","50H-CEPS / 380kV / Röhrsdorf - Hradec / 445 & 50H-TTG / 380kV / Remptendorf - Redwitz / 414","50H-CEPS / 380kV / Röhrsdorf - Hradec / 445 & 50H-TTG / 380kV / Remptendorf - Redwitz / 414","50H-CEPS / 380kV / Röhrsdorf - Hradec / 445 & 50H-TTG / 380kV / Remptendorf - Redwitz / 414","50H-CEPS / 380kV / Röhrsdorf - Hradec / 445 & 50H-TTG / 380kV / Remptendorf - Redwitz / 414","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Jänschwalde (Standort)","Boxberg (Standort)","Schwarze Pumpe (Standort)","Lippendorf EnBW","Lippendorf VE","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","Lippendorf EnBW","Lippendorf VE","Rostock Kohlekraftwerk","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","50H Hamburg MMB BHKW PtH","50H Neubrandenburg GuD","50H Rostock Marienehe","50H Berlin Marzahn","50H Berlin Mitte","Boxberg (Standort)","50H Hamburg Wedel1","50H OWP Baltic Eagle","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","Boxberg (Standort)","Lippendorf VE","Lippendorf EnBW","50H Berlin Mitte","Boxberg (Standort)","Jänschwalde (Standort)","Lippendorf VE","Schwarze Pumpe (Standort)","50H UW Schönewalde","50H UW Bertikow","50H UW Bertikow","50H UW Schönewalde","50H UW Wessin","50H PV Witznitz"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":400,"d":"400.00"},{"v":1260,"d":"1260.00"},{"v":410,"d":"410.00"},306.25,306.25,494.25,{"v":113,"d":"113.00"},92.75,{"v":300,"d":"300.00"},966.25,{"v":222,"d":"222.00"},{"v":2132,"d":"2132.00"},{"v":1237,"d":"1237.00"},{"v":1514,"d":"1514.00"},{"v":27,"d":"27.00"},{"v":172,"d":"172.00"},{"v":320,"d":"320.00"},{"v":368,"d":"368.00"},{"v":840,"d":"840.00"},{"v":1552,"d":"1552.00"},{"v":942.5,"d":"942.50"},{"v":14.5,"d":"14.50"},{"v":2616,"d":"2616.00"},714.75,1242.25,663.25,{"v":357,"d":"357.00"},{"v":102,"d":"102.00"},497.25,{"v":23,"d":"23.00"},33.75,{"v":47.5,"d":"47.50"},42.75,{"v":253,"d":"253.00"},{"v":38,"d":"38.00"},{"v":8,"d":"8.00"},{"v":2.5,"d":"2.50"},{"v":12.5,"d":"12.50"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,3,0,0,3,339,116,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,3,0,0,3,339,116,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,3,0,0,3,339,116,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,3,0,0,3,339,116,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,110,109,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,110,109,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,110,109,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,110,109,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,3,0,0,2,0,59,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,3,0,0,2,0,59,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,3,0,0,2,0,30,29,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,3,0,0,2,0,30,29,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,3,0,0,2,0,59,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,3,0,0,2,0,59,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,3,0,0,2,0,59,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,3,0,0,2,0,59,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,3,0,0,2,93,59,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,3,0,0,2,93,59,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,3,0,0,2,93,59,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,3,0,0,2,93,59,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,17,0,0,2,311,59,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,17,0,0,2,311,59,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,17,0,0,2,311,59,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,17,0,0,2,311,59,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["06:00","06:15",0,0,0,0,0,253,113,134,0,0,0,0,0,0,0,22,40,80,165,296,57,0,0,0,0,0,0,16,0,0,0,0,0,0,0,0,0,0]
["06:15","06:30",0,0,0,0,0,328,113,59,0,0,0,0,0,0,0,22,40,80,165,296,57,0,0,0,5,0,0,16,0,0,0,0,0,0,0,0,0,0]
["06:30","06:45",0,0,0,0,0,328,113,59,0,0,0,0,0,0,0,22,40,80,165,296,57,0,0,0,66,0,0,16,0,0,0,0,0,37,0,0,0,0]
["06:45","07:00",0,0,0,0,0,268,113,119,0,0,0,0,0,0,0,22,40,80,165,296,57,0,0,0,66,0,0,16,0,0,0,0,0,126,0,0,0,0]
["07:00","07:15",0,0,0,0,0,200,0,0,0,0,0,0,150,194,0,38,40,46,116,112,57,0,100,125,275,250,150,18,0,0,0,0,0,0,0,0,0,0]
["07:15","07:30",0,0,0,0,0,200,0,0,0,0,0,0,150,194,0,38,40,46,116,112,57,0,199,125,275,250,150,18,0,0,0,0,0,0,0,0,0,0]
["07:30","07:45",0,0,0,0,0,200,0,0,0,0,0,0,150,194,0,38,40,46,116,112,57,0,279,125,275,250,150,18,0,0,0,0,0,0,0,0,0,0]
["07:45","08:00",0,0,0,0,0,200,0,0,0,0,0,0,150,194,0,38,40,46,116,112,57,0,300,125,275,250,150,18,0,0,0,0,48,170,0,0,0,0]
["08:00","08:15",0,0,0,0,0,0,0,0,0,61,60,174,412,194,0,40,40,0,0,48,97,0,21,113,374,182,50,18,0,0,0,0,0,78,0,0,0,0]
["08:15","08:30",0,0,0,0,0,0,0,0,0,80,121,174,412,194,0,40,40,0,0,48,97,0,21,113,266,103,50,18,0,0,0,0,0,0,0,0,0,0]
["08:30","08:45",0,0,0,0,0,0,0,0,0,80,121,174,412,194,0,40,40,0,0,48,97,0,21,113,266,103,55,18,0,0,0,0,0,0,0,0,0,0]
["08:45","09:00",0,0,0,0,0,0,0,0,0,200,121,174,412,194,0,40,40,0,0,48,97,0,21,113,266,103,122,18,0,0,0,0,0,0,0,0,0,0]
["09:00","09:15",0,0,0,0,0,0,0,0,150,281,135,450,433,386,9,24,40,0,0,0,57,0,0,0,0,0,66,0,0,0,0,0,0,0,0,0,0,0]
["09:15","09:30",0,0,0,0,0,0,0,0,150,281,135,450,433,386,9,24,40,0,0,0,57,0,0,0,0,70,136,0,0,0,0,0,0,0,0,0,0,0]
["09:30","09:45",0,0,0,0,0,0,0,0,150,281,135,450,433,386,9,24,40,0,0,0,57,0,0,0,90,93,136,0,0,0,0,0,0,67,0,0,0,0]
["09:45","10:00",0,0,0,0,0,0,0,0,150,281,60,450,433,386,9,24,40,0,0,0,57,0,0,0,127,95,136,0,0,0,0,0,0,103,0,0,0,0]
["10:00","10:15",0,0,0,0,0,0,0,0,150,300,0,450,242,386,9,0,40,0,76,123,57,0,0,0,0,63,7,0,0,0,0,0,0,0,0,0,0,0]
["10:15","10:30",0,0,0,0,0,0,0,0,150,300,0,450,242,386,9,0,40,0,76,123,57,0,0,0,0,63,0,0,0,0,0,0,0,0,0,0,0,0]
["10:30","10:45",0,0,0,0,0,0,0,0,150,300,0,450,242,386,9,0,40,0,76,123,57,0,0,0,0,63,0,0,0,0,0,0,0,0,0,0,0,0]
["10:45","11:00",0,0,0,0,0,0,0,0,150,300,0,450,242,386,9,0,40,0,76,123,57,0,0,0,0,63,0,0,0,0,0,0,0,0,0,0,0,0]
["11:00","11:15",0,0,0,0,0,0,0,0,0,200,0,175,0,277,9,0,40,87,210,95,57,0,0,0,0,63,0,0,75,0,0,50,0,0,152,32,10,50]
["11:15","11:30",0,0,0,0,0,0,0,0,0,100,0,175,0,277,9,0,40,87,210,95,57,0,0,0,0,63,0,0,75,0,65,0,0,0,0,0,0,0]
["11:30","11:45",0,0,0,0,0,0,0,0,0,100,0,175,0,277,9,0,40,87,210,95,57,0,0,0,0,63,0,0,31,0,0,0,0,0,0,0,0,0]
["11:45","12:00",0,0,0,0,0,0,0,0,0,100,0,175,0,277,9,0,40,87,210,95,57,0,0,0,0,63,0,0,0,0,0,0,0,0,0,0,0,0]
["12:00","12:15",0,0,0,0,0,0,0,0,0,100,0,373,0,77,0,0,40,87,155,0,57,0,0,0,0,0,0,0,124,46,70,0,0,0,0,0,0,0]
["12:15","12:30",0,0,0,0,0,0,0,0,0,100,0,373,0,77,0,0,40,87,155,0,57,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0]
["12:30","12:45",0,0,0,0,0,0,0,0,0,100,0,373,0,77,0,0,40,87,155,0,57,0,0,0,0,0,0,0,40,0,0,0,0,0,0,0,0,0]
["12:45","13:00",0,0,0,0,0,0,0,0,0,100,0,373,0,77,0,0,40,87,155,0,57,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:00","13:15",0,0,0,0,0,0,0,0,0,55,0,250,0,0,0,0,40,31,57,25,57,0,0,0,0,0,0,25,89,0,0,0,0,0,0,0,0,0]
["13:15","13:30",0,0,0,0,0,0,0,0,0,55,0,250,0,0,0,0,40,31,57,25,57,0,0,0,0,0,0,25,47,0,0,0,0,0,0,0,0,0]
["13:30","13:45",0,0,0,0,0,0,0,0,0,55,0,250,0,0,0,0,40,31,57,25,57,0,0,0,0,0,0,25,0,0,0,0,0,0,0,0,0,0]
["13:45","14:00",0,0,0,0,0,0,0,0,0,55,0,250,0,0,0,0,40,31,57,25,57,0,0,0,0,0,0,25,45,0,0,0,0,0,0,0,0,0]
["14:00","14:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,447,46,0,140,0,0,0,0,0,0]
["14:15","14:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,356,0,0,0,0,0,0,0,0,0]
["14:30","14:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,177,0,0,0,0,0,0,0,0,0]
["14:45","15:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,25,0,0,0,0,0,0,0,0,0,0]
["15:00","15:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,174,0,0,0,0,0,0,0,0,0]
["15:15","15:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,144,0,0,0,0,0,0,0,0,0]
["15:30","15:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,65,0,0,0,0,0,0,0,0,0]
["15:45","16:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["16:00","16:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,300,0,0,0,0,0,0,0,0,0,40,159,0,0,0,0]
["16:15","16:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,419,0,0,0,0,0,0,0,0,0,21,0,0,0,0,0]
["16:30","16:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,419,0,0,0,0,0,0,0,0,0,21,0,0,0,0,0]
["16:45","17:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,419,0,0,0,0,0,0,0,0,0,22,0,0,0,0,0]
["17:00","17:15",125,250,125,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,269,0,193,0,0,0,0,0,0,0,12,0,0,0,0,0]
["17:15","17:30",125,250,125,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,269,0,188,0,0,0,0,0,0,0,7,0,0,0,0,0]
["17:30","17:45",125,250,125,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,269,0,181,0,0,0,0,0,0,0,0,0,0,0,0,0]
["17:45","18:00",125,250,125,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,269,0,181,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:00","18:15",0,375,125,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,139,111,200,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:15","18:30",0,375,125,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,139,111,200,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:30","18:45",0,375,125,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,139,111,200,0,0,0,0,0,0,0,0,0,0,0,0,0]
["18:45","19:00",0,375,125,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,139,111,200,0,0,0,0,0,0,0,0,0,0,0,0,0]
["19:00","19:15",125,375,0,0,0,0,0,0,0,0,0,0,0,0,0,19,0,37,50,0,0,0,141,194,200,50,0,0,0,0,0,0,0,10,0,0,0,0]
["19:15","19:30",125,375,0,0,0,0,0,0,0,0,0,0,0,0,0,19,0,37,50,0,0,0,46,194,200,50,0,0,0,0,0,0,0,10,0,0,0,0]
["19:30","19:45",125,375,0,0,0,0,0,0,0,0,0,0,0,0,0,19,0,37,50,0,0,0,0,194,200,50,0,0,0,0,0,0,0,10,0,0,0,0]
["19:45","20:00",125,375,0,0,0,0,0,0,0,0,0,0,0,0,0,19,0,37,50,0,0,0,66,194,200,50,0,0,0,0,0,0,0,10,0,0,0,0]
["20:00","20:15",125,250,125,0,0,0,0,0,0,0,0,260,0,0,0,0,0,0,0,0,0,0,296,94,0,50,0,0,0,0,0,0,0,10,0,0,0,0]
["20:15","20:30",125,250,125,0,0,0,0,0,0,0,0,260,0,0,0,0,0,0,0,0,0,0,296,94,0,50,0,0,0,0,0,0,0,10,0,0,0,0]
["20:30","20:45",125,250,125,0,0,0,0,0,0,0,0,260,0,0,0,0,0,0,0,0,0,0,296,94,0,50,0,0,0,0,0,0,0,10,0,0,0,0]
["20:45","21:00",125,250,125,0,0,0,0,0,0,0,0,260,0,0,0,0,0,0,0,0,0,0,296,94,0,50,70,0,0,0,0,0,0,10,0,0,0,0]
["21:00","21:15",60,40,100,75,75,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,419,0,0,0,0,0,0,0,0,0,0,10,0,0,0,0]
["21:15","21:30",40,0,40,100,100,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,419,21,0,0,0,0,0,0,0,0,0,10,0,0,0,0]
["21:30","21:45",0,0,0,105,105,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,419,21,0,0,0,0,0,0,0,0,0,10,0,0,0,0]
["21:45","22:00",0,0,0,105,105,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,419,21,0,0,0,0,0,0,0,0,0,10,0,0,0,0]
["22:00","22:15",0,0,0,105,105,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,400,31,0,0,0,0,0,0,0,0,0,19,0,0,0,0]
["22:15","22:30",0,0,0,105,105,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,400,31,0,0,0,0,0,0,0,0,0,19,0,0,0,0]
["22:30","22:45",0,0,0,105,105,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,400,31,0,0,0,0,0,0,0,0,0,19,0,0,0,0]
["22:45","23:00",0,0,0,105,105,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,400,31,0,0,0,0,0,0,0,0,0,19,0,0,0,0]
["23:00","23:15",0,0,0,105,105,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,400,31,0,0,0,0,0,0,0,0,0,19,0,0,0,0]
["23:15","23:30",0,0,0,105,105,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,400,31,0,0,0,0,0,0,0,0,0,19,0,0,0,0]
["23:30","23:45",0,0,0,105,105,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,400,31,0,0,0,0,0,0,0,0,0,19,0,0,0,0]
["23:45","24:00",0,0,0,105,105,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,400,31,0,0,0,0,0,0,0,0,0,19,0,0,0,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":5,"rows_kept":106}
[null,"Datum","24.02.2025","24.02.2025","24.02.2025"]
[null,"GM-Art","Unbilanzierter RD","Unbilanzierter RD","Unbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz"]
[null,"Ursache","I","I","I"]
[null,"überlastetes Netzelement","extern","50H / 380kV / Röhrsdorf / Tr. 442","50H / 380kV / Röhrsdorf / Tr. 442"]
[null,"auslösendes Netzelement","extern","50H-CEPS / 380kV / Röhrsdorf - Hradec / 445","50H-CEPS / 380kV / Röhrsdorf - Hradec / 445"]
[null,"AO Klarname","50H_EDIS_CR_PE","50H_MNS_CR_ADB","50H_MNS_CR_RAG"]
[null,"Richtung","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":262.5,"d":"262.50"},{"v":130,"d":"130.00"},{"v":95,"d":"95.00"}]
["00:00","00:15",0,0,0]
["00:15","00:30",0,0,0]
["00:30","00:45",0,0,0]
["00:45","01:00",0,0,0]
["01:00","01:15",0,0,0]
["01:15","01:30",0,0,0]
["01:30","01:45",0,0,0]
["01:45","02:00",0,0,0]
["02:00","02:15",0,0,0]
["02:15","02:30",0,0,0]
["02:30","02:45",0,0,0]
["02:45","03:00",0,0,0]
["03:00","03:15",0,0,0]
["03:15","03:30",0,0,0]
["03:30","03:45",0,0,0]
["03:45","04:00",0,0,0]
["04:00","04:15",0,0,0]
["04:15","04:30",0,0,0]
["04:30","04:45",0,0,0]
["04:45","05:00",0,0,0]
["05:00","05:15",0,0,0]
["05:15","05:30",0,0,0]
["05:30","05:45",0,0,0]
["05:45","06:00",0,0,0]
["06:00","06:15",0,0,0]
["06:15","06:30",0,0,0]
["06:30","06:45",0,0,0]
["06:45","07:00",0,0,0]
["07:00","07:15",0,0,0]
["07:15","07:30",0,0,0]
["07:30","07:45",0,70,80]
["07:45","08:00",0,90,60]
["08:00","08:15",0,90,60]
["08:15","08:30",0,90,60]
["08:30","08:45",0,90,60]
["08:45","09:00",0,90,60]
["09:00","09:15",0,0,0]
["09:15","09:30",0,0,0]
["09:30","09:45",0,0,0]
["09:45","10:00",0,0,0]
["10:00","10:15",0,0,0]
["10:15","10:30",0,0,0]
["10:30","10:45",0,0,0]
["10:45","11:00",0,0,0]
["11:00","11:15",0,0,0]
["11:15","11:30",0,0,0]
["11:30","11:45",0,0,0]
["11:45","12:00",0,0,0]
["12:00","12:15",0,0,0]
["12:15","12:30",0,0,0]
["12:30","12:45",0,0,0]
["12:45","13:00",0,0,0]
["13:00","13:15",0,0,0]
["13:15","13:30",0,0,0]
["13:30","13:45",0,0,0]
["13:45","14:00",0,0,0]
["14:00","14:15",0,0,0]
["14:15","14:30",0,0,0]
["14:30","14:45",0,0,0]
["14:45","15:00",0,0,0]
["15:00","15:15",0,0,0]
["15:15","15:30",0,0,0]
["15:30","15:45",0,0,0]
["15:45","16:00",0,0,0]
["16:00","16:15",0,0,0]
["16:15","16:30",0,0,0]
["16:30","16:45",0,0,0]
["16:45","17:00",50,0,0]
["17:00","17:15",50,0,0]
["17:15","17:30",50,0,0]
["17:30","17:45",50,0,0]
["17:45","18:00",50,0,0]
["18:00","18:15",50,0,0]
["18:15","18:30",50,0,0]
["18:30","18:45",50,0,0]
["18:45","19:00",50,0,0]
["19:00","19:15",50,0,0]
["19:15","19:30",50,0,0]
["19:30","19:45",50,0,0]
["19:45","20:00",50,0,0]
["20:00","20:15",50,0,0]
["20:15","20:30",50,0,0]
["20:30","20:45",50,0,0]
["20:45","21:00",50,0,0]
["21:00","21:15",50,0,0]
["21:15","21:30",50,0,0]
["21:30","21:45",50,0,0]
["21:45","22:00",50,0,0]
["22:00","22:15",0,0,0]
["22:15","22:30",0,0,0]
["22:30","22:45",0,0,0]
["22:45","23:00",0,0,0]
["23:00","23:15",0,0,0]
["23:15","23:30",0,0,0]
["23:30","23:45",0,0,0]
["23:45","24:00",0,0,0]