{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":22,"rows_kept":106}
[null,"Datum","13.11.2025","13.11.2025","13.11.2025","13.11.2025","13.11.2025","13.11.2025","13.11.2025","13.11.2025","13.11.2025","13.11.2025","13.11.2025","13.11.2025","13.11.2025","13.11.2025","13.11.2025","13.11.2025","13.11.2025","13.11.2025","13.11.2025","13.11.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","Spannungshaltung (präventiv)","Spannungshaltung (präventiv)","Spannungshaltung (präventiv)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz","50Hertz","50Hertz"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","U","U","U"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","50H / 380kV / Lubmin / Tr. 405","50H / 380kV / Lubmin / Tr. 405","50H / 380kV / Lubmin / Tr. 405"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","50H / 380kV / Lubmin / Tr. 405","50H / 380kV / Lubmin / Tr. 405","50H / 380kV / Lubmin / Tr. 405"]
[null,"Anlage / Cluster","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","50H Berlin Marzahn","Schkopau","50H Berlin Mitte","50H UW Schönewalde","50H Erfurt-Ost HKW GuD","Lippendorf VE","50H Berlin Marzahn","50H Berlin Mitte","50H Rostock Marienehe","Schkopau","50H Halle-Trotha HKW","Boxberg (Standort)","50H Hamburg Wedel1","50H UW Schönewalde","50H OWP Wikinger","50H OWP Baltic Eagle","Börse"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":379,"d":"379.00"},{"v":981,"d":"981.00"},{"v":968,"d":"968.00"},{"v":718,"d":"718.00"},{"v":276,"d":"276.00"},{"v":1546,"d":"1546.00"},{"v":559,"d":"559.00"},145.25,{"v":678,"d":"678.00"},{"v":256,"d":"256.00"},{"v":963,"d":"963.00"},{"v":380,"d":"380.00"},{"v":153,"d":"153.00"},{"v":179,"d":"179.00"},{"v":796,"d":"796.00"},{"v":79,"d":"79.00"},247.25,{"v":5400,"d":"5400.00"},{"v":3450,"d":"3450.00"},{"v":25,"d":"25.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,225,125,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,225,125,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,225,125,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,225,125,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,162,225,125,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,163,225,125,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,164,225,125,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,164,225,125,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,225,125,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,225,125,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,225,125,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,225,125,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,225,125,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,225,125,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,225,125,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,225,125,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,225,125,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,225,125,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,225,125,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,225,125,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,13,84,225,125,0]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,13,84,225,125,0]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,13,84,225,125,0]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,13,84,225,125,0]
["06:00","06:15",50,0,0,0,0,0,181,5,0,0,0,36,0,23,0,13,0,225,125,0]
["06:15","06:30",50,0,0,0,0,0,181,5,0,0,0,36,0,23,0,13,0,225,125,0]
["06:30","06:45",50,0,0,0,0,0,181,5,0,0,0,36,0,23,0,13,0,225,125,0]
["06:45","07:00",50,0,0,0,0,0,181,5,0,0,0,36,0,23,0,13,0,225,125,0]
["07:00","07:15",50,0,99,50,0,0,197,10,0,0,181,40,0,23,360,14,0,225,125,0]
["07:15","07:30",50,0,99,50,0,0,197,15,0,0,181,40,0,23,360,14,0,225,125,0]
["07:30","07:45",50,0,99,50,0,0,197,15,0,0,181,40,0,23,360,14,0,225,125,0]
["07:45","08:00",50,0,99,50,0,0,197,15,0,0,181,40,0,23,360,14,0,225,125,0]
["08:00","08:15",0,0,0,0,0,0,181,20,0,100,271,40,0,23,280,13,0,225,125,0]
["08:15","08:30",0,0,0,0,0,0,181,25,0,100,271,40,0,23,280,13,0,225,125,0]
["08:30","08:45",0,0,0,0,0,0,181,25,0,100,271,40,0,23,280,13,0,225,125,0]
["08:45","09:00",0,0,0,0,0,0,181,25,0,100,271,40,0,23,280,13,0,225,125,0]
["09:00","09:15",0,0,0,0,0,0,0,25,0,0,0,40,0,22,0,13,0,225,125,0]
["09:15","09:30",0,0,0,0,0,0,0,25,0,0,0,40,0,22,0,13,0,225,125,0]
["09:30","09:45",0,0,0,0,0,0,0,25,0,0,0,40,0,22,0,13,0,225,125,0]
["09:45","10:00",0,0,0,0,0,0,0,25,0,0,0,40,0,22,0,13,0,225,125,0]
["10:00","10:15",0,0,0,0,0,0,0,25,0,0,0,36,0,0,0,13,0,225,125,0]
["10:15","10:30",0,0,0,0,0,0,0,25,0,0,0,36,0,0,0,13,0,225,125,0]
["10:30","10:45",0,0,0,0,0,0,0,25,0,0,0,36,0,0,0,13,0,225,125,0]
["10:45","11:00",0,0,0,0,0,0,0,20,0,0,0,36,0,0,0,13,0,225,125,0]
["11:00","11:15",0,0,0,0,0,0,0,12,0,0,0,36,0,0,0,0,0,225,125,0]
["11:15","11:30",0,0,0,0,0,0,0,12,0,0,0,36,0,0,0,0,0,225,125,0]
["11:30","11:45",0,0,0,0,0,0,0,12,0,0,0,36,0,0,0,0,0,225,125,0]
["11:45","12:00",0,0,0,0,0,0,0,12,0,0,0,36,0,0,0,0,0,225,125,0]
["12:00","12:15",0,0,0,0,0,0,0,11,0,0,0,36,0,0,0,0,0,225,125,0]
["12:15","12:30",0,0,0,0,0,0,0,11,0,0,0,36,0,0,0,0,0,225,125,0]
["12:30","12:45",0,0,0,0,0,0,0,11,0,0,0,36,0,0,0,0,0,225,125,0]
["12:45","13:00",0,0,0,0,0,0,0,11,0,0,0,36,0,0,0,0,0,225,125,0]
["13:00","13:15",0,0,0,0,0,31,0,11,376,1,122,36,0,0,0,0,0,225,125,0]
["13:15","13:30",0,0,0,0,0,31,0,11,376,1,122,36,0,0,0,0,0,225,125,0]
["13:30","13:45",0,0,0,0,0,31,0,11,376,1,122,36,0,0,0,0,0,225,125,0]
["13:45","14:00",0,0,0,0,0,31,0,11,376,1,122,36,0,0,0,0,0,225,125,0]
["14:00","14:15",0,0,190,50,0,35,0,0,226,0,139,40,0,20,51,0,0,225,125,0]
["14:15","14:30",0,0,190,50,0,35,0,0,226,0,139,40,0,20,51,0,0,225,125,0]
["14:30","14:45",0,0,190,50,0,35,0,0,226,0,139,40,0,20,51,0,0,225,125,0]
["14:45","15:00",0,0,190,50,0,35,0,0,226,0,139,40,0,20,51,0,0,225,125,0]
["15:00","15:15",0,0,190,0,0,63,0,0,76,53,100,40,50,20,55,0,0,225,175,0]
["15:15","15:30",0,0,190,0,0,63,0,0,76,53,100,40,50,20,55,0,0,225,175,0]
["15:30","15:45",0,0,190,0,0,63,0,0,76,53,100,40,50,20,55,0,0,225,175,0]
["15:45","16:00",0,0,190,0,0,63,0,0,76,53,100,40,50,20,55,0,0,225,175,0]
["16:00","16:15",0,0,0,17,0,113,0,0,0,53,100,0,103,21,0,0,0,225,175,0]
["16:15","16:30",0,0,0,17,0,113,0,0,0,53,100,0,103,21,0,0,0,225,175,0]
["16:30","16:45",0,0,0,17,0,113,0,0,0,53,100,0,103,21,0,0,0,225,175,0]
["16:45","17:00",0,0,0,17,0,113,0,0,0,53,100,0,103,21,0,0,0,225,175,0]
["17:00","17:15",0,200,200,67,58,163,0,15,0,49,50,0,0,21,50,0,0,225,175,0]
["17:15","17:30",0,200,200,67,58,163,0,25,0,49,50,0,0,21,50,0,0,225,175,0]
["17:30","17:45",0,200,200,67,58,163,0,25,0,49,50,0,0,21,50,0,0,225,175,0]
["17:45","18:00",0,200,200,67,58,163,0,15,0,49,50,0,0,21,50,0,0,225,175,100]
["18:00","18:15",169,270,159,117,138,238,0,0,0,0,0,0,0,0,0,0,0,225,175,0]
["18:15","18:30",169,270,159,117,138,238,0,0,0,0,0,0,0,0,0,0,0,225,175,0]
["18:30","18:45",169,270,159,117,138,238,0,0,0,0,0,0,0,0,0,0,0,225,175,0]
["18:45","19:00",169,270,159,117,138,238,0,0,0,0,0,0,0,0,0,0,0,225,175,0]
["19:00","19:15",110,325,130,133,80,207,0,0,0,0,0,0,0,0,0,0,0,225,175,0]
["19:15","19:30",110,325,130,133,80,207,0,0,0,0,0,0,0,0,0,0,0,225,175,0]
["19:30","19:45",110,325,130,133,80,207,0,0,0,0,0,0,0,0,0,0,0,225,175,0]
["19:45","20:00",110,325,130,133,80,207,0,0,0,0,0,0,0,0,0,0,0,225,175,0]
["20:00","20:15",0,249,0,83,0,207,0,0,0,0,0,0,0,0,0,0,0,225,175,0]
["20:15","20:30",0,165,0,83,0,207,0,0,0,0,0,0,0,0,0,0,0,225,175,0]
["20:30","20:45",0,165,0,83,0,207,0,0,0,0,0,0,0,0,0,0,0,225,175,0]
["20:45","21:00",0,165,0,83,0,207,0,0,0,0,0,0,0,0,0,0,0,225,175,0]
["21:00","21:15",0,0,0,67,0,173,0,0,0,0,0,0,0,0,0,0,0,225,175,0]
["21:15","21:30",0,0,0,67,0,173,0,0,0,0,0,0,0,0,0,0,0,225,175,0]
["21:30","21:45",0,0,0,67,0,173,0,0,0,0,0,0,0,0,0,0,0,225,175,0]
["21:45","22:00",0,0,0,67,0,173,0,0,0,0,0,0,0,0,0,0,0,225,175,0]
["22:00","22:15",0,0,0,67,0,158,0,0,0,0,0,0,0,6,0,0,0,225,175,0]
["22:15","22:30",0,0,0,67,0,158,0,0,0,0,0,0,0,6,0,0,0,225,175,0]
["22:30","22:45",0,0,0,67,0,158,0,0,0,0,0,0,0,6,0,0,0,225,175,0]
["22:45","23:00",0,0,0,67,0,158,0,0,0,0,0,0,0,6,0,0,0,225,175,0]
["23:00","23:15",0,0,0,67,0,158,0,0,0,0,0,0,0,0,0,0,0,225,175,0]
["23:15","23:30",0,0,0,67,0,158,0,0,0,0,0,0,0,0,0,0,0,225,175,0]
["23:30","23:45",0,0,0,67,0,158,0,0,0,0,0,0,0,0,0,0,0,225,175,0]
["23:45","24:00",0,0,0,67,0,158,0,0,0,0,0,0,0,0,0,0,0,225,175,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":7,"rows_kept":106}
[null,"Datum","13.11.2025","13.11.2025","13.11.2025","13.11.2025","13.11.2025"]
[null,"GM-Art","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz","50Hertz","50Hertz"]
[null,"Ursache","I","I","I","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Eisenhüttenstadt - Y-Eisenhüttenstadt/ 548 & 50H / 380kV / Lauchstädt - Vieselbach / 471 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Eisenhüttenstadt - Y-Eisenhüttenstadt/ 548 & 50H / 380kV / Lauchstädt - Vieselbach / 471 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Eisenhüttenstadt - Y-Eisenhüttenstadt/ 548 & 50H / 380kV / Lauchstädt - Vieselbach / 471 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Eisenhüttenstadt - Y-Eisenhüttenstadt/ 548 & 50H / 380kV / Lauchstädt - Vieselbach / 471 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Eisenhüttenstadt - Y-Eisenhüttenstadt/ 548 & 50H / 380kV / Lauchstädt - Vieselbach / 471 & 50H / 380kV / Pasewalk / Tr. 412"]
[null,"auslösendes Netzelement","50H / 380kV / Lauchstädt - Vieselbach / 472 & 50H / 380kV / Pasewalk / Tr. 413 & 50H / 380kV / Preilack - Graustein / 542","50H / 380kV / Lauchstädt - Vieselbach / 472 & 50H / 380kV / Pasewalk / Tr. 413 & 50H / 380kV / Preilack - Graustein / 542","50H / 380kV / Lauchstädt - Vieselbach / 472 & 50H / 380kV / Pasewalk / Tr. 413 & 50H / 380kV / Preilack - Graustein / 542","50H / 380kV / Lauchstädt - Vieselbach / 472 & 50H / 380kV / Pasewalk / Tr. 413 & 50H / 380kV / Preilack - Graustein / 542","50H / 380kV / Lauchstädt - Vieselbach / 472 & 50H / 380kV / Pasewalk / Tr. 413 & 50H / 380kV / Preilack - Graustein / 542"]
[null,"AO Klarname","50H_EDIS_CR_EH","50H_EDIS_CR_NHG_Nord","50H_EDIS_CR_PAS","50H_EDIS_CR_SOW_Sued","50H_MNS_CR_LAU_Nord"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":400,"d":"400.00"},{"v":725,"d":"725.00"},{"v":4322.5,"d":"4322.50"},{"v":100,"d":"100.00"},{"v":675,"d":"675.00"}]
["00:00","00:15",0,0,0,0,0]
["00:15","00:30",0,0,0,0,0]
["00:30","00:45",0,0,0,0,0]
["00:45","01:00",0,0,0,0,0]
["01:00","01:15",0,0,0,0,0]
["01:15","01:30",0,0,0,0,0]
["01:30","01:45",0,0,0,0,0]
["01:45","02:00",0,0,0,0,0]
["02:00","02:15",100,0,100,0,0]
["02:15","02:30",100,0,100,0,0]
["02:30","02:45",100,200,100,0,0]
["02:45","03:00",100,200,100,0,0]
["03:00","03:15",100,200,100,0,0]
["03:15","03:30",100,200,100,0,0]
["03:30","03:45",100,200,100,0,0]
["03:45","04:00",100,200,100,0,0]
["04:00","04:15",100,200,100,0,0]
["04:15","04:30",100,200,100,0,0]
["04:30","04:45",100,200,100,0,0]
["04:45","05:00",100,200,100,0,0]
["05:00","05:15",100,200,100,0,0]
["05:15","05:30",100,200,100,0,0]
["05:30","05:45",50,100,50,0,0]
["05:45","06:00",50,100,50,0,0]
["06:00","06:15",50,100,50,0,0]
["06:15","06:30",50,100,50,0,0]
["06:30","06:45",0,50,50,0,0]
["06:45","07:00",0,50,50,0,0]
["07:00","07:15",0,0,0,0,0]
["07:15","07:30",0,0,0,0,0]
["07:30","07:45",0,0,50,0,0]
["07:45","08:00",0,0,50,0,0]
["08:00","08:15",0,0,100,0,0]
["08:15","08:30",0,0,150,0,0]
["08:30","08:45",0,0,150,0,0]
["08:45","09:00",0,0,150,0,0]
["09:00","09:15",0,0,150,0,0]
["09:15","09:30",0,0,200,0,0]
["09:30","09:45",0,0,200,0,0]
["09:45","10:00",0,0,250,0,0]
["10:00","10:15",0,0,250,0,0]
["10:15","10:30",0,0,300,0,0]
["10:30","10:45",0,0,300,0,0]
["10:45","11:00",0,0,300,0,0]
["11:00","11:15",0,0,300,0,0]
["11:15","11:30",0,0,300,0,0]
["11:30","11:45",0,0,300,0,0]
["11:45","12:00",0,0,300,0,0]
["12:00","12:15",0,0,300,0,0]
["12:15","12:30",0,0,300,0,0]
["12:30","12:45",0,0,300,0,0]
["12:45","13:00",0,0,300,0,0]
["13:00","13:15",0,0,300,0,0]
["13:15","13:30",0,0,250,0,0]
["13:30","13:45",0,0,250,0,0]
["13:45","14:00",0,0,250,0,0]
["14:00","14:15",0,0,290,50,0]
["14:15","14:30",0,0,290,50,0]
["14:30","14:45",0,0,290,50,0]
["14:45","15:00",0,0,290,50,0]
["15:00","15:15",0,0,290,50,0]
["15:15","15:30",0,0,290,50,0]
["15:30","15:45",0,0,290,50,0]
["15:45","16:00",0,0,290,50,0]
["16:00","16:15",0,0,290,0,0]
["16:15","16:30",0,0,290,0,0]
["16:30","16:45",0,0,290,0,0]
["16:45","17:00",0,0,290,0,0]
["17:00","17:15",0,0,290,0,0]
["17:15","17:30",0,0,290,0,0]
["17:30","17:45",0,0,290,0,0]
["17:45","18:00",0,0,290,0,0]
["18:00","18:15",0,0,300,0,0]
["18:15","18:30",0,0,300,0,0]
["18:30","18:45",0,0,300,0,0]
["18:45","19:00",0,0,300,0,0]
["19:00","19:15",0,0,300,0,0]
["19:15","19:30",0,0,300,0,200]
["19:30","19:45",0,0,300,0,200]
["19:45","20:00",0,0,300,0,200]
["20:00","20:15",0,0,300,0,200]
["20:15","20:30",0,0,300,0,200]
["20:30","20:45",0,0,300,0,200]
["20:45","21:00",0,0,300,0,200]
["21:00","21:15",0,0,200,0,200]
["21:15","21:30",0,0,200,0,200]
["21:30","21:45",0,0,200,0,200]
["21:45","22:00",0,0,200,0,200]
["22:00","22:15",0,0,200,0,200]
["22:15","22:30",0,0,200,0,200]
["22:30","22:45",0,0,100,0,100]
["22:45","23:00",0,0,0,0,0]
["23:00","23:15",0,0,0,0,0]
["23:15","23:30",0,0,0,0,0]
["23:30","23:45",0,0,0,0,0]
["23:45","24:00",0,0,0,0,0]