{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":22,"rows_kept":106}
[null,"Datum","31.12.2025","31.12.2025","31.12.2025","31.12.2025","31.12.2025","31.12.2025","31.12.2025","31.12.2025","31.12.2025","31.12.2025","31.12.2025","31.12.2025","31.12.2025","31.12.2025","31.12.2025","31.12.2025","31.12.2025","31.12.2025","31.12.2025","31.12.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Boxberg (Standort)","50H Berlin Mitte","Schwarze Pumpe (Standort)","Jänschwalde (Standort)","50H Berlin Lichterfelde","50H Berlin Marzahn","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","50H Erfurt-Ost HKW GuD","50H Leipzig Süd GuD","50H Leipzig Nord GuD","50H Berlin Lichterfelde","50H Berlin Marzahn","50H Berlin Mitte","50H Halle-Trotha HKW","Boxberg (Standort)","Schwarze Pumpe (Standort)","50H Halle-Dieselstr HKW-BlockB","50H Hamburg Wedel1"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":1438,"d":"1438.00"},{"v":1710,"d":"1710.00"},{"v":2334,"d":"2334.00"},{"v":919,"d":"919.00"},{"v":599,"d":"599.00"},{"v":50,"d":"50.00"},{"v":1976,"d":"1976.00"},{"v":935,"d":"935.00"},{"v":6489,"d":"6489.00"},547.25,{"v":255,"d":"255.00"},{"v":235,"d":"235.00"},{"v":1734,"d":"1734.00"},{"v":3550,"d":"3550.00"},{"v":2733,"d":"2733.00"},{"v":307,"d":"307.00"},{"v":975,"d":"975.00"},{"v":916,"d":"916.00"},{"v":185,"d":"185.00"},{"v":180,"d":"180.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,0,0,0,50,15,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,0,0,0,50,15,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,0,0,0,50,15,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,0,0,50,15,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,104,0,0,0,19,100,65,0,0,206,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,104,0,0,0,19,100,65,0,0,206,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,104,0,0,0,19,100,65,0,0,206,0,0]
["01:45","02:00",0,0,0,0,0,0,0,0,104,0,0,0,19,100,65,0,0,206,0,0]
["02:00","02:15",0,0,0,0,0,0,0,0,504,0,0,0,0,150,83,0,0,0,3,0]
["02:15","02:30",0,0,0,0,0,0,0,0,504,0,0,0,0,150,83,0,0,0,3,0]
["02:30","02:45",0,0,0,0,0,0,0,0,504,0,0,0,0,150,83,0,0,0,3,0]
["02:45","03:00",0,0,0,0,0,0,0,0,504,0,0,0,0,150,83,0,0,0,3,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,7,30,40,0,170,132,24,0,0,11,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,5,30,40,0,170,132,24,0,0,11,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,4,30,40,0,170,132,24,0,0,11,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,3,30,40,0,170,132,24,0,0,11,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,3,30,25,0,170,155,24,0,0,11,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,3,30,25,0,170,155,24,0,0,11,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,3,30,25,0,170,155,24,0,0,11,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,3,30,25,0,170,155,24,0,0,11,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0,0,0,170,121,24,0,0,11,0]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0,0,0,170,121,24,0,0,11,0]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0,0,0,170,121,24,0,0,11,0]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0,0,0,170,121,24,0,0,11,0]
["06:00","06:15",0,154,46,0,0,0,0,0,82,0,0,0,41,160,71,0,0,12,11,0]
["06:15","06:30",0,154,46,0,0,0,0,0,82,0,0,0,41,160,71,0,0,12,11,0]
["06:30","06:45",0,154,46,0,0,0,0,0,82,0,0,0,41,160,71,0,0,12,11,0]
["06:45","07:00",0,154,46,0,0,0,0,0,82,0,0,0,41,160,71,0,0,12,11,0]
["07:00","07:15",195,160,199,0,0,0,0,0,421,0,0,0,85,160,100,0,0,0,0,0]
["07:15","07:30",195,160,199,0,0,0,0,0,421,0,0,0,85,160,100,0,0,0,0,0]
["07:30","07:45",195,160,199,0,0,0,0,0,421,0,0,0,85,160,100,0,0,0,0,0]
["07:45","08:00",195,160,199,0,0,0,0,0,421,0,0,0,85,160,100,0,0,0,0,0]
["08:00","08:15",195,14,176,0,0,0,0,303,654,30,30,40,138,170,150,24,325,90,11,0]
["08:15","08:30",195,14,176,0,0,0,0,303,654,42,30,40,138,170,150,24,325,90,11,0]
["08:30","08:45",195,14,176,0,0,0,0,303,654,46,30,40,138,170,150,24,325,90,11,0]
["08:45","09:00",195,14,176,0,0,0,0,303,654,46,30,40,138,170,150,24,325,90,11,0]
["09:00","09:15",195,70,0,0,0,0,0,303,626,46,30,40,153,170,201,23,325,294,11,0]
["09:15","09:30",195,70,0,0,0,0,0,303,626,46,30,40,153,170,201,23,325,294,11,0]
["09:30","09:45",195,70,0,0,0,0,0,303,626,46,30,40,153,170,201,23,325,294,11,0]
["09:45","10:00",195,70,0,0,0,0,0,303,626,46,30,40,153,170,201,23,325,294,11,0]
["10:00","10:15",195,20,0,0,0,0,0,0,460,46,4,40,153,170,220,23,125,100,11,0]
["10:15","10:30",195,20,0,0,0,0,0,0,460,46,4,40,153,170,220,23,125,100,11,0]
["10:30","10:45",195,20,0,0,0,0,0,0,460,46,4,40,153,170,220,23,125,100,11,0]
["10:45","11:00",195,20,0,0,0,0,0,0,460,46,4,40,153,170,220,23,125,100,11,0]
["11:00","11:15",0,20,0,0,0,0,0,0,364,46,12,25,145,170,170,23,0,0,11,0]
["11:15","11:30",0,20,0,0,0,0,0,0,364,46,12,25,145,170,170,23,0,0,11,0]
["11:30","11:45",0,20,0,0,0,0,0,0,364,46,12,25,145,170,170,23,0,0,11,0]
["11:45","12:00",0,20,0,0,0,0,0,0,364,46,12,25,145,170,170,23,0,0,11,0]
["12:00","12:15",0,20,0,0,0,0,0,0,402,44,0,0,145,170,120,23,0,0,10,0]
["12:15","12:30",0,20,0,0,0,0,0,0,402,43,0,0,145,170,120,23,0,0,10,0]
["12:30","12:45",0,20,0,0,0,0,0,0,402,41,0,0,145,170,120,23,0,0,10,0]
["12:45","13:00",0,20,0,0,0,0,0,0,402,40,0,0,145,170,120,23,0,0,10,0]
["13:00","13:15",0,60,0,0,0,0,23,0,336,40,14,0,154,170,70,23,0,0,10,0]
["13:15","13:30",0,60,0,0,0,0,23,0,336,40,14,0,154,170,70,23,0,0,10,0]
["13:30","13:45",0,60,0,0,0,0,23,0,336,40,14,0,154,170,70,23,0,0,10,0]
["13:45","14:00",0,60,0,0,0,0,23,0,336,40,14,0,154,170,70,23,0,0,10,0]
["14:00","14:15",0,109,0,0,0,0,105,0,572,42,0,0,149,170,20,23,0,0,10,0]
["14:15","14:30",0,109,0,0,0,0,105,0,572,45,0,0,149,170,20,23,0,0,10,0]
["14:30","14:45",0,109,0,0,0,0,105,0,572,46,0,0,149,170,20,23,0,0,10,0]
["14:45","15:00",0,109,0,0,0,0,105,0,572,46,0,0,149,170,20,23,0,0,10,0]
["15:00","15:15",0,132,300,50,35,0,436,0,412,46,0,0,93,170,20,0,0,0,10,0]
["15:15","15:30",0,132,300,50,35,0,436,0,412,46,0,0,93,170,20,0,0,0,10,0]
["15:30","15:45",0,132,300,50,35,0,436,0,412,46,0,0,93,170,20,0,0,0,10,0]
["15:45","16:00",0,132,300,50,35,0,436,0,412,46,0,0,93,170,20,0,0,0,10,0]
["16:00","16:15",290,182,10,130,35,0,435,73,771,40,0,0,60,120,0,0,0,0,0,0]
["16:15","16:30",290,182,10,130,35,0,435,73,771,40,0,0,60,120,0,0,0,0,0,0]
["16:30","16:45",290,182,10,130,35,0,435,73,771,40,0,0,60,120,0,0,0,0,0,0]
["16:45","17:00",290,182,10,130,35,0,435,73,771,40,0,0,60,120,0,0,0,0,0,0]
["17:00","17:15",368,150,400,154,35,0,429,136,381,46,30,25,110,170,50,23,0,0,10,0]
["17:15","17:30",368,150,400,154,35,0,429,136,381,46,30,25,110,170,50,23,0,0,10,0]
["17:30","17:45",368,150,400,154,35,0,429,136,381,46,30,25,110,170,50,23,0,0,10,0]
["17:45","18:00",368,150,400,154,35,0,429,136,381,46,30,25,110,170,50,23,0,0,10,0]
["18:00","18:15",0,150,381,176,57,0,429,120,400,46,30,0,101,170,100,23,0,0,11,0]
["18:15","18:30",0,150,381,176,57,0,429,120,400,46,30,0,101,170,100,23,0,0,11,0]
["18:30","18:45",0,150,381,176,57,0,429,120,400,46,30,0,101,170,100,23,0,0,11,0]
["18:45","19:00",0,150,381,176,57,0,429,120,400,46,30,0,101,170,100,23,0,0,11,0]
["19:00","19:15",0,114,17,176,100,0,119,0,0,45,30,0,50,120,150,23,200,214,11,0]
["19:15","19:30",0,114,17,176,100,0,119,0,0,45,30,0,50,120,150,23,200,214,11,0]
["19:30","19:45",0,114,17,176,100,0,119,0,0,45,30,0,50,120,150,23,200,214,11,0]
["19:45","20:00",0,114,17,176,100,0,119,0,0,45,30,0,50,120,150,23,200,214,11,0]
["20:00","20:15",0,164,107,176,150,0,0,0,0,0,0,0,0,70,105,0,0,0,0,45]
["20:15","20:30",0,164,107,176,150,0,0,0,0,0,0,0,0,70,105,0,0,0,0,45]
["20:30","20:45",0,164,107,176,150,0,0,0,0,0,0,0,0,70,105,0,0,0,0,45]
["20:45","21:00",0,164,107,176,150,0,0,0,0,0,0,0,0,70,105,0,0,0,0,45]
["21:00","21:15",0,113,400,57,100,0,0,0,0,0,0,0,0,120,155,0,0,0,0,45]
["21:15","21:30",0,113,400,57,100,0,0,0,0,0,0,0,0,120,155,0,0,0,0,45]
["21:30","21:45",0,113,400,57,100,0,0,0,0,0,0,0,0,120,155,0,0,0,0,45]
["21:45","22:00",0,113,400,57,100,0,0,0,0,0,0,0,0,120,155,0,0,0,0,45]
["22:00","22:15",0,64,250,0,87,50,0,0,0,0,0,0,69,120,205,4,0,0,11,45]
["22:15","22:30",0,64,250,0,87,50,0,0,0,0,0,0,69,120,205,4,0,0,11,45]
["22:30","22:45",0,64,346,0,87,50,0,0,0,0,0,0,69,120,205,4,0,0,11,45]
["22:45","23:00",0,64,346,0,87,50,0,0,0,0,0,0,69,120,205,4,0,0,11,45]
["23:00","23:15",0,14,0,0,0,0,0,0,0,17,15,0,69,170,255,0,0,0,11,45]
["23:15","23:30",0,14,0,0,0,0,0,0,0,13,15,0,69,170,255,0,0,0,11,45]
["23:30","23:45",0,14,0,0,0,0,0,0,0,9,15,0,69,170,255,0,0,0,11,45]
["23:45","24:00",0,14,0,0,0,0,0,0,0,4,15,0,69,170,255,0,0,0,11,45]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":5,"rows_kept":106}
[null,"Datum","31.12.2025","31.12.2025","31.12.2025"]
[null,"GM-Art","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz"]
[null,"Ursache","I","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Lauchstädt - Vieselbach / 471 & 50H / 380kV / Lauchstädt / 411","50H / 380kV / Lauchstädt - Vieselbach / 471 & 50H / 380kV / Lauchstädt / 411","50H / 380kV / Lauchstädt - Vieselbach / 471 & 50H / 380kV / Lauchstädt / 411"]
[null,"auslösendes Netzelement","50H / 380kV / Lauchstädt - Klostermansfeld / 537 & 50H-PSE / 380kV / Vierraden - Krajnik / 508","50H / 380kV / Lauchstädt - Klostermansfeld / 537 & 50H-PSE / 380kV / Vierraden - Krajnik / 508","50H / 380kV / Lauchstädt - Klostermansfeld / 537 & 50H-PSE / 380kV / Vierraden - Krajnik / 508"]
[null,"AO Klarname","50H_AVA_CR_WOL","50H_MNS_CR_KLM","50H_MNS_CR_LAU_Nord"]
[null,"Richtung","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":500,"d":"500.00"},{"v":37.5,"d":"37.50"},{"v":537.5,"d":"537.50"}]
["00:00","00:15",0,0,0]
["00:15","00:30",0,0,0]
["00:30","00:45",0,0,0]
["00:45","01:00",0,0,0]
["01:00","01:15",0,0,0]
["01:15","01:30",0,0,0]
["01:30","01:45",0,0,0]
["01:45","02:00",0,0,0]
["02:00","02:15",0,0,0]
["02:15","02:30",0,0,0]
["02:30","02:45",0,0,0]
["02:45","03:00",0,0,0]
["03:00","03:15",0,0,0]
["03:15","03:30",0,0,0]
["03:30","03:45",0,0,0]
["03:45","04:00",0,0,0]
["04:00","04:15",0,0,0]
["04:15","04:30",0,0,0]
["04:30","04:45",0,0,0]
["04:45","05:00",0,0,0]
["05:00","05:15",0,0,0]
["05:15","05:30",0,0,0]
["05:30","05:45",0,0,0]
["05:45","06:00",0,0,0]
["06:00","06:15",0,0,0]
["06:15","06:30",0,0,0]
["06:30","06:45",0,0,0]
["06:45","07:00",0,0,0]
["07:00","07:15",0,0,0]
["07:15","07:30",0,0,0]
["07:30","07:45",0,0,0]
["07:45","08:00",0,0,0]
["08:00","08:15",0,0,0]
["08:15","08:30",0,0,0]
["08:30","08:45",0,0,0]
["08:45","09:00",0,0,0]
["09:00","09:15",0,0,0]
["09:15","09:30",0,0,0]
["09:30","09:45",0,0,0]
["09:45","10:00",0,0,0]
["10:00","10:15",0,0,0]
["10:15","10:30",0,0,0]
["10:30","10:45",0,0,0]
["10:45","11:00",0,0,0]
["11:00","11:15",0,0,0]
["11:15","11:30",0,0,0]
["11:30","11:45",0,0,0]
["11:45","12:00",0,0,0]
["12:00","12:15",0,0,0]
["12:15","12:30",0,0,0]
["12:30","12:45",0,0,0]
["12:45","13:00",0,0,0]
["13:00","13:15",0,0,0]
["13:15","13:30",0,0,0]
["13:30","13:45",0,0,0]
["13:45","14:00",0,0,0]
["14:00","14:15",200,0,200]
["14:15","14:30",200,0,200]
["14:30","14:45",200,0,200]
["14:45","15:00",200,0,200]
["15:00","15:15",200,0,200]
["15:15","15:30",200,0,200]
["15:30","15:45",200,0,200]
["15:45","16:00",200,0,200]
["16:00","16:15",200,0,200]
["16:15","16:30",200,0,200]
["16:30","16:45",0,0,0]
["16:45","17:00",0,0,0]
["17:00","17:15",0,0,0]
["17:15","17:30",0,0,0]
["17:30","17:45",0,0,0]
["17:45","18:00",0,0,0]
["18:00","18:15",0,0,0]
["18:15","18:30",0,0,0]
["18:30","18:45",0,0,0]
["18:45","19:00",0,0,0]
["19:00","19:15",0,0,0]
["19:15","19:30",0,0,0]
["19:30","19:45",0,0,0]
["19:45","20:00",0,0,0]
["20:00","20:15",0,0,0]
["20:15","20:30",0,0,0]
["20:30","20:45",0,0,0]
["20:45","21:00",0,0,0]
["21:00","21:15",0,0,0]
["21:15","21:30",0,0,0]
["21:30","21:45",0,0,0]
["21:45","22:00",0,0,0]
["22:00","22:15",0,0,0]
["22:15","22:30",0,0,0]
["22:30","22:45",0,0,0]
["22:45","23:00",0,0,0]
["23:00","23:15",0,0,0]
["23:15","23:30",0,0,0]
["23:30","23:45",0,0,0]
["23:45","24:00",0,150,150]