{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Redispatch"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":21,"rows_kept":106}
[null,"Datum","05.11.2025","05.11.2025","05.11.2025","05.11.2025","05.11.2025","05.11.2025","05.11.2025","05.11.2025","05.11.2025","05.11.2025","05.11.2025","05.11.2025","05.11.2025","05.11.2025","05.11.2025","05.11.2025","05.11.2025","05.11.2025","05.11.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Boxberg (Standort)","50H OWP Wikinger","50H OWP Baltic Eagle","50H UW Schönewalde","50H UW Bertikow","50H PV Witznitz","50H Berlin Mitte","Schkopau","Jänschwalde (Standort)","50H Dresden-Nossen","Lippendorf VE","50H Berlin Marzahn","50H Hamburg Tiefstack 2 HKW SK","50H Halle-Trotha HKW","Boxberg (Standort)","50H UW Bertikow","50H OWP Wikinger","50H UW Altentreptow","50H OWP Arkona"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",97.75,{"v":76,"d":"76.00"},{"v":214,"d":"214.00"},75.75,{"v":47,"d":"47.00"},36.25,{"v":651,"d":"651.00"},{"v":444.5,"d":"444.50"},{"v":52,"d":"52.00"},{"v":468.5,"d":"468.50"},{"v":150,"d":"150.00"},{"v":1916,"d":"1916.00"},{"v":56,"d":"56.00"},{"v":176,"d":"176.00"},153.25,{"v":494,"d":"494.00"},183.75,{"v":3,"d":"3.00"},{"v":144,"d":"144.00"}]
["00:00","00:15",0,0,0,0,0,0,0,230,0,87,150,112,0,23,121,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,0,230,0,87,150,112,0,23,121,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,0,230,0,87,150,112,0,23,121,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,0,230,0,87,150,112,0,23,121,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,100,0,0,0,95,0,0,0,0,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,100,0,0,0,95,0,0,0,0,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,100,0,0,0,95,0,0,0,0,0,0,0]
["01:45","02:00",0,0,0,0,0,0,0,100,0,0,0,95,0,0,0,0,0,0,0]
["02:00","02:15",0,0,0,0,0,0,0,25,0,0,0,44,0,0,0,0,0,0,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,44,0,0,0,0,0,0,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,44,0,0,0,0,0,0,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,44,0,0,0,0,0,0,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,95,0,0,0,0,0,0,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,95,0,0,0,0,0,0,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,95,0,0,0,0,0,0,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,95,0,0,0,0,0,0,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,95,0,0,0,0,0,0,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,95,0,0,0,0,0,0,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,95,0,0,0,0,0,0,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,95,0,0,0,0,0,0,0]
["05:00","05:15",0,0,0,0,0,0,0,75,0,0,0,130,0,0,0,0,0,0,0]
["05:15","05:30",0,0,0,0,0,0,0,86,0,0,0,130,0,0,0,0,0,0,0]
["05:30","05:45",0,0,0,0,0,0,0,136,50,0,0,130,0,0,0,0,0,0,0]
["05:45","06:00",0,0,0,0,0,0,0,136,50,0,0,130,0,0,0,0,0,0,0]
["06:00","06:15",0,0,0,0,0,0,0,0,27,0,0,157,0,0,0,0,0,0,0]
["06:15","06:30",0,0,0,0,0,0,0,0,27,0,0,157,0,0,0,0,0,0,0]
["06:30","06:45",0,0,0,0,0,0,0,0,27,0,0,157,0,0,0,0,0,0,0]
["06:45","07:00",0,0,0,0,0,0,0,0,27,0,0,157,0,0,0,0,0,0,0]
["07:00","07:15",0,0,0,0,0,0,0,0,0,0,0,157,56,0,0,0,0,0,0]
["07:15","07:30",0,0,0,0,0,0,0,0,0,0,0,157,56,0,0,0,0,0,0]
["07:30","07:45",0,0,0,0,0,0,0,0,0,0,0,107,56,0,0,50,0,0,0]
["07:45","08:00",0,0,0,0,0,0,0,0,0,0,0,57,56,0,50,50,0,0,0]
["08:00","08:15",0,0,0,0,0,0,0,0,0,102.5,0,0,0,23,5,152,0,0,0]
["08:15","08:30",0,0,0,0,0,0,0,0,0,102.5,0,0,0,23,0,157,0,0,0]
["08:30","08:45",0,0,0,0,0,0,0,0,0,102.5,0,0,0,23,0,157,0,0,0]
["08:45","09:00",0,0,0,0,0,0,0,0,0,102.5,0,0,0,23,0,157,0,0,0]
["09:00","09:15",0,0,0,0,0,0,45,0,0,101,0,0,0,23,0,157,0,0,0]
["09:15","09:30",0,0,0,0,0,0,45,0,0,101,0,0,0,23,0,157,0,0,0]
["09:30","09:45",0,0,0,0,0,0,45,0,0,101,0,0,0,23,0,155,0,2,0]
["09:45","10:00",0,0,0,0,0,0,45,0,0,101,0,0,0,23,0,114,0,6,37]
["10:00","10:15",0,0,0,0,0,0,95,0,0,100,0,0,0,22,0,102,55,0,0]
["10:15","10:30",0,0,0,0,0,0,95,0,0,100,0,0,0,22,0,90,67,0,0]
["10:30","10:45",0,0,0,0,0,0,95,0,0,100,0,0,0,22,0,87,70,0,0]
["10:45","11:00",0,0,0,0,0,0,95,0,0,100,0,0,0,22,0,87,70,0,0]
["11:00","11:15",0,36,126,26,47,0,145,0,0,68,0,0,0,22,0,20,70,1,66]
["11:15","11:30",0,36,106,44,47,0,145,0,0,68,0,0,0,22,0,14,67,1,75]
["11:30","11:45",0,36,110,42,47,0,145,0,0,68,0,0,0,22,0,7,63,1,86]
["11:45","12:00",0,36,114,38,47,0,145,0,0,68,0,0,0,22,0,1,59,1,96]
["12:00","12:15",0,40,100,40,0,76,95,0,0,0,0,0,0,21,0,50,70,0,34]
["12:15","12:30",0,40,100,40,0,48,95,0,0,0,0,0,0,21,0,48,70,0,36]
["12:30","12:45",0,40,100,40,0,21,95,0,0,0,0,0,0,21,0,45,60,0,49]
["12:45","13:00",0,40,100,33,0,0,95,0,0,0,0,0,0,21,0,43,14,0,97]
["13:00","13:15",132,0,0,0,0,0,77,0,0,10,0,57,0,21,60,40,0,0,0]
["13:15","13:30",105,0,0,0,0,0,77,0,0,10,0,107,0,21,14,36,0,0,0]
["13:30","13:45",77,0,0,0,0,0,77,0,0,10,0,157,0,21,0,0,0,0,0]
["13:45","14:00",77,0,0,0,0,0,77,0,0,10,0,157,0,21,0,0,0,0,0]
["14:00","14:15",0,0,0,0,0,0,77,0,0,0,0,157,0,21,0,0,0,0,0]
["14:15","14:30",0,0,0,0,0,0,77,0,0,0,0,157,0,21,0,0,0,0,0]
["14:30","14:45",0,0,0,0,0,0,77,0,0,0,0,157,0,21,0,0,0,0,0]
["14:45","15:00",0,0,0,0,0,0,77,0,0,0,0,157,0,21,0,0,0,0,0]
["15:00","15:15",0,0,0,0,0,0,77,0,0,0,0,157,0,0,0,0,0,0,0]
["15:15","15:30",0,0,0,0,0,0,77,0,0,0,0,157,0,0,0,0,0,0,0]
["15:30","15:45",0,0,0,0,0,0,77,0,0,0,0,157,0,0,0,0,0,0,0]
["15:45","16:00",0,0,0,0,0,0,77,0,0,0,0,157,0,0,0,0,0,0,0]
["16:00","16:15",0,0,0,0,0,0,40,0,0,0,0,157,0,0,0,0,0,0,0]
["16:15","16:30",0,0,0,0,0,0,40,0,0,0,0,157,0,0,0,0,0,0,0]
["16:30","16:45",0,0,0,0,0,0,40,0,0,0,0,157,0,0,0,0,0,0,0]
["16:45","17:00",0,0,0,0,0,0,40,0,0,0,0,157,0,0,0,0,0,0,0]
["17:00","17:15",0,0,0,0,0,0,0,0,0,0,0,157,0,0,0,0,0,0,0]
["17:15","17:30",0,0,0,0,0,0,0,0,0,0,0,157,0,0,0,0,0,0,0]
["17:30","17:45",0,0,0,0,0,0,0,0,0,0,0,157,0,0,0,0,0,0,0]
["17:45","18:00",0,0,0,0,0,0,0,0,0,0,0,157,0,0,0,0,0,0,0]
["18:00","18:15",0,0,0,0,0,0,0,0,0,0,0,107,0,0,0,0,0,0,0]
["18:15","18:30",0,0,0,0,0,0,0,0,0,0,0,107,0,0,0,0,0,0,0]
["18:30","18:45",0,0,0,0,0,0,0,0,0,0,0,107,0,0,0,0,0,0,0]
["18:45","19:00",0,0,0,0,0,0,0,0,0,0,0,107,0,0,0,0,0,0,0]
["19:00","19:15",0,0,0,0,0,0,0,0,0,0,0,57,0,0,0,0,0,0,0]
["19:15","19:30",0,0,0,0,0,0,0,0,0,0,0,57,0,0,0,0,0,0,0]
["19:30","19:45",0,0,0,0,0,0,0,0,0,0,0,57,0,0,0,0,0,0,0]
["19:45","20:00",0,0,0,0,0,0,0,0,0,0,0,57,0,0,0,0,0,0,0]
["20:00","20:15",0,0,0,0,0,0,0,0,0,0,0,43,0,0,0,0,0,0,0]
["20:15","20:30",0,0,0,0,0,0,0,0,0,0,0,43,0,0,0,0,0,0,0]
["20:30","20:45",0,0,0,0,0,0,0,0,0,0,0,43,0,0,0,0,0,0,0]
["20:45","21:00",0,0,0,0,0,0,0,0,0,0,0,43,0,0,0,0,0,0,0]
["21:00","21:15",0,0,0,0,0,0,0,0,0,0,0,45,0,0,0,0,0,0,0]
["21:15","21:30",0,0,0,0,0,0,0,0,0,0,0,45,0,0,0,0,0,0,0]
["21:30","21:45",0,0,0,0,0,0,0,0,0,0,0,45,0,0,0,0,0,0,0]
["21:45","22:00",0,0,0,0,0,0,0,0,0,0,0,45,0,0,0,0,0,0,0]
["22:00","22:15",0,0,0,0,0,0,0,0,0,0,0,69,0,0,0,0,0,0,0]
["22:15","22:30",0,0,0,0,0,0,0,0,0,0,0,69,0,0,0,0,0,0,0]
["22:30","22:45",0,0,0,0,0,0,0,0,0,0,0,69,0,0,0,0,0,0,0]
["22:45","23:00",0,0,0,0,0,0,0,0,0,0,0,69,0,0,0,0,0,0,0]
["23:00","23:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:15","23:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:30","23:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["23:45","24:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]