{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":25,"rows_kept":106}
[null,"Datum","01.12.2025","01.12.2025","01.12.2025","01.12.2025","01.12.2025","01.12.2025","01.12.2025","01.12.2025","01.12.2025","01.12.2025","01.12.2025","01.12.2025","01.12.2025","01.12.2025","01.12.2025","01.12.2025","01.12.2025","01.12.2025","01.12.2025","01.12.2025","01.12.2025","01.12.2025","01.12.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz","50Hertz","TenneT DE","TenneT DE","TenneT DE","TenneT DE","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","50H UW Bertikow","50H OWP Wikinger","Boxberg (Standort)","Lippendorf VE","Schwarze Pumpe (Standort)","Jänschwalde (Standort)","Boxberg (Standort)","50H Berlin Marzahn","50H Berlin Mitte","Jänschwalde (Standort)","Boxberg (Standort)","Schkopau","Boxberg (Standort)","Jänschwalde (Standort)","50H Berlin Marzahn","50H Berlin Mitte","50H Hamburg Tiefstack GuD","50H Hamburg Wedel1","Lippendorf VE","50H Berlin Mitte","Schkopau","Boxberg (Standort)","Jänschwalde (Standort)"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE"]
["Kontrollsumme:","[MWh] ",218.25,81.75,{"v":470,"d":"470.00"},{"v":265,"d":"265.00"},{"v":140,"d":"140.00"},{"v":100,"d":"100.00"},{"v":389,"d":"389.00"},{"v":655,"d":"655.00"},{"v":813,"d":"813.00"},{"v":1930,"d":"1930.00"},{"v":152,"d":"152.00"},{"v":50,"d":"50.00"},{"v":250,"d":"250.00"},{"v":199,"d":"199.00"},{"v":841,"d":"841.00"},{"v":416,"d":"416.00"},{"v":385,"d":"385.00"},{"v":410,"d":"410.00"},{"v":366,"d":"366.00"},{"v":2,"d":"2.00"},{"v":746.5,"d":"746.50"},{"v":1155,"d":"1155.00"},{"v":597,"d":"597.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,27,156,0,0,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,27,156,0,0,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,27,156,0,0,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,27,156,0,0,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,72,106,0,0,0,0,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,72,106,0,0,0,0,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,72,106,0,0,0,0,0,0,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,72,106,0,0,0,0,0,0,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0,0,0,180,120,57,0,0,0,0,0,0,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,0,0,180,120,57,0,0,0,0,0,0,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,0,0,180,120,57,0,0,0,0,0,0,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,0,0,180,120,57,0,0,0,0,0,0,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,70,10,0,0,0,0,0,0,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,70,10,0,0,0,0,0,0,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,70,10,0,0,0,0,0,0,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,70,10,0,0,0,0,0,0,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,0,0,0,69,19,20,0,0,0,0,0,0,0,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,0,0,0,69,19,20,0,0,0,0,0,0,0,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,0,0,0,69,19,20,0,0,0,0,0,0,0,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,0,0,0,69,19,20,0,0,0,0,0,0,0,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,0,0,0,130,0,0,0,0,0,0,0,0,0,0]
["05:15","05:30",0,0,0,0,0,0,0,0,0,0,0,0,130,0,0,0,0,0,0,0,0,0,0]
["05:30","05:45",0,0,0,0,0,0,0,0,0,0,0,0,130,0,0,0,0,0,0,0,0,0,0]
["05:45","06:00",0,0,0,0,0,0,0,0,0,0,0,0,130,0,0,0,0,0,0,0,0,0,0]
["06:00","06:15",0,0,0,0,0,0,89,0,0,0,0,0,0,0,50,38,0,0,0,0,0,0,0]
["06:15","06:30",0,0,0,0,0,0,89,0,0,0,0,0,0,0,50,38,0,0,0,0,0,0,0]
["06:30","06:45",0,0,0,0,0,0,89,0,0,0,0,0,0,0,50,38,0,0,0,0,0,0,0]
["06:45","07:00",0,0,0,0,0,0,89,0,0,0,0,0,0,0,50,38,0,0,0,0,0,0,0]
["07:00","07:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,55,18,0,0,0,0,0]
["07:15","07:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,55,18,0,0,0,0,0]
["07:30","07:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,55,18,0,0,0,0,0]
["07:45","08:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,55,18,0,0,0,0,0]
["08:00","08:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,34,0,55,48,0,0,0,0,0]
["08:15","08:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,34,0,55,48,0,0,0,0,0]
["08:30","08:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,34,0,55,48,0,0,0,0,0]
["08:45","09:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,34,0,55,48,0,0,0,0,0]
["09:00","09:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,84,0,55,90,0,0,0,0,0]
["09:15","09:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,84,0,55,90,0,0,0,0,0]
["09:30","09:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,84,0,55,90,0,0,0,0,0]
["09:45","10:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,84,0,55,90,0,0,0,0,0]
["10:00","10:15",0,0,0,0,0,0,0,0,0,68,0,0,0,0,104,0,0,10,0,0,0,0,0]
["10:15","10:30",0,0,0,0,0,0,0,0,0,68,0,0,0,0,104,0,0,10,0,0,0,0,0]
["10:30","10:45",0,0,0,0,0,0,0,0,0,68,0,0,0,0,104,0,0,10,0,0,0,0,0]
["10:45","11:00",0,0,0,0,0,0,0,0,0,68,0,0,0,0,104,0,0,10,0,0,0,0,0]
["11:00","11:15",0,0,0,0,0,0,0,0,0,68,0,0,0,0,94,0,0,36,0,0,0,0,0]
["11:15","11:30",0,0,0,0,0,0,0,0,0,68,0,0,0,0,94,0,0,36,0,0,0,0,0]
["11:30","11:45",0,0,0,0,0,0,0,0,0,68,0,0,0,0,94,0,0,36,0,0,0,0,0]
["11:45","12:00",0,0,0,0,0,0,0,0,0,68,0,0,0,0,94,0,0,36,0,0,0,0,0]
["12:00","12:15",0,0,150,150,100,0,0,0,0,68,0,0,0,0,100,49,0,50,0,0,0,0,0]
["12:15","12:30",0,0,150,150,100,0,0,0,0,68,0,0,0,0,100,49,0,50,0,0,0,0,0]
["12:30","12:45",0,0,150,150,100,0,0,0,0,68,0,0,0,0,100,49,0,50,0,0,0,0,0]
["12:45","13:00",0,0,150,150,100,0,0,0,0,68,0,0,0,0,100,49,0,50,0,0,0,0,0]
["13:00","13:15",0,0,200,130,0,0,0,0,0,94,0,0,0,0,50,0,0,0,0,0,75,35,0]
["13:15","13:30",0,0,200,130,0,0,0,0,0,94,0,0,0,0,50,0,0,0,0,0,117,35,0]
["13:30","13:45",0,0,200,70,0,0,0,0,0,94,0,0,0,0,50,0,0,0,0,0,117,35,0]
["13:45","14:00",0,0,200,130,0,0,0,0,0,94,0,0,0,0,50,0,0,0,0,0,117,35,0]
["14:00","14:15",0,0,0,0,0,0,0,0,0,115,76,0,0,0,0,0,0,0,0,1,0,0,0]
["14:15","14:30",0,0,0,0,0,0,0,0,0,115,76,0,0,0,0,0,0,0,0,1,0,0,0]
["14:30","14:45",0,0,0,0,0,0,0,0,0,115,76,0,0,0,0,0,0,0,0,1,0,0,0]
["14:45","15:00",0,0,0,0,0,0,0,0,0,115,76,0,0,0,0,0,0,0,0,1,0,0,0]
["15:00","15:15",0,0,0,0,0,0,0,0,0,113,76,50,0,0,0,0,55,0,0,1,0,0,0]
["15:15","15:30",0,0,0,0,0,0,0,0,0,113,76,50,0,0,0,0,55,0,0,1,0,0,0]
["15:30","15:45",0,0,0,0,0,0,0,0,0,113,76,50,0,0,0,0,55,0,0,1,0,0,0]
["15:45","16:00",0,0,0,0,0,0,0,0,0,113,76,50,0,0,0,0,55,0,0,1,0,0,0]
["16:00","16:15",0,0,0,0,0,0,0,0,0,110,0,0,0,0,0,0,55,0,0,0,0,0,0]
["16:15","16:30",0,0,0,0,0,0,0,0,0,110,0,0,0,0,0,0,55,0,0,0,0,0,0]
["16:30","16:45",0,0,0,0,0,0,0,0,0,110,0,0,0,0,0,0,55,0,0,0,0,0,0]
["16:45","17:00",0,0,0,0,0,0,0,0,0,110,0,0,0,0,0,0,55,0,0,0,0,0,0]
["17:00","17:15",0,0,120,0,40,100,0,0,0,110,0,0,0,0,0,0,55,0,0,0,0,0,0]
["17:15","17:30",0,0,120,0,40,100,0,0,0,110,0,0,0,0,0,0,55,0,0,0,0,0,0]
["17:30","17:45",0,0,120,0,40,100,0,0,0,110,0,0,0,0,0,0,55,0,0,0,0,0,0]
["17:45","18:00",0,0,120,0,40,100,0,0,0,110,0,0,0,0,0,0,55,0,0,0,0,0,0]
["18:00","18:15",0,0,0,0,0,0,0,0,0,124,0,0,0,0,16,0,55,0,0,0,0,0,0]
["18:15","18:30",0,0,0,0,0,0,0,0,0,124,0,0,0,0,16,0,55,0,0,0,0,0,0]
["18:30","18:45",0,0,0,0,0,0,0,0,0,124,0,0,0,0,16,0,55,0,0,0,0,0,0]
["18:45","19:00",0,0,0,0,0,0,0,0,0,124,0,0,0,0,16,0,55,0,0,0,0,0,0]
["19:00","19:15",0,0,0,0,0,0,0,100,99,124,0,0,0,0,0,0,0,0,0,0,33,71,165]
["19:15","19:30",0,0,0,0,0,0,0,100,99,124,0,0,0,0,0,0,0,0,0,0,33,71,165]
["19:30","19:45",0,0,0,0,0,0,0,100,99,124,0,0,0,0,0,0,0,0,0,0,33,71,165]
["19:45","20:00",0,0,0,0,0,0,0,100,99,124,0,0,0,0,0,0,0,0,0,0,33,71,165]
["20:00","20:15",0,0,0,0,0,0,100,150,119,80,0,0,0,0,0,0,0,0,0,0,121,111,108]
["20:15","20:30",0,0,0,0,0,0,100,150,119,80,0,0,0,0,0,0,0,0,0,0,121,111,108]
["20:30","20:45",217,83,0,0,0,0,100,150,119,80,0,0,0,0,0,0,0,0,0,0,121,111,108]
["20:45","21:00",218,82,0,0,0,0,100,150,119,80,0,0,0,0,0,0,0,0,0,0,121,111,108]
["21:00","21:15",219,81,0,0,0,0,100,135,169,280,0,0,0,0,0,0,0,50,0,0,162,146,108]
["21:15","21:30",219,81,0,0,0,0,100,135,169,280,0,0,0,0,0,0,0,50,0,0,162,146,108]
["21:30","21:45",0,0,0,0,0,0,100,135,169,280,0,0,0,0,0,0,0,50,0,0,162,146,108]
["21:45","22:00",0,0,0,0,0,0,100,135,169,280,0,0,0,0,0,0,0,50,0,0,162,146,108]
["22:00","22:15",0,0,0,0,0,0,100,135,188,280,0,0,0,0,0,0,0,54,0,0,162,396,108]
["22:15","22:30",0,0,0,0,0,0,100,135,188,280,0,0,0,0,0,0,0,54,0,0,162,396,108]
["22:30","22:45",0,0,0,0,0,0,100,135,188,280,0,0,0,0,0,0,0,54,0,0,162,396,108]
["22:45","23:00",0,0,0,0,0,0,100,135,188,280,0,0,0,0,0,0,0,54,0,0,162,396,108]
["23:00","23:15",0,0,0,0,0,0,0,135,238,296,0,0,51,0,0,0,0,54,366,0,162,396,108]
["23:15","23:30",0,0,0,0,0,0,0,135,238,296,0,0,51,0,0,0,0,54,366,0,162,396,108]
["23:30","23:45",0,0,0,0,0,0,0,135,238,296,0,0,51,0,0,0,0,54,366,0,162,396,108]
["23:45","24:00",0,0,0,0,0,0,0,135,238,296,0,0,51,0,0,0,0,54,366,0,162,396,108]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":4,"rows_kept":106}
[null,"Datum","01.12.2025","01.12.2025"]
[null,"GM-Art","Fremdbilanzierter RD","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz"]
[null,"Ursache","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 413"]
[null,"auslösendes Netzelement","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 412"]
[null,"AO Klarname","50H_EDIS_CR_GUE_Nord","50H_EDIS_CR_PAS"]
[null,"Richtung","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":100,"d":"100.00"},{"v":600,"d":"600.00"}]
["00:00","00:15",0,0]
["00:15","00:30",0,0]
["00:30","00:45",0,0]
["00:45","01:00",0,0]
["01:00","01:15",0,0]
["01:15","01:30",0,0]
["01:30","01:45",0,0]
["01:45","02:00",0,0]
["02:00","02:15",0,0]
["02:15","02:30",0,0]
["02:30","02:45",0,0]
["02:45","03:00",0,0]
["03:00","03:15",0,0]
["03:15","03:30",0,0]
["03:30","03:45",0,0]
["03:45","04:00",0,0]
["04:00","04:15",0,0]
["04:15","04:30",0,0]
["04:30","04:45",0,0]
["04:45","05:00",0,0]
["05:00","05:15",0,0]
["05:15","05:30",0,0]
["05:30","05:45",0,0]
["05:45","06:00",0,0]
["06:00","06:15",0,0]
["06:15","06:30",0,0]
["06:30","06:45",0,0]
["06:45","07:00",0,0]
["07:00","07:15",0,0]
["07:15","07:30",0,0]
["07:30","07:45",0,0]
["07:45","08:00",0,0]
["08:00","08:15",0,0]
["08:15","08:30",0,0]
["08:30","08:45",0,0]
["08:45","09:00",0,0]
["09:00","09:15",0,0]
["09:15","09:30",0,0]
["09:30","09:45",0,0]
["09:45","10:00",0,0]
["10:00","10:15",0,0]
["10:15","10:30",0,0]
["10:30","10:45",0,0]
["10:45","11:00",0,0]
["11:00","11:15",0,0]
["11:15","11:30",0,0]
["11:30","11:45",0,0]
["11:45","12:00",0,0]
["12:00","12:15",0,0]
["12:15","12:30",0,0]
["12:30","12:45",0,0]
["12:45","13:00",0,0]
["13:00","13:15",0,0]
["13:15","13:30",0,0]
["13:30","13:45",0,0]
["13:45","14:00",0,0]
["14:00","14:15",0,0]
["14:15","14:30",0,0]
["14:30","14:45",0,0]
["14:45","15:00",0,0]
["15:00","15:15",0,0]
["15:15","15:30",0,0]
["15:30","15:45",0,0]
["15:45","16:00",0,0]
["16:00","16:15",0,0]
["16:15","16:30",0,0]
["16:30","16:45",0,0]
["16:45","17:00",0,0]
["17:00","17:15",0,0]
["17:15","17:30",0,0]
["17:30","17:45",0,0]
["17:45","18:00",0,0]
["18:00","18:15",0,0]
["18:15","18:30",0,0]
["18:30","18:45",0,0]
["18:45","19:00",0,0]
["19:00","19:15",0,100]
["19:15","19:30",0,100]
["19:30","19:45",0,100]
["19:45","20:00",0,100]
["20:00","20:15",0,100]
["20:15","20:30",0,100]
["20:30","20:45",0,100]
["20:45","21:00",0,100]
["21:00","21:15",0,100]
["21:15","21:30",0,100]
["21:30","21:45",0,100]
["21:45","22:00",0,100]
["22:00","22:15",50,150]
["22:15","22:30",50,150]
["22:30","22:45",50,150]
["22:45","23:00",50,150]
["23:00","23:15",50,150]
["23:15","23:30",50,150]
["23:30","23:45",50,150]
["23:45","24:00",50,150]