{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Redispatch"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":18,"rows_kept":106}
[null,"Datum","22.11.2025","22.11.2025","22.11.2025","22.11.2025","22.11.2025","22.11.2025","22.11.2025","22.11.2025","22.11.2025","22.11.2025","22.11.2025","22.11.2025","22.11.2025","22.11.2025","22.11.2025","22.11.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","50H Erfurt-Ost HKW GuD","50H Berlin Lichterfelde","Lippendorf VE","50H Berlin Marzahn","50H Berlin Mitte","50H Rostock Marienehe","50H Halle-Trotha HKW","50H Halle-Dieselstr HKW-BlockB","50H Hamburg Wedel1","Jänschwalde (Standort)","Börse","50H Berlin Lichterfelde","50H Berlin Mitte","Boxberg (Standort)"]
[null,"Richtung","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":300,"d":"300.00"},{"v":23,"d":"23.00"},760.25,{"v":1386,"d":"1386.00"},{"v":316,"d":"316.00"},{"v":2619,"d":"2619.00"},{"v":643,"d":"643.00"},{"v":123,"d":"123.00"},{"v":153,"d":"153.00"},{"v":154,"d":"154.00"},520.75,{"v":221,"d":"221.00"},1.25,{"v":11,"d":"11.00"},{"v":7,"d":"7.00"},{"v":386,"d":"386.00"}]
["00:00","00:15",0,0,15,118,0,150,50,0,0,0,0,0,0,0,0,0]
["00:15","00:30",0,0,30,118,0,150,50,0,0,0,0,0,0,0,0,0]
["00:30","00:45",0,0,52,118,0,150,50,0,0,0,0,0,0,0,0,0]
["00:45","01:00",0,0,52,118,0,150,50,0,0,0,0,0,0,0,0,0]
["01:00","01:15",0,0,53,98,0,100,50,33,25,11,0,0,0,0,0,0]
["01:15","01:30",0,0,53,98,0,100,50,33,25,11,0,0,0,0,0,0]
["01:30","01:45",0,0,53,98,0,100,50,33,25,11,0,0,0,0,0,0]
["01:45","02:00",0,0,53,98,0,100,50,33,25,11,0,0,0,0,0,0]
["02:00","02:15",0,0,53,148,50,150,81,0,25,11,0,0,0,0,0,0]
["02:15","02:30",0,0,53,148,50,150,81,0,25,11,0,0,0,0,0,0]
["02:30","02:45",0,0,53,148,50,150,81,0,25,11,0,0,0,0,0,0]
["02:45","03:00",0,0,53,148,50,150,81,0,25,11,0,0,0,0,0,0]
["03:00","03:15",0,0,53,153,0,186,0,0,10,11,0,0,0,0,0,0]
["03:15","03:30",0,0,53,153,0,186,0,0,10,11,0,0,0,0,0,0]
["03:30","03:45",0,0,53,153,0,186,0,0,10,11,0,0,0,0,0,0]
["03:45","04:00",0,0,53,153,0,186,0,0,10,11,0,0,0,0,0,0]
["04:00","04:15",0,4,53,119,0,186,0,0,0,11,0,0,0,0,0,0]
["04:15","04:30",0,4,53,119,0,186,0,0,0,11,0,0,0,0,0,0]
["04:30","04:45",0,4,53,119,0,186,0,0,0,11,0,0,0,0,0,0]
["04:45","05:00",0,4,53,119,0,186,0,0,0,11,0,0,0,0,0,0]
["05:00","05:15",0,4,53,82,0,186,0,0,0,11,0,0,0,0,0,0]
["05:15","05:30",0,4,53,82,0,186,0,0,0,11,0,0,0,0,0,0]
["05:30","05:45",0,4,53,82,0,186,0,0,0,11,0,0,0,0,0,0]
["05:45","06:00",0,4,53,82,0,186,0,0,0,11,0,0,0,0,0,0]
["06:00","06:15",0,5,41,109,0,180,0,0,0,0,0,0,0,0,0,50]
["06:15","06:30",0,5,41,109,0,180,0,0,0,0,0,0,0,0,0,50]
["06:30","06:45",0,5,41,109,0,180,0,0,0,0,0,0,0,0,0,50]
["06:45","07:00",0,5,41,109,0,180,0,0,0,0,0,0,0,0,0,50]
["07:00","07:15",0,0,53,119,0,154,32,0,0,11,0,0,0,0,0,0]
["07:15","07:30",0,0,53,119,0,154,32,0,0,11,0,0,0,0,0,0]
["07:30","07:45",0,0,53,119,0,154,32,0,0,11,0,0,0,0,0,0]
["07:45","08:00",0,0,53,119,0,154,32,0,0,11,0,0,0,0,0,0]
["08:00","08:15",0,0,53,119,0,155,31,0,0,11,0,0,0,0,0,0]
["08:15","08:30",0,0,53,119,0,155,31,0,0,11,0,0,0,0,0,0]
["08:30","08:45",0,0,53,119,0,155,31,0,0,11,0,0,0,0,0,0]
["08:45","09:00",0,0,53,119,0,155,31,0,0,11,0,0,0,0,0,0]
["09:00","09:15",0,0,53,119,0,155,31,0,0,11,0,0,0,0,0,0]
["09:15","09:30",0,0,53,119,0,155,31,0,0,11,0,0,0,0,0,0]
["09:30","09:45",0,0,53,119,0,155,31,0,0,11,0,0,0,0,0,0]
["09:45","10:00",0,0,53,119,0,155,31,0,0,11,0,0,0,0,0,0]
["10:00","10:15",0,5,53,41,0,155,82,3,24,11,0,0,0,0,0,0]
["10:15","10:30",0,5,53,41,0,155,82,3,24,11,0,0,0,0,0,0]
["10:30","10:45",0,5,53,41,0,155,82,3,24,11,0,0,0,0,0,0]
["10:45","11:00",0,5,53,41,0,155,82,3,24,11,0,0,0,0,0,0]
["11:00","11:15",0,5,53,27,0,155,31,0,0,11,0,0,0,0,0,0]
["11:15","11:30",0,5,53,27,0,155,31,0,0,11,0,0,0,0,0,0]
["11:30","11:45",0,5,53,27,0,155,31,0,0,11,0,0,0,0,0,0]
["11:45","12:00",0,5,53,27,0,155,31,0,0,11,0,0,0,0,0,0]
["12:00","12:15",0,0,51,41,0,155,67,0,23,11,0,0,0,0,0,0]
["12:15","12:30",0,0,51,41,0,155,67,0,23,11,0,0,0,0,0,0]
["12:30","12:45",0,0,51,41,0,155,67,0,23,11,0,0,0,0,0,0]
["12:45","13:00",0,0,51,41,0,155,67,0,23,11,0,0,0,0,0,0]
["13:00","13:15",0,0,51,41,146,150,88,0,23,11,19,0,0,0,0,0]
["13:15","13:30",0,0,51,41,146,150,88,0,23,11,19,0,0,0,0,0]
["13:30","13:45",0,0,51,41,146,150,88,0,23,11,19,0,0,0,0,0]
["13:45","14:00",0,0,51,41,146,150,88,0,23,11,19,0,0,0,0,0]
["14:00","14:15",0,0,40,0,73,100,50,40,23,11,69,0,0,0,0,0]
["14:15","14:30",0,0,40,0,73,100,50,40,23,11,69,0,0,0,0,0]
["14:30","14:45",0,0,40,0,73,100,50,40,23,11,69,0,0,0,0,0]
["14:45","15:00",0,0,20,0,73,100,50,40,23,11,69,0,0,0,0,0]
["15:00","15:15",0,0,1,0,0,50,0,0,0,0,69,0,0,0,0,24]
["15:15","15:30",0,0,1,0,0,50,0,0,0,0,69,0,0,0,0,24]
["15:30","15:45",0,0,1,0,0,50,0,0,0,0,69,0,0,0,0,24]
["15:45","16:00",0,0,1,0,0,50,0,0,0,0,69,0,0,0,0,24]
["16:00","16:15",0,0,0,0,0,0,0,0,0,0,70,0,0,0,0,0]
["16:15","16:30",0,0,0,0,0,0,0,0,0,0,70,0,0,0,0,0]
["16:30","16:45",0,0,0,0,0,0,0,0,0,0,70,0,0,0,0,0]
["16:45","17:00",0,0,0,0,0,0,0,0,0,0,70,0,0,0,0,0]
["17:00","17:15",0,0,0,0,0,0,0,0,0,0,70,12,0,3,0,0]
["17:15","17:30",0,0,0,0,0,0,0,0,0,0,65,12,5,3,0,0]
["17:30","17:45",0,0,0,0,0,0,0,0,0,0,40,42,0,3,0,0]
["17:45","18:00",0,0,0,0,0,0,0,0,0,0,40,42,0,3,0,0]
["18:00","18:15",0,0,0,0,0,0,0,0,0,0,40,42,0,0,0,0]
["18:15","18:30",0,0,0,0,0,0,0,0,0,0,40,42,0,0,0,0]
["18:30","18:45",0,0,0,0,0,0,0,0,0,0,40,42,0,0,0,0]
["18:45","19:00",0,0,0,0,0,0,0,0,0,0,40,42,0,0,0,0]
["19:00","19:15",0,0,0,0,0,0,0,0,0,0,40,30,0,4,7,0]
["19:15","19:30",0,0,0,0,0,0,0,0,0,0,40,30,0,4,7,0]
["19:30","19:45",0,0,0,0,0,0,0,0,0,0,40,30,0,4,7,0]
["19:45","20:00",0,0,0,0,0,0,0,0,0,0,40,30,0,4,7,0]
["20:00","20:15",0,0,0,0,0,0,0,0,0,0,40,30,0,4,0,111]
["20:15","20:30",0,0,0,0,0,0,0,0,0,0,40,30,0,4,0,111]
["20:30","20:45",0,0,0,0,0,0,0,0,0,0,40,30,0,4,0,111]
["20:45","21:00",0,0,0,0,0,0,0,0,0,0,40,30,0,4,0,111]
["21:00","21:15",0,0,0,0,0,34,0,7,0,0,40,30,0,0,0,111]
["21:15","21:30",0,0,0,0,0,34,0,7,0,0,40,30,0,0,0,111]
["21:30","21:45",0,0,0,0,0,34,0,7,0,0,40,30,0,0,0,111]
["21:45","22:00",0,0,0,0,0,34,0,7,0,0,40,30,0,0,0,111]
["22:00","22:15",150,0,14,26,0,84,0,0,0,0,40,31,0,0,0,90]
["22:15","22:30",150,0,14,26,0,84,0,0,0,0,40,31,0,0,0,90]
["22:30","22:45",150,0,14,26,0,84,0,0,0,0,40,31,0,0,0,90]
["22:45","23:00",150,0,14,26,0,84,0,0,0,0,40,31,0,0,0,90]
["23:00","23:15",150,0,0,26,47,134,50,40,0,11,40,31,0,0,0,0]
["23:15","23:30",150,0,0,26,47,134,50,40,0,11,40,31,0,0,0,0]
["23:30","23:45",150,0,0,26,47,134,50,40,0,11,40,31,0,0,0,0]
["23:45","24:00",150,0,0,26,47,134,50,40,0,11,40,31,0,0,0,0]