{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":25,"rows_kept":106}
[null,"Datum","27.11.2025","27.11.2025","27.11.2025","27.11.2025","27.11.2025","27.11.2025","27.11.2025","27.11.2025","27.11.2025","27.11.2025","27.11.2025","27.11.2025","27.11.2025","27.11.2025","27.11.2025","27.11.2025","27.11.2025","27.11.2025","27.11.2025","27.11.2025","27.11.2025","27.11.2025","27.11.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","50H Berlin Marzahn","50H Berlin Mitte","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","Boxberg (Standort)","Jänschwalde (Standort)","Rostock Kohlekraftwerk","Boxberg (Standort)","Jänschwalde (Standort)","50H Berlin Marzahn","Boxberg (Standort)","Schwarze Pumpe (Standort)","50H Halle-Dieselstr HKW-BlockA","50H Halle-Dieselstr HKW-BlockB","50H Hamburg Wedel1","50H Hamburg MMB BHKW PtH","50H Berlin Mitte","50H UW Bertikow","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","50H Halle-Dieselstr HKW-BlockB"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","SENKE","QUELLE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":281,"d":"281.00"},{"v":366,"d":"366.00"},{"v":1500,"d":"1500.00"},{"v":588.5,"d":"588.50"},207.75,{"v":120,"d":"120.00"},{"v":50,"d":"50.00"},{"v":90,"d":"90.00"},601.75,{"v":1750,"d":"1750.00"},{"v":760,"d":"760.00"},{"v":406,"d":"406.00"},{"v":312,"d":"312.00"},{"v":10,"d":"10.00"},{"v":39,"d":"39.00"},{"v":871.5,"d":"871.50"},{"v":301.5,"d":"301.50"},{"v":133,"d":"133.00"},{"v":40.5,"d":"40.50"},{"v":226,"d":"226.00"},{"v":456,"d":"456.00"},{"v":436,"d":"436.00"},{"v":11,"d":"11.00"}]
["00:00","00:15",0,0,0,0,0,0,50,0,0,0,50,0,143,0,6,0,0,0,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,50,0,0,0,50,0,164,0,6,0,0,0,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,50,0,0,0,50,0,32,0,6,0,0,0,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,50,0,0,0,50,0,0,0,6,0,0,0,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,60,0,94,0,0,0,0,0,0,0,0,19,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,92,0,94,0,32,0,0,0,0,0,0,19,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,92,0,94,0,32,0,0,0,0,0,0,19,0,0,0]
["01:45","02:00",0,0,0,0,0,0,0,0,92,0,94,0,45,0,0,0,0,0,0,19,0,0,0]
["02:00","02:15",0,0,0,0,0,0,0,0,111,302,135,0,0,0,0,0,0,0,0,0,108,0,0]
["02:15","02:30",0,0,0,0,0,0,0,0,111,302,135,0,0,0,0,0,0,0,0,0,108,0,0]
["02:30","02:45",0,0,0,0,0,0,0,0,111,302,135,0,0,0,0,0,0,0,0,0,108,0,0]
["02:45","03:00",0,0,0,0,0,0,0,0,111,302,135,0,0,0,0,0,0,0,0,0,108,0,0]
["03:00","03:15",0,0,0,0,0,0,0,0,170,550,160,0,0,10,11,0,0,79,0,0,0,0,0]
["03:15","03:30",0,0,0,0,0,0,0,0,170,550,160,0,0,10,11,0,0,79,0,0,0,0,0]
["03:30","03:45",0,0,0,0,0,0,0,0,170,550,160,0,0,10,11,0,0,79,0,0,0,0,0]
["03:45","04:00",0,0,0,0,0,0,0,0,120,550,160,0,0,10,11,0,0,79,0,0,0,0,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,250,145,0,0,0,11,9,18,0,0,0,0,0,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,250,145,0,0,0,11,9,18,0,0,0,0,0,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,250,145,0,0,0,11,9,18,0,0,0,0,0,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,250,145,0,0,0,11,9,18,0,0,0,0,0,0]
["05:00","05:15",0,0,0,0,0,0,0,80,60,569,95,200,200,0,11,75,18,54,0,0,0,0,0]
["05:15","05:30",0,0,0,0,0,0,0,80,111,569,95,200,200,0,11,75,18,54,0,0,0,0,0]
["05:30","05:45",0,0,0,0,0,0,0,80,111,569,95,200,200,0,11,75,18,54,0,0,0,0,0]
["05:45","06:00",0,0,0,0,0,0,0,80,111,569,95,200,200,0,11,75,18,54,0,0,0,0,0]
["06:00","06:15",0,0,0,0,0,0,0,40,0,0,45,0,0,0,0,75,18,0,0,0,0,0,0]
["06:15","06:30",0,0,0,0,0,0,0,0,0,0,45,0,0,0,0,75,18,0,0,0,0,0,0]
["06:30","06:45",0,0,0,0,0,0,0,0,0,0,45,0,0,0,0,75,18,0,0,0,0,0,0]
["06:45","07:00",0,0,0,0,0,0,0,0,0,0,45,0,0,0,0,75,18,0,0,0,0,0,0]
["07:00","07:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,102,18,0,0,0,0,0,0]
["07:15","07:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,102,18,0,0,0,0,0,0]
["07:30","07:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,102,18,0,0,0,0,0,0]
["07:45","08:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,102,18,0,0,0,0,0,0]
["08:00","08:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,108,18,0,0,0,0,0,0]
["08:15","08:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,108,18,0,0,0,0,0,0]
["08:30","08:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,108,18,0,0,0,0,0,0]
["08:45","09:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,108,18,0,0,0,0,0,0]
["09:00","09:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,67,18,0,0,0,0,0,0]
["09:15","09:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,67,18,0,0,0,0,0,0]
["09:30","09:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,60,18,0,0,0,0,0,0]
["09:45","10:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,60,18,0,0,0,0,0,0]
["10:00","10:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,60,18,0,0,71,0,0,0]
["10:15","10:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,60,18,0,0,71,0,0,0]
["10:30","10:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,60,18,0,0,71,0,0,0]
["10:45","11:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,60,18,0,0,71,0,0,0]
["11:00","11:15",0,0,0,0,0,60,0,0,60,0,0,0,0,0,0,60,18,0,0,0,0,0,0]
["11:15","11:30",0,0,0,0,0,60,0,0,71,0,0,0,0,0,0,60,18,0,0,0,0,0,0]
["11:30","11:45",0,0,0,0,0,60,0,0,71,0,0,0,0,0,0,60,18,0,0,0,0,0,0]
["11:45","12:00",0,0,0,0,0,60,0,0,60,0,0,0,0,0,0,60,18,0,0,0,0,0,0]
["12:00","12:15",0,0,0,0,0,60,0,0,0,0,0,0,0,0,0,48,18,0,0,0,28,0,0]
["12:15","12:30",0,0,0,0,0,60,0,0,0,0,0,0,0,0,0,48,18,0,0,0,28,0,0]
["12:30","12:45",0,0,0,0,0,60,0,0,0,0,0,0,0,0,0,48,18,0,0,0,28,0,0]
["12:45","13:00",0,0,0,0,0,60,0,0,0,0,0,0,0,0,0,48,18,0,0,0,28,0,0]
["13:00","13:15",13,20,0,0,84,0,0,0,0,0,0,0,0,0,0,31,9,0,0,0,50,0,0]
["13:15","13:30",13,20,0,0,84,0,0,0,0,0,0,0,0,0,0,31,9,0,0,0,50,0,0]
["13:30","13:45",13,20,0,0,84,0,0,0,0,0,0,0,0,0,0,31,0,0,0,0,50,0,0]
["13:45","14:00",13,20,0,0,84,0,0,0,0,0,0,0,0,0,0,31,0,0,0,0,50,0,0]
["14:00","14:15",0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,31,0,0,0,0,0,0,0]
["14:15","14:30",0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,31,0,0,18,0,0,0,0]
["14:30","14:45",0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,31,0,0,18,0,0,0,0]
["14:45","15:00",0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,31,0,0,18,0,0,0,0]
["15:00","15:15",0,0,200,0,0,0,0,0,0,0,26,0,0,0,0,31,0,0,18,0,0,0,6]
["15:15","15:30",0,0,200,0,0,0,0,0,0,0,26,0,0,0,0,31,0,0,18,0,0,0,6]
["15:30","15:45",0,0,200,0,0,0,0,0,0,0,26,0,0,0,0,31,0,0,18,0,0,0,6]
["15:45","16:00",0,0,200,0,0,0,0,0,0,0,26,0,0,0,0,31,0,0,18,0,0,0,6]
["16:00","16:15",0,0,300,0,0,0,0,0,0,0,0,0,0,0,0,31,0,0,18,0,0,0,5]
["16:15","16:30",0,0,300,0,0,0,0,0,0,0,0,0,0,0,0,31,0,0,18,0,0,0,5]
["16:30","16:45",0,0,300,0,0,0,0,0,0,0,0,0,0,0,0,31,18,0,0,0,0,0,5]
["16:45","17:00",0,0,300,0,0,0,0,0,0,0,0,0,0,0,0,31,18,0,0,0,0,0,5]
["17:00","17:15",47,50,300,0,0,0,0,0,0,0,0,110,0,0,0,31,18,0,0,0,0,0,0]
["17:15","17:30",47,50,300,0,0,0,0,0,0,0,0,110,0,0,0,31,18,0,0,0,0,0,0]
["17:30","17:45",47,50,300,0,0,0,0,0,0,0,0,110,0,0,0,31,18,0,0,0,0,0,0]
["17:45","18:00",47,50,300,0,0,0,0,0,0,0,0,110,0,0,0,31,18,0,0,0,0,0,0]
["18:00","18:15",0,0,200,181,0,0,0,0,0,0,10,96,0,0,0,31,18,0,0,0,0,0,0]
["18:15","18:30",0,0,200,181,0,0,0,0,0,0,10,96,0,0,0,31,18,0,0,0,0,0,0]
["18:30","18:45",0,0,200,181,0,0,0,0,0,0,10,96,0,0,0,31,18,0,0,0,0,0,0]
["18:45","19:00",0,0,200,181,0,0,0,0,0,0,10,96,0,0,0,31,18,0,0,0,0,0,0]
["19:00","19:15",0,0,200,100,0,0,0,0,0,0,0,0,0,0,0,19,18,0,0,0,0,0,0]
["19:15","19:30",0,0,200,100,0,0,0,0,0,0,0,0,0,0,0,19,18,0,0,0,0,0,0]
["19:30","19:45",0,0,200,100,0,0,0,0,0,0,0,0,0,0,0,19,18,0,0,0,0,0,0]
["19:45","20:00",0,0,200,100,0,0,0,0,0,0,0,0,0,0,0,19,18,0,0,0,0,0,0]
["20:00","20:15",0,0,200,0,0,0,0,0,0,0,0,0,0,0,0,19,18,0,0,0,50,0,0]
["20:15","20:30",0,0,200,0,0,0,0,0,0,0,0,0,0,0,0,19,18,0,0,0,50,0,0]
["20:30","20:45",0,0,200,0,0,0,0,0,0,0,0,0,0,0,0,19,18,0,0,0,50,0,0]
["20:45","21:00",0,0,200,50,95,0,0,0,0,0,0,0,0,0,0,19,18,0,0,0,50,0,0]
["21:00","21:15",50,50,0,145,100,0,0,0,60,79,0,0,0,0,0,19,18,0,0,0,0,0,0]
["21:15","21:30",50,50,0,145,100,0,0,0,111,79,0,0,0,0,0,19,18,0,0,0,0,0,0]
["21:30","21:45",50,50,0,145,100,0,0,0,111,79,0,0,0,0,0,19,18,0,0,0,0,0,0]
["21:45","22:00",50,50,0,145,100,0,0,0,60,79,0,0,0,0,0,19,18,0,0,0,0,0,0]
["22:00","22:15",61,98,0,150,0,0,0,0,0,0,0,0,0,0,0,19,18,0,0,0,64,0,0]
["22:15","22:30",61,98,0,150,0,0,0,0,0,0,0,0,0,0,0,19,18,0,0,0,64,0,0]
["22:30","22:45",61,98,0,150,0,0,0,0,0,0,0,0,0,0,0,19,18,0,0,0,64,0,0]
["22:45","23:00",61,98,0,150,0,0,0,0,0,0,0,0,0,0,0,19,18,0,0,0,64,0,0]
["23:00","23:15",110,148,0,0,0,0,0,0,0,0,0,0,0,0,0,9,18,0,0,136,156,436,0]
["23:15","23:30",110,148,0,0,0,0,0,0,0,0,0,0,0,0,0,9,18,0,0,136,156,436,0]
["23:30","23:45",110,148,0,0,0,0,0,0,0,0,0,0,0,0,0,9,18,0,0,136,156,436,0]
["23:45","24:00",110,148,0,0,0,0,0,0,0,0,0,0,0,0,0,9,18,0,0,136,156,436,0]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":4,"rows_kept":106}
[null,"Datum","27.11.2025","27.11.2025"]
[null,"GM-Art","Fremdbilanzierter RD","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz"]
[null,"Ursache","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412"]
[null,"auslösendes Netzelement","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413"]
[null,"AO Klarname","50H_EDIS_CR_GUE_Nord","50H_EDIS_CR_PAS"]
[null,"Richtung","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":312.5,"d":"312.50"},{"v":1125,"d":"1125.00"}]
["00:00","00:15",0,0]
["00:15","00:30",0,0]
["00:30","00:45",0,0]
["00:45","01:00",0,0]
["01:00","01:15",0,0]
["01:15","01:30",0,0]
["01:30","01:45",0,0]
["01:45","02:00",0,0]
["02:00","02:15",0,0]
["02:15","02:30",0,0]
["02:30","02:45",0,0]
["02:45","03:00",0,0]
["03:00","03:15",0,0]
["03:15","03:30",0,0]
["03:30","03:45",0,0]
["03:45","04:00",0,0]
["04:00","04:15",0,0]
["04:15","04:30",0,0]
["04:30","04:45",0,0]
["04:45","05:00",0,0]
["05:00","05:15",0,0]
["05:15","05:30",0,0]
["05:30","05:45",0,0]
["05:45","06:00",0,0]
["06:00","06:15",0,0]
["06:15","06:30",0,0]
["06:30","06:45",0,0]
["06:45","07:00",0,0]
["07:00","07:15",0,0]
["07:15","07:30",0,0]
["07:30","07:45",0,0]
["07:45","08:00",0,0]
["08:00","08:15",0,0]
["08:15","08:30",0,0]
["08:30","08:45",0,0]
["08:45","09:00",0,0]
["09:00","09:15",0,0]
["09:15","09:30",0,0]
["09:30","09:45",0,0]
["09:45","10:00",0,0]
["10:00","10:15",0,0]
["10:15","10:30",0,0]
["10:30","10:45",0,0]
["10:45","11:00",0,0]
["11:00","11:15",0,0]
["11:15","11:30",0,0]
["11:30","11:45",0,0]
["11:45","12:00",0,0]
["12:00","12:15",0,0]
["12:15","12:30",0,0]
["12:30","12:45",0,0]
["12:45","13:00",0,0]
["13:00","13:15",0,0]
["13:15","13:30",0,0]
["13:30","13:45",0,0]
["13:45","14:00",0,0]
["14:00","14:15",0,0]
["14:15","14:30",0,0]
["14:30","14:45",0,0]
["14:45","15:00",0,0]
["15:00","15:15",0,0]
["15:15","15:30",50,0]
["15:30","15:45",50,0]
["15:45","16:00",50,0]
["16:00","16:15",50,100]
["16:15","16:30",50,100]
["16:30","16:45",50,200]
["16:45","17:00",50,200]
["17:00","17:15",50,200]
["17:15","17:30",50,200]
["17:30","17:45",50,200]
["17:45","18:00",50,200]
["18:00","18:15",50,200]
["18:15","18:30",50,200]
["18:30","18:45",50,200]
["18:45","19:00",50,200]
["19:00","19:15",50,200]
["19:15","19:30",50,200]
["19:30","19:45",50,200]
["19:45","20:00",50,200]
["20:00","20:15",50,200]
["20:15","20:30",50,200]
["20:30","20:45",20,150]
["20:45","21:00",20,100]
["21:00","21:15",20,100]
["21:15","21:30",20,100]
["21:30","21:45",20,100]
["21:45","22:00",20,100]
["22:00","22:15",20,100]
["22:15","22:30",20,100]
["22:30","22:45",20,100]
["22:45","23:00",20,100]
["23:00","23:15",0,50]
["23:15","23:30",0,0]
["23:30","23:45",0,0]
["23:45","24:00",0,0]