{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":19,"rows_kept":106}
[null,"Datum","01.11.2025","01.11.2025","01.11.2025","01.11.2025","01.11.2025","01.11.2025","01.11.2025","01.11.2025","01.11.2025","01.11.2025","01.11.2025","01.11.2025","01.11.2025","01.11.2025","01.11.2025","01.11.2025","01.11.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD1","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Schwarze Pumpe (Standort)","50H Berlin Mitte","Jänschwalde (Standort)","Schkopau","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","Börse","50H Dresden-Nossen","50H Erfurt-Ost HKW GuD","50H Hamburg MMB BHKW PtH","50H Berlin Mitte","50H Rostock Marienehe","Schwarze Pumpe (Standort)","Boxberg (Standort)","Schwarze Pumpe (Standort)","Lippendorf VE"]
[null,"Richtung","SENKE","SENKE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":419,"d":"419.00"},{"v":28,"d":"28.00"},{"v":126,"d":"126.00"},3533.25,{"v":563,"d":"563.00"},{"v":1015,"d":"1015.00"},{"v":843,"d":"843.00"},{"v":42.5,"d":"42.50"},{"v":413.8,"d":"413.80"},{"v":17.5,"d":"17.50"},38.25,{"v":290,"d":"290.00"},{"v":484,"d":"484.00"},{"v":551,"d":"551.00"},{"v":97.5,"d":"97.50"},118.25,6.25]
["00:00","00:15",0,0,0,75,71,120,200,0,0,0,9,0,40,158,0,0,0]
["00:15","00:30",0,0,0,150,71,120,200,0,0,0,9,0,40,158,0,0,0]
["00:30","00:45",0,0,0,200,71,120,200,0,0,0,9,0,40,158,0,0,0]
["00:45","01:00",0,0,0,195,71,120,200,0,0,0,9,0,40,158,0,0,0]
["01:00","01:15",0,0,0,121,0,0,0,0,0,8,9,0,40,0,0,0,0]
["01:15","01:30",0,0,0,121,0,0,0,0,0,11,9,0,40,0,0,0,0]
["01:30","01:45",0,0,0,121,0,0,0,0,0,11,9,0,40,0,0,0,0]
["01:45","02:00",0,0,0,121,0,0,0,0,0,8,9,0,40,0,0,0,0]
["02:00","02:15",0,0,0,195,0,0,0,0,0,0,9,0,40,0,0,0,0]
["02:15","02:30",0,0,0,271,0,0,0,0,0,0,9,0,40,0,0,0,0]
["02:30","02:45",0,0,0,271,0,0,0,0,0,0,9,0,40,0,0,0,0]
["02:45","03:00",0,0,0,271,0,0,0,0,0,0,9,0,40,0,0,0,0]
["03:00","03:15",0,0,0,271,0,120,129,0,0,0,9,0,40,109,0,0,0]
["03:15","03:30",0,0,0,271,0,120,129,0,0,0,9,0,40,109,0,0,0]
["03:30","03:45",0,0,0,271,0,120,129,0,0,0,9,0,40,109,0,0,0]
["03:45","04:00",0,0,0,271,0,120,129,0,0,0,9,0,40,109,0,0,0]
["04:00","04:15",0,0,0,258,0,151,114,0,0,7,9,0,40,0,0,0,0]
["04:15","04:30",0,0,0,258,0,151,114,0,0,9,0,0,40,0,0,0,0]
["04:30","04:45",0,0,0,258,0,151,114,0,0,9,0,0,40,0,0,0,0]
["04:45","05:00",0,0,0,258,0,151,114,0,0,7,0,0,40,0,0,0,0]
["05:00","05:15",0,0,0,258,44,120,200,0,0,0,0,0,40,0,0,0,0]
["05:15","05:30",0,0,0,258,44,120,200,0,0,0,0,0,40,0,0,0,0]
["05:30","05:45",0,0,0,258,44,120,200,0,0,0,0,0,40,0,0,0,0]
["05:45","06:00",0,0,0,230,44,120,200,0,0,0,0,0,40,0,0,0,0]
["06:00","06:15",0,0,0,157,0,0,0,0,0,0,0,0,15,0,0,0,0]
["06:15","06:30",0,0,0,157,0,0,0,0,0,0,0,0,15,0,0,0,0]
["06:30","06:45",0,0,0,150,0,0,0,0,0,0,0,0,15,0,0,0,0]
["06:45","07:00",0,0,0,75,0,0,0,0,0,0,0,0,15,0,0,0,0]
["07:00","07:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["07:15","07:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["07:30","07:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["07:45","08:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["08:00","08:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["08:15","08:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["08:30","08:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["08:45","09:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["09:00","09:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["09:15","09:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["09:30","09:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["09:45","10:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["10:00","10:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["10:15","10:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["10:30","10:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["10:45","11:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["11:00","11:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["11:15","11:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["11:30","11:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["11:45","12:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:00","12:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:15","12:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:30","12:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:45","13:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:00","13:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:15","13:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:30","13:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:45","14:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:00","14:15",0,0,50,75,76,120,200,0,0,0,0,0,0,0,0,0,0]
["14:15","14:30",0,0,50,150,76,120,200,0,0,0,0,0,0,0,0,0,0]
["14:30","14:45",0,0,50,225,76,120,200,0,0,0,0,0,0,0,0,0,0]
["14:45","15:00",0,0,50,258,76,120,200,0,0,0,0,0,0,0,0,0,0]
["15:00","15:15",0,0,76,258,76,113,0,0,0,0,0,0,0,0,0,0,0]
["15:15","15:30",0,0,76,258,76,113,0,0,0,0,0,0,0,0,0,0,0]
["15:30","15:45",0,0,76,258,76,113,0,0,0,0,0,0,0,0,0,0,0]
["15:45","16:00",0,0,76,258,76,113,0,0,0,0,0,0,0,0,0,0,0]
["16:00","16:15",129,0,0,254,44,104,0,4,49,0,0,46,0,0,0,0,0]
["16:15","16:30",129,0,0,254,44,104,0,4,49,0,0,46,0,0,0,0,0]
["16:30","16:45",129,0,0,254,44,104,0,4,49,0,0,46,0,0,0,0,0]
["16:45","17:00",129,0,0,225,44,104,0,0,49,0,0,46,0,0,0,0,0]
["17:00","17:15",145,0,0,150,0,0,0,0,35,0,0,47,24,184,0,0,0]
["17:15","17:30",145,0,0,150,0,0,0,0,35,0,0,47,24,184,0,0,0]
["17:30","17:45",145,0,0,150,0,0,0,0,35,0,0,47,24,184,0,0,0]
["17:45","18:00",145,0,0,150,0,0,0,0,35,0,0,47,24,184,0,0,0]
["18:00","18:15",145,0,0,100,0,0,0,0,82.5,0,0,48,40,50,0,0,0]
["18:15","18:30",145,0,0,100,0,0,0,0,82.5,0,0,48,40,50,0,0,0]
["18:30","18:45",145,0,0,100,0,0,0,0,82.5,0,0,48,40,50,0,0,0]
["18:45","19:00",145,0,0,100,0,0,0,0,82.5,0,0,48,40,50,0,0,0]
["19:00","19:15",0,0,0,175,0,0,0,0,82,0,0,47,40,0,0,0,0]
["19:15","19:30",0,0,0,246,0,0,0,4,82,0,0,47,40,0,0,0,0]
["19:30","19:45",0,0,0,247,0,0,0,11,82,0,0,47,40,0,0,0,0]
["19:45","20:00",0,0,0,247,0,0,0,11,82,0,0,47,40,0,0,0,0]
["20:00","20:15",0,0,0,247,0,0,0,11,82.7,0,0,46,40,50,0,0,0]
["20:15","20:30",0,0,0,247,0,0,0,11,82.7,0,0,46,40,50,0,0,0]
["20:30","20:45",0,0,0,247,0,0,0,11,82.7,0,0,46,40,50,0,0,0]
["20:45","21:00",0,0,0,247,0,0,0,11,82.7,0,0,46,40,50,0,0,0]
["21:00","21:15",0,0,0,189,81,0,0,0,82.6,0,0,46,40,0,0,0,0]
["21:15","21:30",0,0,0,189,81,0,0,0,82.6,0,0,46,40,0,0,0,0]
["21:30","21:45",0,0,0,189,81,0,0,0,82.6,0,0,46,40,0,0,0,0]
["21:45","22:00",0,0,0,189,81,0,0,0,82.6,0,0,46,40,0,0,0,0]
["22:00","22:15",0,28,0,247,81,0,0,11,0,0,0,0,5,0,0,0,0]
["22:15","22:30",0,28,0,247,81,0,0,11,0,0,0,0,5,0,0,0,0]
["22:30","22:45",0,28,0,247,81,0,0,11,0,0,0,0,5,0,0,0,0]
["22:45","23:00",0,28,0,247,81,0,0,11,0,0,0,0,5,0,0,0,0]
["23:00","23:15",0,0,0,247,90,167,0,11,0,0,0,10,40,0,60,20,0]
["23:15","23:30",0,0,0,247,90,167,0,11,0,0,0,10,40,0,110,90,0]
["23:30","23:45",0,0,0,247,90,167,0,11,0,0,0,10,40,0,110,170,0]
["23:45","24:00",0,0,0,247,90,167,0,11,0,0,0,10,40,0,110,193,25]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":3,"rows_kept":106}
[null,"Datum","01.11.2025"]
[null,"GM-Art","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday"]
[null,"Anforderer","50Hertz"]
[null,"Ursache","I"]
[null,"überlastetes Netzelement","50H / 380kV / Pasewalk / Tr. 412"]
[null,"auslösendes Netzelement","50H / 380kV / Pasewalk / Tr. 413"]
[null,"AO Klarname","50H_EDIS_CR_PAS"]
[null,"Richtung","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":567.5,"d":"567.50"}]
["00:00","00:15",0]
["00:15","00:30",0]
["00:30","00:45",0]
["00:45","01:00",0]
["01:00","01:15",0]
["01:15","01:30",0]
["01:30","01:45",0]
["01:45","02:00",0]
["02:00","02:15",0]
["02:15","02:30",0]
["02:30","02:45",0]
["02:45","03:00",0]
["03:00","03:15",0]
["03:15","03:30",0]
["03:30","03:45",0]
["03:45","04:00",0]
["04:00","04:15",0]
["04:15","04:30",0]
["04:30","04:45",0]
["04:45","05:00",0]
["05:00","05:15",0]
["05:15","05:30",0]
["05:30","05:45",0]
["05:45","06:00",0]
["06:00","06:15",0]
["06:15","06:30",0]
["06:30","06:45",0]
["06:45","07:00",0]
["07:00","07:15",0]
["07:15","07:30",0]
["07:30","07:45",0]
["07:45","08:00",0]
["08:00","08:15",0]
["08:15","08:30",0]
["08:30","08:45",0]
["08:45","09:00",0]
["09:00","09:15",0]
["09:15","09:30",0]
["09:30","09:45",0]
["09:45","10:00",0]
["10:00","10:15",0]
["10:15","10:30",0]
["10:30","10:45",0]
["10:45","11:00",0]
["11:00","11:15",0]
["11:15","11:30",0]
["11:30","11:45",0]
["11:45","12:00",0]
["12:00","12:15",0]
["12:15","12:30",0]
["12:30","12:45",0]
["12:45","13:00",0]
["13:00","13:15",0]
["13:15","13:30",0]
["13:30","13:45",0]
["13:45","14:00",0]
["14:00","14:15",0]
["14:15","14:30",0]
["14:30","14:45",0]
["14:45","15:00",0]
["15:00","15:15",0]
["15:15","15:30",0]
["15:30","15:45",0]
["15:45","16:00",0]
["16:00","16:15",0]
["16:15","16:30",0]
["16:30","16:45",0]
["16:45","17:00",0]
["17:00","17:15",0]
["17:15","17:30",0]
["17:30","17:45",0]
["17:45","18:00",0]
["18:00","18:15",100]
["18:15","18:30",100]
["18:30","18:45",100]
["18:45","19:00",180]
["19:00","19:15",180]
["19:15","19:30",180]
["19:30","19:45",180]
["19:45","20:00",250]
["20:00","20:15",250]
["20:15","20:30",250]
["20:30","20:45",150]
["20:45","21:00",150]
["21:00","21:15",50]
["21:15","21:30",50]
["21:30","21:45",50]
["21:45","22:00",50]
["22:00","22:15",0]
["22:15","22:30",0]
["22:30","22:45",0]
["22:45","23:00",0]
["23:00","23:15",0]
["23:15","23:30",0]
["23:30","23:45",0]
["23:45","24:00",0]