{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Redispatch","VNB_Abrufe"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":26,"rows_kept":106}
[null,"Datum","28.12.2025","28.12.2025","28.12.2025","28.12.2025","28.12.2025","28.12.2025","28.12.2025","28.12.2025","28.12.2025","28.12.2025","28.12.2025","28.12.2025","28.12.2025","28.12.2025","28.12.2025","28.12.2025","28.12.2025","28.12.2025","28.12.2025","28.12.2025","28.12.2025","28.12.2025","28.12.2025","28.12.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","50H Berlin Lichterfelde","50H Berlin Mitte","Schwarze Pumpe (Standort)","Boxberg (Standort)","Jänschwalde (Standort)","Schkopau","Boxberg (Standort)","Lippendorf VE","50H Berlin Lichterfelde","50H Berlin Marzahn","50H Berlin Mitte","50H Neubrandenburg GuD","50H Rostock Marienehe","Schkopau","50H Hamburg Tiefstack GuD","50H Halle-Trotha HKW","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","50H Hamburg Wedel1","Börse","50H UW Bertikow","Lippendorf VE","50H Berlin Reuter West"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":37,"d":"37.00"},{"v":120,"d":"120.00"},{"v":3425.5,"d":"3425.50"},1022.25,472.75,221.25,{"v":306,"d":"306.00"},{"v":213,"d":"213.00"},{"v":812,"d":"812.00"},{"v":3150,"d":"3150.00"},{"v":1142,"d":"1142.00"},{"v":64,"d":"64.00"},{"v":200,"d":"200.00"},{"v":295,"d":"295.00"},410.75,{"v":98,"d":"98.00"},{"v":702,"d":"702.00"},{"v":1665,"d":"1665.00"},{"v":829,"d":"829.00"},{"v":255,"d":"255.00"},13.25,{"v":90,"d":"90.00"},{"v":947,"d":"947.00"},{"v":10,"d":"10.00"}]
["00:00","00:15",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["00:15","00:30",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["00:30","00:45",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["00:45","01:00",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["04:15","04:30",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["04:30","04:45",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["04:45","05:00",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["05:00","05:15",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["05:15","05:30",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["05:30","05:45",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["05:45","06:00",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["06:00","06:15",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["06:15","06:30",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["06:30","06:45",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["06:45","07:00",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["07:00","07:15",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["07:15","07:30",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["07:30","07:45",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["07:45","08:00",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,100,0]
["08:00","08:15",0,0,0,0,0,0,0,0,0,150,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["08:15","08:30",0,0,0,0,0,0,0,0,0,150,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["08:30","08:45",0,0,0,0,0,0,0,0,0,150,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["08:45","09:00",0,0,0,0,0,0,0,0,0,150,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["09:00","09:15",0,0,0,0,0,0,0,0,0,150,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["09:15","09:30",0,0,0,0,0,0,0,0,0,150,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["09:30","09:45",0,0,0,0,0,0,0,0,0,150,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["09:45","10:00",0,0,0,0,0,0,0,0,0,150,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["10:00","10:15",0,24,0,0,0,0,0,0,0,150,0,0,0,0,0,0,0,0,0,0,0,0,50,0]
["10:15","10:30",0,24,0,0,0,0,0,0,0,150,0,0,0,0,0,0,0,0,0,0,0,0,50,0]
["10:30","10:45",0,24,0,0,0,0,0,0,0,150,0,0,0,0,0,0,0,0,0,0,0,0,50,0]
["10:45","11:00",0,24,0,0,0,0,0,0,0,150,0,0,0,0,0,0,0,0,0,0,0,0,50,0]
["11:00","11:15",0,39,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["11:15","11:30",0,39,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["11:30","11:45",0,39,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["11:45","12:00",0,39,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:00","12:15",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:15","12:30",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:30","12:45",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:45","13:00",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:00","13:15",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:15","13:30",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:30","13:45",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:45","14:00",0,0,0,0,0,0,0,0,0,100,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:00","14:15",37,0,0,0,0,0,0,0,0,160,0,0,0,0,0,0,0,0,0,0,0,0,97,0]
["14:15","14:30",37,0,0,0,0,0,0,0,0,160,0,0,0,0,0,0,0,0,0,0,0,0,97,0]
["14:30","14:45",37,0,0,0,0,0,0,0,0,160,0,0,0,0,0,0,0,0,0,0,0,0,97,0]
["14:45","15:00",37,0,0,0,0,0,0,0,0,160,0,0,0,0,0,0,0,0,0,0,0,0,97,0]
["15:00","15:15",0,0,0,0,0,0,0,0,0,160,0,0,0,0,53,0,0,0,0,0,0,0,0,0]
["15:15","15:30",0,0,7,0,0,0,0,0,0,160,0,0,0,0,53,0,0,0,0,0,0,0,0,0]
["15:30","15:45",0,0,183,0,0,0,0,0,0,160,0,0,0,0,53,0,0,0,0,0,0,0,0,0]
["15:45","16:00",0,0,257,0,0,0,0,0,0,160,0,0,0,0,53,0,0,0,0,0,0,0,0,0]
["16:00","16:15",0,0,383,0,0,0,0,0,10,160,17,0,0,0,53,0,0,0,0,0,0,0,0,0]
["16:15","16:30",0,0,400,281,0,0,0,0,10,160,17,0,0,0,53,0,0,0,0,0,0,0,0,0]
["16:30","16:45",0,0,400,400,91,0,0,0,10,160,17,0,0,0,53,0,0,0,0,0,0,0,0,0]
["16:45","17:00",0,0,400,400,200,0,0,0,10,160,17,0,0,0,53,0,0,0,0,0,0,0,0,0]
["17:00","17:15",0,21,400,400,200,0,0,0,59,160,67,0,0,0,53,0,0,0,0,15,0,0,0,0]
["17:15","17:30",0,21,400,400,200,0,0,0,59,160,67,0,0,0,53,0,0,0,0,15,0,0,0,0]
["17:30","17:45",0,21,400,400,200,0,0,0,59,160,67,0,0,0,53,0,0,0,0,15,0,0,0,0]
["17:45","18:00",0,21,400,300,200,0,0,0,59,160,67,0,0,0,53,0,0,0,0,15,0,0,0,0]
["18:00","18:15",0,18,200,200,200,75,0,0,109,160,118,0,0,0,53,2,0,138,0,40,0,15,0,0]
["18:15","18:30",0,18,200,200,200,150,0,0,109,160,118,0,0,0,53,2,0,138,0,40,0,15,0,0]
["18:30","18:45",0,18,200,200,200,150,0,0,109,160,118,0,0,0,53,2,0,138,0,40,0,15,0,0]
["18:45","19:00",0,18,200,200,200,150,0,0,109,160,118,0,0,0,53,2,0,138,0,40,0,15,0,0]
["19:00","19:15",0,18,400,0,0,95,36,0,157,160,167,20,40,112,53,24,295,378,0,40,0,15,0,0]
["19:15","19:30",0,18,400,0,0,95,36,0,157,160,167,20,40,112,53,24,295,378,0,40,0,15,0,0]
["19:30","19:45",0,18,400,0,0,95,36,0,157,160,167,20,40,112,53,24,295,378,0,40,0,15,0,0]
["19:45","20:00",0,18,400,0,0,75,36,0,157,160,167,20,40,112,53,24,295,378,0,40,0,15,0,0]
["20:00","20:15",0,0,573,122,0,0,0,0,157,160,193,0,40,64,53,24,112,383,0,40,0,15,0,0]
["20:15","20:30",0,0,573,122,0,0,0,0,157,160,193,0,40,64,53,24,112,383,0,40,0,15,0,0]
["20:30","20:45",0,0,573,122,0,0,0,0,157,160,193,0,40,64,53,24,112,383,0,40,0,15,0,0]
["20:45","21:00",0,0,573,122,0,0,0,0,157,160,193,0,40,64,53,24,112,383,0,40,0,15,0,0]
["21:00","21:15",0,0,515,0,0,0,0,0,137,160,193,8,40,55,53,24,0,383,0,40,0,15,0,0]
["21:15","21:30",0,0,515,0,0,0,0,0,137,160,193,8,40,55,53,24,0,383,0,40,0,15,0,0]
["21:30","21:45",0,0,515,0,0,0,0,0,137,160,193,8,40,55,53,24,0,383,0,40,0,15,0,0]
["21:45","22:00",0,0,515,0,0,0,0,0,137,160,193,8,40,55,53,24,0,383,0,40,0,15,0,0]
["22:00","22:15",0,0,373,0,0,0,270,0,110,160,193,18,40,64,53,24,295,383,400,40,0,15,0,0]
["22:15","22:30",0,0,373,0,0,0,270,0,110,160,193,18,40,64,53,24,295,383,400,40,0,15,0,0]
["22:30","22:45",0,0,373,0,0,0,270,0,110,160,193,18,40,64,53,24,295,383,400,40,0,15,0,0]
["22:45","23:00",0,0,373,0,0,0,270,0,110,160,193,18,40,64,0,24,295,383,400,40,53,15,0,0]
["23:00","23:15",0,0,457,55,0,0,0,213,73,160,194,18,40,0,0,0,0,0,429,40,0,15,0,10]
["23:15","23:30",0,0,457,55,0,0,0,213,73,160,194,18,40,0,0,0,0,0,429,40,0,15,0,10]
["23:30","23:45",0,0,457,55,0,0,0,213,73,160,194,18,40,0,0,0,0,0,429,40,0,15,0,10]
["23:45","24:00",0,0,457,55,0,0,0,213,73,160,194,18,40,0,0,0,0,0,429,40,0,15,0,10]

{"sheet":"VNB_Abrufe","index":1,"n_rows":106,"n_cols":6,"rows_kept":106}
[null,"Datum","28.12.2025","28.12.2025","28.12.2025","28.12.2025"]
[null,"GM-Art","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD","Fremdbilanzierter RD"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday"]
[null,"Anforderer","50Hertz","50Hertz","50Hertz","50Hertz"]
[null,"Ursache","I","I","I","I"]
[null,"überlastetes Netzelement","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Pasewalk / Tr. 412","50H / 380kV / Güstrow / 414 & 50H / 380kV / Pasewalk / Tr. 412"]
[null,"auslösendes Netzelement","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Pasewalk / Tr. 413","50H / 380kV / Güstrow / 416 & 50H / 380kV / Pasewalk / Tr. 413"]
[null,"AO Klarname","50H_EDIS_CR_GUE_Nord","50H_EDIS_CR_NHG_Nord","50H_EDIS_CR_PAS","50H_EDIS_CR_PAS"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE"]
["Kontrollsumme:","[MWh] ",{"v":275,"d":"275.00"},{"v":1362.5,"d":"1362.50"},{"v":725,"d":"725.00"},{"v":650,"d":"650.00"}]
["00:00","00:15",0,200,300,0]
["00:15","00:30",0,200,300,0]
["00:30","00:45",0,200,300,0]
["00:45","01:00",0,200,300,0]
["01:00","01:15",0,200,300,0]
["01:15","01:30",0,200,300,0]
["01:30","01:45",0,200,300,0]
["01:45","02:00",0,200,300,0]
["02:00","02:15",0,200,200,0]
["02:15","02:30",0,200,200,0]
["02:30","02:45",0,200,100,0]
["02:45","03:00",0,200,0,0]
["03:00","03:15",0,200,0,0]
["03:15","03:30",0,200,0,0]
["03:30","03:45",0,200,0,0]
["03:45","04:00",0,200,0,0]
["04:00","04:15",0,200,0,0]
["04:15","04:30",0,200,0,0]
["04:30","04:45",0,100,0,0]
["04:45","05:00",0,100,0,0]
["05:00","05:15",0,100,0,0]
["05:15","05:30",0,100,0,0]
["05:30","05:45",0,100,0,0]
["05:45","06:00",0,100,0,0]
["06:00","06:15",0,100,0,0]
["06:15","06:30",0,50,0,0]
["06:30","06:45",0,50,0,0]
["06:45","07:00",0,50,0,0]
["07:00","07:15",0,50,0,0]
["07:15","07:30",0,50,0,0]
["07:30","07:45",0,50,0,0]
["07:45","08:00",0,50,0,0]
["08:00","08:15",0,50,0,0]
["08:15","08:30",0,50,0,0]
["08:30","08:45",0,50,0,0]
["08:45","09:00",0,50,0,0]
["09:00","09:15",0,50,0,0]
["09:15","09:30",0,50,0,0]
["09:30","09:45",0,50,0,0]
["09:45","10:00",0,50,0,0]
["10:00","10:15",0,50,0,0]
["10:15","10:30",0,50,0,0]
["10:30","10:45",0,50,0,0]
["10:45","11:00",0,50,0,0]
["11:00","11:15",0,50,0,0]
["11:15","11:30",0,50,0,0]
["11:30","11:45",0,50,0,0]
["11:45","12:00",0,50,0,0]
["12:00","12:15",0,0,0,0]
["12:15","12:30",0,0,0,0]
["12:30","12:45",0,0,0,0]
["12:45","13:00",0,0,0,0]
["13:00","13:15",0,0,0,0]
["13:15","13:30",0,0,0,0]
["13:30","13:45",0,0,0,0]
["13:45","14:00",0,0,0,0]
["14:00","14:15",0,0,0,0]
["14:15","14:30",0,0,0,0]
["14:30","14:45",0,0,0,0]
["14:45","15:00",0,0,0,0]
["15:00","15:15",0,0,0,0]
["15:15","15:30",0,0,0,0]
["15:30","15:45",0,0,0,0]
["15:45","16:00",0,0,0,0]
["16:00","16:15",0,0,0,0]
["16:15","16:30",0,0,0,0]
["16:30","16:45",0,0,0,0]
["16:45","17:00",0,0,0,0]
["17:00","17:15",0,0,0,0]
["17:15","17:30",0,0,0,0]
["17:30","17:45",0,0,0,0]
["17:45","18:00",0,0,0,0]
["18:00","18:15",0,0,0,0]
["18:15","18:30",0,0,0,0]
["18:30","18:45",50,0,0,0]
["18:45","19:00",50,0,0,0]
["19:00","19:15",50,0,0,0]
["19:15","19:30",50,0,0,0]
["19:30","19:45",50,0,0,0]
["19:45","20:00",50,0,0,0]
["20:00","20:15",50,0,0,100]
["20:15","20:30",50,0,0,100]
["20:30","20:45",50,0,0,100]
["20:45","21:00",50,0,0,100]
["21:00","21:15",50,0,0,200]
["21:15","21:30",50,0,0,200]
["21:30","21:45",50,0,0,200]
["21:45","22:00",50,0,0,200]
["22:00","22:15",50,0,0,200]
["22:15","22:30",50,0,0,200]
["22:30","22:45",50,0,0,200]
["22:45","23:00",50,0,0,200]
["23:00","23:15",50,0,0,200]
["23:15","23:30",50,0,0,200]
["23:30","23:45",50,0,0,100]
["23:45","24:00",50,0,0,100]