{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Redispatch"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":21,"rows_kept":106}
[null,"Datum","28.11.2025","28.11.2025","28.11.2025","28.11.2025","28.11.2025","28.11.2025","28.11.2025","28.11.2025","28.11.2025","28.11.2025","28.11.2025","28.11.2025","28.11.2025","28.11.2025","28.11.2025","28.11.2025","28.11.2025","28.11.2025","28.11.2025"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday","Intraday","Intraday","Intraday (RES)","PRD1","PRD1","PRD1","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","APG & TenneT DE","APG & TenneT DE","APG & TenneT DE","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","Lippendorf VE","50H Berlin Marzahn","50H Berlin Mitte","Schwarze Pumpe (Standort)","50H Berlin Marzahn","Lippendorf VE","Boxberg (Standort)","Jänschwalde (Standort)","Schwarze Pumpe (Standort)","50H Erfurt-Ost HKW GuD","50H Berlin Marzahn","50H Berlin Mitte","50H Rostock Marienehe","Boxberg (Standort)","Jänschwalde (Standort)","50H Hamburg Wedel1","50H EnviaTherm Bitterfeld GuD","Boxberg (Standort)","Jänschwalde (Standort)"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":77,"d":"77.00"},{"v":150,"d":"150.00"},{"v":150,"d":"150.00"},{"v":178,"d":"178.00"},{"v":22,"d":"22.00"},18.75,{"v":3720.5,"d":"3720.50"},{"v":959,"d":"959.00"},{"v":2381,"d":"2381.00"},{"v":154,"d":"154.00"},{"v":2041,"d":"2041.00"},{"v":206,"d":"206.00"},{"v":483,"d":"483.00"},{"v":536.5,"d":"536.50"},{"v":303,"d":"303.00"},{"v":583,"d":"583.00"},{"v":240,"d":"240.00"},{"v":524,"d":"524.00"},{"v":939,"d":"939.00"}]
["00:00","00:15",0,0,0,0,0,0,454,217,434,0,82,106,36,0,0,15,0,0,0]
["00:15","00:30",0,0,0,0,0,0,454,217,434,0,82,106,36,0,0,15,0,0,0]
["00:30","00:45",0,0,0,0,0,0,454,217,434,0,82,106,36,0,0,15,0,0,0]
["00:45","01:00",0,0,0,0,0,0,454,217,434,0,82,106,36,0,0,15,0,0,0]
["01:00","01:15",0,0,0,0,0,0,620,0,301,0,0,0,36,0,0,14,0,41,0]
["01:15","01:30",0,0,0,0,0,0,620,0,301,0,0,0,36,0,0,14,0,41,0]
["01:30","01:45",0,0,0,0,0,0,620,0,301,0,0,0,36,0,0,14,0,41,0]
["01:45","02:00",0,0,0,0,0,0,600,0,301,0,0,0,36,0,0,14,0,41,0]
["02:00","02:15",0,0,0,0,0,0,240,223,434,0,0,0,36,40,96,13,0,0,0]
["02:15","02:30",0,0,0,0,0,0,240,223,434,0,0,0,36,110,96,13,0,0,0]
["02:30","02:45",0,0,0,0,0,0,240,223,434,0,0,0,36,110,96,13,0,0,0]
["02:45","03:00",0,0,0,0,0,0,240,223,434,0,0,0,36,110,96,13,0,0,0]
["03:00","03:15",0,0,0,0,0,0,515,50,434,0,0,0,36,212,64,14,0,0,0]
["03:15","03:30",0,0,0,0,0,0,585,50,434,0,0,0,36,212,64,14,0,0,0]
["03:30","03:45",0,0,0,0,0,0,585,50,434,0,0,0,36,212,64,14,0,0,0]
["03:45","04:00",0,0,0,0,0,0,585,50,434,0,0,0,36,212,64,14,0,0,0]
["04:00","04:15",0,0,0,0,0,0,620,110,389,0,0,0,36,232,0,29,0,0,0]
["04:15","04:30",0,0,0,0,0,0,620,110,389,0,0,0,36,232,0,29,0,0,0]
["04:30","04:45",0,0,0,0,0,0,620,110,389,0,0,0,36,232,0,29,0,0,0]
["04:45","05:00",0,0,0,0,0,0,620,110,389,0,0,0,36,232,0,29,0,0,0]
["05:00","05:15",0,0,0,0,0,0,418,309,389,0,157,50,36,0,23,39,0,0,0]
["05:15","05:30",0,0,0,0,0,0,418,309,389,0,157,50,36,0,23,39,0,0,0]
["05:30","05:45",0,0,0,0,0,0,418,309,389,0,157,50,36,0,23,39,0,0,0]
["05:45","06:00",0,0,0,0,0,0,418,309,389,0,157,50,36,0,23,39,0,0,0]
["06:00","06:15",0,0,0,0,0,0,416,50,0,0,107,0,20,0,0,39,0,39,156]
["06:15","06:30",0,0,0,0,0,0,416,50,0,0,107,0,20,0,0,39,0,39,156]
["06:30","06:45",0,0,0,0,0,0,416,50,0,0,107,0,20,0,0,39,0,39,156]
["06:45","07:00",0,0,0,0,0,0,416,50,0,0,107,0,20,0,0,39,0,39,156]
["07:00","07:15",0,0,0,0,0,0,386,0,0,0,107,0,0,0,0,39,48,0,0]
["07:15","07:30",0,0,0,0,0,0,386,0,0,0,107,0,0,0,0,39,48,0,0]
["07:30","07:45",0,0,0,0,0,0,386,0,0,0,107,0,0,0,0,39,48,0,0]
["07:45","08:00",0,0,0,0,0,0,386,0,0,0,107,0,0,0,0,39,48,0,0]
["08:00","08:15",0,0,0,0,0,0,4,0,0,0,57,0,40,0,0,39,48,0,0]
["08:15","08:30",0,0,0,0,0,0,4,0,0,0,57,0,40,0,0,39,48,0,0]
["08:30","08:45",0,0,0,0,0,0,4,0,0,0,57,0,40,0,0,39,48,0,0]
["08:45","09:00",0,0,0,0,0,0,4,0,0,0,57,0,40,0,0,39,48,0,0]
["09:00","09:15",0,0,0,0,0,0,0,0,0,0,107,0,21,0,0,39,48,0,0]
["09:15","09:30",0,0,0,0,0,0,0,0,0,0,107,0,21,0,0,39,48,0,0]
["09:30","09:45",0,0,0,0,0,0,0,0,0,0,107,0,21,0,0,39,48,0,0]
["09:45","10:00",0,0,0,0,0,0,0,0,0,0,107,0,21,0,0,39,48,0,0]
["10:00","10:15",0,0,0,0,0,0,0,0,0,0,98,0,0,0,0,39,48,0,0]
["10:15","10:30",0,0,0,0,0,0,0,0,0,0,98,0,0,0,0,39,48,0,0]
["10:30","10:45",0,0,0,0,0,0,0,0,0,0,98,0,0,0,0,39,48,0,0]
["10:45","11:00",0,0,0,0,0,0,0,0,0,0,98,0,0,0,0,39,48,0,0]
["11:00","11:15",0,0,0,0,0,0,0,0,0,0,118,0,0,0,0,39,48,0,0]
["11:15","11:30",0,0,0,0,0,0,0,0,0,0,118,0,0,0,0,39,48,0,0]
["11:30","11:45",0,0,0,0,0,0,0,0,0,0,118,0,0,0,0,39,48,0,0]
["11:45","12:00",0,0,0,0,0,0,0,0,0,0,118,0,0,0,0,39,48,0,0]
["12:00","12:15",0,0,0,0,0,0,0,0,0,0,118,0,0,0,0,39,0,0,0]
["12:15","12:30",0,0,0,0,0,0,0,0,0,0,118,0,0,0,0,39,0,0,0]
["12:30","12:45",0,0,0,0,0,0,0,0,0,0,118,0,0,0,0,39,0,0,0]
["12:45","13:00",0,0,0,0,0,0,0,0,0,0,118,0,0,0,0,39,0,0,0]
["13:00","13:15",0,0,0,0,0,0,0,0,0,0,137,0,36,0,0,27,0,0,0]
["13:15","13:30",0,0,0,0,0,0,0,0,0,0,137,0,36,0,0,27,0,0,0]
["13:30","13:45",0,0,0,0,0,0,0,0,0,0,137,0,36,0,0,27,0,0,0]
["13:45","14:00",0,0,0,0,0,0,0,0,0,0,137,0,36,0,0,27,0,0,0]
["14:00","14:15",0,0,0,0,0,0,0,0,0,20,186,50,40,0,120,39,0,0,0]
["14:15","14:30",0,0,0,0,0,0,0,0,0,40,186,50,40,0,120,39,0,0,0]
["14:30","14:45",0,0,0,0,0,0,0,0,0,40,186,50,40,0,120,39,0,0,0]
["14:45","15:00",0,0,0,0,0,0,0,0,0,40,186,50,40,0,120,39,0,0,0]
["15:00","15:15",0,0,0,0,0,0,0,0,0,42,186,0,9,0,0,0,0,0,0]
["15:15","15:30",0,0,0,0,0,0,0,0,0,42,186,0,9,0,0,0,0,0,0]
["15:30","15:45",0,0,0,0,0,0,0,0,0,42,186,0,9,0,0,0,0,0,0]
["15:45","16:00",0,0,0,0,0,0,0,0,0,42,186,0,9,0,0,0,0,0,0]
["16:00","16:15",0,0,0,12,0,0,0,0,0,42,186,0,0,0,0,0,0,0,0]
["16:15","16:30",0,0,0,12,0,0,0,0,0,42,186,0,0,0,0,0,0,0,0]
["16:30","16:45",0,0,0,12,0,0,0,0,0,42,186,0,0,0,0,0,0,0,0]
["16:45","17:00",0,0,0,12,0,0,0,0,0,42,186,0,0,0,0,0,0,0,0]
["17:00","17:15",0,0,0,166,0,0,0,0,0,40,143,0,0,0,0,0,0,0,0]
["17:15","17:30",0,0,0,166,0,0,0,0,0,40,143,0,0,0,0,0,0,0,0]
["17:30","17:45",0,0,0,166,0,0,0,0,0,40,143,0,0,0,0,0,0,0,0]
["17:45","18:00",0,0,0,166,0,0,0,0,0,20,143,0,0,0,0,0,0,0,0]
["18:00","18:15",0,0,0,0,0,0,0,0,0,0,134,0,40,0,0,39,0,0,0]
["18:15","18:30",0,0,0,0,0,0,0,0,0,0,134,0,40,0,0,39,0,0,0]
["18:30","18:45",0,0,0,0,0,0,0,0,0,0,134,0,40,0,0,39,0,0,0]
["18:45","19:00",0,0,0,0,0,0,0,0,0,0,134,0,40,0,0,39,0,0,0]
["19:00","19:15",0,0,0,0,0,0,0,0,0,0,84,0,34,0,0,37,0,0,0]
["19:15","19:30",0,0,0,0,0,0,0,0,0,0,84,0,34,0,0,37,0,0,0]
["19:30","19:45",0,0,0,0,0,0,0,0,0,0,84,0,34,0,0,37,0,0,0]
["19:45","20:00",0,0,0,0,0,0,0,0,0,0,84,0,34,0,0,37,0,0,0]
["20:00","20:15",0,0,0,0,0,0,0,0,0,0,34,0,27,0,0,28,0,111,0]
["20:15","20:30",0,0,0,0,0,0,0,0,0,0,34,0,27,0,0,28,0,111,0]
["20:30","20:45",0,0,0,0,0,0,0,0,0,0,34,0,27,0,0,28,0,111,0]
["20:45","21:00",0,0,0,0,0,0,0,0,0,0,34,0,27,0,0,28,0,111,0]
["21:00","21:15",77,50,50,0,0,0,0,0,0,0,0,0,0,0,0,16,0,111,196]
["21:15","21:30",77,50,50,0,0,0,0,0,0,0,0,0,0,0,0,16,0,111,196]
["21:30","21:45",77,50,50,0,0,0,0,0,0,0,0,0,0,0,0,16,0,111,196]
["21:45","22:00",77,50,50,0,0,0,0,0,0,0,0,0,0,0,0,16,0,111,196]
["22:00","22:15",0,50,50,0,0,0,0,0,0,0,0,0,0,0,0,0,0,111,196]
["22:15","22:30",0,50,50,0,0,0,0,0,0,0,0,0,0,0,0,0,0,111,196]
["22:30","22:45",0,50,50,0,0,0,0,0,0,0,0,0,0,0,0,0,0,111,196]
["22:45","23:00",0,50,50,0,0,0,0,0,0,0,0,0,0,0,0,0,0,111,196]
["23:00","23:15",0,50,50,0,25,75,0,0,0,0,0,0,0,0,0,0,0,111,391]
["23:15","23:30",0,50,50,0,25,0,0,0,0,0,0,0,0,0,0,0,0,111,391]
["23:30","23:45",0,50,50,0,21,0,0,0,0,0,0,0,0,0,0,0,0,111,391]
["23:45","24:00",0,50,50,0,17,0,0,0,0,0,0,0,0,0,0,0,0,111,391]