{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Redispatch"],"read":"whole","date_system":"1900"}

{"sheet":"Redispatch","index":0,"n_rows":106,"n_cols":20,"rows_kept":106}
[null,"Datum","30.01.2026","30.01.2026","30.01.2026","30.01.2026","30.01.2026","30.01.2026","30.01.2026","30.01.2026","30.01.2026","30.01.2026","30.01.2026","30.01.2026","30.01.2026","30.01.2026","30.01.2026","30.01.2026","30.01.2026","30.01.2026"]
[null,"GM-Art","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch","Redispatch"]
[null,"Auslösender Prozess","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","Intraday (RES)","PRD1","PRD1","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)","PRD2 (DACF)"]
[null,"Anforderer","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW","50Hertz & Amprion & TenneT DE & TransnetBW"]
[null,"Ursache","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I","I"]
[null,"überlastetes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"auslösendes Netzelement","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern","extern"]
[null,"Anlage / Cluster","50H Berlin Marzahn","50H Berlin Mitte","50H Berlin Lichterfelde","Schwarze Pumpe (Standort)","Jänschwalde (Standort)","Rostock Kohlekraftwerk","Lippendorf","Rostock Kohlekraftwerk","Schkopau","50H Berlin Lichterfelde","50H Berlin Marzahn","50H Berlin Mitte","Rostock Kohlekraftwerk","50H Rostock Marienehe","Jänschwalde (Standort)","50H Hamburg Wedel1","50H InfraLeuna IKW","Schkopau"]
[null,"Richtung","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","SENKE","QUELLE","QUELLE"]
["Kontrollsumme:","[MWh] ",{"v":1381.5,"d":"1381.50"},814.75,{"v":626,"d":"626.00"},2360.25,{"v":404,"d":"404.00"},{"v":105.5,"d":"105.50"},{"v":73.5,"d":"73.50"},{"v":144,"d":"144.00"},{"v":201,"d":"201.00"},{"v":323,"d":"323.00"},{"v":536.5,"d":"536.50"},{"v":116,"d":"116.00"},{"v":496,"d":"496.00"},{"v":80,"d":"80.00"},{"v":451,"d":"451.00"},636.75,{"v":240,"d":"240.00"},{"v":360,"d":"360.00"}]
["00:00","00:15",0,0,0,0,0,0,0,65,0,0,0,0,0,0,0,0,0,0]
["00:15","00:30",0,0,0,0,0,0,0,65,0,0,0,0,0,0,0,0,0,0]
["00:30","00:45",0,0,0,0,0,0,0,65,0,0,0,0,0,0,0,0,0,0]
["00:45","01:00",0,0,0,0,0,0,0,65,0,0,0,0,0,0,0,0,0,0]
["01:00","01:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:15","01:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:30","01:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["01:45","02:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:00","02:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:15","02:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:30","02:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["02:45","03:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["03:00","03:15",0,0,0,0,0,0,0,0,0,20,80,0,0,0,0,0,0,0]
["03:15","03:30",0,0,0,0,0,0,0,0,0,20,80,0,0,0,0,0,0,0]
["03:30","03:45",0,0,0,0,0,0,0,0,0,20,80,0,0,0,0,0,0,0]
["03:45","04:00",0,0,0,0,0,0,0,0,0,20,80,0,0,0,0,0,0,0]
["04:00","04:15",0,0,0,0,0,0,0,0,0,10,96,0,0,0,0,0,0,76]
["04:15","04:30",0,0,0,0,0,0,0,0,0,10,96,0,0,0,0,0,0,76]
["04:30","04:45",0,0,0,0,0,0,0,0,0,10,96,0,0,0,0,0,0,76]
["04:45","05:00",0,0,0,0,0,0,0,0,0,10,96,0,0,0,0,0,0,76]
["05:00","05:15",0,0,0,0,0,0,0,79,84,0,49,0,0,0,0,0,0,142]
["05:15","05:30",0,0,0,0,0,0,0,79,84,0,49,0,0,0,0,0,0,142]
["05:30","05:45",0,0,0,0,0,0,0,79,84,0,49,0,0,0,0,0,0,142]
["05:45","06:00",0,0,0,0,0,0,0,79,84,0,49,0,0,0,0,0,0,142]
["06:00","06:15",50,0,0,0,0,0,0,0,117,0,33,0,0,0,0,15,35,142]
["06:15","06:30",50,0,0,0,0,0,0,0,117,0,18,0,0,0,0,30,35,142]
["06:30","06:45",50,0,0,0,0,0,0,0,117,0,3,0,0,0,0,45,35,142]
["06:45","07:00",50,0,0,0,0,0,0,0,117,0,0,0,0,0,0,48,35,142]
["07:00","07:15",55,0,0,0,0,0,0,0,0,0,0,0,0,0,0,48,0,0]
["07:15","07:30",55,0,0,0,0,0,0,0,0,0,0,0,0,0,0,48,0,0]
["07:30","07:45",55,0,0,0,0,0,0,0,0,0,0,0,0,0,0,48,0,0]
["07:45","08:00",55,0,0,0,0,0,0,0,0,0,0,0,0,0,0,48,0,0]
["08:00","08:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,48,35,0]
["08:15","08:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,48,35,0]
["08:30","08:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,48,35,0]
["08:45","09:00",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,48,35,0]
["09:00","09:15",0,0,0,0,0,0,0,0,0,0,0,10,0,0,0,48,35,0]
["09:15","09:30",0,0,0,0,0,0,0,0,0,0,0,10,0,0,0,48,35,0]
["09:30","09:45",0,0,0,0,0,0,0,0,0,0,0,10,0,0,0,48,35,0]
["09:45","10:00",0,0,0,0,0,0,0,0,0,0,0,10,0,0,0,48,35,0]
["10:00","10:15",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,48,30,0]
["10:15","10:30",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,48,30,0]
["10:30","10:45",0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,48,30,0]
["10:45","11:00",0,0,40,0,0,0,0,0,0,0,0,0,0,0,0,48,30,0]
["11:00","11:15",50,65,71,0,0,0,0,0,0,0,0,0,0,0,0,48,35,0]
["11:15","11:30",100,65,21,0,0,0,0,0,0,0,0,0,0,0,0,45,35,0]
["11:30","11:45",100,65,21,0,0,0,0,0,0,0,0,0,0,0,0,30,35,0]
["11:45","12:00",100,65,21,0,0,0,0,0,0,0,0,0,0,0,0,15,35,0]
["12:00","12:15",100,36,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:15","12:30",100,36,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:30","12:45",100,36,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["12:45","13:00",100,36,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:00","13:15",100,37,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:15","13:30",100,37,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:30","13:45",100,37,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["13:45","14:00",100,37,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:00","14:15",98,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:15","14:30",98,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:30","14:45",98,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["14:45","15:00",98,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0,0]
["15:00","15:15",62,0,0,0,0,0,0,0,0,0,0,0,0,0,0,12,35,0]
["15:15","15:30",62,0,0,0,0,0,0,0,0,0,0,0,0,0,0,12,35,0]
["15:30","15:45",62,0,0,0,0,0,0,0,0,0,0,0,0,0,0,12,35,0]
["15:45","16:00",62,0,0,0,0,0,0,0,0,0,0,0,0,0,0,12,35,0]
["16:00","16:15",100,50,45,0,0,0,0,0,0,0,0,0,0,0,0,27,35,0]
["16:15","16:30",100,99,45,0,0,0,0,0,0,0,0,0,0,0,0,42,35,0]
["16:30","16:45",100,99,45,0,0,0,0,0,0,0,0,0,0,0,0,48,35,0]
["16:45","17:00",100,99,45,0,0,0,0,0,0,0,0,0,0,0,0,48,35,0]
["17:00","17:15",148,100,100,105,0,0,0,0,0,0,0,0,0,0,0,48,0,0]
["17:15","17:30",148,100,100,105,0,0,0,0,0,0,0,0,0,0,0,48,0,0]
["17:30","17:45",148,100,100,105,0,0,0,0,0,0,0,0,0,0,0,48,0,0]
["17:45","18:00",148,100,100,105,0,0,0,0,0,0,0,0,0,0,0,48,0,0]
["18:00","18:15",148,99,139,129,0,0,0,0,0,0,0,0,0,0,0,48,0,0]
["18:15","18:30",148,99,139,129,0,0,0,0,0,0,0,0,0,0,0,48,0,0]
["18:30","18:45",148,99,139,129,0,0,0,0,0,0,0,0,0,0,0,48,0,0]
["18:45","19:00",148,99,139,129,0,0,0,0,0,0,0,0,0,0,0,48,0,0]
["19:00","19:15",148,99,145,268,0,0,0,0,0,0,0,0,0,0,0,48,0,0]
["19:15","19:30",148,99,145,268,0,0,0,0,0,0,0,0,0,0,0,48,0,0]
["19:30","19:45",148,99,145,268,0,0,0,0,0,0,0,0,0,0,0,48,0,0]
["19:45","20:00",148,99,145,268,0,0,0,0,0,0,0,0,0,0,0,48,0,0]
["20:00","20:15",148,99,117,310,0,0,0,0,0,0,0,0,0,0,0,48,0,0]
["20:15","20:30",148,99,117,310,0,0,0,0,0,0,0,0,0,0,0,48,0,0]
["20:30","20:45",148,99,117,310,0,0,0,0,0,0,0,0,0,0,0,48,0,0]
["20:45","21:00",148,99,117,310,0,0,0,0,0,0,0,0,0,0,0,48,0,0]
["21:00","21:15",100,49,7,310,0,0,0,0,0,50,50,50,80,40,142,48,0,0]
["21:15","21:30",100,49,7,310,0,33,0,0,0,50,50,50,80,40,234,48,0,0]
["21:30","21:45",100,49,7,319,46,76,0,0,0,50,50,50,80,40,234,48,0,0]
["21:45","22:00",100,49,65,506,54,76,0,0,0,50,50,50,80,40,234,48,0,0]
["22:00","22:15",37,100,15,506,288,0,0,0,0,100,99,0,168,0,0,48,0,0]
["22:15","22:30",37,100,15,506,288,77,0,0,0,100,99,0,168,0,0,48,0,0]
["22:30","22:45",37,100,15,506,288,80,97,0,0,100,99,0,168,0,0,48,0,0]
["22:45","23:00",37,100,15,506,288,80,197,0,0,100,99,0,168,0,0,48,0,0]
["23:00","23:15",0,44,0,606,91,0,0,0,0,143,149,56,248,40,240,48,0,0]
["23:15","23:30",0,44,0,706,91,0,0,0,0,143,149,56,248,40,240,45,0,0]
["23:30","23:45",0,44,0,706,91,0,0,0,0,143,149,56,248,40,240,30,0,0]
["23:45","24:00",0,44,0,706,91,0,0,0,0,143,149,56,248,40,240,15,0,0]